## Data
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Entries
255
[6 empty] | Method Precision Report 2017 | [9 empty] | Unique Samples
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs sL | Within Labs sr | Reproducibility sR | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name |  | Sample Number | Sample Name
190111 | 1.99 | Ammoniacal Nitrogen, Other (%) | 29 | 27 | 20.9925 | 0.30769 | 0.30301 | 0.075584 | 0.31229 | 1.443% | 0.3601% | 1.488% | 4.1317 | Grade 21-0-0 |  | 190111 | Grade 21-0-0 | 6
190111 | 10.6 | Total Nitrogen, Combustion (21%) | 60 | 54 | 21.1758 | 0.17959 | 0.15661 | 0.1243 | 0.19995 | 0.7396% | 0.587% | 0.9442% | 1.6086 | Grade 21-0-0 |  | 190211 | Grade 14-14-14 | 40
190111 | 145 | Sulfate Sulfur, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 12 | 11 | 24.5793 | 0.24575 | 0.24205 | 0.060082 | 0.2494 | 0.9848% | 0.2444% | 1.015% | 4.151 | Grade 21-0-0 |  | 190311 | Grade 12-12-2.5 | 26
190111 | 148.01 | Total Sulfur, Gravimetric - sulfate and elemental (24%) | 14 | 14 | 24.4018 | 0.43116 | 0.39957 | 0.22912 | 0.4606 | 1.637% | 0.9389% | 1.888% | 2.0103 | Grade 21-0-0 |  | 190411 | Grade 0-0-25-17S | 7
190111 | 148.07 | Total Sulfur, ICP, test portion as in 2017.02 (24%) | 15 | 14 | 23.9407 | 0.83451 | 0.81045 | 0.28136 | 0.8579 | 3.385% | 1.175% | 3.583% | 3.0491 | Grade 21-0-0 |  | 190511 | Grade 16-1-0 | 20
190111 | 148.99 | Total Sulfur, Other (24%) | 16 | 15 | 24.3186 | 0.52491 | 0.51009 | 0.17511 | 0.53931 | 2.098% | 0.7201% | 2.218% | 3.0798 | Grade 21-0-0 |  | 190611 | Grade 1-17-1 | 25
190211 | 1.99 | Ammoniacal Nitrogen, Other (%) | 26 | 23 | 13.7873 | 0.26229 | 0.25914 | 0.057353 | 0.26541 | 1.88% | 0.416% | 1.925% | 4.6276 | Grade 14-14-14 |  | 190711 | Grade 3 - 6.9 - 3.6 | 37
190211 | 10.6 | Total Nitrogen, Combustion (14%) | 58 | 51 | 13.8343 | 0.15672 | 0.14182 | 0.094328 | 0.17033 | 1.025% | 0.6818% | 1.231% | 1.8057 | Grade 14-14-14 |  | 190811 | 11-52-0 MAP | 11
190211 | 10.99 | Total Nitrogen, Other (14%) | 10 | 9 | 13.7353 | 0.3348 | 0.33164 | 0.064849 | 0.33792 | 2.415% | 0.4721% | 2.46% | 5.2109 | Grade 14-14-14 |  | 190812 | 0-0-60 Potash | 4
190211 | 20.2 | Total Phosphorus as P2O5, Spectrophotometric MolybdovanadoP (%) | 21 | 20 | 14.6211 | 0.35517 | 0.34415 | 0.12415 | 0.36586 | 2.354% | 0.8491% | 2.502% | 2.9468 | Grade 14-14-14 |  | 190911 | Grade 10-45-10 | 26
190211 | 20.5 | Total Phosphorus as P2O5, ICP (%) | 23 | 22 | 14.369 | 0.45574 | 0.42067 | 0.24796 | 0.48831 | 2.928% | 1.726% | 3.398% | 1.9693 | Grade 14-14-14 |  | 191011 | Grade 18-46-0 DAP | 13
190211 | 41.51 | Direct Available Phosphorus as P2O5, ICP, Citrate-EDTA Ext. (14%) | 10 | 10 | 14.3464 | 0.41342 | 0.3993 | 0.15146 | 0.42706 | 2.783% | 1.056% | 2.977% | 2.8197 | Grade 14-14-14 |  | 191111 | Turf fertilizer w/Si | 15
190211 | 41.6 | Direct Available Phosphorus as P2O5, Citrate-EDTA Ext. (14%) | 12 | 10 | 14.5935 | 0.1054 | 0.077174 | 0.10153 | 0.12753 | 0.5288% | 0.6957% | 0.8739% | 1.2561 | Grade 14-14-14 |  | 191211 | Grade 8-4-6 Liquid | 25
190211 | 41.99 | Direct Available Phosphorus as P2O5, Other (14%) | 11 | 11 | 14.2455 | 0.22294 | 0.20926 | 0.10875 | 0.23583 | 1.469% | 0.7634% | 1.655% | 2.1685 | Grade 14-14-14 |  |  |  | 9713
190211 | 50 | Soluble Potassium as K2O, STPB Oxalate (14%) | 11 | 9 | 14.4694 | 0.30291 | 0.26349 | 0.21131 | 0.33775 | 1.821% | 1.46% | 2.334% | 1.5984 | Grade 14-14-14 |  |  |  | 9713
190211 | 50.52 | Soluble Potassium as K2O, ICP (Citrate-EDTA) (14%) | 10 | 8 | 14.4281 | 0.44782 | 0.44296 | 0.093055 | 0.45263 | 3.07% | 0.645% | 3.137% | 4.8641 | Grade 14-14-14
190211 | 50.99 | Soluble Potassium as K2O, Other (14%) | 38 | 34 | 14.3588 | 0.52478 | 0.51357 | 0.15255 | 0.53575 | 3.577% | 1.062% | 3.731% | 3.5119 | Grade 14-14-14
190211 | 121.3 | Acid Soluble Magnesium, ICP, test portion inorganic 965.09 (1%) | 14 | 12 | 0.573 | 0.034977 | 0.033472 | 0.014356 | 0.03642 | 5.842% | 2.505% | 6.356% | 2.537 | Grade 14-14-14
190211 | 121.99 | Acid Soluble Magnesium, Other (1%) | 12 | 11 | 0.56033 | 0.087412 | 0.086116 | 0.021212 | 0.08869 | 15.37% | 3.786% | 15.83% | 4.181 | Grade 14-14-14
190211 | 145 | Sulfate Sulfur, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 12 | 10 | 10.3648 | 0.51416 | 0.51146 | 0.074379 | 0.51684 | 4.935% | 0.7176% | 4.987% | 6.9488 | Grade 14-14-14
190211 | 148.01 | Total Sulfur, Gravimetric - sulfate and elemental (7.75%) | 10 | 9 | 10.5591 | 0.17353 | 0.13407 | 0.15581 | 0.20555 | 1.27% | 1.476% | 1.947% | 1.3192 | Grade 14-14-14
190211 | 148.07 | Total Sulfur, ICP, test portion as in 2017.02 (7.75%) | 18 | 15 | 10.2925 | 0.34118 | 0.33625 | 0.081715 | 0.34604 | 3.267% | 0.7939% | 3.362% | 4.2347 | Grade 14-14-14
190211 | 148.99 | Total Sulfur, Other (7.75%) | 13 | 11 | 10.0806 | 1.0749 | 1.0725 | 0.10203 | 1.0773 | 10.64% | 1.012% | 10.69% | 10.5588 | Grade 14-14-14
190211 | 165 | Acid Soluble Boron , Spectrophotometric (0.2%) | 13 | 13 | 0.19648 | 0.013578 | 0.01309 | 0.0051028 | 0.01405 | 6.662% | 2.597% | 7.15% | 2.7533 | Grade 14-14-14
190211 | 165.3 | Acid Soluble Boron , ICP, test portion in 982.01 (0.2%) | 14 | 14 | 0.2098 | 0.0073257 | 0.006321 | 0.0052364 | 0.0082083 | 3.013% | 2.496% | 3.912% | 1.5675 | Grade 14-14-14
190211 | 165.99 | Acid Soluble Boron , Other (0.2%) | 21 | 19 | 0.20351 | 0.020192 | 0.019845 | 0.0052728 | 0.020533 | 9.751% | 2.591% | 10.09% | 3.8942 | Grade 14-14-14
190211 | 181.3 | Acid Soluble Cadmium , ICP (ppm) | 11 | 10 | 175.3778 | 32.4131 | 32.2684 | 4.3261 | 32.5571 | 18.4% | 2.467% | 18.56% | 7.5257 | Grade 14-14-14
190211 | 191.3 | Acid Soluble Chromium , ICP (ppm) | 10 | 10 | 537.5442 | 102.9524 | 102.3541 | 15.674 | 103.5473 | 19.04% | 2.916% | 19.26% | 6.6063 | Grade 14-14-14
190211 | 202.3 | Acid Soluble Cobalt , ICP (ppm) | 8 | 8 | 339.4599 | 78.7647 | 78.476 | 9.5291 | 79.0524 | 23.12% | 2.807% | 23.29% | 8.2959 | Grade 14-14-14
190211 | 221 | Acid Soluble Copper , AA, inorganic 965.09 (0.06%) | 10 | 8 | 0.13153 | 0.0089418 | 0.0077138 | 0.0063956 | 0.01002 | 5.865% | 4.862% | 7.618% | 1.5668 | Grade 14-14-14
190211 | 221.3 | Acid Soluble Copper , ICP, test portion inorganic 965.09 (0.06%) | 17 | 16 | 0.12886 | 0.01293 | 0.012157 | 0.0062303 | 0.01366 | 9.434% | 4.835% | 10.6% | 2.1925 | Grade 14-14-14
190211 | 221.99 | Acid Soluble Copper , Other (0.06%) | 13 | 11 | 0.12507 | 0.020335 | 0.020291 | 0.0018909 | 0.020379 | 16.22% | 1.512% | 16.29% | 10.7772 | Grade 14-14-14
190211 | 241 | Acid Soluble Iron , AA, inorganic 965.09 (1%) | 11 | 11 | 0.60778 | 0.078985 | 0.074597 | 0.036712 | 0.083141 | 12.27% | 6.04% | 13.68% | 2.2647 | Grade 14-14-14
190211 | 241.3 | Acid Soluble Iron , ICP, test portion inorganic 965.09 (1%) | 16 | 13 | 0.69846 | 0.042031 | 0.039854 | 0.018882 | 0.044101 | 5.706% | 2.703% | 6.314% | 2.3356 | Grade 14-14-14
190211 | 241.33 | Acid Soluble Iron , ICP, 2017.02 (1%) | 9 | 9 | 0.66616 | 0.092211 | 0.09158 | 0.015232 | 0.092838 | 13.75% | 2.286% | 13.94% | 6.0951 | Grade 14-14-14
190211 | 241.99 | Acid Soluble Iron , Other (1%) | 13 | 12 | 0.52608 | 0.25695 | 0.25677 | 0.013296 | 0.25712 | 48.81% | 2.527% | 48.87% | 19.3379 | Grade 14-14-14
190211 | 251.3 | Acid Soluble Lead , ICP (ppm) | 10 | 10 | 814.6585 | 190.7749 | 189.8714 | 26.2259 | 191.6741 | 23.31% | 3.219% | 23.53% | 7.3086 | Grade 14-14-14
190211 | 261.12 | Acid Soluble Manganese , AA, inorganic 965.09 (0.16%) | 8 | 8 | 0.14657 | 0.023441 | 0.022721 | 0.0081542 | 0.02414 | 15.5% | 5.563% | 16.47% | 2.9604 | Grade 14-14-14
190211 | 261.35 | Acid Soluble Manganese , ICP, 2017.02 (0.16%) | 10 | 10 | 0.15913 | 0.017895 | 0.017111 | 0.0074063 | 0.018645 | 10.75% | 4.654% | 11.72% | 2.5175 | Grade 14-14-14
190211 | 261.99 | Acid Soluble Manganese , Other (0.16%) | 13 | 12 | 0.15638 | 0.019983 | 0.01938 | 0.0068941 | 0.020569 | 12.39% | 4.409% | 13.15% | 2.9836 | Grade 14-14-14
190211 | 289.3 | Acid Soluble Molybdenum , ICP (50ppm) | 9 | 8 | 872.699 | 89.4358 | 87.4785 | 26.3164 | 91.3512 | 10.02% | 3.016% | 10.47% | 3.4713 | Grade 14-14-14
190211 | 291.3 | Acid Soluble Nickel , ICP (ppm) | 9 | 8 | 12.9638 | 2.5155 | 2.376 | 1.1681 | 2.6476 | 18.33% | 9.01% | 20.42% | 2.2666 | Grade 14-14-14
190211 | 321 | Acid Soluble Zinc , AA, inorganic 965.09 (0.13%) | 13 | 11 | 0.18072 | 0.0076608 | 0.0061021 | 0.0065501 | 0.0089521 | 3.377% | 3.624% | 4.954% | 1.3667 | Grade 14-14-14
190211 | 321.3 | Acid Soluble Zinc , ICP, test portion inorganic 965.09 (0.13%) | 17 | 16 | 0.19379 | 0.014149 | 0.01024 | 0.013807 | 0.01719 | 5.284% | 7.125% | 8.871% | 1.245 | Grade 14-14-14
190211 | 321.33 | Acid Soluble Zinc , ICP, 2017.02 (0.13%) | 10 | 9 | 0.18787 | 0.009887 | 0.008561 | 0.0069946 | 0.011055 | 4.557% | 3.723% | 5.884% | 1.5805 | Grade 14-14-14
190211 | 321.99 | Acid Soluble Zinc , Other (0.13%) | 12 | 10 | 0.16837 | 0.02742 | 0.027343 | 0.0028986 | 0.027496 | 16.24% | 1.722% | 16.33% | 9.486 | Grade 14-14-14
190311 | 1.1 | Ammoniacal Nitrogen, Magnesium Oxide Method (%) | 9 | 9 | 4.9375 | 1.4428 | 1.441 | 0.10152 | 1.4446 | 29.19% | 2.056% | 29.26% | 14.2303 | Grade 12-12-2.5
190311 | 1.99 | Ammoniacal Nitrogen, Other (%) | 15 | 14 | 4.577 | 1.4837 | 1.4827 | 0.078628 | 1.4848 | 32.39% | 1.718% | 32.44% | 18.8832 | Grade 12-12-2.5
190311 | 2.99 | Nitrate Nitrogen, Other (%) | 10 | 8 | 0.063238 | 0.03498 | 0.034755 | 0.0055933 | 0.035202 | 54.96% | 8.845% | 55.67% | 6.2937 | Grade 12-12-2.5
190311 | 10.6 | Total Nitrogen, Combustion (12%) | 56 | 50 | 15.7329 | 0.23269 | 0.21521 | 0.12513 | 0.24894 | 1.368% | 0.7953% | 1.582% | 1.9895 | Grade 12-12-2.5
190311 | 10.99 | Total Nitrogen, Other (12%) | 14 | 14 | 13.7673 | 1.9166 | 1.9096 | 0.23226 | 1.9236 | 13.87% | 1.687% | 13.97% | 8.2821 | Grade 12-12-2.5
190311 | 20.2 | Total Phosphorus as P2O5, Spectrophotometric MolybdovanadoP (%) | 19 | 18 | 12.4963 | 0.31019 | 0.2981 | 0.12125 | 0.32182 | 2.386% | 0.9703% | 2.575% | 2.6542 | Grade 12-12-2.5
190311 | 20.5 | Total Phosphorus as P2O5, ICP (%) | 20 | 19 | 12.7697 | 0.56226 | 0.50553 | 0.34806 | 0.61377 | 3.959% | 2.726% | 4.806% | 1.7634 | Grade 12-12-2.5
190311 | 41.51 | Direct Available Phosphorus as P2O5, ICP, Citrate-EDTA Ext. (12%) | 10 | 10 | 12.4322 | 0.36963 | 0.36408 | 0.090225 | 0.37509 | 2.929% | 0.7257% | 3.017% | 4.1573 | Grade 12-12-2.5
190311 | 41.6 | Direct Available Phosphorus as P2O5, Citrate-EDTA Ext. (12%) | 11 | 10 | 12.539 | 0.34918 | 0.34435 | 0.08184 | 0.35394 | 2.746% | 0.6527% | 2.823% | 4.3248 | Grade 12-12-2.5
190311 | 41.99 | Direct Available Phosphorus as P2O5, Other (12%) | 9 | 9 | 12.2283 | 0.29846 | 0.29165 | 0.08966 | 0.30512 | 2.385% | 0.7332% | 2.495% | 3.4031 | Grade 12-12-2.5
190311 | 50 | Soluble Potassium as K2O, STPB Oxalate (2.5%) | 11 | 10 | 2.558 | 0.23556 | 0.21512 | 0.13576 | 0.25437 | 8.41% | 5.307% | 9.944% | 1.8737 | Grade 12-12-2.5
190311 | 50.5 | Soluble Potassium as K2O, ICP (Oxalate) (2.5%) | 10 | 9 | 2.671 | 0.085649 | 0.084134 | 0.02268 | 0.087137 | 3.15% | 0.8491% | 3.262% | 3.8419 | Grade 12-12-2.5
190311 | 50.99 | Soluble Potassium as K2O, Other (2.5%) | 34 | 28 | 2.5966 | 0.19576 | 0.19223 | 0.052384 | 0.19924 | 7.403% | 2.017% | 7.673% | 3.8033 | Grade 12-12-2.5
190311 | 101.3 | Acid Soluble Calcium, ICP, test portion inorganic 965.09 (6%) | 20 | 19 | 7.9174 | 0.34042 | 0.3005 | 0.22619 | 0.37612 | 3.795% | 2.857% | 4.75% | 1.6628 | Grade 12-12-2.5
190311 | 101.33 | Acid Soluble Calcium, ICP, 2017.02 (6%) | 14 | 12 | 7.8719 | 0.26915 | 0.24943 | 0.14302 | 0.28752 | 3.169% | 1.817% | 3.653% | 2.0104 | Grade 12-12-2.5
190311 | 101.99 | Acid Soluble Calcium, Other (6%) | 9 | 8 | 7.2066 | 0.68804 | 0.68272 | 0.12084 | 0.69333 | 9.473% | 1.677% | 9.621% | 5.7377 | Grade 12-12-2.5
190311 | 121.3 | Acid Soluble Magnesium, ICP, test portion inorganic 965.09 (%) | 10 | 9 | 0.48917 | 0.038397 | 0.038149 | 0.0061599 | 0.038643 | 7.799% | 1.259% | 7.9% | 6.2733 | Grade 12-12-2.5
190311 | 148 | Total Sulfur, Combustion (1.5%) | 9 | 9 | 1.7988 | 0.14683 | 0.14136 | 0.056136 | 0.1521 | 7.859% | 3.121% | 8.456% | 2.7095 | Grade 12-12-2.5
190311 | 148.01 | Total Sulfur, Gravimetric - sulfate and elemental (1.5%) | 11 | 10 | 1.5855 | 0.35509 | 0.35165 | 0.069713 | 0.35849 | 22.18% | 4.397% | 22.61% | 5.1424 | Grade 12-12-2.5
190311 | 148.07 | Total Sulfur, ICP, test portion as in 2017.02 (1.5%) | 15 | 14 | 1.8106 | 0.17982 | 0.17437 | 0.062147 | 0.18512 | 9.631% | 3.432% | 10.22% | 2.9787 | Grade 12-12-2.5
190311 | 148.99 | Total Sulfur, Other (1.5%) | 12 | 11 | 1.8257 | 0.21509 | 0.20968 | 0.067825 | 0.22038 | 11.48% | 3.715% | 12.07% | 3.2492 | Grade 12-12-2.5
190311 | 181.3 | Acid Soluble Cadmium , ICP (ppm) | 10 | 8 | 2.5529 | 0.4321 | 0.4269 | 0.094594 | 0.43725 | 16.72% | 3.705% | 17.13% | 4.6224 | Grade 12-12-2.5
190311 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 14 | 13 | 1.4976 | 0.20549 | 0.20434 | 0.030677 | 0.20663 | 13.64% | 2.048% | 13.8% | 6.7358 | Grade 12-12-2.5
190311 | 311.99 | Sodium, Other (%) | 11 | 9 | 1.5655 | 0.10823 | 0.10667 | 0.025934 | 0.10978 | 6.814% | 1.657% | 7.012% | 4.2329 | Grade 12-12-2.5
190311 | 321.3 | Acid Soluble Zinc , ICP, test portion inorganic 965.09 (%) | 12 | 10 | 0.018755 | 0.0014656 | 0.0014258 | 0.0004801 | 0.0015044 | 7.602% | 2.56% | 8.021% | 3.1335 | Grade 12-12-2.5
190311 | 321.99 | Acid Soluble Zinc , Other (%) | 11 | 9 | 0.016683 | 0.0025901 | 0.0025531 | 0.00061689 | 0.0026266 | 15.3% | 3.698% | 15.74% | 4.2578 | Grade 12-12-2.5
190411 | 50 | Soluble K2O, STPB Oxalate (25%) | 11 | 8 | 25.2344 | 0.23854 | 0.23123 | 0.082878 | 0.24564 | 0.9163% | 0.3284% | 0.9734% | 2.9638 | Grade 0-0-25-17S
190411 | 50.5 | Soluble K2O, ICP (Oxalate) (25%) | 10 | 9 | 25.0452 | 0.79463 | 0.67848 | 0.58499 | 0.89585 | 2.709% | 2.336% | 3.577% | 1.5314 | Grade 0-0-25-17S
190411 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (25%) | 11 | 9 | 25.3414 | 0.36114 | 0.33325 | 0.19681 | 0.38703 | 1.315% | 0.7767% | 1.527% | 1.9665 | Grade 0-0-25-17S
190411 | 50.99 | Soluble K2O, Other (25%) | 39 | 35 | 25.2793 | 0.6562 | 0.64153 | 0.19511 | 0.67054 | 2.538% | 0.7718% | 2.653% | 3.4368 | Grade 0-0-25-17S
190411 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 9 | 8 | 13.8805 | 8.6671 | 8.6667 | 0.1159 | 8.6675 | 62.44% | 0.835% | 62.44% | 74.7827 | Grade 0-0-25-17S
190411 | 148.07 | Total S, ICP, test portion as in 2017.02 (17%) | 15 | 13 | 17.1369 | 0.67964 | 0.65455 | 0.25873 | 0.70383 | 3.82% | 1.51% | 4.107% | 2.7203 | Grade 0-0-25-17S
190411 | 148.99 | Total S, Other (17%) | 13 | 11 | 17.2862 | 0.3525 | 0.33858 | 0.13871 | 0.36589 | 1.959% | 0.8024% | 2.117% | 2.6379 | Grade 0-0-25-17S
190511 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 10 | 9 | 15.6205 | 0.36629 | 0.33624 | 0.20548 | 0.39406 | 2.153% | 1.315% | 2.523% | 1.9177 | Grade 16-1-0
190511 | 1.99 | Ammoniacal N, Other (%) | 25 | 24 | 15.9355 | 0.73489 | 0.73018 | 0.11747 | 0.73957 | 4.582% | 0.7372% | 4.641% | 6.2958 | Grade 16-1-0
190511 | 10.6 | Total N, Combustion (16%) | 60 | 55 | 17.4931 | 0.20408 | 0.19279 | 0.094652 | 0.21477 | 1.102% | 0.5411% | 1.228% | 2.2691 | Grade 16-1-0
190511 | 10.99 | Total N, Other (16%) | 16 | 15 | 16.944 | 0.68385 | 0.67966 | 0.1069 | 0.68801 | 4.011% | 0.6309% | 4.06% | 6.4358 | Grade 16-1-0
190511 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 18 | 15 | 1.3147 | 0.19339 | 0.1931 | 0.015031 | 0.19368 | 14.69% | 1.143% | 14.73% | 12.8854 | Grade 16-1-0
190511 | 20.5 | Total P2O5, ICP (%) | 24 | 22 | 1.3263 | 0.075737 | 0.072262 | 0.032072 | 0.07906 | 5.448% | 2.418% | 5.961% | 2.465 | Grade 16-1-0
190511 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (1%) | 9 | 9 | 1.2666 | 0.077002 | 0.071011 | 0.042111 | 0.082559 | 5.607% | 3.325% | 6.518% | 1.9605 | Grade 16-1-0
190511 | 41.99 | Direct Available P2O5, Other (1%) | 11 | 10 | 1.1159 | 0.14914 | 0.14441 | 0.05269 | 0.15373 | 12.94% | 4.722% | 13.78% | 2.9176 | Grade 16-1-0
190511 | 50.99 | Soluble K2O, Other (%) | 11 | 8 | 0.42921 | 0.014104 | 0.011465 | 0.011616 | 0.016321 | 2.671% | 2.706% | 3.803% | 1.4051 | Grade 16-1-0
190511 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 9 | 8 | 19.3033 | 0.44975 | 0.43496 | 0.16179 | 0.46407 | 2.253% | 0.8381% | 2.404% | 2.8684 | Grade 16-1-0
190511 | 148.01 | Total S, Gravimetric - sulfate and elemental (20%) | 12 | 11 | 19.7285 | 0.73514 | 0.72016 | 0.2088 | 0.74982 | 3.65% | 1.058% | 3.801% | 3.591 | Grade 16-1-0
190511 | 148.07 | Total S, ICP, test portion as in 2017.02 (20%) | 18 | 15 | 19.0326 | 0.67629 | 0.65923 | 0.21351 | 0.69294 | 3.464% | 1.122% | 3.641% | 3.2455 | Grade 16-1-0
190511 | 148.99 | Total S, Other (20%) | 11 | 10 | 19.2545 | 0.60837 | 0.58801 | 0.22069 | 0.62807 | 3.054% | 1.146% | 3.262% | 2.8459 | Grade 16-1-0
190511 | 191.3 | Acid Soluble Cr, ICP (ppm) | 11 | 8 | 10.3655 | 0.87964 | 0.55683 | 0.96302 | 1.1124 | 5.372% | 9.291% | 10.73% | 1.1551 | Grade 16-1-0
190511 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 10 | 8 | 0.0071875 | 0.0019917 | 0.0019722 | 0.0003937 | 0.0020111 | 27.44% | 5.478% | 27.98% | 5.1082 | Grade 16-1-0
190511 | 221.99 | Acid Soluble Cu, Other (%) | 10 | 9 | 0.0050944 | 0.00044402 | 0.00044056 | 7.8174e-05 | 0.00044745 | 8.648% | 1.534% | 8.783% | 5.7238 | Grade 16-1-0
190511 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 8 | 8 | 1.1844 | 0.074135 | 0.072321 | 0.023049 | 0.075905 | 6.106% | 1.946% | 6.409% | 3.2932 | Grade 16-1-0
190511 | 291.3 | Acid Soluble Ni, ICP (ppm) | 11 | 8 | 6.7006 | 0.70417 | 0.51395 | 0.68075 | 0.85298 | 7.67% | 10.16% | 12.73% | 1.253 | Grade 16-1-0
190511 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 11 | 9 | 0.010778 | 0.00087325 | 0.0006846 | 0.00076667 | 0.0010278 | 6.352% | 7.113% | 9.537% | 1.3407 | Grade 16-1-0
190511 | 321.99 | Acid Soluble Zn, Other (%) | 12 | 8 | 0.011081 | 0.0021822 | 0.0021811 | 9.6825e-05 | 0.0021833 | 19.68% | 0.8738% | 19.7% | 22.549 | Grade 16-1-0
190611 | 10.11 | Total N, Modified Comprehensive (0.9%) | 9 | 8 | 0.39062 | 0.3126 | 0.31225 | 0.020767 | 0.31294 | 79.94% | 5.316% | 80.11% | 15.0695 | Grade 1-17-1
190611 | 10.6 | Total N, Combustion (0.9%) | 53 | 47 | 0.27791 | 0.073407 | 0.072327 | 0.017737 | 0.07447 | 26.03% | 6.382% | 26.8% | 4.1985 | Grade 1-17-1
190611 | 10.99 | Total N, Other (0.9%) | 13 | 12 | 0.6588 | 0.38041 | 0.38001 | 0.024944 | 0.38082 | 57.68% | 3.786% | 57.81% | 15.2672 | Grade 1-17-1
190611 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 19 | 16 | 20.2505 | 0.49684 | 0.48216 | 0.16952 | 0.51109 | 2.381% | 0.8371% | 2.524% | 3.015 | Grade 1-17-1
190611 | 20.5 | Total P2O5, ICP (%) | 24 | 20 | 20.2195 | 1.4577 | 1.4535 | 0.15587 | 1.4619 | 7.189% | 0.7709% | 7.23% | 9.3788 | Grade 1-17-1
190611 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (17%) | 8 | 8 | 16.1975 | 1.1341 | 1.1217 | 0.2368 | 1.1464 | 6.925% | 1.462% | 7.078% | 4.8413 | Grade 1-17-1
190611 | 41.6 | Direct Available P2O5, Citrate-EDTA Ext. (17%) | 13 | 13 | 16.6911 | 1.2078 | 1.1925 | 0.27139 | 1.2229 | 7.144% | 1.626% | 7.327% | 4.5063 | Grade 1-17-1
190611 | 41.99 | Direct Available P2O5, Other (17%) | 9 | 9 | 17.0861 | 0.22041 | 0.20332 | 0.12035 | 0.23627 | 1.19% | 0.7044% | 1.383% | 1.9632 | Grade 1-17-1
190611 | 50.5 | Soluble K2O, ICP (Oxalate) (0.9%) | 10 | 10 | 0.2063 | 0.076403 | 0.075908 | 0.01228 | 0.076895 | 36.8% | 5.953% | 37.27% | 6.2618 | Grade 1-17-1
190611 | 50.99 | Soluble K2O, Other (0.9%) | 25 | 19 | 0.21818 | 0.09855 | 0.098311 | 0.0097131 | 0.098789 | 45.06% | 4.452% | 45.28% | 10.1708 | Grade 1-17-1
190611 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (20%) | 17 | 16 | 22.5886 | 1.3863 | 1.3752 | 0.24715 | 1.3972 | 6.088% | 1.094% | 6.186% | 5.6535 | Grade 1-17-1
190611 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (20%) | 17 | 15 | 22.6131 | 0.81125 | 0.73475 | 0.48634 | 0.88113 | 3.249% | 2.151% | 3.897% | 1.8118 | Grade 1-17-1
190611 | 101.99 | Acid Soluble Ca, Other (20%) | 11 | 8 | 22.7283 | 1.7032 | 1.699 | 0.16931 | 1.7074 | 7.475% | 0.7449% | 7.512% | 10.0845 | Grade 1-17-1
190611 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 11 | 10 | 11.4976 | 0.24864 | 0.23773 | 0.10301 | 0.25909 | 2.068% | 0.896% | 2.253% | 2.5151 | Grade 1-17-1
190611 | 148 | Total S, Combustion (11%) | 9 | 8 | 11.3997 | 0.21502 | 0.14293 | 0.22718 | 0.2684 | 1.254% | 1.993% | 2.354% | 1.1815 | Grade 1-17-1
190611 | 148.01 | Total S, Gravimetric - sulfate and elemental (11%) | 10 | 8 | 11.39 | 0.20809 | 0.20118 | 0.075166 | 0.21477 | 1.766% | 0.6599% | 1.886% | 2.8572 | Grade 1-17-1
190611 | 148.07 | Total S, ICP, test portion as in 2017.02 (11%) | 19 | 17 | 10.9601 | 0.87087 | 0.86344 | 0.16051 | 0.87823 | 7.878% | 1.465% | 8.013% | 5.4714 | Grade 1-17-1
190611 | 148.99 | Total S, Other (11%) | 12 | 10 | 11.136 | 0.77901 | 0.77672 | 0.084499 | 0.7813 | 6.975% | 0.7588% | 7.016% | 9.2463 | Grade 1-17-1
190611 | 181.3 | Acid Soluble Cd, ICP (ppm) | 12 | 11 | 10.6316 | 2.6952 | 2.643 | 0.7459 | 2.7463 | 24.86% | 7.016% | 25.83% | 3.6818 | Grade 1-17-1
190611 | 191.3 | Acid Soluble Cr, ICP (ppm) | 11 | 9 | 111.8911 | 20.641 | 20.2526 | 5.6361 | 21.0223 | 18.1% | 5.037% | 18.79% | 3.7299 | Grade 1-17-1
190611 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 8 | 8 | 8.1332 | 1.7338 | 1.6847 | 0.57965 | 1.7816 | 20.71% | 7.127% | 21.91% | 3.0736 | Grade 1-17-1
190611 | 251.3 | Acid Soluble Pb, ICP (ppm) | 11 | 10 | 2.5768 | 0.87797 | 0.86909 | 0.17606 | 0.88675 | 33.73% | 6.833% | 34.41% | 5.0366 | Grade 1-17-1
190611 | 291.3 | Acid Soluble Ni, ICP (ppm) | 10 | 9 | 8.9966 | 1.9226 | 1.8662 | 0.65353 | 1.9773 | 20.74% | 7.264% | 21.98% | 3.0256 | Grade 1-17-1
190611 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 13 | 9 | 0.019156 | 0.006961 | 0.0069431 | 0.00070632 | 0.0069789 | 36.25% | 3.687% | 36.43% | 9.8807 | Grade 1-17-1
190611 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 12 | 11 | 0.017109 | 0.0023739 | 0.0023311 | 0.00063461 | 0.0024159 | 13.62% | 3.709% | 14.12% | 3.807 | Grade 1-17-1
190711 | 10.11 | Total N, Modified Comprehensive (3%) | 8 | 8 | 3.9773 | 1.4745 | 1.4736 | 0.073915 | 1.4754 | 37.05% | 1.858% | 37.1% | 19.9608 | Grade 3 - 6.9 - 3.6
190711 | 10.6 | Total N, Combustion (3%) | 58 | 54 | 3.6586 | 0.083344 | 0.080418 | 0.030958 | 0.086171 | 2.198% | 0.8462% | 2.355% | 2.7834 | Grade 3 - 6.9 - 3.6
190711 | 10.99 | Total N, Other (3%) | 17 | 16 | 3.8522 | 1.0724 | 1.0713 | 0.070505 | 1.0736 | 27.81% | 1.83% | 27.87% | 15.227 | Grade 3 - 6.9 - 3.6
190711 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 19 | 17 | 5.2147 | 1.1964 | 1.1943 | 0.099393 | 1.1985 | 22.9% | 1.906% | 22.98% | 12.0578 | Grade 3 - 6.9 - 3.6
190711 | 20.5 | Total P2O5, ICP (%) | 26 | 23 | 5.1673 | 0.63499 | 0.63283 | 0.07402 | 0.63715 | 12.25% | 1.432% | 12.33% | 8.6078 | Grade 3 - 6.9 - 3.6
190711 | 41.6 | Direct Available P2O5, Citrate-EDTA Ext. (6.9%) | 8 | 8 | 5.1847 | 0.70642 | 0.70431 | 0.077085 | 0.70852 | 13.58% | 1.487% | 13.67% | 9.1915 | Grade 3 - 6.9 - 3.6
190711 | 50.51 | Soluble K2O, ICP (Citrate) (3.6%) | 8 | 8 | 4.5081 | 0.55767 | 0.55404 | 0.089812 | 0.56127 | 12.29% | 1.992% | 12.45% | 6.2494 | Grade 3 - 6.9 - 3.6
190711 | 50.99 | Soluble K2O, Other (3.6%) | 35 | 33 | 4.2339 | 0.49719 | 0.49397 | 0.079991 | 0.5004 | 11.67% | 1.889% | 11.82% | 6.2557 | Grade 3 - 6.9 - 3.6
190711 | 101 | Acid Soluble Ca, AA, inorganic 965.09 (2%) | 9 | 8 | 4.0051 | 0.80407 | 0.798 | 0.13944 | 0.81009 | 19.92% | 3.482% | 20.23% | 5.8095 | Grade 3 - 6.9 - 3.6
190711 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (2%) | 19 | 17 | 4.4145 | 0.51699 | 0.51427 | 0.074909 | 0.5197 | 11.65% | 1.697% | 11.77% | 6.9377 | Grade 3 - 6.9 - 3.6
190711 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (2%) | 14 | 13 | 4.2711 | 0.22714 | 0.21953 | 0.082481 | 0.23451 | 5.14% | 1.931% | 5.491% | 2.8432 | Grade 3 - 6.9 - 3.6
190711 | 101.99 | Acid Soluble Ca, Other (2%) | 12 | 10 | 3.974 | 0.22984 | 0.22547 | 0.06307 | 0.23413 | 5.674% | 1.587% | 5.892% | 3.7122 | Grade 3 - 6.9 - 3.6
190711 | 121 | Acid Soluble Mg, AA, inorganic 965.09 (1.7%) | 9 | 8 | 1.7554 | 0.13309 | 0.13096 | 0.033493 | 0.13518 | 7.461% | 1.908% | 7.701% | 4.0361 | Grade 3 - 6.9 - 3.6
190711 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (1.7%) | 19 | 17 | 1.7523 | 0.096537 | 0.095618 | 0.018789 | 0.097447 | 5.457% | 1.072% | 5.561% | 5.1863 | Grade 3 - 6.9 - 3.6
190711 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (1.7%) | 13 | 12 | 1.6817 | 0.083248 | 0.080063 | 0.032253 | 0.086315 | 4.761% | 1.918% | 5.132% | 2.6762 | Grade 3 - 6.9 - 3.6
190711 | 121.99 | Acid Soluble Mg, Other (1.7%) | 15 | 13 | 1.6662 | 0.10241 | 0.09744 | 0.044588 | 0.10716 | 5.848% | 2.676% | 6.431% | 2.4033 | Grade 3 - 6.9 - 3.6
190711 | 148.01 | Total S, Gravimetric - sulfate and elemental (7%) | 11 | 10 | 7.1338 | 0.35762 | 0.35214 | 0.088164 | 0.36301 | 4.936% | 1.236% | 5.089% | 4.1175 | Grade 3 - 6.9 - 3.6
190711 | 148.07 | Total S, ICP, test portion as in 2017.02 (7%) | 15 | 12 | 7.4383 | 0.41281 | 0.40963 | 0.072279 | 0.41596 | 5.507% | 0.9717% | 5.592% | 5.7549 | Grade 3 - 6.9 - 3.6
190711 | 148.99 | Total S, Other (7%) | 14 | 13 | 7.3517 | 0.58697 | 0.58416 | 0.081205 | 0.58977 | 7.946% | 1.105% | 8.022% | 7.2628 | Grade 3 - 6.9 - 3.6
190711 | 165 | Acid Soluble B, Spectrophotometric (1.5%) | 11 | 10 | 1.1035 | 0.13998 | 0.13549 | 0.049704 | 0.14432 | 12.28% | 4.504% | 13.08% | 2.9036 | Grade 3 - 6.9 - 3.6
190711 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (1.5%) | 11 | 10 | 1.0086 | 0.10703 | 0.10617 | 0.019129 | 0.10788 | 10.53% | 1.897% | 10.7% | 5.6396 | Grade 3 - 6.9 - 3.6
190711 | 165.99 | Acid Soluble B, Other (1.5%) | 23 | 19 | 1.006 | 0.11577 | 0.11559 | 0.0092448 | 0.11596 | 11.49% | 0.919% | 11.53% | 12.5428 | Grade 3 - 6.9 - 3.6
190711 | 221 | Acid Soluble Cu, AA, inorganic 965.09 (1%) | 10 | 10 | 0.75691 | 0.028994 | 0.026735 | 0.015867 | 0.031089 | 3.532% | 2.096% | 4.107% | 1.9594 | Grade 3 - 6.9 - 3.6
190711 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (1%) | 20 | 19 | 0.76614 | 0.081234 | 0.079624 | 0.022761 | 0.082813 | 10.39% | 2.971% | 10.81% | 3.6383 | Grade 3 - 6.9 - 3.6
190711 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (1%) | 12 | 10 | 0.75165 | 0.051797 | 0.051377 | 0.0093131 | 0.052214 | 6.835% | 1.239% | 6.947% | 5.6065 | Grade 3 - 6.9 - 3.6
190711 | 221.99 | Acid Soluble Cu, Other (1%) | 14 | 14 | 0.7973 | 0.092047 | 0.090815 | 0.021231 | 0.093264 | 11.39% | 2.663% | 11.7% | 4.3929 | Grade 3 - 6.9 - 3.6
190711 | 241 | Acid Soluble Fe, AA, inorganic 965.09 (1%) | 11 | 10 | 0.97094 | 0.043956 | 0.041106 | 0.02202 | 0.046632 | 4.234% | 2.268% | 4.803% | 2.1177 | Grade 3 - 6.9 - 3.6
190711 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (1%) | 20 | 18 | 0.94759 | 0.05386 | 0.052812 | 0.014958 | 0.054889 | 5.573% | 1.579% | 5.793% | 3.6696 | Grade 3 - 6.9 - 3.6
190711 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (1%) | 14 | 11 | 0.92609 | 0.049373 | 0.048376 | 0.013958 | 0.050349 | 5.224% | 1.507% | 5.437% | 3.6071 | Grade 3 - 6.9 - 3.6
190711 | 241.99 | Acid Soluble Fe, Other (1%) | 14 | 14 | 0.92473 | 0.080252 | 0.079013 | 0.019862 | 0.081472 | 8.544% | 2.148% | 8.81% | 4.1018 | Grade 3 - 6.9 - 3.6
190711 | 261.12 | Acid Soluble Mn, AA, inorganic 965.09 (1.5%) | 10 | 10 | 1.0891 | 0.07574 | 0.071752 | 0.034301 | 0.079529 | 6.588% | 3.149% | 7.302% | 2.3186 | Grade 3 - 6.9 - 3.6
190711 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (1.5%) | 14 | 12 | 1.0814 | 0.076931 | 0.075518 | 0.020761 | 0.07832 | 6.983% | 1.92% | 7.242% | 3.7724 | Grade 3 - 6.9 - 3.6
190711 | 261.99 | Acid Soluble Mn, Other (1.5%) | 15 | 14 | 1.1752 | 0.166 | 0.16496 | 0.026242 | 0.16703 | 14.04% | 2.233% | 14.21% | 6.3651 | Grade 3 - 6.9 - 3.6
190711 | 321 | Acid Soluble Zn, AA, inorganic 965.09 (2%) | 12 | 12 | 1.5215 | 0.24163 | 0.24037 | 0.034923 | 0.24289 | 15.8% | 2.295% | 15.96% | 6.955 | Grade 3 - 6.9 - 3.6
190711 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (2%) | 20 | 18 | 1.4579 | 0.064762 | 0.062459 | 0.024209 | 0.066986 | 4.284% | 1.661% | 4.595% | 2.767 | Grade 3 - 6.9 - 3.6
190711 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (2%) | 14 | 12 | 1.4194 | 0.094469 | 0.091218 | 0.034744 | 0.097611 | 6.427% | 2.448% | 6.877% | 2.8094 | Grade 3 - 6.9 - 3.6
190711 | 321.99 | Acid Soluble Zn, Other (2%) | 12 | 10 | 1.4102 | 0.1002 | 0.096412 | 0.038579 | 0.10384 | 6.837% | 2.736% | 7.364% | 2.6917 | Grade 3 - 6.9 - 3.6
190811 | 1.99 | Ammoniacal N, Other (%) | 23 | 20 | 11.117 | 0.23278 | 0.20633 | 0.15241 | 0.25651 | 1.856% | 1.371% | 2.307% | 1.683 | 11-52-0 MAP
190811 | 10.6 | Total N, Combustion (11%) | 54 | 50 | 11.1021 | 0.17729 | 0.16558 | 0.089618 | 0.18828 | 1.491% | 0.8072% | 1.696% | 2.1009 | 11-52-0 MAP
190811 | 10.99 | Total N, Other (11%) | 12 | 10 | 11.1746 | 0.19674 | 0.18974 | 0.073542 | 0.2035 | 1.698% | 0.6581% | 1.821% | 2.7671 | 11-52-0 MAP
190811 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 21 | 20 | 52.229 | 0.81552 | 0.79944 | 0.22796 | 0.8313 | 1.531% | 0.4365% | 1.592% | 3.6467 | 11-52-0 MAP
190811 | 20.5 | Total P2O5, ICP (%) | 18 | 15 | 51.3379 | 3.6801 | 3.6537 | 0.62246 | 3.7063 | 7.117% | 1.212% | 7.219% | 5.9543 | 11-52-0 MAP
190811 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 10 | 9 | 46.4674 | 1.8761 | 1.8657 | 0.27803 | 1.8863 | 4.015% | 0.5983% | 4.059% | 6.7846 | 11-52-0 MAP
190811 | 181.3 | Acid Soluble Cd, ICP (ppm) | 13 | 9 | 65.8401 | 6.6427 | 6.502 | 1.9234 | 6.7805 | 9.875% | 2.921% | 10.3% | 3.5253 | 11-52-0 MAP
190811 | 191.3 | Acid Soluble Cr, ICP (ppm) | 12 | 10 | 253.5032 | 125.089 | 125.0655 | 3.4273 | 125.1125 | 49.33% | 1.352% | 49.35% | 36.5043 | 11-52-0 MAP
190811 | 291.3 | Acid Soluble Ni, ICP (ppm) | 11 | 8 | 46.766 | 3.4334 | 3.3469 | 1.0832 | 3.5178 | 7.157% | 2.316% | 7.522% | 3.2477 | 11-52-0 MAP
190811 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 11 | 9 | 0.094956 | 0.0062069 | 0.0050114 | 0.0051791 | 0.0072068 | 5.278% | 5.454% | 7.59% | 1.3915 | 11-52-0 MAP
190811 | 321.99 | Acid Soluble Zn, Other (%) | 9 | 8 | 0.077656 | 0.030485 | 0.030361 | 0.0038917 | 0.030609 | 39.1% | 5.011% | 39.42% | 7.8651 | 11-52-0 MAP
190812 | 50 | Soluble K2O, STPB Oxalate (60%) | 12 | 10 | 61.907 | 1.1887 | 1.1856 | 0.12243 | 1.1919 | 1.915% | 0.1978% | 1.925% | 9.7348 | 0-0-60 Potash
190812 | 50.5 | Soluble K2O, ICP (Oxalate) (60%) | 9 | 8 | 62.1328 | 4.0423 | 3.9997 | 0.82741 | 4.0844 | 6.437% | 1.332% | 6.574% | 4.9364 | 0-0-60 Potash
190812 | 50.99 | Soluble K2O, Other (60%) | 40 | 36 | 61.8287 | 1.8649 | 1.8279 | 0.52227 | 1.9011 | 2.956% | 0.8447% | 3.075% | 3.64 | 0-0-60 Potash
190812 | 190 | Water Soluble Cl, Titrimetric (%) | 13 | 11 | 47.5372 | 1.359 | 1.352 | 0.19412 | 1.3659 | 2.844% | 0.4084% | 2.873% | 7.0363 | 0-0-60 Potash
190911 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 9 | 8 | 8.9032 | 0.29966 | 0.2968 | 0.058403 | 0.30249 | 3.334% | 0.656% | 3.398% | 5.1794 | Grade 10-45-10
190911 | 1.99 | Ammoniacal N, Other (%) | 28 | 26 | 8.7899 | 0.29643 | 0.29232 | 0.069566 | 0.30048 | 3.326% | 0.7914% | 3.418% | 4.3194 | Grade 10-45-10
190911 | 5.99 | Urea N, Other (%) | 14 | 11 | 1.4223 | 0.26019 | 0.25866 | 0.039829 | 0.26171 | 18.19% | 2.8% | 18.4% | 6.5707 | Grade 10-45-10
190911 | 10.6 | Total N, Combustion (10%) | 58 | 51 | 10.3856 | 0.4062 | 0.384 | 0.18729 | 0.42724 | 3.697% | 1.803% | 4.114% | 2.2812 | Grade 10-45-10
190911 | 10.99 | Total N, Other (10%) | 19 | 18 | 10.1907 | 0.44829 | 0.43633 | 0.14543 | 0.45993 | 4.282% | 1.427% | 4.513% | 3.1625 | Grade 10-45-10
190911 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 21 | 19 | 45.3406 | 0.67661 | 0.67287 | 0.10043 | 0.68033 | 1.484% | 0.2215% | 1.5% | 6.7744 | Grade 10-45-10
190911 | 20.5 | Total P2O5, ICP (%) | 23 | 21 | 44.9082 | 2.8461 | 2.7906 | 0.79098 | 2.9005 | 6.214% | 1.761% | 6.459% | 3.667 | Grade 10-45-10
190911 | 41.99 | Direct Available P2O5, Other (45%) | 11 | 10 | 45.16 | 0.34687 | 0.33766 | 0.11234 | 0.35585 | 0.7477% | 0.2488% | 0.788% | 3.1677 | Grade 10-45-10
190911 | 50 | Soluble K2O, STPB Oxalate (10%) | 10 | 8 | 11.0519 | 0.51543 | 0.5134 | 0.064663 | 0.51746 | 4.645% | 0.5851% | 4.682% | 8.0024 | Grade 10-45-10
190911 | 50.5 | Soluble K2O, ICP (Oxalate) (10%) | 10 | 9 | 11.4334 | 1.0094 | 0.96891 | 0.40025 | 1.0483 | 8.474% | 3.501% | 9.169% | 2.6192 | Grade 10-45-10
190911 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (10%) | 9 | 9 | 11.138 | 1.4385 | 1.3897 | 0.52536 | 1.4857 | 12.48% | 4.717% | 13.34% | 2.8279 | Grade 10-45-10
190911 | 50.99 | Soluble K2O, Other (10%) | 41 | 39 | 10.7861 | 0.84514 | 0.81172 | 0.33276 | 0.87728 | 7.526% | 3.085% | 8.133% | 2.6363 | Grade 10-45-10
190911 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (0.02%) | 14 | 12 | 0.0195 | 0.0014447 | 0.0011437 | 0.0012483 | 0.0016931 | 5.865% | 6.402% | 8.682% | 1.3563 | Grade 10-45-10
190911 | 165.99 | Acid Soluble B, Other (0.02%) | 16 | 13 | 0.02045 | 0.0016306 | 0.0013378 | 0.0013184 | 0.0018782 | 6.542% | 6.447% | 9.185% | 1.4247 | Grade 10-45-10
190911 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (0.05%) | 19 | 17 | 0.044368 | 0.0079656 | 0.0074197 | 0.0040986 | 0.0084764 | 16.72% | 9.238% | 19.1% | 2.0681 | Grade 10-45-10
190911 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (0.05%) | 13 | 12 | 0.050125 | 0.010537 | 0.0096139 | 0.0060986 | 0.011385 | 19.18% | 12.17% | 22.71% | 1.8668 | Grade 10-45-10
190911 | 221.99 | Acid Soluble Cu, Other (0.05%) | 13 | 10 | 0.04992 | 0.0067399 | 0.0066275 | 0.0017335 | 0.0068504 | 13.28% | 3.473% | 13.72% | 3.9518 | Grade 10-45-10
190911 | 241 | Acid Soluble Fe, AA, inorganic 965.09 (0.1%) | 9 | 9 | 0.10562 | 0.0063255 | 0.0052828 | 0.0049204 | 0.0072192 | 5.002% | 4.658% | 6.835% | 1.4672 | Grade 10-45-10
190911 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (0.1%) | 21 | 19 | 0.098382 | 0.0113 | 0.010039 | 0.0073383 | 0.012435 | 10.2% | 7.459% | 12.64% | 1.6945 | Grade 10-45-10
190911 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (0.1%) | 15 | 13 | 0.10318 | 0.012974 | 0.0097134 | 0.012164 | 0.015566 | 9.414% | 11.79% | 15.09% | 1.2797 | Grade 10-45-10
190911 | 241.99 | Acid Soluble Fe, Other (0.1%) | 11 | 11 | 0.098418 | 0.024043 | 0.0231 | 0.0094297 | 0.024951 | 23.47% | 9.581% | 25.35% | 2.646 | Grade 10-45-10
190911 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (0.05%) | 12 | 12 | 0.053896 | 0.0068094 | 0.0047856 | 0.0068507 | 0.0083567 | 8.879% | 12.71% | 15.51% | 1.2198 | Grade 10-45-10
190911 | 261.99 | Acid Soluble Mn, Other (0.05%) | 12 | 10 | 0.052425 | 0.0062294 | 0.005897 | 0.0028391 | 0.0065449 | 11.25% | 5.416% | 12.48% | 2.3053 | Grade 10-45-10
190911 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (0.05%) | 21 | 19 | 0.045924 | 0.0071292 | 0.0066752 | 0.0035402 | 0.0075559 | 14.54% | 7.709% | 16.45% | 2.1343 | Grade 10-45-10
190911 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (0.05%) | 13 | 10 | 0.050725 | 0.0033354 | 0.0015877 | 0.0041482 | 0.0044417 | 3.13% | 8.178% | 8.756% | 1.0707 | Grade 10-45-10
190911 | 321.99 | Acid Soluble Zn, Other (0.05%) | 10 | 9 | 0.045594 | 0.010889 | 0.010171 | 0.0055008 | 0.011563 | 22.31% | 12.06% | 25.36% | 2.102 | Grade 10-45-10
191011 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 12 | 12 | 17.4242 | 0.83441 | 0.8194 | 0.2228 | 0.84915 | 4.703% | 1.279% | 4.873% | 3.8113 | Grade 18-46-0 DAP
191011 | 1.99 | Ammoniacal N, Other (%) | 28 | 26 | 17.9733 | 0.2755 | 0.26611 | 0.10087 | 0.28459 | 1.481% | 0.5612% | 1.583% | 2.8212 | Grade 18-46-0 DAP
191011 | 10.6 | Total N, Combustion (18%) | 63 | 59 | 17.943 | 0.22399 | 0.21253 | 0.10002 | 0.23489 | 1.184% | 0.5574% | 1.309% | 2.3485 | Grade 18-46-0 DAP
191011 | 10.99 | Total N, Other (18%) | 10 | 10 | 17.9546 | 0.40957 | 0.39895 | 0.13107 | 0.41993 | 2.222% | 0.73% | 2.339% | 3.2038 | Grade 18-46-0 DAP
191011 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 27 | 25 | 46.1792 | 0.68783 | 0.67867 | 0.15824 | 0.69687 | 1.47% | 0.3427% | 1.509% | 4.4038 | Grade 18-46-0 DAP
191011 | 20.5 | Total P2O5, ICP (%) | 19 | 16 | 45.5673 | 1.5809 | 1.3238 | 1.2221 | 1.8017 | 2.905% | 2.682% | 3.954% | 1.4743 | Grade 18-46-0 DAP
191011 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (46%) | 13 | 12 | 45.9563 | 0.79832 | 0.79116 | 0.15088 | 0.80542 | 1.722% | 0.3283% | 1.753% | 5.3382 | Grade 18-46-0 DAP
191011 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (46%) | 11 | 11 | 45.6355 | 0.60268 | 0.47562 | 0.52347 | 0.70727 | 1.042% | 1.147% | 1.55% | 1.3511 | Grade 18-46-0 DAP
191011 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 10 | 9 | 42.7172 | 1.4084 | 1.4042 | 0.15407 | 1.4126 | 3.287% | 0.3607% | 3.307% | 9.1687 | Grade 18-46-0 DAP
191011 | 181.3 | Acid Soluble Cd, ICP (ppm) | 10 | 8 | 28.0767 | 16.6419 | 16.6341 | 0.71791 | 16.6496 | 59.25% | 2.557% | 59.3% | 23.1916 | Grade 18-46-0 DAP
191011 | 291.3 | Acid Soluble Ni, ICP (ppm) | 9 | 8 | 7.768 | 2.8611 | 2.8389 | 0.50304 | 2.8832 | 36.55% | 6.476% | 37.12% | 5.7315 | Grade 18-46-0 DAP
191011 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 13 | 12 | 0.045146 | 0.003829 | 0.0030886 | 0.0032006 | 0.0044479 | 6.841% | 7.089% | 9.852% | 1.3897 | Grade 18-46-0 DAP
191011 | 321.99 | Acid Soluble Zn, Other (%) | 8 | 8 | 0.042181 | 0.0071382 | 0.0071247 | 0.00062099 | 0.0071517 | 16.89% | 1.472% | 16.95% | 11.5167 | Grade 18-46-0 DAP
191111 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (24%) | 22 | 20 | 24.8451 | 1.1684 | 1.1545 | 0.25453 | 1.1822 | 4.647% | 1.024% | 4.758% | 4.6448 | Turf fertilizer w/Si
191111 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (24%) | 14 | 13 | 24.0984 | 0.77729 | 0.73767 | 0.34645 | 0.81498 | 3.061% | 1.438% | 3.382% | 2.3523 | Turf fertilizer w/Si
191111 | 101.99 | Acid Soluble Ca, Other (24%) | 12 | 11 | 24.4145 | 0.93044 | 0.86261 | 0.49321 | 0.99366 | 3.533% | 2.02% | 4.07% | 2.0147 | Turf fertilizer w/Si
191111 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (5%) | 22 | 20 | 5.0363 | 0.22665 | 0.20632 | 0.13269 | 0.2453 | 4.097% | 2.635% | 4.871% | 1.8487 | Turf fertilizer w/Si
191111 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (5%) | 14 | 13 | 5.0158 | 0.29138 | 0.28242 | 0.10139 | 0.30007 | 5.631% | 2.021% | 5.982% | 2.9595 | Turf fertilizer w/Si
191111 | 121.99 | Acid Soluble Mg, Other (5%) | 13 | 12 | 5.0189 | 0.40955 | 0.39601 | 0.14771 | 0.42266 | 7.89% | 2.943% | 8.421% | 2.8614 | Turf fertilizer w/Si
191111 | 191.3 | Acid Soluble Cr, ICP (ppm) | 8 | 8 | 1351.3729 | 273.1408 | 264.5555 | 96.0865 | 281.4644 | 19.58% | 7.11% | 20.83% | 2.9293 | Turf fertilizer w/Si
191111 | 221.99 | Acid Soluble Cu, Other (%) | 10 | 8 | 0.0038188 | 0.00062732 | 0.0005591 | 0.00040234 | 0.00068881 | 14.64% | 10.54% | 18.04% | 1.712 | Turf fertilizer w/Si
191111 | 241 | Acid Soluble Fe, AA, inorganic 965.09 (%) | 11 | 9 | 3.9526 | 0.20614 | 0.20226 | 0.056291 | 0.20994 | 5.117% | 1.424% | 5.312% | 3.7296 | Turf fertilizer w/Si
191111 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 21 | 21 | 3.6672 | 0.28735 | 0.26914 | 0.14236 | 0.30448 | 7.339% | 3.882% | 8.303% | 2.1387 | Turf fertilizer w/Si
191111 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 12 | 12 | 3.6978 | 0.32683 | 0.3124 | 0.13583 | 0.34065 | 8.448% | 3.673% | 9.212% | 2.5079 | Turf fertilizer w/Si
191111 | 241.99 | Acid Soluble Fe, Other (%) | 9 | 8 | 3.5058 | 0.31323 | 0.31003 | 0.063229 | 0.31641 | 8.843% | 1.804% | 9.025% | 5.0041 | Turf fertilizer w/Si
191111 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 12 | 10 | 0.59541 | 0.015243 |  | 0.023837 |  |  | 4.004% |  |  | Turf fertilizer w/Si
191111 | 261.99 | Acid Soluble Mn, Other (%) | 9 | 8 | 0.5868 | 0.1106 | 0.11024 | 0.012669 | 0.11096 | 18.79% | 2.159% | 18.91% | 8.7584 | Turf fertilizer w/Si
191111 | 289.3 | Acid Soluble Mo, ICP (30ppm) | 16 | 15 | 51.141 | 20.996 | 20.7355 | 4.6628 | 21.2533 | 40.55% | 9.117% | 41.56% | 4.5581 | Turf fertilizer w/Si
191211 | 1.99 | Ammoniacal N, Other (%) | 28 | 24 | 1.0189 | 0.26093 | 0.25935 | 0.04056 | 0.26251 | 25.45% | 3.981% | 25.76% | 6.4721 | Grade 8-4-6 Liquid
191211 | 5.99 | Urea N, Other (%) | 17 | 15 | 7.2321 | 0.56782 | 0.56633 | 0.058276 | 0.56932 | 7.831% | 0.8058% | 7.872% | 9.7693 | Grade 8-4-6 Liquid
191211 | 10.6 | Total N, Combustion (8%) | 58 | 49 | 9.1409 | 0.22003 | 0.20691 | 0.10584 | 0.23241 | 2.264% | 1.158% | 2.542% | 2.1958 | Grade 8-4-6 Liquid
191211 | 10.99 | Total N, Other (8%) | 17 | 15 | 8.5524 | 0.42492 | 0.41015 | 0.15705 | 0.43919 | 4.796% | 1.836% | 5.135% | 2.7966 | Grade 8-4-6 Liquid
191211 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 21 | 18 | 3.9901 | 0.1486 | 0.14634 | 0.036548 | 0.15083 | 3.668% | 0.916% | 3.78% | 4.1269 | Grade 8-4-6 Liquid
191211 | 20.5 | Total P2O5, ICP (%) | 22 | 20 | 3.9797 | 0.21367 | 0.18269 | 0.15669 | 0.24068 | 4.591% | 3.937% | 6.048% | 1.536 | Grade 8-4-6 Liquid
191211 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (4%) | 8 | 8 | 4.0137 | 0.15936 | 0.14432 | 0.095574 | 0.1731 | 3.596% | 2.381% | 4.313% | 1.8111 | Grade 8-4-6 Liquid
191211 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (4%) | 12 | 11 | 3.8586 | 0.36842 | 0.36472 | 0.073644 | 0.37208 | 9.452% | 1.909% | 9.643% | 5.0524 | Grade 8-4-6 Liquid
191211 | 41.99 | Direct Available P2O5, Other (4%) | 12 | 11 | 4.0512 | 0.061104 | 0.032354 | 0.073306 | 0.080128 | 0.7986% | 1.809% | 1.978% | 1.0931 | Grade 8-4-6 Liquid
191211 | 50 | Soluble K2O, STPB Oxalate (6%) | 11 | 11 | 6.3072 | 0.27548 | 0.25065 | 0.16166 | 0.29826 | 3.974% | 2.563% | 4.729% | 1.845 | Grade 8-4-6 Liquid
191211 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (6%) | 13 | 12 | 6.0659 | 0.35979 | 0.34933 | 0.1218 | 0.36996 | 5.759% | 2.008% | 6.099% | 3.0373 | Grade 8-4-6 Liquid
191211 | 50.99 | Soluble K2O, Other (6%) | 40 | 36 | 6.0921 | 0.2367 | 0.22898 | 0.084817 | 0.24418 | 3.759% | 1.392% | 4.008% | 2.8789 | Grade 8-4-6 Liquid
191211 | 165.99 | Acid Soluble B, Other (%) | 9 | 9 | 0.10697 | 0.01806 | 0.017056 | 0.0083955 | 0.019011 | 15.94% | 7.848% | 17.77% | 2.2644 | Grade 8-4-6 Liquid
191211 | 191.3 | Acid Soluble Cr, ICP (ppm) | 9 | 8 | 2.7884 | 1.5197 | 1.5135 | 0.19296 | 1.5258 | 54.28% | 6.92% | 54.72% | 7.9072 | Grade 8-4-6 Liquid
191211 | 221 | Acid Soluble Cu, AA, inorganic 965.09 (0.2%) | 12 | 11 | 0.20736 | 0.015789 | 0.014278 | 0.0095319 | 0.017167 | 6.886% | 4.597% | 8.279% | 1.8011 | Grade 8-4-6 Liquid
191211 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (0.2%) | 19 | 17 | 0.19965 | 0.018666 | 0.018621 | 0.0018453 | 0.018712 | 9.327% | 0.9242% | 9.372% | 10.1404 | Grade 8-4-6 Liquid
191211 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (0.2%) | 13 | 10 | 0.20305 | 0.0095185 | 0.0091032 | 0.0039326 | 0.0099163 | 4.483% | 1.937% | 4.884% | 2.5216 | Grade 8-4-6 Liquid
191211 | 221.99 | Acid Soluble Cu, Other (0.2%) | 15 | 14 | 0.21002 | 0.01519 | 0.01428 | 0.0073207 | 0.016047 | 6.799% | 3.486% | 7.641% | 2.1921 | Grade 8-4-6 Liquid
191211 | 261.12 | Acid Soluble Mn, AA, inorganic 965.09 (1%) | 10 | 9 | 1.0615 | 0.064818 | 0.059507 | 0.036342 | 0.069726 | 5.606% | 3.424% | 6.569% | 1.9186 | Grade 8-4-6 Liquid
191211 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (1%) | 14 | 13 | 1.0408 | 0.053807 | 0.050286 | 0.027073 | 0.057111 | 4.832% | 2.601% | 5.487% | 2.1095 | Grade 8-4-6 Liquid
191211 | 261.99 | Acid Soluble Mn, Other (1%) | 15 | 14 | 1.0868 | 0.13291 | 0.13161 | 0.026165 | 0.13419 | 12.11% | 2.408% | 12.35% | 5.1285 | Grade 8-4-6 Liquid
191211 | 321 | Acid Soluble Zn, AA, inorganic 965.09 (1%) | 13 | 12 | 1.0673 | 0.085915 | 0.083085 | 0.030926 | 0.088654 | 7.785% | 2.898% | 8.307% | 2.8667 | Grade 8-4-6 Liquid
191211 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (1%) | 22 | 18 | 1.0126 | 0.050024 | 0.046008 | 0.027771 | 0.05374 | 4.544% | 2.743% | 5.307% | 1.9351 | Grade 8-4-6 Liquid
191211 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (1%) | 13 | 11 | 0.99235 | 0.033949 | 0.027983 | 0.027185 | 0.039014 | 2.82% | 2.739% | 3.931% | 1.4351 | Grade 8-4-6 Liquid
191211 | 321.99 | Acid Soluble Zn, Other (1%) | 12 | 10 | 1.0604 | 0.074293 | 0.072164 | 0.024971 | 0.076362 | 6.806% | 2.355% | 7.202% | 3.0581 | Grade 8-4-6 Liquid

## Method
[17 empty] | Lower | Upper
[16 empty] | Input Method Code | 1 | 353.99
224
All Method Performance Report, 2017 | [6 empty] | Method Precision Report
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs sL | Within Labs sr | Reproducibility sR | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name | Sample Number | Method Code | Analyte & Method

## Sheet1
[14 empty] | Lower | Upper
[13 empty] | Input Method Code | 1 | 353.99
224
All Method Performance Report, 2017 | [6 empty] | Method Precision Report
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name | Sample Number | Method Code | Analyte & Method