## Data
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Entries
325
18
[6 empty] | Method Precision Report 2017 | [9 empty] | Unique Samples
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs sL | Within Labs sr | Reproducibility sR | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name |  | Sample Number | Sample Name
220111 | 101 | Acid Soluble Ca, AA, inorganic 965.09 (24%) | 10 | 9 | 24.1278 | 1.5023 | 1.4832 | 0.33713 | 1.5211 | 6.147% | 1.397% | 6.304% | 4.5118 | Soil Supplement |  | 220111 | Soil Supplement
220111 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (24%) | 19 | 17 | 24.5165 | 1.7605 | 1.7137 | 0.5702 | 1.8061 | 6.99% | 2.326% | 7.367% | 3.1675 | Soil Supplement |  | 220213 | Granular Urea 46-0-0
220111 | 101.32 | Acid Soluble Ca, ICP, test portion 2006.03A-C (24%) | 5 | 5 | 25.2055 | 1.8633 | 1.8585 | 0.19011 | 1.8682 | 7.373% | 0.7542% | 7.412% | 9.827 | Soil Supplement |  | 220341 | 18-46-0 DAP
220111 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (24%) | 16 | 13 | 24.4763 | 0.44268 | 0.41554 | 0.21584 | 0.46825 | 1.698% | 0.8819% | 1.913% | 2.1694 | Soil Supplement |  | 220311 | 12-0-0 Liquid
220111 | 101.7 | Acid Soluble Ca, Titrimetric (24%) | 7 | 6 | 24.4112 | 0.25174 | 0.20529 | 0.20606 | 0.29087 | 0.841% | 0.8441% | 1.192% | 1.4116 | Soil Supplement |  | 220411 | Grade 24-25-4
220111 | 101.99 | Acid Soluble Ca, Other (24%) | 19 | 18 | 24.3309 | 1.729 | 1.714 | 0.32138 | 1.7439 | 7.044% | 1.321% | 7.167% | 5.4261 | Soil Supplement |  | 220451 | K-Mg-SO4
220111 | 121 | Acid Soluble Mg, AA, inorganic 965.09 (5%) | 10 | 9 | 6.8464 | 0.43924 | 0.42013 | 0.18125 | 0.45756 | 6.136% | 2.647% | 6.683% | 2.5245 | Soil Supplement |  | 220511 | Grade 21-7-14
220111 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (5%) | 20 | 18 | 6.6112 | 0.56163 | 0.55706 | 0.1011 | 0.56616 | 8.426% | 1.529% | 8.564% | 5.5998 | Soil Supplement |  | 220611 | Organic w/humic acids
220111 | 121.32 | Acid Soluble Mg, ICP, test portion 2006.03A-C (5%) | 6 | 6 | 6.7717 | 0.30749 | 0.29203 | 0.13616 | 0.32221 | 4.312% | 2.011% | 4.758% | 2.3664 | Soil Supplement |  | 220631 | 32-0-0 UAN Solution
220111 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (5%) | 15 | 13 | 6.8095 | 0.47136 | 0.44372 | 0.22488 | 0.49746 | 6.516% | 3.302% | 7.305% | 2.2121 | Soil Supplement |  | 220714 | MAP
220111 | 121.7 | Acid Soluble Mg, Titrimetric (EDTA) (5%) | 5 | 5 | 5.429 | 0.81929 | 0.81579 | 0.1071 | 0.82279 | 15.03% | 1.973% | 15.16% | 7.6826 | Soil Supplement |  | 220811 | Grade 17-1-0
220111 | 121.99 | Acid Soluble Mg, Other (5%) | 18 | 17 | 5.6868 | 1.3037 | 1.3017 | 0.10159 | 1.3057 | 22.89% | 1.786% | 22.96% | 12.8533 | Soil Supplement |  | 220851 | Grade 0-0-50
220111 | 165 | Acid Soluble B, Spectrophotometric (%) | 11 | 10 | 0.02056 | 0.0075901 | 0.0075834 | 0.00045277 | 0.0075969 | 36.88% | 2.202% | 36.95% | 16.7787 | Soil Supplement |  | 220911 | Grade 15-15-15
220111 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (%) | 10 | 6 | 0.0097833 | 0.005542 | 0.0055417 | 8.165e-05 | 0.0055423 | 56.64% | 0.8346% | 56.65% | 67.8789 | Soil Supplement |  | 221011 | High Micros
220111 | 165.99 | Acid Soluble B, Other (%) | 21 | 18 | 0.010244 | 0.0053029 | 0.0050249 | 0.0023964 | 0.005567 | 49.05% | 23.39% | 54.34% | 2.3231 | Soil Supplement |  | 221031 | (NH4)2SO4
220111 | 191.3 | Acid Soluble Cr, ICP (ppm) | 6 | 5 | 1782.9177 | 104.6808 | 82.9871 | 90.2354 | 122.594 | 4.655% | 5.061% | 6.876% | 1.3586 | Soil Supplement |  | 221111 | 7-12-27 w/S&Mg
220111 | 191.99 | Acid Soluble Cr, Other (ppm) | 6 | 5 | 1905.761 | 428.5985 | 428.2293 | 25.1547 | 428.9675 | 22.47% | 1.32% | 22.51% | 17.0532 | Soil Supplement |  | 221141 | P rock
220111 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 7 | 6 | 75.3993 | 22.6288 | 22.6008 | 1.5928 | 22.6569 | 29.97% | 2.112% | 30.05% | 14.2245 | Soil Supplement |  | 221215 | KCl
220111 | 202.99 | Acid Soluble Co, Other (ppm) | 7 | 7 | 57.65 | 29.6349 | 29.5261 | 3.5882 | 29.7433 | 51.22% | 6.224% | 51.59% | 8.2893 | Soil Supplement
220111 | 221 | Acid Soluble Cu, AA, inorganic 965.09 (%) | 11 | 8 | 0.0127 | 0.0152 | 0.015195 | 0.00053852 | 0.015204 | 119.6% | 4.24% | 119.7% | 28.2337 | Soil Supplement
220111 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 12 | 9 | 0.0059 | 0.0022868 | 0.0022825 | 0.0001972 | 0.002291 | 38.69% | 3.342% | 38.83% | 11.6176 | Soil Supplement
220111 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 10 | 9 | 0.0057778 | 0.00083857 | 0.00078872 | 0.00040277 | 0.00088561 | 13.65% | 6.971% | 15.33% | 2.1988 | Soil Supplement
220111 | 221.99 | Acid Soluble Cu, Other (%) | 18 | 16 | 0.013509 | 0.017163 | 0.017025 | 0.0030749 | 0.017301 | 126% | 22.76% | 128.1% | 5.6263 | Soil Supplement
220111 | 241 | Acid Soluble Fe, AA, inorganic 965.09 (%) | 13 | 13 | 3.8162 | 0.54928 | 0.54216 | 0.12465 | 0.5563 | 14.21% | 3.266% | 14.58% | 4.4629 | Soil Supplement
220111 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 17 | 16 | 3.9825 | 0.31774 | 0.30441 | 0.12877 | 0.33053 | 7.644% | 3.234% | 8.3% | 2.5667 | Soil Supplement
220111 | 241.32 | Acid Soluble Fe, ICP, test portion 2006.03A-C (%) | 6 | 5 | 4.3759 | 0.33291 | 0.32491 | 0.1026 | 0.34072 | 7.425% | 2.345% | 7.786% | 3.321 | Soil Supplement
220111 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 11 | 11 | 3.8981 | 0.33736 | 0.33447 | 0.062295 | 0.34022 | 8.58% | 1.598% | 8.728% | 5.4614 | Soil Supplement
220111 | 241.99 | Acid Soluble Fe, Other (%) | 17 | 16 | 3.593 | 0.67233 | 0.66935 | 0.089377 | 0.6753 | 18.63% | 2.488% | 18.79% | 7.5555 | Soil Supplement
220111 | 251.99 | Acid Soluble Pb, Other (ppm) | 7 | 7 | 12.6381 | 14.9495 | 14.8761 | 2.0919 | 15.0225 | 117.7% | 16.55% | 118.9% | 7.1812 | Soil Supplement
220111 | 261.12 | Acid Soluble Mn, AA, inorganic 965.09 (%) | 10 | 9 | 0.67961 | 0.13526 | 0.13362 | 0.029654 | 0.13688 | 19.66% | 4.363% | 20.14% | 4.6157 | Soil Supplement
220111 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 7 | 7 | 0.75461 | 0.090571 | 0.089872 | 0.01589 | 0.091266 | 11.91% | 2.106% | 12.09% | 5.7436 | Soil Supplement
220111 | 261.32 | Acid Soluble Mn, ICP, test portion inorganic 965.09 (%) | 6 | 6 | 0.77775 | 0.076079 | 0.075437 | 0.013949 | 0.076716 | 9.699% | 1.793% | 9.864% | 5.4999 | Soil Supplement
220111 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 12 | 12 | 0.76835 | 0.048283 | 0.045731 | 0.021907 | 0.050707 | 5.952% | 2.851% | 6.599% | 2.3147 | Soil Supplement
220111 | 261.99 | Acid Soluble Mn, Other (%) | 18 | 17 | 0.69314 | 0.099776 | 0.098201 | 0.02497 | 0.10133 | 14.17% | 3.602% | 14.62% | 4.0579 | Soil Supplement
220111 | 289.3 | Acid Soluble Mo, ICP (30ppm) | 9 | 8 | 76.7329 | 19.0924 | 19.0534 | 1.7234 | 19.1312 | 24.83% | 2.246% | 24.93% | 11.101 | Soil Supplement
220111 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (30ppm) | 10 | 8 | 91.2086 | 12.427 | 12.347 | 1.9899 | 12.5064 | 13.54% | 2.182% | 13.71% | 6.2851 | Soil Supplement
220111 | 289.99 | Acid Soluble Mo, Other (30ppm) | 6 | 6 | 77.8992 | 41.4109 | 41.3885 | 1.9254 | 41.4332 | 53.13% | 2.472% | 53.19% | 21.5193 | Soil Supplement
220111 | 291.3 | Acid Soluble Ni, ICP (ppm) | 6 | 6 | 274.3582 | 71.7085 | 71.3672 | 9.8823 | 72.0481 | 26.01% | 3.602% | 26.26% | 7.2907 | Soil Supplement
220111 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 7 | 7 | 377.2518 | 71.2835 | 71.1064 | 7.1019 | 71.4602 | 18.85% | 1.883% | 18.94% | 10.0621 | Soil Supplement
220111 | 291.99 | Acid Soluble Ni, Other (ppm) | 9 | 9 | 264.3573 | 118.2451 | 118.1418 | 6.9894 | 118.3483 | 44.69% | 2.644% | 44.77% | 16.9325 | Soil Supplement
220111 | 321 | Acid Soluble Zn, AA, inorganic 965.09 (%) | 11 | 10 | 0.00624 | 0.0028752 | 0.0028601 | 0.00041593 | 0.0028902 | 45.83% | 6.666% | 46.32% | 6.9486 | Soil Supplement
220111 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 9 | 5 | 0.00557 | 0.0042219 | 0.0042218 | 3.1623e-05 | 0.004222 | 75.8% | 0.5677% | 75.8% | 133.5103 | Soil Supplement
220111 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 9 | 7 | 0.0036929 | 0.00056082 | 0.00049051 | 0.00038452 | 0.00062326 | 13.28% | 10.41% | 16.88% | 1.6209 | Soil Supplement
220111 | 321.99 | Acid Soluble Zn, Other (%) | 16 | 15 | 0.02475 | 0.039627 | 0.039571 | 0.0029753 | 0.039682 | 159.9% | 12.02% | 160.3% | 13.3373 | Soil Supplement
220213 | 5.99 | Urea N, Other (%) | 9 | 8 | 45.9194 | 0.42036 | 0.40909 | 0.13676 | 0.43134 | 0.8909% | 0.2978% | 0.9393% | 3.154 | Granular Urea 46-0-0
220213 | 6.1 | Biuret N, Spectrophotometric (as N) (%) | 7 | 5 | 0.94093 | 0.12629 | 0.12591 | 0.013893 | 0.12667 | 13.38% | 1.476% | 13.46% | 9.1177 | Granular Urea 46-0-0
220213 | 8.1 | Biuret, Spectrophotometric (as Biuret) (%) | 9 | 7 | 0.93536 | 0.094308 | 0.093983 | 0.011066 | 0.094632 | 10.05% | 1.183% | 10.12% | 8.5516 | Granular Urea 46-0-0
220213 | 10.11 | Total N, Modified Comprehensive (46%) | 6 | 6 | 45.9391 | 0.36548 | 0.36084 | 0.082098 | 0.37006 | 0.7855% | 0.1787% | 0.8055% | 4.5076 | Granular Urea 46-0-0
220213 | 10.12 | Total N, Salicylic (46%) | 6 | 5 | 45.958 | 0.64889 | 0.64647 | 0.07912 | 0.6513 | 1.407% | 0.1722% | 1.417% | 8.2317 | Granular Urea 46-0-0
220213 | 10.6 | Total N, Combustion (46%) | 58 | 52 | 46.394 | 0.38164 | 0.35744 | 0.18911 | 0.40438 | 0.7705% | 0.4076% | 0.8716% | 2.1384 | Granular Urea 46-0-0
220213 | 10.99 | Total N, Other (46%) | 27 | 22 | 46.1158 | 0.27292 | 0.26948 | 0.061046 | 0.27631 | 0.5844% | 0.1324% | 0.5992% | 4.5263 | Granular Urea 46-0-0
220213 | 60.2 | Water (Free), Karl Fischer (%) | 5 | 5 | 0.19241 | 0.06044 | 0.060356 | 0.0045221 | 0.060525 | 31.37% | 2.35% | 31.46% | 13.3844 | Granular Urea 46-0-0
220213 | 60.99 | Water (Free), Other (%) | 5 | 5 | 0.34805 | 0.22463 | 0.22292 | 0.03915 | 0.22633 | 64.05% | 11.25% | 65.03% | 5.7811 | Granular Urea 46-0-0
220341 | 1.99 | Ammoniacal N, Other (%) | 10 | 9 | 17.1694 | 0.1481 | 0.14346 | 0.052015 | 0.1526 | 0.8356% | 0.303% | 0.8888% | 2.9338 | 18-46-0 DAP
220341 | 10.6 | Total N, Combustion (18%) | 22 | 20 | 17.6576 | 0.19182 | 0.17359 | 0.11545 | 0.20847 | 0.9831% | 0.6538% | 1.181% | 1.8058 | 18-46-0 DAP
220341 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 11 | 11 | 46.5597 | 0.40962 | 0.40492 | 0.087553 | 0.41428 | 0.8697% | 0.188% | 0.8898% | 4.7317 | 18-46-0 DAP
220341 | 20.5 | Total P2O5, ICP (%) | 5 | 5 | 46.0331 | 1.1954 | 1.1763 | 0.30147 | 1.2143 | 2.555% | 0.6549% | 2.638% | 4.0279 | 18-46-0 DAP
220341 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 6 | 5 | 41.916 | 0.26729 | 0.2606 | 0.084024 | 0.27381 | 0.6217% | 0.2005% | 0.6532% | 3.2587 | 18-46-0 DAP
220341 | 151.3 | Acid Soluble As, ICP (ppm) | 7 | 5 | 5.5106 | 5.8066 | 5.8065 | 0.046476 | 5.8067 | 105.4% | 0.8434% | 105.4% | 124.9406 | 18-46-0 DAP
220341 | 191.3 | Acid Soluble Cr, ICP (ppm) | 6 | 6 | 110.4908 | 76.7135 | 76.6705 | 3.6316 | 76.7564 | 69.39% | 3.287% | 69.47% | 21.136 | 18-46-0 DAP
220341 | 291.3 | Acid Soluble Ni, ICP (ppm) | 6 | 5 | 15.56 | 2.5153 | 2.3799 | 1.1515 | 2.6438 | 15.29% | 7.401% | 16.99% | 2.2959 | 18-46-0 DAP
220311 | 1.99 | Ammoniacal N, Other (%) | 12 | 10 | 12.1225 | 1.0523 | 1.0482 | 0.12999 | 1.0563 | 8.647% | 1.072% | 8.713% | 8.1258 | 12-0-0 Liquid
220311 | 10.11 | Total N, Modified Comprehensive (12%) | 7 | 6 | 12.0803 | 0.091121 | 0.073177 | 0.076788 | 0.10607 | 0.6058% | 0.6356% | 0.8781% | 1.3814 | 12-0-0 Liquid
220311 | 10.6 | Total N, Combustion (12%) | 54 | 50 | 11.9093 | 0.306 | 0.29382 | 0.12087 | 0.31771 | 2.467% | 1.015% | 2.668% | 2.6285 | 12-0-0 Liquid
220311 | 10.99 | Total N, Other (12%) | 20 | 19 | 12.0495 | 0.21157 | 0.20848 | 0.050898 | 0.21461 | 1.73% | 0.4224% | 1.781% | 4.2164 | 12-0-0 Liquid
220311 | 143.99 | Elemental S, Other (%) | 5 | 5 | 33.7604 | 21.0559 | 21.0408 | 1.1284 | 21.071 | 62.32% | 3.342% | 62.41% | 18.6742 | 12-0-0 Liquid
220311 | 146 | Total S in Liquid, Gravimetric - sulfate, sulfite, thiosulfate, and elemental (26%) | 11 | 10 | 26.2182 | 0.32975 | 0.32453 | 0.082631 | 0.33488 | 1.238% | 0.3152% | 1.277% | 4.0528 | 12-0-0 Liquid
220311 | 148 | Total S, Combustion (26%) | 8 | 8 | 25.3709 | 1.7263 | 1.7166 | 0.25842 | 1.7359 | 6.766% | 1.019% | 6.842% | 6.7174 | 12-0-0 Liquid
220311 | 148.01 | Total S, Gravimetric - sulfate and elemental (26%) | 9 | 9 | 26.2891 | 0.2288 | 0.15916 | 0.23245 | 0.28172 | 0.6054% | 0.8842% | 1.072% | 1.212 | 12-0-0 Liquid
220311 | 148.07 | Total S, ICP, test portion as in 2017.02 (26%) | 11 | 11 | 25.9735 | 1.5531 | 1.4738 | 0.69307 | 1.6286 | 5.674% | 2.668% | 6.27% | 2.3498 | 12-0-0 Liquid
220311 | 148.99 | Total S, Other (26%) | 16 | 14 | 26.6296 | 3.1545 | 3.1328 | 0.52302 | 3.1761 | 11.76% | 1.964% | 11.93% | 6.0727 | 12-0-0 Liquid
220411 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 7 | 6 | 5.3425 | 0.15779 | 0.15698 | 0.022546 | 0.15859 | 2.938% | 0.422% | 2.969% | 7.0341 | Grade 24-25-4
220411 | 1.99 | Ammoniacal N, Other (%) | 21 | 18 | 5.7817 | 0.6441 | 0.64298 | 0.053724 | 0.64522 | 11.12% | 0.9292% | 11.16% | 12.01 | Grade 24-25-4
220411 | 3.1 | Water Insoluble N, Method I (%) | 6 | 6 | 0.63107 | 0.28913 | 0.28214 | 0.08937 | 0.29595 | 44.71% | 14.16% | 46.9% | 3.3115 | Grade 24-25-4
220411 | 5.99 | Urea N, Other (%) | 8 | 8 | 13.4331 | 2.8534 | 2.8531 | 0.05391 | 2.8536 | 21.24% | 0.4013% | 21.24% | 52.9336 | Grade 24-25-4
220411 | 10.6 | Total N, Combustion (24%) | 60 | 56 | 24.7635 | 0.31761 | 0.30634 | 0.1186 | 0.3285 | 1.237% | 0.4789% | 1.327% | 2.7697 | Grade 24-25-4
220411 | 10.99 | Total N, Other (24%) | 15 | 14 | 23.8355 | 0.92799 | 0.92402 | 0.12126 | 0.93194 | 3.877% | 0.5087% | 3.91% | 7.6854 | Grade 24-25-4
220411 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 17 | 15 | 25.3349 | 0.47737 | 0.46249 | 0.16721 | 0.49179 | 1.826% | 0.66% | 1.941% | 2.9411 | Grade 24-25-4
220411 | 20.5 | Total P2O5, ICP (%) | 21 | 19 | 24.6562 | 1.154 | 1.1335 | 0.30652 | 1.1742 | 4.597% | 1.243% | 4.762% | 3.8307 | Grade 24-25-4
220411 | 20.99 | Total P2O5, Other (%) | 7 | 5 | 25.556 | 0.41023 | 0.39421 | 0.16051 | 0.42564 | 1.543% | 0.6281% | 1.666% | 2.6517 | Grade 24-25-4
220411 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (25%) | 9 | 8 | 25.187 | 0.16211 | 0.15539 | 0.065318 | 0.16856 | 0.6169% | 0.2593% | 0.6692% | 2.5806 | Grade 24-25-4
220411 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (25%) | 9 | 8 | 24.7853 | 0.32398 | 0.30465 | 0.15588 | 0.34222 | 1.229% | 0.6289% | 1.381% | 2.1954 | Grade 24-25-4
220411 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (25%) | 13 | 12 | 25.1196 | 0.66517 | 0.63988 | 0.25696 | 0.68954 | 2.547% | 1.023% | 2.745% | 2.6835 | Grade 24-25-4
220411 | 41.99 | Direct Available P2O5, Other (25%) | 8 | 7 | 24.9986 | 0.13459 |  | 0.23071 |  |  | 0.9229% |  |  | Grade 24-25-4
220411 | 50 | Soluble K2O, STPB Oxalate (4%) | 8 | 7 | 4.3153 | 0.13455 | 0.13354 | 0.023299 | 0.13556 | 3.095% | 0.5399% | 3.141% | 5.818 | Grade 24-25-4
220411 | 50.5 | Soluble K2O, ICP (Oxalate) (4%) | 10 | 8 | 4.1072 | 0.10079 | 0.048281 | 0.12513 | 0.13412 | 1.176% | 3.047% | 3.265% | 1.0719 | Grade 24-25-4
220411 | 50.51 | Soluble K2O, ICP (Citrate) (4%) | 5 | 5 | 4.1824 | 0.030171 | 0.011732 | 0.03931 | 0.041023 | 0.2805% | 0.9399% | 0.9809% | 1.0436 | Grade 24-25-4
220411 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (4%) | 14 | 12 | 4.2025 | 0.1251 | 0.11609 | 0.065922 | 0.1335 | 2.762% | 1.569% | 3.177% | 2.0251 | Grade 24-25-4
220411 | 50.62 | Soluble K2O, Flame Photometric (Citrate-EDTA) (4%) | 5 | 5 | 4.342 | 0.32918 | 0.32416 | 0.080942 | 0.33412 | 7.466% | 1.864% | 7.695% | 4.1278 | Grade 24-25-4
220411 | 50.99 | Soluble K2O, Other (4%) | 34 | 31 | 4.0762 | 0.27112 | 0.26467 | 0.0831 | 0.27741 | 6.493% | 2.039% | 6.806% | 3.3383 | Grade 24-25-4
220411 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 6 | 5 | 7.9603 | 1.169 | 1.1499 | 0.29798 | 1.1878 | 14.45% | 3.743% | 14.92% | 3.9864 | Grade 24-25-4
220411 | 165.99 | Acid Soluble B, Other (%) | 8 | 5 | 0.00887 | 0.011142 | 0.011136 | 0.000501 | 0.011147 | 125.5% | 5.648% | 125.7% | 22.2501 | Grade 24-25-4
220411 | 181.3 | Acid Soluble Cd, ICP (ppm) | 11 | 11 | 1.7048 | 0.26187 | 0.2495 | 0.11251 | 0.27369 | 14.63% | 6.6% | 16.05% | 2.4325 | Grade 24-25-4
220411 | 191.3 | Acid Soluble Cr, ICP (ppm) | 7 | 5 | 49.3111 | 5.5471 | 5.5458 | 0.16962 | 5.5483 | 11.25% | 0.344% | 11.25% | 32.7096 | Grade 24-25-4
220411 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 6 | 5 | 45.7984 | 3.4139 | 3.3117 | 1.1724 | 3.5131 | 7.231% | 2.56% | 7.671% | 2.9964 | Grade 24-25-4
220411 | 202.3 | Acid Soluble Co, ICP (ppm) | 6 | 6 | 1.6589 | 0.40246 | 0.39793 | 0.08519 | 0.40695 | 23.99% | 5.135% | 24.53% | 4.7769 | Grade 24-25-4
220411 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 5 | 5 | 0.56737 | 0.026019 | 0.017385 | 0.027376 | 0.03243 | 3.064% | 4.825% | 5.716% | 1.1846 | Grade 24-25-4
220411 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 7 | 6 | 6.2708 | 0.56683 | 0.56594 | 0.044918 | 0.56772 | 9.025% | 0.7163% | 9.053% | 12.6389 | Grade 24-25-4
220411 | 291.3 | Acid Soluble Ni, ICP (ppm) | 9 | 8 | 6.4168 | 1.372 | 1.3203 | 0.5274 | 1.4218 | 20.58% | 8.219% | 22.16% | 2.6958 | Grade 24-25-4
220411 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 5 | 5 | 6.496 | 0.8072 | 0.78489 | 0.26655 | 0.82892 | 12.08% | 4.103% | 12.76% | 3.1098 | Grade 24-25-4
220411 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 5 | 5 | 0.00544 | 0.00063087 | 0.00038471 | 0.00070711 | 0.00080498 | 7.072% | 13% | 14.8% | 1.1384 | Grade 24-25-4
220411 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 9 | 8 | 0.0041813 | 0.0015031 | 0.0014729 | 0.00042353 | 0.0015326 | 35.23% | 10.13% | 36.65% | 3.6187 | Grade 24-25-4
220411 | 321.99 | Acid Soluble Zn, Other (%) | 10 | 8 | 0.0049937 | 0.002373 | 0.0023694 | 0.0001854 | 0.0023766 | 47.45% | 3.713% | 47.59% | 12.8184 | Grade 24-25-4
220451 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (10.5%) | 5 | 5 | 11.6894 | 1.0172 | 1.0074 | 0.19889 | 1.0268 | 8.618% | 1.701% | 8.784% | 5.1629 | K-Mg-SO4
220511 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 6 | 5 | 10.9079 | 0.18017 | 0.1734 | 0.069169 | 0.18669 | 1.59% | 0.6341% | 1.711% | 2.699 | Grade 21-7-14
220511 | 1.99 | Ammoniacal N, Other (%) | 21 | 19 | 11.0685 | 0.25023 | 0.2462 | 0.063256 | 0.2542 | 2.224% | 0.5715% | 2.297% | 4.0186 | Grade 21-7-14
220511 | 2.99 | Nitrate N, Other (%) | 18 | 17 | 9.9031 | 0.2606 | 0.24726 | 0.11643 | 0.2733 | 2.497% | 1.176% | 2.76% | 2.3474 | Grade 21-7-14
220511 | 10.6 | Total N, Combustion (21%) | 53 | 51 | 20.6088 | 0.65689 | 0.65076 | 0.12656 | 0.66295 | 3.158% | 0.6141% | 3.217% | 5.2384 | Grade 21-7-14
220511 | 10.99 | Total N, Other (21%) | 14 | 13 | 20.9188 | 0.34459 | 0.33465 | 0.11619 | 0.35425 | 1.6% | 0.5554% | 1.693% | 3.049 | Grade 21-7-14
220511 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 13 | 11 | 7.05 | 0.077106 | 0.071358 | 0.041312 | 0.082454 | 1.012% | 0.586% | 1.17% | 1.9959 | Grade 21-7-14
220511 | 20.5 | Total P2O5, ICP (%) | 21 | 19 | 7.0685 | 0.44499 | 0.43908 | 0.10221 | 0.45082 | 6.212% | 1.446% | 6.378% | 4.4109 | Grade 21-7-14
220511 | 20.99 | Total P2O5, Other (%) | 7 | 6 | 7.0461 | 0.57983 | 0.47221 | 0.47584 | 0.67038 | 6.702% | 6.753% | 9.514% | 1.4088 | Grade 21-7-14
220511 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (7%) | 9 | 8 | 6.8206 | 0.45516 | 0.45421 | 0.041608 | 0.45611 | 6.659% | 0.61% | 6.687% | 10.9621 | Grade 21-7-14
220511 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (7%) | 9 | 9 | 6.5509 | 0.65656 | 0.65499 | 0.064191 | 0.65813 | 9.998% | 0.9799% | 10.05% | 10.2527 | Grade 21-7-14
220511 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (7%) | 10 | 9 | 7.1386 | 0.16457 | 0.12189 | 0.15638 | 0.19827 | 1.707% | 2.191% | 2.777% | 1.2679 | Grade 21-7-14
220511 | 50 | Soluble K2O, STPB Oxalate (14%) | 9 | 9 | 14.8728 | 0.52629 | 0.52263 | 0.087591 | 0.52992 | 3.514% | 0.5889% | 3.563% | 6.05 | Grade 21-7-14
220511 | 50.5 | Soluble K2O, ICP (Oxalate) (14%) | 10 | 10 | 14.6369 | 0.61435 | 0.53305 | 0.43195 | 0.68609 | 3.642% | 2.951% | 4.687% | 1.5883 | Grade 21-7-14
220511 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (14%) | 11 | 11 | 14.6285 | 0.31532 | 0.28389 | 0.1941 | 0.3439 | 1.941% | 1.327% | 2.351% | 1.7717 | Grade 21-7-14
220511 | 50.99 | Soluble K2O, Other (14%) | 34 | 31 | 14.6648 | 0.66779 | 0.64781 | 0.22924 | 0.68718 | 4.417% | 1.563% | 4.686% | 2.9976 | Grade 21-7-14
220511 | 121.99 | Acid Soluble Mg, Other (%) | 5 | 5 | 0.23135 | 0.016245 | 0.0087917 | 0.019318 | 0.021225 | 3.8% | 8.35% | 9.174% | 1.0987 | Grade 21-7-14
220511 | 143.99 | Elemental S, Other (%) | 5 | 5 | 5.506 | 0.40243 | 0.40148 | 0.039046 | 0.40338 | 7.292% | 0.7092% | 7.326% | 10.331 | Grade 21-7-14
220511 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 6 | 6 | 5.2075 | 0.24572 | 0.24408 | 0.040104 | 0.24735 | 4.687% | 0.7701% | 4.75% | 6.1677 | Grade 21-7-14
220511 | 148 | Total S, Combustion (5.1%) | 7 | 7 | 5.2267 | 0.29439 | 0.28247 | 0.11727 | 0.30585 | 5.404% | 2.244% | 5.852% | 2.608 | Grade 21-7-14
220511 | 148.01 | Total S, Gravimetric - sulfate and elemental (5.1%) | 11 | 9 | 5.4494 | 0.17868 | 0.17459 | 0.0538 | 0.18269 | 3.204% | 0.9873% | 3.352% | 3.3957 | Grade 21-7-14
220511 | 148.07 | Total S, ICP, test portion as in 2017.02 (5.1%) | 18 | 16 | 5.2798 | 0.30902 | 0.29997 | 0.10499 | 0.31781 | 5.681% | 1.989% | 6.019% | 3.0271 | Grade 21-7-14
220511 | 148.99 | Total S, Other (5.1%) | 16 | 16 | 5.3276 | 0.29463 | 0.2896 | 0.076616 | 0.29957 | 5.436% | 1.438% | 5.623% | 3.91 | Grade 21-7-14
220511 | 165.99 | Acid Soluble B, Other (%) | 6 | 5 | 0.00519 | 0.0030725 | 0.0030539 | 0.00047854 | 0.0030911 | 58.84% | 9.22% | 59.56% | 6.4595 | Grade 21-7-14
220511 | 181.3 | Acid Soluble Cd, ICP (ppm) | 8 | 5 | 0.50438 | 0.15075 | 0.14953 | 0.027145 | 0.15197 | 29.65% | 5.382% | 30.13% | 5.5984 | Grade 21-7-14
220511 | 190 | Water Soluble Cl, Titrimetric (%) | 11 | 10 | 0.4505 | 0.26591 | 0.26567 | 0.016069 | 0.26615 | 58.97% | 3.567% | 59.08% | 16.5635 | Grade 21-7-14
220511 | 191.3 | Acid Soluble Cr, ICP (ppm) | 7 | 7 | 15.3626 | 3.6002 | 3.581 | 0.52401 | 3.6192 | 23.31% | 3.411% | 23.56% | 6.9067 | Grade 21-7-14
220511 | 221.99 | Acid Soluble Cu, Other (%) | 9 | 7 | 0.0012429 | 0.00064706 | 0.00064651 | 3.7796e-05 | 0.00064761 | 52.02% | 3.041% | 52.11% | 17.1343 | Grade 21-7-14
220511 | 251.3 | Acid Soluble Pb, ICP (ppm) | 8 | 5 | 2.1832 | 0.83961 | 0.83846 | 0.062016 | 0.84075 | 38.4% | 2.841% | 38.51% | 13.5569 | Grade 21-7-14
220511 | 291.3 | Acid Soluble Ni, ICP (ppm) | 7 | 6 | 3.1706 | 0.59914 | 0.59713 | 0.069481 | 0.60116 | 18.83% | 2.191% | 18.96% | 8.6521 | Grade 21-7-14
220511 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 6 | 5 | 0.00793 | 0.0057678 | 0.0057409 | 0.00078549 | 0.0057944 | 72.4% | 9.905% | 73.07% | 7.3768 | Grade 21-7-14
220511 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 8 | 7 | 0.0069857 | 0.0032102 | 0.0031835 | 0.00058432 | 0.0032367 | 45.57% | 8.364% | 46.33% | 5.5393 | Grade 21-7-14
220511 | 321.99 | Acid Soluble Zn, Other (%) | 9 | 7 | 0.0083857 | 0.0012446 | 0.0011999 | 0.00046752 | 0.0012877 | 14.31% | 5.575% | 15.36% | 2.7544 | Grade 21-7-14
220611 | 10.6 | Total N, Combustion (%) | 9 | 6 | 0.22846 | 0.080706 | 0.07983 | 0.016767 | 0.081572 | 34.94% | 7.339% | 35.71% | 4.865 | Organic w/humic acids
220611 | 50 | Soluble K2O, STPB Oxalate (2%) | 5 | 5 | 3.531 | 2.6385 | 2.6377 | 0.090277 | 2.6393 | 74.7% | 2.557% | 74.75% | 29.2353 | Organic w/humic acids
220611 | 50.5 | Soluble K2O, ICP (Oxalate) (2%) | 7 | 6 | 3.9867 | 0.17569 | 0.15242 | 0.12356 | 0.19621 | 3.823% | 3.099% | 4.922% | 1.588 | Organic w/humic acids
220611 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (2%) | 10 | 9 | 3.8873 | 0.24898 | 0.24372 | 0.071997 | 0.25413 | 6.27% | 1.852% | 6.538% | 3.5298 | Organic w/humic acids
220611 | 50.62 | Soluble K2O, Flame Photometric (Citrate-EDTA) (2%) | 6 | 6 | 4.0045 | 0.15536 | 0.14935 | 0.060509 | 0.16115 | 3.73% | 1.511% | 4.024% | 2.6632 | Organic w/humic acids
220611 | 50.99 | Soluble K2O, Other (2%) | 42 | 38 | 3.7119 | 0.44404 | 0.44059 | 0.07812 | 0.44746 | 11.87% | 2.105% | 12.05% | 5.7279 | Organic w/humic acids
220611 | 191.3 | Acid Soluble Cr, ICP (ppm) | 8 | 6 | 0.52171 | 0.24096 | 0.23977 | 0.033805 | 0.24215 | 45.96% | 6.48% | 46.41% | 7.163 | Organic w/humic acids
220611 | 251.3 | Acid Soluble Pb, ICP (ppm) | 8 | 5 | 0.40747 | 0.15068 | 0.14927 | 0.029089 | 0.15207 | 36.63% | 7.139% | 37.32% | 5.2279 | Organic w/humic acids
220611 | 441 | Humic Acids, Gravimetry,Ash-free, alkali dissolved, acid precipitated (12%) | 7 | 7 | 11.2864 | 1.3193 | 1.2999 | 0.31815 | 1.3383 | 11.52% | 2.819% | 11.86% | 4.2065 | Organic w/humic acids
220611 | 441.1 | Humic Acids, Gravimetry, alkali dissolved, acid precipitated (12%) | 8 | 8 | 12.4878 | 2.1726 | 2.1714 | 0.10013 | 2.1737 | 17.39% | 0.8018% | 17.41% | 21.7083 | Organic w/humic acids
220611 | 441.99 | Humic Acids, Other (12%) | 9 | 7 | 12.3071 | 0.084895 | 0.075261 | 0.055549 | 0.093541 | 0.6115% | 0.4514% | 0.7601% | 1.6839 | Organic w/humic acids
220631 | 1.99 | Ammoniacal N, Other (%) | 8 | 7 | 8.2607 | 0.58961 | 0.58957 | 0.010351 | 0.58966 | 7.137% | 0.1253% | 7.138% | 56.9666 | 32-0-0 UAN Solution
220631 | 2.99 | Nitrate N, Other (%) | 7 | 6 | 8.0883 | 0.39067 | 0.38698 | 0.075829 | 0.39434 | 4.784% | 0.9375% | 4.875% | 5.2004 | 32-0-0 UAN Solution
220631 | 5.99 | Urea N, Other (%) | 7 | 6 | 15.8467 | 0.63918 | 0.63872 | 0.0344 | 0.63965 | 4.031% | 0.2171% | 4.036% | 18.5946 | 32-0-0 UAN Solution
220631 | 10.6 | Total N, Combustion (32%) | 15 | 12 | 32.0548 | 0.43063 | 0.42445 | 0.10286 | 0.43673 | 1.324% | 0.3209% | 1.362% | 4.246 | 32-0-0 UAN Solution
220631 | 10.99 | Total N, Other (32%) | 7 | 6 | 32.0675 | 0.14642 | 0.1448 | 0.030687 | 0.14801 | 0.4515% | 0.09569% | 0.4616% | 4.8234 | 32-0-0 UAN Solution
220714 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 9 | 8 | 10.365 | 0.46223 | 0.45927 | 0.073909 | 0.46518 | 4.431% | 0.7131% | 4.488% | 6.2939 | MAP
220714 | 1.99 | Ammoniacal N, Other (%) | 30 | 27 | 10.7362 | 0.32459 | 0.32166 | 0.061577 | 0.3275 | 2.996% | 0.5735% | 3.05% | 5.3186 | MAP
220714 | 10.6 | Total N, Combustion (%) | 60 | 57 | 10.7757 | 0.28646 | 0.28035 | 0.083213 | 0.29244 | 2.602% | 0.7722% | 2.714% | 3.5144 | MAP
220714 | 10.99 | Total N, Other (%) | 14 | 13 | 10.9148 | 0.1869 | 0.18169 | 0.06199 | 0.19197 | 1.665% | 0.5679% | 1.759% | 3.0968 | MAP
220714 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 18 | 16 | 52.0234 | 0.8834 | 0.87561 | 0.16556 | 0.89113 | 1.683% | 0.3182% | 1.713% | 5.3824 | MAP
220714 | 20.5 | Total P2O5, ICP (%) | 18 | 17 | 51.0253 | 2.4554 | 2.4523 | 0.17462 | 2.4585 | 4.806% | 0.3422% | 4.818% | 14.0787 | MAP
220714 | 20.99 | Total P2O5, Other (%) | 9 | 8 | 52.7347 | 1.4352 | 1.4331 | 0.10913 | 1.4373 | 2.718% | 0.207% | 2.726% | 13.1698 | MAP
220714 | 41.1 | Direct Available P2O5, Gravimetric Quinolinium (%) | 5 | 5 | 52.4993 | 1.0016 | 0.93926 | 0.49199 | 1.0603 | 1.789% | 0.9371% | 2.02% | 2.1551 | MAP
220714 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (%) | 6 | 6 | 51.1633 | 0.65426 | 0.60182 | 0.36297 | 0.7028 | 1.176% | 0.7094% | 1.374% | 1.9362 | MAP
220714 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (%) | 7 | 6 | 51.5578 | 1.1227 | 1.1212 | 0.082179 | 1.1243 | 2.175% | 0.1594% | 2.181% | 13.6805 | MAP
220714 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (%) | 10 | 10 | 51.3863 | 1.2577 | 1.2044 | 0.51211 | 1.3088 | 2.344% | 0.9966% | 2.547% | 2.5557 | MAP
220714 | 41.99 | Direct Available P2O5, Other (%) | 9 | 8 | 51.8931 | 0.0943 | 0.060842 | 0.10189 | 0.11867 | 0.1172% | 0.1963% | 0.2287% | 1.1647 | MAP
220714 | 148.07 | Total S, ICP, test portion as in 2017.02 (%) | 5 | 5 | 1.1805 | 0.2699 | 0.2693 | 0.025404 | 0.27049 | 22.81% | 2.152% | 22.91% | 10.6479 | MAP
220714 | 151.3 | Acid Soluble As, ICP (ppm) | 10 | 9 | 15.2022 | 4.6674 | 4.6498 | 0.57305 | 4.685 | 30.59% | 3.77% | 30.82% | 8.1755 | MAP
220714 | 165.99 | Acid Soluble B, Other (%) | 7 | 5 | 0.00905 | 0.0070173 | 0.0069448 | 0.001423 | 0.0070891 | 76.74% | 15.72% | 78.33% | 4.9817 | MAP
220714 | 181.3 | Acid Soluble Cd, ICP (ppm) | 12 | 11 | 6.0078 | 5.3871 | 5.3835 | 0.2779 | 5.3907 | 89.61% | 4.626% | 89.73% | 19.3981 | MAP
220714 | 191.3 | Acid Soluble Cr, ICP (ppm) | 11 | 10 | 100.6523 | 11.9425 | 11.7551 | 2.98 | 12.127 | 11.68% | 2.961% | 12.05% | 4.0694 | MAP
220714 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 6 | 6 | 98.5337 | 9.4184 | 8.6907 | 5.1338 | 10.0937 | 8.82% | 5.21% | 10.24% | 1.9661 | MAP
220714 | 202.3 | Acid Soluble Co, ICP (ppm) | 7 | 6 | 2.9441 | 1.0577 | 1.0501 | 0.17868 | 1.0652 | 35.67% | 6.069% | 36.18% | 5.9615 | MAP
220714 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 5 | 5 | 3.069 | 0.33205 | 0.32714 | 0.080499 | 0.3369 | 10.66% | 2.623% | 10.98% | 4.1851 | MAP
220714 | 221.99 | Acid Soluble Cu, Other (%) | 5 | 5 | 0.00098 | 0.0010935 | 0.0010912 | 0.0001 | 0.0010958 | 111.3% | 10.2% | 111.8% | 10.9579 | MAP
220714 | 241.99 | Acid Soluble Fe, Other (%) | 5 | 5 | 1.2442 | 0.097388 | 0.092383 | 0.043586 | 0.10215 | 7.425% | 3.503% | 8.21% | 2.3436 | MAP
220714 | 251.3 | Acid Soluble Pb, ICP (ppm) | 9 | 5 | 0.57833 | 0.32776 | 0.31948 | 0.10354 | 0.33584 | 55.24% | 17.9% | 58.07% | 3.2436 | MAP
220714 | 289.3 | Acid Soluble Mo, ICP (ppm) | 9 | 8 | 14.0441 | 3.6737 | 3.6546 | 0.52978 | 3.6928 | 26.02% | 3.772% | 26.29% | 6.9703 | MAP
220714 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 7 | 6 | 15.4193 | 0.69818 | 0.67122 | 0.27176 | 0.72414 | 4.353% | 1.762% | 4.696% | 2.6647 | MAP
220714 | 291.3 | Acid Soluble Ni, ICP (ppm) | 12 | 11 | 11.8702 | 2.6802 | 2.6335 | 0.70432 | 2.7261 | 22.19% | 5.933% | 22.97% | 3.8706 | MAP
220714 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 6 | 5 | 11.4185 | 2.1818 | 2.1402 | 0.59947 | 2.2226 | 18.74% | 5.25% | 19.46% | 3.7076 | MAP
220714 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 8 | 7 | 0.0070714 | 0.0014674 | 0.0014366 | 0.00042258 | 0.0014975 | 20.32% | 5.976% | 21.18% | 3.5437 | MAP
220714 | 321.99 | Acid Soluble Zn, Other (%) | 8 | 6 | 0.0058333 | 0.0010629 | 0.0010562 | 0.00016833 | 0.0010695 | 18.11% | 2.886% | 18.33% | 6.3538 | MAP
220811 | 1.99 | Ammoniacal N, Other (%) | 9 | 7 | 17.0671 | 0.3515 | 0.34322 | 0.10725 | 0.35959 | 2.011% | 0.6284% | 2.107% | 3.353 | Grade 17-1-0
220811 | 10.6 | Total N, Combustion (17%) | 52 | 48 | 17.719 | 0.23431 | 0.22715 | 0.081307 | 0.24126 | 1.282% | 0.4589% | 1.362% | 2.9673 | Grade 17-1-0
220811 | 10.99 | Total N, Other (17%) | 16 | 14 | 17.2633 | 0.35922 | 0.35583 | 0.0696 | 0.36257 | 2.061% | 0.4032% | 2.1% | 5.2093 | Grade 17-1-0
220811 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 12 | 12 | 1.4756 | 0.11516 | 0.10907 | 0.052279 | 0.12095 | 7.392% | 3.543% | 8.197% | 2.3136 | Grade 17-1-0
220811 | 20.5 | Total P2O5, ICP (%) | 17 | 17 | 1.4013 | 0.12731 | 0.11776 | 0.068427 | 0.13619 | 8.404% | 4.883% | 9.719% | 1.9903 | Grade 17-1-0
220811 | 20.99 | Total P2O5, Other (%) | 11 | 11 | 1.3133 | 0.16739 | 0.16646 | 0.024963 | 0.16832 | 12.67% | 1.901% | 12.82% | 6.7427 | Grade 17-1-0
220811 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (1%) | 9 | 7 | 1.377 | 0.061021 | 0.060311 | 0.013133 | 0.061724 | 4.38% | 0.9537% | 4.482% | 4.7001 | Grade 17-1-0
220811 | 41.99 | Direct Available P2O5, Other (1%) | 9 | 7 | 1.3802 | 0.31007 | 0.30798 | 0.0508 | 0.31214 | 22.31% | 3.681% | 22.62% | 6.1445 | Grade 17-1-0
220811 | 50.99 | Soluble K2O, Other (%) | 12 | 7 | 0.038786 | 0.012431 | 0.012244 | 0.0030383 | 0.012616 | 31.57% | 7.834% | 32.53% | 4.1522 | Grade 17-1-0
220811 | 148 | Total S, Combustion (20%) | 7 | 7 | 20.1821 | 0.60214 | 0.51591 | 0.43911 | 0.67748 | 2.556% | 2.176% | 3.357% | 1.5428 | Grade 17-1-0
220811 | 148.01 | Total S, Gravimetric - sulfate and elemental (20%) | 13 | 13 | 20.3164 | 0.28073 | 0.18083 | 0.30367 | 0.35344 | 0.89% | 1.495% | 1.74% | 1.1639 | Grade 17-1-0
220811 | 148.07 | Total S, ICP, test portion as in 2017.02 (20%) | 12 | 11 | 19.5775 | 1.4484 | 1.4409 | 0.20783 | 1.4558 | 7.36% | 1.062% | 7.436% | 7.005 | Grade 17-1-0
220811 | 148.99 | Total S, Other (20%) | 20 | 18 | 19.8309 | 0.69803 | 0.69038 | 0.14574 | 0.70559 | 3.481% | 0.7349% | 3.558% | 4.8413 | Grade 17-1-0
220811 | 191.3 | Acid Soluble Cr, ICP (ppm) | 7 | 6 | 22.1864 | 3.1198 | 3.1172 | 0.17954 | 3.1223 | 14.05% | 0.8092% | 14.07% | 17.3907 | Grade 17-1-0
220811 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 8 | 6 | 0.0083333 | 0.00066533 | 0.00059666 | 0.00041633 | 0.00072755 | 7.16% | 4.996% | 8.731% | 1.7475 | Grade 17-1-0
220811 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 5 | 5 | 0.00937 | 0.00044102 | 0.00043818 | 7.0711e-05 | 0.00044385 | 4.676% | 0.7546% | 4.737% | 6.2769 | Grade 17-1-0
220811 | 221.99 | Acid Soluble Cu, Other (%) | 6 | 5 | 0.0086 | 0.00048348 | 0.00048036 | 7.746e-05 | 0.00048657 | 5.586% | 0.9007% | 5.658% | 6.2816 | Grade 17-1-0
220811 | 251.3 | Acid Soluble Pb, ICP (ppm) | 8 | 7 | 11.7077 | 1.7171 | 1.6617 | 0.61193 | 1.7708 | 14.19% | 5.227% | 15.12% | 2.8937 | Grade 17-1-0
220811 | 289.3 | Acid Soluble Mo, ICP (ppm) | 8 | 8 | 4.7099 | 2.8756 | 2.8647 | 0.35356 | 2.8865 | 60.82% | 7.507% | 61.28% | 8.164 | Grade 17-1-0
220811 | 291.3 | Acid Soluble Ni, ICP (ppm) | 8 | 8 | 9.2723 | 1.4111 | 1.3523 | 0.57005 | 1.4675 | 14.58% | 6.148% | 15.83% | 2.5743 | Grade 17-1-0
220811 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 8 | 6 | 0.0228 | 0.0024648 | 0.0024247 | 0.00062583 | 0.0025042 | 10.63% | 2.745% | 10.98% | 4.0013 | Grade 17-1-0
220811 | 321.99 | Acid Soluble Zn, Other (%) | 6 | 6 | 0.025658 | 0.0012359 | 0.00114 | 0.00067515 | 0.0013249 | 4.443% | 2.631% | 5.164% | 1.9624 | Grade 17-1-0
220851 | 50.99 | Soluble K2O, Other (50%) | 6 | 5 | 51.535 | 2.0543 | 2.0391 | 0.35306 | 2.0695 | 3.957% | 0.6851% | 4.016% | 5.8615 | Grade 0-0-50
220911 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 6 | 6 | 8.8475 | 0.24772 | 0.23138 | 0.12513 | 0.26305 | 2.615% | 1.414% | 2.973% | 2.1022 | Grade 15-15-15
220911 | 1.99 | Ammoniacal N, Other (%) | 31 | 28 | 8.5702 | 0.29983 | 0.29292 | 0.090535 | 0.30659 | 3.418% | 1.056% | 3.577% | 3.3864 | Grade 15-15-15
220911 | 2.99 | Nitrate N, Other (%) | 27 | 26 | 6.4253 | 0.20616 | 0.20087 | 0.065591 | 0.21131 | 3.126% | 1.021% | 3.289% | 3.2216 | Grade 15-15-15
220911 | 10.12 | Total N, Salicylic (15%) | 7 | 6 | 14.8746 | 0.32069 | 0.318 | 0.058541 | 0.32335 | 2.138% | 0.3936% | 2.174% | 5.5235 | Grade 15-15-15
220911 | 10.6 | Total N, Combustion (15%) | 59 | 53 | 15.0373 | 0.20052 | 0.18949 | 0.092774 | 0.21098 | 1.26% | 0.617% | 1.403% | 2.2742 | Grade 15-15-15
220911 | 10.99 | Total N, Other (15%) | 20 | 18 | 15.1106 | 0.26675 | 0.26218 | 0.069576 | 0.27125 | 1.735% | 0.4604% | 1.795% | 3.8986 | Grade 15-15-15
220911 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 17 | 15 | 15.5439 | 0.32389 | 0.31033 | 0.13113 | 0.3369 | 1.996% | 0.8436% | 2.167% | 2.5691 | Grade 15-15-15
220911 | 20.5 | Total P2O5, ICP (%) | 15 | 14 | 15.3621 | 0.50605 | 0.45359 | 0.3173 | 0.55355 | 2.953% | 2.065% | 3.603% | 1.7446 | Grade 15-15-15
220911 | 20.99 | Total P2O5, Other (%) | 10 | 9 | 15.4004 | 0.90564 | 0.90361 | 0.08574 | 0.90767 | 5.867% | 0.5567% | 5.894% | 10.5862 | Grade 15-15-15
220911 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (15%) | 7 | 6 | 15.6417 | 0.18927 | 0.17165 | 0.11276 | 0.20538 | 1.097% | 0.7209% | 1.313% | 1.8213 | Grade 15-15-15
220911 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (15%) | 10 | 9 | 14.6157 | 1.1054 | 1.1026 | 0.11084 | 1.1082 | 7.544% | 0.7584% | 7.582% | 9.9976 | Grade 15-15-15
220911 | 41.5 | Direct Available P2O5, ICP (15%) | 6 | 6 | 15.7203 | 0.58391 | 0.5684 | 0.18907 | 0.59902 | 3.616% | 1.203% | 3.81% | 3.1682 | Grade 15-15-15
220911 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (15%) | 9 | 9 | 15.5644 | 0.46164 | 0.44429 | 0.17729 | 0.47836 | 2.855% | 1.139% | 3.073% | 2.6981 | Grade 15-15-15
220911 | 41.99 | Direct Available P2O5, Other (15%) | 14 | 13 | 15.0654 | 0.30616 | 0.29619 | 0.10958 | 0.31581 | 1.966% | 0.7274% | 2.096% | 2.882 | Grade 15-15-15
220911 | 50 | Soluble K2O, STPB Oxalate (15%) | 10 | 10 | 15.2632 | 0.47088 | 0.43369 | 0.2594 | 0.50535 | 2.841% | 1.7% | 3.311% | 1.9481 | Grade 15-15-15
220911 | 50.5 | Soluble K2O, ICP (Oxalate) (15%) | 7 | 5 | 15.09 | 0.21369 | 0.19701 | 0.11705 | 0.22916 | 1.306% | 0.7757% | 1.519% | 1.9578 | Grade 15-15-15
220911 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (15%) | 10 | 9 | 15.1344 | 0.42335 | 0.41102 | 0.14341 | 0.43532 | 2.716% | 0.9476% | 2.876% | 3.0355 | Grade 15-15-15
220911 | 50.6 | Soluble K2O, Flame Photometric (Oxalate) (15%) | 5 | 5 | 15.1219 | 0.45522 | 0.44819 | 0.1127 | 0.46215 | 2.964% | 0.7453% | 3.056% | 4.1008 | Grade 15-15-15
220911 | 50.99 | Soluble K2O, Other (15%) | 43 | 39 | 15.1182 | 0.41588 | 0.39485 | 0.18468 | 0.4359 | 2.612% | 1.222% | 2.883% | 2.3603 | Grade 15-15-15
220911 | 143.99 | Elemental S, Other (%) | 5 | 5 | 5.5639 | 0.72361 | 0.72166 | 0.075121 | 0.72556 | 12.97% | 1.35% | 13.04% | 9.6586 | Grade 15-15-15
220911 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 8 | 8 | 5.5675 | 0.2761 | 0.27315 | 0.056899 | 0.27901 | 4.906% | 1.022% | 5.011% | 4.9036 | Grade 15-15-15
220911 | 148 | Total S, Combustion (5%) | 9 | 9 | 5.4735 | 0.17532 | 0.12119 | 0.17917 | 0.21631 | 2.214% | 3.273% | 3.952% | 1.2073 | Grade 15-15-15
220911 | 148.01 | Total S, Gravimetric - sulfate and elemental (5%) | 11 | 10 | 5.5574 | 0.3606 | 0.35858 | 0.053854 | 0.3626 | 6.452% | 0.9691% | 6.525% | 6.7331 | Grade 15-15-15
220911 | 148.07 | Total S, ICP, test portion as in 2017.02 (5%) | 15 | 14 | 5.4343 | 0.2455 | 0.23849 | 0.082326 | 0.2523 | 4.389% | 1.515% | 4.643% | 3.0647 | Grade 15-15-15
220911 | 148.99 | Total S, Other (5%) | 14 | 12 | 5.3762 | 0.25921 | 0.25535 | 0.063054 | 0.26302 | 4.75% | 1.173% | 4.892% | 4.1713 | Grade 15-15-15
220911 | 181.3 | Acid Soluble Cd, ICP (ppm) | 8 | 6 | 0.90677 | 0.13388 | 0.12869 | 0.052192 | 0.13887 | 14.19% | 5.756% | 15.31% | 2.6607 | Grade 15-15-15
220911 | 191.3 | Acid Soluble Cr, ICP (ppm) | 7 | 6 | 29.0134 | 2.1949 | 2.1781 | 0.384 | 2.2116 | 7.507% | 1.324% | 7.623% | 5.7594 | Grade 15-15-15
220911 | 202.3 | Acid Soluble Co, ICP (ppm) | 6 | 5 | 2.199 | 0.411 | 0.39468 | 0.16216 | 0.4267 | 17.95% | 7.374% | 19.4% | 2.6313 | Grade 15-15-15
220911 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 7 | 6 | 0.0018 | 0.00022583 | 0.00022398 | 4.0825e-05 | 0.00022767 | 12.44% | 2.268% | 12.65% | 5.5767 | Grade 15-15-15
220911 | 221.99 | Acid Soluble Cu, Other (%) | 7 | 6 | 0.0019917 | 0.00036663 | 0.00035917 | 0.00010408 | 0.00037394 | 18.03% | 5.226% | 18.78% | 3.5927 | Grade 15-15-15
220911 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 5 | 5 | 0.11961 | 0.0086247 | 0.0070636 | 0.0069986 | 0.0099436 | 5.906% | 5.851% | 8.313% | 1.4208 | Grade 15-15-15
220911 | 251.3 | Acid Soluble Pb, ICP (ppm) | 7 | 6 | 6.1498 | 0.99943 | 0.95226 | 0.42909 | 1.0445 | 15.48% | 6.977% | 16.98% | 2.4342 | Grade 15-15-15
220911 | 291.3 | Acid Soluble Ni, ICP (ppm) | 6 | 6 | 7.1755 | 0.88204 | 0.85213 | 0.32208 | 0.91096 | 11.88% | 4.489% | 12.7% | 2.8284 | Grade 15-15-15
220911 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 8 | 5 | 0.00358 | 0.0016563 | 0.0016548 | 0.0001 | 0.0016578 | 46.22% | 2.793% | 46.31% | 16.5778 | Grade 15-15-15
220911 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 7 | 6 | 0.00545 | 0.00083785 | 0.00083636 | 7.0711e-05 | 0.00083934 | 15.35% | 1.297% | 15.4% | 11.8701 | Grade 15-15-15
220911 | 321.99 | Acid Soluble Zn, Other (%) | 7 | 5 | 0.00534 | 0.00040988 | 0.00040988 | 0 | 0.00040988 | 7.676% | 0% | 7.676% |  | Grade 15-15-15
221011 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 7 | 6 | 0.14147 | 0.039417 | 0.039386 | 0.0022085 | 0.039448 | 27.84% | 1.561% | 27.88% | 17.8617 | High Micros
221011 | 148.07 | Total S, ICP, test portion as in 2017.02 (%) | 8 | 8 | 11.826 | 1.1743 | 1.1393 | 0.40252 | 1.2083 | 9.634% | 3.404% | 10.22% | 3.0019 | High Micros
221011 | 165 | Acid Soluble B, Spectrophotometric (2.6%) | 9 | 8 | 2.4357 | 0.1536 | 0.14875 | 0.054136 | 0.1583 | 6.107% | 2.223% | 6.499% | 2.924 | High Micros
221011 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (2.6%) | 23 | 22 | 2.4318 | 0.19691 | 0.18534 | 0.094051 | 0.20783 | 7.621% | 3.868% | 8.546% | 2.2098 | High Micros
221011 | 165.99 | Acid Soluble B, Other (2.6%) | 24 | 21 | 2.5141 | 0.1237 | 0.12162 | 0.031935 | 0.12575 | 4.838% | 1.27% | 5.002% | 3.9376 | High Micros
221011 | 171.1 | Water Soluble B, Spectrophotometric (%) | 6 | 5 | 2.502 | 0.021966 | 0.017103 | 0.019494 | 0.025933 | 0.6836% | 0.7791% | 1.036% | 1.3303 | High Micros
221011 | 181.3 | Acid Soluble Cd, ICP (ppm) | 9 | 9 | 24.7216 | 5.2785 | 5.2443 | 0.849 | 5.3125 | 21.21% | 3.434% | 21.49% | 6.2574 | High Micros
221011 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 7 | 7 | 27.8205 | 2.86 | 2.7895 | 0.89202 | 2.9287 | 10.03% | 3.206% | 10.53% | 3.2832 | High Micros
221011 | 181.99 | Acid Soluble Cd, Other (ppm) | 5 | 5 | 26.6024 | 2.9768 | 2.9359 | 0.69596 | 3.0172 | 11.04% | 2.616% | 11.34% | 4.3353 | High Micros
221011 | 191.3 | Acid Soluble Cr, ICP (ppm) | 6 | 5 | 26.5999 | 9.013 | 9.0002 | 0.68081 | 9.0259 | 33.84% | 2.559% | 33.93% | 13.2576 | High Micros
221011 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 6 | 5 | 25.9672 | 5.6333 | 5.5864 | 1.0255 | 5.6798 | 21.51% | 3.949% | 21.87% | 5.5386 | High Micros
221011 | 202.3 | Acid Soluble Co, ICP (ppm) | 6 | 6 | 81.9125 | 33.3013 | 33.2298 | 3.0829 | 33.3725 | 40.57% | 3.764% | 40.74% | 10.8249 | High Micros
221011 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 7 | 7 | 87.931 | 5.3285 | 5.007 | 2.5778 | 5.6316 | 5.694% | 2.932% | 6.405% | 2.1847 | High Micros
221011 | 221 | Acid Soluble Cu, AA, inorganic 965.09 (10%) | 9 | 8 | 10.0925 | 0.44122 | 0.43123 | 0.13204 | 0.45099 | 4.273% | 1.308% | 4.469% | 3.4156 | High Micros
221011 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (10%) | 19 | 18 | 10.4619 | 0.47582 | 0.44385 | 0.24251 | 0.50578 | 4.243% | 2.318% | 4.835% | 2.0856 | High Micros
221011 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (10%) | 7 | 7 | 10.1447 | 0.50422 | 0.48242 | 0.2074 | 0.52511 | 4.755% | 2.044% | 5.176% | 2.5319 | High Micros
221011 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (10%) | 15 | 13 | 10.1267 | 0.4525 | 0.42054 | 0.23622 | 0.48235 | 4.153% | 2.333% | 4.763% | 2.0419 | High Micros
221011 | 221.99 | Acid Soluble Cu, Other (10%) | 19 | 17 | 10.3588 | 0.46752 | 0.4639 | 0.082151 | 0.47112 | 4.478% | 0.7931% | 4.548% | 5.7348 | High Micros
221011 | 241 | Acid Soluble Fe, AA, inorganic 965.09 (9%) | 7 | 7 | 8.4187 | 0.53404 | 0.46142 | 0.38023 | 0.59791 | 5.481% | 4.517% | 7.102% | 1.5725 | High Micros
221011 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (9%) | 18 | 17 | 8.8027 | 0.81218 | 0.78711 | 0.28316 | 0.8365 | 8.942% | 3.217% | 9.503% | 2.9541 | High Micros
221011 | 241.32 | Acid Soluble Fe, ICP, test portion 2006.03A-C (9%) | 6 | 6 | 8.4023 | 1.3234 | 1.3183 | 0.16323 | 1.3284 | 15.69% | 1.943% | 15.81% | 8.1382 | High Micros
221011 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (9%) | 14 | 13 | 8.6082 | 0.56694 | 0.52928 | 0.28734 | 0.60224 | 6.148% | 3.338% | 6.996% | 2.0959 | High Micros
221011 | 241.99 | Acid Soluble Fe, Other (9%) | 20 | 17 | 8.7188 | 0.65732 | 0.6537 | 0.097442 | 0.66092 | 7.498% | 1.118% | 7.58% | 6.7827 | High Micros
221011 | 251.3 | Acid Soluble Pb, ICP (ppm) | 8 | 8 | 287.4257 | 81.6533 | 81.4151 | 8.8138 | 81.8908 | 28.33% | 3.066% | 28.49% | 9.2912 | High Micros
221011 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 5 | 5 | 342.7461 | 13.6434 | 13.2812 | 4.4166 | 13.9963 | 3.875% | 1.289% | 4.084% | 3.169 | High Micros
221011 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (12%) | 7 | 6 | 8.2391 | 0.32636 | 0.29888 | 0.18538 | 0.3517 | 3.628% | 2.25% | 4.269% | 1.8972 | High Micros
221011 | 261.32 | Acid Soluble Mn, ICP, test portion inorganic 965.09 (12%) | 9 | 9 | 8.1725 | 0.67667 | 0.66583 | 0.17063 | 0.68734 | 8.147% | 2.088% | 8.41% | 4.0283 | High Micros
221011 | 261.34 | Acid Soluble Mn, ICP, test portion 2006.03A-C (12%) | 5 | 5 | 7.99 | 0.30514 | 0.2936 | 0.11756 | 0.31626 | 3.675% | 1.471% | 3.958% | 2.6903 | High Micros
221011 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (12%) | 15 | 14 | 8.1518 | 0.45453 | 0.41334 | 0.26738 | 0.49229 | 5.071% | 3.28% | 6.039% | 1.8411 | High Micros
221011 | 261.99 | Acid Soluble Mn, Other (12%) | 20 | 18 | 8.5342 | 1.6645 | 1.6614 | 0.14314 | 1.6676 | 19.47% | 1.677% | 19.54% | 11.6499 | High Micros
221011 | 281.99 | Acid Soluble Hg, Other (ppm) | 6 | 5 | 0.05151 | 0.0033542 | 0.0025056 | 0.0031536 | 0.0040278 | 4.864% | 6.122% | 7.819% | 1.2772 | High Micros
221011 | 289.3 | Acid Soluble Mo, ICP (ppm) | 6 | 5 | 5.6291 | 5.9627 | 5.9545 | 0.44151 | 5.9709 | 105.8% | 7.843% | 106.1% | 13.5236 | High Micros
221011 | 291.3 | Acid Soluble Ni, ICP (ppm) | 7 | 6 | 131.2338 | 36.1922 | 36.0808 | 4.0114 | 36.3031 | 27.49% | 3.057% | 27.66% | 9.05 | High Micros
221011 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 6 | 5 | 151.492 | 9.4795 | 7.8971 | 7.4157 | 10.8332 | 5.213% | 4.895% | 7.151% | 1.4608 | High Micros
221011 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 8 | 5 | 3.9567 | 0.24576 | 0.24414 | 0.039861 | 0.24737 | 6.17% | 1.007% | 6.252% | 6.2058 | High Micros
221011 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 6 | 6 | 4.1253 | 0.30181 | 0.29124 | 0.11199 | 0.31203 | 7.06% | 2.715% | 7.564% | 2.7861 | High Micros
221011 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 12 | 12 | 4.3797 | 0.80757 | 0.73759 | 0.46506 | 0.87196 | 16.84% | 10.62% | 19.91% | 1.8749 | High Micros
221011 | 321.99 | Acid Soluble Zn, Other (%) | 10 | 8 | 4.1968 | 0.22625 | 0.19406 | 0.16451 | 0.2544 | 4.624% | 3.92% | 6.062% | 1.5464 | High Micros
221031 | 1.99 | Ammoniacal N, Other (%) | 6 | 5 | 21.102 | 0.061298 | 0.054475 | 0.039749 | 0.067435 | 0.2581% | 0.1884% | 0.3196% | 1.6965 | (NH4)2SO4
221031 | 10.6 | Total N, Combustion (%) | 13 | 12 | 21.2317 | 0.24767 | 0.22076 | 0.1588 | 0.27194 | 1.04% | 0.7479% | 1.281% | 1.7125 | (NH4)2SO4
221031 | 148.99 | Total S, Other (%) | 5 | 5 | 24.123 | 0.74935 | 0.74893 | 0.035355 | 0.74976 | 3.105% | 0.1466% | 3.108% | 21.2065 | (NH4)2SO4
221111 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 7 | 7 | 0.77286 | 0.1155 | 0.098331 | 0.08569 | 0.13043 | 12.72% | 11.09% | 16.88% | 1.5221 | 7-12-27 w/S&Mg
221111 | 1.99 | Ammoniacal N, Other (%) | 21 | 20 | 0.70872 | 0.1559 | 0.15528 | 0.019628 | 0.15652 | 21.91% | 2.769% | 22.08% | 7.9743 | 7-12-27 w/S&Mg
221111 | 2.99 | Nitrate N, Other (%) | 20 | 17 | 6.6892 | 0.30807 | 0.30594 | 0.051137 | 0.31019 | 4.574% | 0.7645% | 4.637% | 6.0658 | 7-12-27 w/S&Mg
221111 | 10.6 | Total N, Combustion (7%) | 55 | 49 | 7.5704 | 0.4019 | 0.39405 | 0.11179 | 0.4096 | 5.205% | 1.477% | 5.411% | 3.6641 | 7-12-27 w/S&Mg
221111 | 10.99 | Total N, Other (7%) | 15 | 14 | 7.2804 | 0.37672 | 0.37264 | 0.078224 | 0.38076 | 5.118% | 1.074% | 5.23% | 4.8676 | 7-12-27 w/S&Mg
221111 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 15 | 14 | 12.3758 | 0.27181 | 0.26749 | 0.068306 | 0.27607 | 2.161% | 0.5519% | 2.231% | 4.0417 | 7-12-27 w/S&Mg
221111 | 20.5 | Total P2O5, ICP (%) | 22 | 21 | 12.3788 | 1.6916 | 1.6855 | 0.20343 | 1.6977 | 13.62% | 1.643% | 13.71% | 8.3454 | 7-12-27 w/S&Mg
221111 | 20.99 | Total P2O5, Other (%) | 6 | 6 | 12.0595 | 0.32929 | 0.32516 | 0.073516 | 0.33336 | 2.696% | 0.6096% | 2.764% | 4.5346 | 7-12-27 w/S&Mg
221111 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (12%) | 7 | 7 | 12.3536 | 0.20451 | 0.15581 | 0.18733 | 0.24366 | 1.261% | 1.516% | 1.972% | 1.3007 | 7-12-27 w/S&Mg
221111 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (12%) | 11 | 11 | 12.3032 | 0.74597 | 0.73782 | 0.15551 | 0.75403 | 5.997% | 1.264% | 6.129% | 4.8489 | 7-12-27 w/S&Mg
221111 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (12%) | 11 | 11 | 12.532 | 0.44496 | 0.41977 | 0.20875 | 0.46881 | 3.35% | 1.666% | 3.741% | 2.2458 | 7-12-27 w/S&Mg
221111 | 41.99 | Direct Available P2O5, Other (12%) | 7 | 7 | 12.2857 | 0.26077 | 0.18145 | 0.26487 | 0.32106 | 1.477% | 2.156% | 2.613% | 1.2121 | 7-12-27 w/S&Mg
221111 | 50 | Soluble K2O, STPB Oxalate (27%) | 9 | 9 | 27.6283 | 0.34948 | 0.11931 | 0.46455 | 0.47963 | 0.4318% | 1.681% | 1.736% | 1.0325 | 7-12-27 w/S&Mg
221111 | 50.5 | Soluble K2O, ICP (Oxalate) (27%) | 10 | 10 | 27.9295 | 1.1273 | 1.0584 | 0.54863 | 1.1922 | 3.79% | 1.964% | 4.268% | 2.173 | 7-12-27 w/S&Mg
221111 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (27%) | 12 | 12 | 27.2727 | 0.9368 | 0.89688 | 0.38267 | 0.9751 | 3.289% | 1.403% | 3.575% | 2.5482 | 7-12-27 w/S&Mg
221111 | 50.99 | Soluble K2O, Other (27%) | 37 | 34 | 27.2866 | 0.7025 | 0.68185 | 0.23915 | 0.72257 | 2.499% | 0.8764% | 2.648% | 3.0215 | 7-12-27 w/S&Mg
221111 | 121 | Acid Soluble Mg, AA, inorganic 965.09 (5%) | 6 | 5 | 5.093 | 0.30049 | 0.28564 | 0.13195 | 0.31464 | 5.608% | 2.591% | 6.178% | 2.3846 | 7-12-27 w/S&Mg
221111 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (5%) | 19 | 18 | 5.3653 | 0.24789 | 0.23553 | 0.10932 | 0.25966 | 4.39% | 2.038% | 4.84% | 2.3752 | 7-12-27 w/S&Mg
221111 | 121.32 | Acid Soluble Mg, ICP, test portion 2006.03A-C (5%) | 6 | 6 | 5.2611 | 0.28012 | 0.26634 | 0.12271 | 0.29325 | 5.062% | 2.332% | 5.574% | 2.3897 | 7-12-27 w/S&Mg
221111 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (5%) | 15 | 13 | 5.2128 | 0.33777 | 0.33296 | 0.080292 | 0.34251 | 6.387% | 1.54% | 6.57% | 4.2658 | 7-12-27 w/S&Mg
221111 | 121.99 | Acid Soluble Mg, Other (5%) | 12 | 10 | 5.1846 | 0.15271 | 0.13128 | 0.11032 | 0.17148 | 2.532% | 2.128% | 3.307% | 1.5544 | 7-12-27 w/S&Mg
221111 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 5 | 5 | 6.8433 | 0.1748 | 0.15303 | 0.11947 | 0.19414 | 2.236% | 1.746% | 2.837% | 1.625 | 7-12-27 w/S&Mg
221111 | 148 | Total S, Combustion (6.5%) | 5 | 5 | 6.6404 | 0.69936 | 0.66232 | 0.3176 | 0.73453 | 9.974% | 4.783% | 11.06% | 2.3127 | 7-12-27 w/S&Mg
221111 | 148.01 | Total S, Gravimetric - sulfate and elemental (6.5%) | 10 | 9 | 6.6528 | 0.21908 | 0.2094 | 0.091074 | 0.22835 | 3.148% | 1.369% | 3.432% | 2.5073 | 7-12-27 w/S&Mg
221111 | 148.07 | Total S, ICP, test portion as in 2017.02 (6.5%) | 18 | 17 | 6.8454 | 0.66611 | 0.65979 | 0.12949 | 0.67237 | 9.638% | 1.892% | 9.822% | 5.1927 | 7-12-27 w/S&Mg
221111 | 148.99 | Total S, Other (6.5%) | 18 | 16 | 6.7863 | 0.29336 | 0.27598 | 0.14067 | 0.30976 | 4.067% | 2.073% | 4.565% | 2.202 | 7-12-27 w/S&Mg
221111 | 149.04 | S - HNO3 soluble, ICP (%) | 5 | 5 | 6.7408 | 0.1791 | 0.17681 | 0.040346 | 0.18136 | 2.623% | 0.5985% | 2.69% | 4.4951 | 7-12-27 w/S&Mg
221111 | 191.3 | Acid Soluble Cr, ICP (ppm) | 6 | 6 | 1.684 | 0.70096 | 0.70025 | 0.04487 | 0.70168 | 41.58% | 2.665% | 41.67% | 15.6383 | 7-12-27 w/S&Mg
221141 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 11 | 9 | 26.4094 | 4.3829 | 4.3828 | 0.046368 | 4.383 | 16.6% | 0.1756% | 16.6% | 94.527 | P rock
221141 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 5 | 5 | 30.822 | 7.0197 | 7.0167 | 0.29216 | 7.0227 | 22.77% | 0.9479% | 22.78% | 24.0369 | P rock
221141 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 6 | 5 | 32.4577 | 5.5427 | 5.54 | 0.24782 | 5.5455 | 17.07% | 0.7635% | 17.09% | 22.377 | P rock
221141 | 101.99 | Acid Soluble Ca, Other (%) | 7 | 6 | 30.0428 | 1.6567 | 1.615 | 0.52235 | 1.6974 | 5.376% | 1.739% | 5.65% | 3.2495 | P rock
221141 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 6 | 5 | 0.47357 | 0.026718 | 0.026157 | 0.0076973 | 0.027266 | 5.523% | 1.625% | 5.758% | 3.5423 | P rock
221141 | 121.99 | Acid Soluble Mg, Other (%) | 6 | 6 | 0.47247 | 0.19287 | 0.19262 | 0.013802 | 0.19312 | 40.77% | 2.921% | 40.87% | 13.9922 | P rock
221215 | 50 | Soluble K2O, STPB Oxalate (62%) | 9 | 9 | 61.0972 | 0.87016 | 0.84836 | 0.27375 | 0.89143 | 1.389% | 0.4481% | 1.459% | 3.2564 | KCl
221215 | 50.5 | Soluble K2O, ICP (Oxalate) (62%) | 7 | 6 | 60.6037 | 2.4392 | 2.4171 | 0.46286 | 2.461 | 3.988% | 0.7637% | 4.061% | 5.3171 | KCl
221215 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (62%) | 12 | 10 | 61.0264 | 0.99309 | 0.92113 | 0.52489 | 1.0602 | 1.509% | 0.8601% | 1.737% | 2.0198 | KCl
221215 | 50.99 | Soluble K2O, Other (62%) | 42 | 36 | 61.7396 | 1.2045 | 1.1819 | 0.32813 | 1.2266 | 1.914% | 0.5315% | 1.987% | 3.7383 | KCl
221215 | 190 | Water Soluble Cl, Titrimetric (%) | 16 | 15 | 47.7498 | 0.74668 | 0.72711 | 0.24019 | 0.76576 | 1.523% | 0.503% | 1.604% | 3.1881 | KCl
221215 | 191.3 | Acid Soluble Cr, ICP (ppm) | 7 | 7 | 0.74024 | 0.33464 | 0.33086 | 0.070948 | 0.33838 | 44.7% | 9.585% | 45.71% | 4.7694 | KCl
221215 | 251.3 | Acid Soluble Pb, ICP (ppm) | 7 | 5 | 0.22247 | 0.050501 | 0.043761 | 0.035645 | 0.056442 | 19.67% | 16.02% | 25.37% | 1.5834 | KCl
221215 | 291.3 | Acid Soluble Ni, ICP (ppm) | 5 | 5 | 0.64182 | 0.41507 | 0.41051 | 0.08677 | 0.41958 | 63.96% | 13.52% | 65.37% | 4.8355 | KCl
221215 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 8 | 7 | 1.2137 | 0.074799 | 0.072262 | 0.027319 | 0.077253 | 5.954% | 2.251% | 6.365% | 2.8279 | KCl
221215 | 311.99 | Sodium, Other (%) | 6 | 6 | 1.2131 | 0.05234 | 0.047921 | 0.029764 | 0.056413 | 3.95% | 2.454% | 4.65% | 1.8953 | KCl

## Method
[17 empty] | Lower | Upper
[16 empty] | Input Method Code | 1 | 353.99
224
All Method Performance Report, 2017 | [6 empty] | Method Precision Report
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs sL | Within Labs sr | Reproducibility sR | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name | Sample Number | Method Code | Analyte & Method

## Sheet1
[14 empty] | Lower | Upper
[13 empty] | Input Method Code | 1 | 353.99
224
All Method Performance Report, 2017 | [6 empty] | Method Precision Report
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name | Sample Number | Method Code | Analyte & Method