## Data
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Entries
296
16
[6 empty] | Method Precision Report | [9 empty] | Unique Samples
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs sL | Within Labs sr | Reproducibility sR | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name |  | Sample Number | Sample Name
230111 | 10.6 | Total N, Combustion (6%) | 47 | 42 | 7.0374 | 0.11244 | 0.10585 | 0.053658 | 0.11867 | 1.504% | 0.7625% | 1.686% | 2.2116 | Organic 6-3-3.5 |  | 230111 | Organic 6-3-3.5
230111 | 10.99 | Total N, Other (6%) | 6 | 6 | 7.4705 | 0.42677 | 0.4241 | 0.067352 | 0.42942 | 5.677% | 0.9016% | 5.748% | 6.3757 | Organic 6-3-3.5 |  | 230213 | UAN Solution 32-0-0
230111 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 8 | 6 | 6.1067 | 0.18581 | 0.18384 | 0.038177 | 0.18776 | 3.01% | 0.6252% | 3.075% | 4.9182 | Organic 6-3-3.5 |  | 230311 | Grade 22-0-12
230111 | 20.5 | Total P2O5, ICP (%) | 20 | 17 | 5.9478 | 0.87788 | 0.86975 | 0.16855 | 0.88593 | 14.62% | 2.834% | 14.9% | 5.2563 | Organic 6-3-3.5 |  | 230411 | Grade 1-3-2
230111 | 20.99 | Total P2O5, Other (%) | 5 | 5 | 5.8318 | 0.65235 | 0.64532 | 0.13508 | 0.65931 | 11.07% | 2.316% | 11.31% | 4.881 | Organic 6-3-3.5 |  | 230511 | Silicon Fertilizer
230111 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (3%) | 5 | 5 | 5.565 | 0.45029 | 0.44956 | 0.036194 | 0.45102 | 8.078% | 0.6504% | 8.105% | 12.4612 | Organic 6-3-3.5 |  | 230611 | Grade 15-6-12
230111 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (3%) | 9 | 8 | 5.6469 | 0.24727 | 0.24191 | 0.072414 | 0.25252 | 4.284% | 1.282% | 4.472% | 3.4871 | Organic 6-3-3.5 |  | 230631 | Granular Urea 46-0-0
230111 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (3%) | 7 | 7 | 5.4407 | 0.40279 | 0.3949 | 0.11215 | 0.41052 | 7.258% | 2.061% | 7.545% | 3.6603 | Organic 6-3-3.5 |  | 230714 | DAP 18-46-0
230111 | 50 | Soluble K2O, STPB Oxalate (3.5%) | 5 | 5 | 3.342 | 0.50112 | 0.49566 | 0.10431 | 0.50652 | 14.83% | 3.121% | 15.16% | 4.856 | Organic 6-3-3.5 |  | 230851 | K-Mg-SO4
230111 | 50.5 | Soluble K2O, ICP (Oxalate) (3.5%) | 7 | 6 | 3.9741 | 0.2635 | 0.26244 | 0.033433 | 0.26456 | 6.604% | 0.8413% | 6.657% | 7.9132 | Organic 6-3-3.5 |  | 230811 | Grade 4-3-4
230111 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (3.5%) | 9 | 9 | 4.0174 | 0.19126 | 0.17922 | 0.094437 | 0.20258 | 4.461% | 2.351% | 5.043% | 2.1451 | Organic 6-3-3.5 |  | 230911 | 0-0-25-17S Liquid
230111 | 50.99 | Soluble K2O, Other (3.5%) | 26 | 23 | 3.971 | 0.34957 | 0.3426 | 0.098258 | 0.35641 | 8.627% | 2.474% | 8.975% | 3.6273 | Organic 6-3-3.5 |  | 231011 | Gypsum
230111 | 101 | Acid Soluble Ca, AA, inorganic 965.09 (7.8%) | 6 | 5 | 8.1869 | 0.45806 | 0.45322 | 0.093883 | 0.46284 | 5.536% | 1.147% | 5.653% | 4.93 | Organic 6-3-3.5 |  | 231031 | Grade 21-0-0
230111 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (7.8%) | 14 | 12 | 8.009 | 0.54926 | 0.54838 | 0.043852 | 0.55013 | 6.847% | 0.5475% | 6.869% | 12.545 | Organic 6-3-3.5 |  | 231111 | High Micros
230111 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (7.8%) | 13 | 12 | 7.797 | 0.16376 | 0.15346 | 0.080824 | 0.17344 | 1.968% | 1.037% | 2.225% | 2.146 | Organic 6-3-3.5 |  | 231141 | 12-40-0 MAP + Zn
230111 | 101.99 | Acid Soluble Ca, Other (7.8%) | 12 | 11 | 7.8541 | 0.3782 | 0.36465 | 0.14189 | 0.39128 | 4.643% | 1.807% | 4.982% | 2.7576 | Organic 6-3-3.5 |  | 231215 | K2SO4/polihalide
230111 | 121 | Acid Soluble Mg, AA, inorganic 965.09 (0.7%) | 7 | 6 | 0.63397 | 0.064562 | 0.062032 | 0.025311 | 0.066997 | 9.785% | 3.992% | 10.57% | 2.647 | Organic 6-3-3.5
230111 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (0.7%) | 14 | 12 | 0.70437 | 0.047724 | 0.046989 | 0.011802 | 0.048448 | 6.671% | 1.676% | 6.878% | 4.1051 | Organic 6-3-3.5
230111 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (0.7%) | 12 | 11 | 0.68315 | 0.027606 | 0.025529 | 0.014859 | 0.029538 | 3.737% | 2.175% | 4.324% | 1.9879 | Organic 6-3-3.5
230111 | 121.99 | Acid Soluble Mg, Other (0.7%) | 15 | 14 | 0.68887 | 0.13184 | 0.13036 | 0.027845 | 0.13331 | 18.92% | 4.042% | 19.35% | 4.7873 | Organic 6-3-3.5
230111 | 148 | Total S, Combustion (2.5%) | 7 | 7 | 2.3512 | 0.10368 | 0.1005 | 0.036037 | 0.10677 | 4.274% | 1.533% | 4.541% | 2.9627 | Organic 6-3-3.5
230111 | 148.01 | Total S, Gravimetric - sulfate and elemental (2.5%) | 6 | 6 | 2.3017 | 0.23235 | 0.22722 | 0.068678 | 0.23737 | 9.872% | 2.984% | 10.31% | 3.4563 | Organic 6-3-3.5
230111 | 148.07 | Total S, ICP, test portion as in 2017.02 (2.5%) | 12 | 12 | 2.3285 | 0.19508 | 0.19003 | 0.06235 | 0.2 | 8.161% | 2.678% | 8.589% | 3.2076 | Organic 6-3-3.5
230111 | 148.99 | Total S, Other (2.5%) | 16 | 13 | 2.2016 | 0.27434 | 0.27354 | 0.0295 | 0.27513 | 12.42% | 1.34% | 12.5% | 9.3265 | Organic 6-3-3.5
230111 | 191.3 | Acid Soluble Cr, ICP (ppm) | 6 | 6 | 46.2802 | 14.4222 | 14.1431 | 3.9931 | 14.696 | 30.56% | 8.628% | 31.75% | 3.6803 | Organic 6-3-3.5
230111 | 202.3 | Acid Soluble Co, ICP (ppm) | 6 | 5 | 16.324 | 3.7547 | 3.7463 | 0.35458 | 3.763 | 22.95% | 2.172% | 23.05% | 10.6127 | Organic 6-3-3.5
230111 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 6 | 5 | 0.00369 | 0.00019494 | 0.00017748 | 0.00011402 | 0.00021095 | 4.81% | 3.09% | 5.717% | 1.8502 | Organic 6-3-3.5
230111 | 221.99 | Acid Soluble Cu, Other (%) | 7 | 6 | 0.00365 | 0.00045607 | 0.00045516 | 4.0825e-05 | 0.00045698 | 12.47% | 1.118% | 12.52% | 11.1937 | Organic 6-3-3.5
230111 | 241 | Acid Soluble Fe, AA, inorganic 965.09 (0.2%) | 6 | 6 | 0.2608 | 0.087983 | 0.087949 | 0.0034395 | 0.088017 | 33.72% | 1.319% | 33.75% | 25.5901 | Organic 6-3-3.5
230111 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (0.2%) | 15 | 12 | 0.2969 | 0.031554 | 0.030701 | 0.010309 | 0.032385 | 10.34% | 3.472% | 10.91% | 3.1415 | Organic 6-3-3.5
230111 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (0.2%) | 12 | 12 | 0.32284 | 0.042012 | 0.04163 | 0.007998 | 0.042391 | 12.89% | 2.477% | 13.13% | 5.3002 | Organic 6-3-3.5
230111 | 241.99 | Acid Soluble Fe, Other (0.2%) | 13 | 12 | 0.27797 | 0.039544 | 0.038807 | 0.010751 | 0.040268 | 13.96% | 3.868% | 14.49% | 3.7456 | Organic 6-3-3.5
230111 | 289.3 | Acid Soluble Mo, ICP (ppm) | 6 | 6 | 3.4891 | 1.9127 | 1.8766 | 0.52327 | 1.9481 | 53.78% | 15% | 55.83% | 3.723 | Organic 6-3-3.5
230111 | 291.3 | Acid Soluble Ni, ICP (ppm) | 6 | 5 | 22.3704 | 3.4492 | 3.4259 | 0.56624 | 3.4724 | 15.31% | 2.531% | 15.52% | 6.1323 | Organic 6-3-3.5
230111 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 7 | 6 | 0.0171 | 0.0016956 | 0.0016363 | 0.00062849 | 0.0017529 | 9.569% | 3.675% | 10.25% | 2.789 | Organic 6-3-3.5
230111 | 441.1 | Humic Acids, Gravimetry, alkali dissolved, acid precipitated (%) | 6 | 5 | 6.0882 | 1.8115 | 1.8066 | 0.18962 | 1.8165 | 29.67% | 3.114% | 29.84% | 9.5799 | Organic 6-3-3.5
230213 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 10 | 8 | 7.7875 | 0.17982 | 0.17492 | 0.058949 | 0.18459 | 2.246% | 0.757% | 2.37% | 3.1313 | UAN Solution 32-0-0
230213 | 1.99 | Ammoniacal N, Other (%) | 9 | 9 | 7.9427 | 1.1773 | 1.1739 | 0.12684 | 1.1808 | 14.78% | 1.597% | 14.87% | 9.3087 | UAN Solution 32-0-0
230213 | 2.99 | Nitrate N, Other (%) | 14 | 11 | 7.1893 | 0.69329 | 0.6915 | 0.070471 | 0.69508 | 9.619% | 0.9802% | 9.668% | 9.8634 | UAN Solution 32-0-0
230213 | 5.99 | Urea N, Other (%) | 7 | 6 | 16.8783 | 0.81816 | 0.81284 | 0.13172 | 0.82344 | 4.816% | 0.7804% | 4.879% | 6.2515 | UAN Solution 32-0-0
230213 | 10.6 | Total N, Combustion (32%) | 45 | 43 | 32.1247 | 0.45633 | 0.4275 | 0.22575 | 0.48344 | 1.331% | 0.7027% | 1.505% | 2.1415 | UAN Solution 32-0-0
230311 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 7 | 5 | 11.944 | 0.16622 | 0.16313 | 0.045166 | 0.16926 | 1.366% | 0.3782% | 1.417% | 3.7475 | Grade 22-0-12
230311 | 1.99 | Ammoniacal N, Other (%) | 18 | 17 | 11.579 | 0.87754 | 0.87143 | 0.1462 | 0.88361 | 7.526% | 1.263% | 7.631% | 6.0438 | Grade 22-0-12
230311 | 2.99 | Nitrate N, Other (%) | 14 | 13 | 10.8084 | 0.73691 | 0.73412 | 0.090737 | 0.7397 | 6.792% | 0.8395% | 6.844% | 8.1521 | Grade 22-0-12
230311 | 10.6 | Total N, Combustion (22%) | 49 | 44 | 22.3448 | 0.28961 | 0.2721 | 0.14028 | 0.30613 | 1.218% | 0.6278% | 1.37% | 2.1823 | Grade 22-0-12
230311 | 10.99 | Total N, Other (22%) | 10 | 8 | 22.2901 | 0.28465 | 0.27214 | 0.11804 | 0.29664 | 1.221% | 0.5296% | 1.331% | 2.513 | Grade 22-0-12
230311 | 20.5 | Total P2O5, ICP (%) | 7 | 5 | 0.16306 | 0.017722 | 0.013495 | 0.016244 | 0.021119 | 8.276% | 9.962% | 12.95% | 1.3001 | Grade 22-0-12
230311 | 50 | Soluble K2O, STPB Oxalate (12%) | 9 | 7 | 13.0071 | 0.12209 | 0.081372 | 0.12873 | 0.15229 | 0.6256% | 0.9897% | 1.171% | 1.183 | Grade 22-0-12
230311 | 50.5 | Soluble K2O, ICP (Oxalate) (12%) | 9 | 9 | 13.2166 | 1.0997 | 1.0897 | 0.20889 | 1.1095 | 8.245% | 1.58% | 8.395% | 5.3117 | Grade 22-0-12
230311 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (12%) | 13 | 12 | 12.7214 | 0.42727 | 0.42199 | 0.094684 | 0.43248 | 3.317% | 0.7443% | 3.4% | 4.5676 | Grade 22-0-12
230311 | 50.99 | Soluble K2O, Other (12%) | 34 | 33 | 12.7832 | 0.53668 | 0.49333 | 0.29884 | 0.57679 | 3.859% | 2.338% | 4.512% | 1.9301 | Grade 22-0-12
230311 | 148.07 | Total S, ICP, test portion as in 2017.02 (%) | 6 | 5 | 4.7587 | 0.38514 | 0.35424 | 0.21379 | 0.41375 | 7.444% | 4.493% | 8.695% | 1.9353 | Grade 22-0-12
230311 | 190 | Water Soluble Cl, Titrimetric (9.5%) | 16 | 15 | 9.3844 | 0.22624 | 0.21931 | 0.078579 | 0.23296 | 2.337% | 0.8373% | 2.482% | 2.9647 | Grade 22-0-12
230311 | 190.99 | Water Soluble Cl, Other (9.5%) | 9 | 7 | 9.2697 | 0.26464 | 0.26012 | 0.068881 | 0.26908 | 2.806% | 0.7431% | 2.903% | 3.9065 | Grade 22-0-12
230411 | 1.99 | Ammoniacal N, Other (%) | 8 | 7 | 1.3374 | 0.31015 | 0.30916 | 0.034871 | 0.31112 | 23.12% | 2.607% | 23.26% | 8.922 | Grade 1-3-2
230411 | 10.6 | Total N, Combustion (1%) | 42 | 38 | 1.62 | 0.094974 | 0.090076 | 0.042575 | 0.099631 | 5.56% | 2.628% | 6.15% | 2.3401 | Grade 1-3-2
230411 | 10.99 | Total N, Other (1%) | 8 | 8 | 1.7804 | 0.16172 | 0.15843 | 0.045859 | 0.16493 | 8.899% | 2.576% | 9.264% | 3.5965 | Grade 1-3-2
230411 | 20.5 | Total P2O5, ICP (%) | 19 | 17 | 3.7596 | 1.1124 | 1.1092 | 0.11796 | 1.1155 | 29.5% | 3.137% | 29.67% | 9.4569 | Grade 1-3-2
230411 | 20.99 | Total P2O5, Other (%) | 7 | 7 | 3.7093 | 0.67639 | 0.67286 | 0.097557 | 0.67989 | 18.14% | 2.63% | 18.33% | 6.9692 | Grade 1-3-2
230411 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (3%) | 6 | 6 | 4.25 | 0.15786 | 0.15167 | 0.061914 | 0.16382 | 3.569% | 1.457% | 3.855% | 2.6459 | Grade 1-3-2
230411 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (3%) | 7 | 7 | 4.0479 | 1.0733 | 1.0714 | 0.089243 | 1.0752 | 26.47% | 2.205% | 26.56% | 12.0475 | Grade 1-3-2
230411 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (3%) | 8 | 7 | 4.0449 | 0.19914 | 0.18573 | 0.10163 | 0.21171 | 4.592% | 2.513% | 5.234% | 2.0832 | Grade 1-3-2
230411 | 41.99 | Direct Available P2O5, Other (3%) | 6 | 5 | 2.964 | 0.12422 | 0.12062 | 0.041952 | 0.12771 | 4.07% | 1.415% | 4.309% | 3.0442 | Grade 1-3-2
230411 | 50 | Soluble K2O, STPB Oxalate (2%) | 7 | 7 | 1.84 | 0.3457 | 0.34414 | 0.046445 | 0.34726 | 18.7% | 2.524% | 18.87% | 7.4767 | Grade 1-3-2
230411 | 50.5 | Soluble K2O, ICP (Oxalate) (2%) | 9 | 9 | 1.8646 | 0.12862 | 0.12374 | 0.049607 | 0.13331 | 6.636% | 2.66% | 7.15% | 2.6874 | Grade 1-3-2
230411 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (2%) | 10 | 8 | 1.8836 | 0.090543 | 0.080241 | 0.05932 | 0.099787 | 4.26% | 3.149% | 5.298% | 1.6822 | Grade 1-3-2
230411 | 50.62 | Soluble K2O, Flame Photometric (Citrate-EDTA) (2%) | 5 | 5 | 2.1759 | 0.32329 | 0.32123 | 0.051529 | 0.32534 | 14.76% | 2.368% | 14.95% | 6.3137 | Grade 1-3-2
230411 | 50.99 | Soluble K2O, Other (2%) | 28 | 25 | 2.0141 | 0.16923 | 0.16483 | 0.054206 | 0.17351 | 8.184% | 2.691% | 8.615% | 3.201 | Grade 1-3-2
230411 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (2%) | 12 | 11 | 0.34421 | 0.028866 | 0.027843 | 0.010771 | 0.029854 | 8.089% | 3.129% | 8.673% | 2.7717 | Grade 1-3-2
230411 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (2%) | 13 | 10 | 0.35711 | 0.035239 | 0.03411 | 0.012514 | 0.036333 | 9.552% | 3.504% | 10.17% | 2.9035 | Grade 1-3-2
230411 | 121.99 | Acid Soluble Mg, Other (2%) | 12 | 11 | 0.42252 | 0.208 | 0.20777 | 0.013891 | 0.20823 | 49.17% | 3.288% | 49.28% | 14.9905 | Grade 1-3-2
230411 | 148.07 | Total S, ICP, test portion as in 2017.02 (2%) | 11 | 9 | 7.9345 | 0.80114 | 0.7742 | 0.29131 | 0.8272 | 9.757% | 3.671% | 10.43% | 2.8395 | Grade 1-3-2
230411 | 148.99 | Total S, Other (2%) | 14 | 11 | 5.9033 | 2.8583 | 2.8581 | 0.047837 | 2.8585 | 48.42% | 0.8103% | 48.42% | 59.7556 | Grade 1-3-2
230411 | 151.3 | Acid Soluble As, ICP (ppm) | 5 | 5 | 556.4198 | 352.8622 | 348.2683 | 80.2607 | 357.397 | 62.59% | 14.42% | 64.23% | 4.453 | Grade 1-3-2
230411 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 6 | 5 | 1543.2716 | 182.1713 | 171.1597 | 88.2127 | 192.5542 | 11.09% | 5.716% | 12.48% | 2.1828 | Grade 1-3-2
230411 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (4%) | 15 | 14 | 3.4164 | 0.12825 | 0.10989 | 0.093513 | 0.14429 | 3.216% | 2.737% | 4.223% | 1.543 | Grade 1-3-2
230411 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (4%) | 15 | 14 | 3.326 | 0.32121 | 0.31425 | 0.094031 | 0.32802 | 9.448% | 2.827% | 9.862% | 3.4884 | Grade 1-3-2
230411 | 221.99 | Acid Soluble Cu, Other (4%) | 13 | 13 | 3.5312 | 0.31407 | 0.3089 | 0.08027 | 0.31916 | 8.748% | 2.273% | 9.038% | 3.976 | Grade 1-3-2
230411 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (35%) | 14 | 13 | 24.5232 | 8.6235 | 8.5939 | 1.0091 | 8.653 | 35.04% | 4.115% | 35.28% | 8.5752 | Grade 1-3-2
230411 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (35%) | 13 | 12 | 22.8225 | 7.3961 | 7.3896 | 0.43981 | 7.4026 | 32.38% | 1.927% | 32.44% | 16.8313 | Grade 1-3-2
230411 | 241.99 | Acid Soluble Fe, Other (35%) | 11 | 10 | 20.434 | 9.0373 | 9.0347 | 0.30243 | 9.0398 | 44.21% | 1.48% | 44.24% | 29.8906 | Grade 1-3-2
230411 | 251.3 | Acid Soluble Pb, ICP (ppm) | 5 | 5 | 6525.8269 | 3827.5716 | 3766.0298 | 966.7721 | 3888.1395 | 57.71% | 14.81% | 59.58% | 4.0218 | Grade 1-3-2
230411 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 6 | 6 | 7338.206 | 3301.098 | 3298.1065 | 198.7044 | 3304.0868 | 44.94% | 2.708% | 45.03% | 16.6281 | Grade 1-3-2
230411 | 261.32 | Acid Soluble Mn, ICP, test portion inorganic 965.09 (0.5%) | 6 | 6 | 0.20962 | 0.035691 | 0.035436 | 0.006025 | 0.035944 | 16.9% | 2.874% | 17.15% | 5.9658 | Grade 1-3-2
230411 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (0.5%) | 13 | 12 | 0.3283 | 0.40226 | 0.40217 | 0.011651 | 0.40234 | 122.5% | 3.549% | 122.6% | 34.5328 | Grade 1-3-2
230411 | 261.99 | Acid Soluble Mn, Other (0.5%) | 12 | 11 | 0.20765 | 0.046313 | 0.042814 | 0.024976 | 0.049566 | 20.62% | 12.03% | 23.87% | 1.9845 | Grade 1-3-2
230411 | 289.3 | Acid Soluble Mo, ICP (ppm) | 5 | 5 | 8.1295 | 9.9283 | 9.901 | 1.0396 | 9.9554 | 121.8% | 12.79% | 122.5% | 9.5767 | Grade 1-3-2
230411 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 6 | 5 | 21.4958 | 7.3228 | 7.282 | 1.0923 | 7.3634 | 33.88% | 5.081% | 34.26% | 6.7414 | Grade 1-3-2
230411 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (7%) | 15 | 14 | 6.4082 | 0.53813 | 0.5124 | 0.23247 | 0.56267 | 7.996% | 3.628% | 8.781% | 2.4204 | Grade 1-3-2
230411 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (7%) | 15 | 12 | 5.7791 | 1.8646 | 1.8606 | 0.17288 | 1.8686 | 32.2% | 2.991% | 32.33% | 10.8091 | Grade 1-3-2
230511 | 20.5 | Total P2O5, ICP (%) | 6 | 5 | 0.41802 | 0.080409 | 0.079644 | 0.015655 | 0.081168 | 19.05% | 3.745% | 19.42% | 5.1846 | Silicon Fertilizer
230511 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (26.5%) | 14 | 11 | 25.6645 | 0.72246 | 0.70404 | 0.22923 | 0.74042 | 2.743% | 0.8932% | 2.885% | 3.2301 | Silicon Fertilizer
230511 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (26.5%) | 21 | 20 | 25.174 | 1.3912 | 1.362 | 0.4015 | 1.4199 | 5.41% | 1.595% | 5.64% | 3.5365 | Silicon Fertilizer
230511 | 101.99 | Acid Soluble Ca, Other (26.5%) | 12 | 11 | 25.8462 | 1.4433 | 1.3917 | 0.54125 | 1.4932 | 5.384% | 2.094% | 5.777% | 2.7588 | Silicon Fertilizer
230511 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (4.8%) | 15 | 15 | 5.9741 | 0.60773 | 0.58507 | 0.2325 | 0.62958 | 9.794% | 3.892% | 10.54% | 2.7078 | Silicon Fertilizer
230511 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (4.8%) | 20 | 18 | 6.2751 | 0.50431 | 0.49113 | 0.162 | 0.51716 | 7.827% | 2.582% | 8.241% | 3.1923 | Silicon Fertilizer
230511 | 121.99 | Acid Soluble Mg, Other (4.8%) | 12 | 12 | 6.0877 | 0.77488 | 0.76519 | 0.17275 | 0.78445 | 12.57% | 2.838% | 12.89% | 4.541 | Silicon Fertilizer
230511 | 148.07 | Total S, ICP, test portion as in 2017.02 (0.2%) | 15 | 14 | 0.39479 | 0.12531 | 0.12447 | 0.020524 | 0.12615 | 31.53% | 5.199% | 31.95% | 6.1463 | Silicon Fertilizer
230511 | 148.99 | Total S, Other (0.2%) | 12 | 11 | 0.35517 | 0.26674 | 0.26602 | 0.027732 | 0.26746 | 74.9% | 7.808% | 75.3% | 9.6445 | Silicon Fertilizer
230511 | 165.99 | Acid Soluble B, Other (%) | 8 | 5 | 0.02312 | 0.018207 | 0.017627 | 0.0064518 | 0.01877 | 76.24% | 27.91% | 81.19% | 2.9093 | Silicon Fertilizer
230511 | 191.3 | Acid Soluble Cr, ICP (ppm) | 5 | 5 | 1243.005 | 395.1422 | 393.8588 | 45.0011 | 396.4213 | 31.69% | 3.62% | 31.89% | 8.8091 | Silicon Fertilizer
230511 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 8 | 8 | 1408.4303 | 267.6576 | 266.6972 | 32.038 | 268.6146 | 18.94% | 2.275% | 19.07% | 8.3843 | Silicon Fertilizer
230511 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 7 | 5 | 51.1753 | 2.9147 | 0.7017 | 4.0008 | 4.0619 | 1.371% | 7.818% | 7.937% | 1.0153 | Silicon Fertilizer
230511 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (0.003%) | 12 | 8 | 0.0046 | 0.0064864 | 0.0064844 | 0.00022638 | 0.0064884 | 141% | 4.921% | 141.1% | 28.6609 | Silicon Fertilizer
230511 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (0.003%) | 12 | 7 | 0.0019929 | 0.00066171 | 0.00065982 | 7.0711e-05 | 0.00066359 | 33.11% | 3.548% | 33.3% | 9.3846 | Silicon Fertilizer
230511 | 221.99 | Acid Soluble Cu, Other (0.003%) | 14 | 12 | 0.002575 | 0.001267 | 0.0012483 | 0.00030687 | 0.0012854 | 48.48% | 11.92% | 49.92% | 4.1889 | Silicon Fertilizer
230511 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (15.6%) | 17 | 17 | 14.3391 | 1.7124 | 1.6883 | 0.40491 | 1.7362 | 11.77% | 2.824% | 12.11% | 4.2878 | Silicon Fertilizer
230511 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (15.6%) | 17 | 15 | 14.6369 | 1.2595 | 1.2287 | 0.39117 | 1.2895 | 8.395% | 2.673% | 8.81% | 3.2965 | Silicon Fertilizer
230511 | 241.99 | Acid Soluble Fe, Other (15.6%) | 15 | 12 | 15.2623 | 0.85907 | 0.83505 | 0.2853 | 0.88244 | 5.471% | 1.869% | 5.782% | 3.093 | Silicon Fertilizer
230511 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (2.3%) | 7 | 6 | 1.6966 | 0.12564 | 0.12456 | 0.023311 | 0.12672 | 7.342% | 1.374% | 7.469% | 5.436 | Silicon Fertilizer
230511 | 261.32 | Acid Soluble Mn, ICP, test portion inorganic 965.09 (2.3%) | 8 | 6 | 1.5957 | 0.1796 | 0.17807 | 0.03304 | 0.18111 | 11.16% | 2.071% | 11.35% | 5.4814 | Silicon Fertilizer
230511 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (2.3%) | 16 | 15 | 1.5344 | 0.095655 | 0.091295 | 0.040376 | 0.099825 | 5.95% | 2.631% | 6.506% | 2.4724 | Silicon Fertilizer
230511 | 261.99 | Acid Soluble Mn, Other (2.3%) | 15 | 13 | 1.7141 | 0.26269 | 0.26096 | 0.042549 | 0.26441 | 15.22% | 2.482% | 15.43% | 6.2142 | Silicon Fertilizer
230511 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 7 | 7 | 34.0967 | 17.3443 | 16.1584 | 8.9141 | 18.4542 | 47.39% | 26.14% | 54.12% | 2.0702 | Silicon Fertilizer
230511 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 7 | 7 | 116.6657 | 25.7404 | 25.5693 | 4.1894 | 25.9103 | 21.92% | 3.591% | 22.21% | 6.1848 | Silicon Fertilizer
230511 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 6 | 5 | 0.10315 | 0.0069723 | 0.0069415 | 0.00092574 | 0.0070029 | 6.729% | 0.8975% | 6.789% | 7.5647 | Silicon Fertilizer
230511 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 7 | 5 | 0.008 | 0.0027132 | 0.002713 | 4.4721e-05 | 0.0027133 | 33.91% | 0.559% | 33.92% | 60.6723 | Silicon Fertilizer
230511 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 10 | 9 | 0.00865 | 0.0017232 | 0.0017038 | 0.00036439 | 0.0017423 | 19.7% | 4.213% | 20.14% | 4.7816 | Silicon Fertilizer
230511 | 321.99 | Acid Soluble Zn, Other (%) | 7 | 6 | 0.0074417 | 0.0010594 | 0.00097228 | 0.00059512 | 0.00114 | 13.07% | 7.997% | 15.32% | 1.9155 | Silicon Fertilizer
230611 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 7 | 7 | 8.5043 | 0.17489 | 0.17111 | 0.05113 | 0.17859 | 2.012% | 0.6012% | 2.1% | 3.4928 | Grade 15-6-12
230611 | 1.99 | Ammoniacal N, Other (%) | 19 | 18 | 8.4403 | 0.16621 | 0.12712 | 0.15143 | 0.19771 | 1.506% | 1.794% | 2.343% | 1.3056 | Grade 15-6-12
230611 | 2.99 | Nitrate N, Other (%) | 18 | 16 | 6.746 | 0.25425 | 0.25063 | 0.060509 | 0.25783 | 3.715% | 0.897% | 3.822% | 4.261 | Grade 15-6-12
230611 | 10.6 | Total N, Combustion (15%) | 50 | 47 | 16.2237 | 0.31145 | 0.30149 | 0.11049 | 0.3211 | 1.858% | 0.681% | 1.979% | 2.9061 | Grade 15-6-12
230611 | 10.99 | Total N, Other (15%) | 8 | 6 | 15.6349 | 0.3012 | 0.2963 | 0.07652 | 0.30602 | 1.895% | 0.4894% | 1.957% | 3.9993 | Grade 15-6-12
230611 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 10 | 8 | 6.6169 | 0.18564 | 0.15345 | 0.14774 | 0.21301 | 2.319% | 2.233% | 3.219% | 1.4418 | Grade 15-6-12
230611 | 20.5 | Total P2O5, ICP (%) | 21 | 19 | 6.2965 | 0.35411 | 0.34119 | 0.13403 | 0.36657 | 5.419% | 2.129% | 5.822% | 2.7351 | Grade 15-6-12
230611 | 20.99 | Total P2O5, Other (%) | 7 | 5 | 6.3178 | 0.099201 | 0.090157 | 0.058525 | 0.10749 | 1.427% | 0.9264% | 1.701% | 1.8366 | Grade 15-6-12
230611 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (6%) | 8 | 8 | 6.2538 | 0.19513 | 0.18986 | 0.063738 | 0.20027 | 3.036% | 1.019% | 3.202% | 3.1421 | Grade 15-6-12
230611 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (6%) | 7 | 5 | 6.1975 | 0.12242 | 0.1079 | 0.081781 | 0.13539 | 1.741% | 1.32% | 2.185% | 1.6555 | Grade 15-6-12
230611 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (6%) | 10 | 9 | 6.38 | 0.14736 | 0.14141 | 0.058624 | 0.15308 | 2.216% | 0.9189% | 2.399% | 2.6112 | Grade 15-6-12
230611 | 50 | Soluble K2O, STPB Oxalate (12%) | 6 | 6 | 12.3183 | 0.44179 | 0.43397 | 0.11705 | 0.44947 | 3.523% | 0.9502% | 3.649% | 3.8401 | Grade 15-6-12
230611 | 50.5 | Soluble K2O, ICP (Oxalate) (12%) | 8 | 8 | 12.5806 | 0.59722 | 0.58727 | 0.15352 | 0.607 | 4.668% | 1.22% | 4.825% | 3.9539 | Grade 15-6-12
230611 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (12%) | 12 | 11 | 12.4631 | 0.31688 | 0.28399 | 0.19882 | 0.34667 | 2.279% | 1.595% | 2.782% | 1.7436 | Grade 15-6-12
230611 | 50.99 | Soluble K2O, Other (12%) | 34 | 31 | 12.3724 | 0.44495 | 0.42922 | 0.16584 | 0.46015 | 3.469% | 1.34% | 3.719% | 2.7747 | Grade 15-6-12
230611 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 6 | 5 | 1.0999 | 0.04245 | 0.038168 | 0.026275 | 0.046338 | 3.47% | 2.389% | 4.213% | 1.7636 | Grade 15-6-12
230611 | 121 | Acid Soluble Mg, AA, inorganic 965.09 (1.3%) | 6 | 6 | 1.5178 | 0.10254 | 0.089605 | 0.070501 | 0.11401 | 5.903% | 4.645% | 7.512% | 1.6172 | Grade 15-6-12
230611 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (1.3%) | 12 | 11 | 1.5967 | 0.093617 | 0.086247 | 0.051489 | 0.10045 | 5.402% | 3.225% | 6.291% | 1.9508 | Grade 15-6-12
230611 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (1.3%) | 20 | 18 | 1.6258 | 0.13445 | 0.13147 | 0.039803 | 0.13736 | 8.087% | 2.448% | 8.449% | 3.451 | Grade 15-6-12
230611 | 121.99 | Acid Soluble Mg, Other (1.3%) | 12 | 11 | 1.5531 | 0.07592 | 0.072134 | 0.033481 | 0.079526 | 4.645% | 2.156% | 5.121% | 2.3753 | Grade 15-6-12
230611 | 131.3 | Water Soluble Mg, ICP (%) | 6 | 6 | 1.5011 | 0.091116 | 0.086674 | 0.039743 | 0.095351 | 5.774% | 2.648% | 6.352% | 2.3992 | Grade 15-6-12
230611 | 148 | Total S, Combustion (6.3%) | 6 | 6 | 6.9222 | 0.18139 | 0.15968 | 0.12169 | 0.20076 | 2.307% | 1.758% | 2.9% | 1.6498 | Grade 15-6-12
230611 | 148.01 | Total S, Gravimetric - sulfate and elemental (6.3%) | 9 | 8 | 7.1236 | 0.59799 | 0.59641 | 0.061395 | 0.59957 | 8.372% | 0.8619% | 8.417% | 9.7657 | Grade 15-6-12
230611 | 148.07 | Total S, ICP, test portion as in 2017.02 (6.3%) | 20 | 17 | 6.918 | 0.55953 | 0.55517 | 0.098567 | 0.56385 | 8.025% | 1.425% | 8.15% | 5.7205 | Grade 15-6-12
230611 | 148.99 | Total S, Other (6.3%) | 12 | 10 | 6.9192 | 0.46788 | 0.46116 | 0.11174 | 0.47451 | 6.665% | 1.615% | 6.858% | 4.2465 | Grade 15-6-12
230611 | 165.99 | Acid Soluble B, Other (%) | 9 | 5 | 0.0013 | 0.00045139 |  | 0.00075763 |  |  | 58.28% |  |  | Grade 15-6-12
230611 | 191.3 | Acid Soluble Cr, ICP (ppm) | 9 | 9 | 14.6479 | 5.693 | 5.6117 | 1.3553 | 5.7731 | 38.31% | 9.252% | 39.41% | 4.2597 | Grade 15-6-12
230611 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 7 | 7 | 15.019 | 4.4722 | 4.4632 | 0.40064 | 4.4812 | 29.72% | 2.668% | 29.84% | 11.1852 | Grade 15-6-12
230611 | 202.3 | Acid Soluble Co, ICP (ppm) | 6 | 5 | 1.6349 | 0.59815 | 0.5554 | 0.31407 | 0.63805 | 33.97% | 19.21% | 39.03% | 2.0316 | Grade 15-6-12
230611 | 221 | Acid Soluble Cu, AA, inorganic 965.09 (0.08%) | 5 | 5 | 0.07614 | 0.0026931 | 0.0018355 | 0.0027871 | 0.0033372 | 2.411% | 3.661% | 4.383% | 1.1974 | Grade 15-6-12
230611 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (0.08%) | 17 | 15 | 0.077643 | 0.0056071 | 0.005376 | 0.0022529 | 0.005829 | 6.924% | 2.902% | 7.507% | 2.5873 | Grade 15-6-12
230611 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (0.08%) | 5 | 5 | 0.07751 | 0.0066165 | 0.0065998 | 0.00066408 | 0.0066331 | 8.515% | 0.8568% | 8.558% | 9.9885 | Grade 15-6-12
230611 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (0.08%) | 18 | 18 | 0.080122 | 0.0040414 | 0.0037284 | 0.0022052 | 0.0043318 | 4.653% | 2.752% | 5.406% | 1.9644 | Grade 15-6-12
230611 | 221.99 | Acid Soluble Cu, Other (0.08%) | 14 | 10 | 0.078525 | 0.0051446 | 0.0050769 | 0.0011766 | 0.0052115 | 6.465% | 1.498% | 6.637% | 4.4291 | Grade 15-6-12
230611 | 241 | Acid Soluble Fe, AA, inorganic 965.09 (0.32%) | 5 | 5 | 0.32382 | 0.031433 | 0.031331 | 0.0035939 | 0.031536 | 9.675% | 1.11% | 9.739% | 8.7749 | Grade 15-6-12
230611 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (0.32%) | 17 | 15 | 0.35625 | 0.034586 | 0.033345 | 0.012984 | 0.035784 | 9.36% | 3.645% | 10.04% | 2.756 | Grade 15-6-12
230611 | 241.32 | Acid Soluble Fe, ICP, test portion 2006.03A-C (0.32%) | 5 | 5 | 0.35303 | 0.022471 | 0.022317 | 0.0037241 | 0.022625 | 6.321% | 1.055% | 6.409% | 6.0753 | Grade 15-6-12
230611 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (0.32%) | 19 | 19 | 0.35505 | 0.026059 | 0.025095 | 0.0099307 | 0.026989 | 7.068% | 2.797% | 7.601% | 2.7177 | Grade 15-6-12
230611 | 241.99 | Acid Soluble Fe, Other (0.32%) | 15 | 14 | 0.34002 | 0.026979 | 0.024821 | 0.01495 | 0.028976 | 7.3% | 4.397% | 8.522% | 1.9381 | Grade 15-6-12
230611 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (0.13%) | 6 | 5 | 0.14146 | 0.018163 | 0.01746 | 0.0070781 | 0.01884 | 12.34% | 5.004% | 13.32% | 2.6618 | Grade 15-6-12
230611 | 261.32 | Acid Soluble Mn, ICP, test portion inorganic 965.09 (0.13%) | 7 | 7 | 0.14501 | 0.0088231 | 0.0083084 | 0.0041995 | 0.0093094 | 5.729% | 2.896% | 6.42% | 2.2168 | Grade 15-6-12
230611 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (0.13%) | 20 | 18 | 0.14346 | 0.010539 | 0.01003 | 0.0045751 | 0.011024 | 6.991% | 3.189% | 7.684% | 2.4096 | Grade 15-6-12
230611 | 261.99 | Acid Soluble Mn, Other (0.13%) | 14 | 13 | 0.14022 | 0.011408 | 0.010863 | 0.0049276 | 0.011929 | 7.747% | 3.514% | 8.507% | 2.4208 | Grade 15-6-12
230611 | 289.3 | Acid Soluble Mo, ICP (110ppm) | 15 | 14 | 123.8294 | 8.8205 | 6.2831 | 8.7548 | 10.7761 | 5.074% | 7.07% | 8.702% | 1.2309 | Grade 15-6-12
230611 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (110ppm) | 12 | 11 | 123.6176 | 16.1965 | 15.5845 | 6.2369 | 16.7862 | 12.61% | 5.045% | 13.58% | 2.6914 | Grade 15-6-12
230611 | 291.3 | Acid Soluble Ni, ICP (ppm) | 9 | 7 | 5.0983 | 2.0917 | 2.0901 | 0.11571 | 2.0933 | 41% | 2.27% | 41.06% | 18.0904 | Grade 15-6-12
230611 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 7 | 6 | 5.9 | 2.6077 | 2.6027 | 0.22779 | 2.6126 | 44.11% | 3.861% | 44.28% | 11.4697 | Grade 15-6-12
230611 | 321 | Acid Soluble Zn, AA, inorganic 965.09 (%) | 5 | 5 | 0.07982 | 0.0028514 | 0.0025577 | 0.0017827 | 0.0031177 | 3.204% | 2.233% | 3.906% | 1.7488 | Grade 15-6-12
230611 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 17 | 15 | 0.080183 | 0.008848 | 0.008536 | 0.0032936 | 0.0091493 | 10.65% | 4.108% | 11.41% | 2.7779 | Grade 15-6-12
230611 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 19 | 18 | 0.084417 | 0.0083525 | 0.0081499 | 0.002586 | 0.0085503 | 9.654% | 3.063% | 10.13% | 3.3064 | Grade 15-6-12
230611 | 321.99 | Acid Soluble Zn, Other (%) | 13 | 11 | 0.084141 | 0.00877 | 0.0080524 | 0.0049138 | 0.0094332 | 9.57% | 5.84% | 11.21% | 1.9198 | Grade 15-6-12
230631 | 10.6 | Total N, Combustion (46%) | 8 | 7 | 46.4099 | 0.30431 | 0.24819 | 0.24903 | 0.35159 | 0.5348% | 0.5366% | 0.7576% | 1.4118 | Granular Urea 46-0-0
230714 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 6 | 6 | 17.0125 | 0.65993 | 0.62773 | 0.28797 | 0.69063 | 3.69% | 1.693% | 4.06% | 2.3983 | DAP 18-46-0
230714 | 1.99 | Ammoniacal N, Other (%) | 22 | 19 | 17.1103 | 0.71717 | 0.71385 | 0.097486 | 0.72047 | 4.172% | 0.5698% | 4.211% | 7.3905 | DAP 18-46-0
230714 | 10.6 | Total N, Combustion (18%) | 49 | 47 | 17.3414 | 0.22212 | 0.21474 | 0.080282 | 0.22926 | 1.238% | 0.463% | 1.322% | 2.8557 | DAP 18-46-0
230714 | 10.99 | Total N, Other (18%) | 9 | 9 | 17.6567 | 0.3866 | 0.37348 | 0.14124 | 0.39929 | 2.115% | 0.7999% | 2.261% | 2.827 | DAP 18-46-0
230714 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 14 | 12 | 45.9321 | 1.7851 | 1.7818 | 0.15313 | 1.7884 | 3.879% | 0.3334% | 3.893% | 11.6784 | DAP 18-46-0
230714 | 20.5 | Total P2O5, ICP (%) | 15 | 14 | 45.9161 | 1.9572 | 1.9228 | 0.51646 | 1.9909 | 4.188% | 1.125% | 4.336% | 3.8549 | DAP 18-46-0
230714 | 41.1 | Direct Available P2O5, Gravimetric Quinolinium (46%) | 5 | 5 | 46.3462 | 0.18464 | 0.16901 | 0.10512 | 0.19904 | 0.3647% | 0.2268% | 0.4295% | 1.8934 | DAP 18-46-0
230714 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (46%) | 9 | 7 | 46.2818 | 0.49516 | 0.43307 | 0.33951 | 0.55029 | 0.9357% | 0.7336% | 1.189% | 1.6208 | DAP 18-46-0
230714 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (46%) | 9 | 7 | 45.6454 | 0.62207 | 0.61044 | 0.16929 | 0.63348 | 1.337% | 0.3709% | 1.388% | 3.742 | DAP 18-46-0
230714 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (46%) | 8 | 7 | 46.0672 | 0.38999 | 0.3459 | 0.25475 | 0.42959 | 0.7509% | 0.553% | 0.9325% | 1.6863 | DAP 18-46-0
230714 | 41.99 | Direct Available P2O5, Other (46%) | 5 | 5 | 45.878 | 0.87871 | 0.86899 | 0.18434 | 0.88833 | 1.894% | 0.4018% | 1.936% | 4.819 | DAP 18-46-0
230714 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 7 | 6 | 41.9952 | 0.82136 | 0.81887 | 0.090432 | 0.82385 | 1.95% | 0.2153% | 1.962% | 9.1101 | DAP 18-46-0
230714 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 5 | 5 | 0.27165 | 0.03791 | 0.037457 | 0.0082629 | 0.038358 | 13.79% | 3.042% | 14.12% | 4.6422 | DAP 18-46-0
230714 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 6 | 5 | 0.68279 | 0.060091 | 0.059109 | 0.0153 | 0.061057 | 8.657% | 2.241% | 8.942% | 3.9907 | DAP 18-46-0
230714 | 121.99 | Acid Soluble Mg, Other (%) | 5 | 5 | 0.68704 | 0.30396 | 0.30335 | 0.027376 | 0.30458 | 44.15% | 3.985% | 44.33% | 11.1256 | DAP 18-46-0
230714 | 151.3 | Acid Soluble As, ICP (ppm) | 7 | 6 | 14.0215 | 1.4009 | 1.252 | 0.88888 | 1.5355 | 8.929% | 6.339% | 10.95% | 1.7274 | DAP 18-46-0
230714 | 181.3 | Acid Soluble Cd, ICP (ppm) | 9 | 7 | 3.3215 | 0.33084 | 0.31401 | 0.14733 | 0.34685 | 9.454% | 4.436% | 10.44% | 2.3543 | DAP 18-46-0
230714 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 6 | 6 | 3.4287 | 0.085568 |  | 0.17145 |  |  | 5.001% |  |  | DAP 18-46-0
230714 | 191.3 | Acid Soluble Cr, ICP (ppm) | 10 | 8 | 116.3578 | 9.9197 | 9.8407 | 1.7671 | 9.9981 | 8.457% | 1.519% | 8.593% | 5.6579 | DAP 18-46-0
230714 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 6 | 5 | 116.0993 | 6.9992 | 6.9315 | 1.374 | 7.0663 | 5.97% | 1.184% | 6.086% | 5.1427 | DAP 18-46-0
230714 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 6 | 5 | 2.5943 | 0.36055 | 0.3589 | 0.048746 | 0.36219 | 13.83% | 1.879% | 13.96% | 7.4302 | DAP 18-46-0
230714 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 7 | 6 | 0.96902 | 0.048732 | 0.041939 | 0.035098 | 0.054687 | 4.328% | 3.622% | 5.644% | 1.5581 | DAP 18-46-0
230714 | 251.3 | Acid Soluble Pb, ICP (ppm) | 10 | 5 | 1.1478 | 0.12652 | 0.12359 | 0.03829 | 0.12938 | 10.77% | 3.336% | 11.27% | 3.379 | DAP 18-46-0
230714 | 289.3 | Acid Soluble Mo, ICP (ppm) | 9 | 8 | 12.152 | 2.1783 | 2.1273 | 0.66281 | 2.2281 | 17.51% | 5.454% | 18.34% | 3.3617 | DAP 18-46-0
230714 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 8 | 7 | 11.3316 | 3.5183 | 3.5083 | 0.37566 | 3.5283 | 30.96% | 3.315% | 31.14% | 9.3923 | DAP 18-46-0
230714 | 291.3 | Acid Soluble Ni, ICP (ppm) | 10 | 9 | 11.5038 | 1.2723 | 1.2306 | 0.45656 | 1.3126 | 10.7% | 3.969% | 11.41% | 2.875 | DAP 18-46-0
230714 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 10 | 8 | 0.0059875 | 0.001738 | 0.0017255 | 0.00029368 | 0.0017503 | 28.82% | 4.905% | 29.23% | 5.9599 | DAP 18-46-0
230851 | 50 | Soluble K2O, STPB Oxalate (21.5%) | 6 | 6 | 22.3192 | 0.4409 | 0.4369 | 0.083815 | 0.44487 | 1.958% | 0.3755% | 1.993% | 5.3077 | K-Mg-SO4
230851 | 50.99 | Soluble K2O, Other (21.5%) | 5 | 5 | 22.821 | 2.2445 | 2.236 | 0.27577 | 2.253 | 9.798% | 1.208% | 9.872% | 8.1697 | K-Mg-SO4
230811 | 1.99 | Ammoniacal N, Other (%) | 15 | 11 | 0.41775 | 0.23446 | 0.23425 | 0.013917 | 0.23466 | 56.07% | 3.331% | 56.17% | 16.8616 | Grade 4-3-4
230811 | 10.6 | Total N, Combustion (4%) | 46 | 43 | 4.037 | 0.10445 | 0.094341 | 0.063403 | 0.11367 | 2.337% | 1.571% | 2.816% | 1.7928 | Grade 4-3-4
230811 | 10.99 | Total N, Other (4%) | 12 | 10 | 4.1792 | 0.10546 | 0.10024 | 0.046344 | 0.11043 | 2.398% | 1.109% | 2.642% | 2.3829 | Grade 4-3-4
230811 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 5 | 5 | 4.5262 | 0.39084 | 0.38778 | 0.069042 | 0.39388 | 8.567% | 1.525% | 8.702% | 5.7049 | Grade 4-3-4
230811 | 20.5 | Total P2O5, ICP (%) | 22 | 19 | 4.6699 | 0.34647 | 0.34312 | 0.068054 | 0.3498 | 7.347% | 1.457% | 7.491% | 5.14 | Grade 4-3-4
230811 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (3%) | 9 | 8 | 3.8292 | 0.30189 | 0.29927 | 0.056185 | 0.3045 | 7.815% | 1.467% | 7.952% | 5.4195 | Grade 4-3-4
230811 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (3%) | 7 | 7 | 3.7681 | 1.1487 | 1.1459 | 0.11335 | 1.1515 | 30.41% | 3.008% | 30.56% | 10.1584 | Grade 4-3-4
230811 | 41.5 | Direct Available P2O5, ICP (3%) | 5 | 5 | 4.461 | 0.35161 | 0.34849 | 0.066106 | 0.3547 | 7.812% | 1.482% | 7.951% | 5.3657 | Grade 4-3-4
230811 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (3%) | 10 | 9 | 4.4087 | 0.18731 | 0.18267 | 0.058609 | 0.19184 | 4.143% | 1.329% | 4.352% | 3.2733 | Grade 4-3-4
230811 | 41.99 | Direct Available P2O5, Other (3%) | 5 | 5 | 3.417 | 0.28215 | 0.23994 | 0.20993 | 0.31881 | 7.022% | 6.144% | 9.33% | 1.5187 | Grade 4-3-4
230811 | 50 | Soluble K2O, STPB Oxalate (4%) | 9 | 8 | 4.0256 | 0.24896 | 0.24483 | 0.063885 | 0.25303 | 6.082% | 1.587% | 6.285% | 3.9607 | Grade 4-3-4
230811 | 50.5 | Soluble K2O, ICP (Oxalate) (4%) | 7 | 7 | 4.6107 | 0.29385 | 0.28819 | 0.081132 | 0.2994 | 6.251% | 1.76% | 6.494% | 3.6902 | Grade 4-3-4
230811 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (4%) | 11 | 11 | 4.3959 | 0.1737 | 0.16746 | 0.065275 | 0.17973 | 3.809% | 1.485% | 4.089% | 2.7535 | Grade 4-3-4
230811 | 50.99 | Soluble K2O, Other (4%) | 32 | 30 | 4.2435 | 0.27738 | 0.26576 | 0.11235 | 0.28854 | 6.263% | 2.648% | 6.799% | 2.5681 | Grade 4-3-4
230811 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 14 | 13 | 7.74 | 0.61419 | 0.59793 | 0.19856 | 0.63004 | 7.725% | 2.565% | 8.14% | 3.173 | Grade 4-3-4
230811 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 13 | 13 | 7.5201 | 0.2809 | 0.25679 | 0.16104 | 0.3031 | 3.415% | 2.141% | 4.031% | 1.8822 | Grade 4-3-4
230811 | 101.99 | Acid Soluble Ca, Other (%) | 8 | 7 | 7.3844 | 0.62112 | 0.61979 | 0.057523 | 0.62245 | 8.393% | 0.779% | 8.429% | 10.8209 | Grade 4-3-4
230811 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (1%) | 15 | 14 | 1.9648 | 0.1401 | 0.13268 | 0.06362 | 0.14714 | 6.753% | 3.238% | 7.489% | 2.3128 | Grade 4-3-4
230811 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (1%) | 15 | 13 | 2.0214 | 0.1424 | 0.14162 | 0.021144 | 0.14319 | 7.006% | 1.046% | 7.083% | 6.772 | Grade 4-3-4
230811 | 121.99 | Acid Soluble Mg, Other (1%) | 12 | 10 | 1.8675 | 0.22803 | 0.22576 | 0.045439 | 0.23028 | 12.09% | 2.433% | 12.33% | 5.0679 | Grade 4-3-4
230811 | 148 | Total S, Combustion (5%) | 7 | 7 | 6.5002 | 0.30551 | 0.29155 | 0.12908 | 0.31885 | 4.485% | 1.986% | 4.905% | 2.4702 | Grade 4-3-4
230811 | 148.01 | Total S, Gravimetric - sulfate and elemental (5%) | 7 | 7 | 5.0964 | 1.1289 | 1.1256 | 0.12163 | 1.1321 | 22.09% | 2.386% | 22.21% | 9.3085 | Grade 4-3-4
230811 | 148.07 | Total S, ICP, test portion as in 2017.02 (5%) | 13 | 11 | 6.7209 | 0.33843 | 0.33069 | 0.10175 | 0.34599 | 4.92% | 1.514% | 5.148% | 3.4004 | Grade 4-3-4
230811 | 148.99 | Total S, Other (5%) | 13 | 12 | 5.7041 | 1.3597 | 1.358 | 0.095853 | 1.3614 | 23.81% | 1.68% | 23.87% | 14.2029 | Grade 4-3-4
230811 | 191.3 | Acid Soluble Cr, ICP (ppm) | 5 | 5 | 38.9052 | 14.5881 | 13.0495 | 9.2223 | 15.9793 | 33.54% | 23.7% | 41.07% | 1.7327 | Grade 4-3-4
230811 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 6 | 5 | 0.01785 | 0.0016919 |  | 0.0031977 |  |  | 17.91% |  |  | Grade 4-3-4
230811 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 10 | 8 | 0.018275 | 0.0016546 | 0.0015721 | 0.00072973 | 0.0017332 | 8.603% | 3.993% | 9.484% | 2.3752 | Grade 4-3-4
230811 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 5 | 5 | 0.02406 | 0.0025533 | 0.0025076 | 0.00067971 | 0.0025981 | 10.42% | 2.825% | 10.8% | 3.8224 | Grade 4-3-4
230811 | 289.3 | Acid Soluble Mo, ICP (ppm) | 6 | 6 | 4.529 | 1.3952 | 1.255 | 0.86218 | 1.5226 | 27.71% | 19.04% | 33.62% | 1.766 | Grade 4-3-4
230811 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 6 | 6 | 0.0424 | 0.02054 | 0.020531 | 0.00087369 | 0.020549 | 48.42% | 2.061% | 48.47% | 23.5204 | Grade 4-3-4
230811 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 11 | 9 | 0.030822 | 0.0022735 | 0.0022384 | 0.00056273 | 0.0023081 | 7.262% | 1.826% | 7.488% | 4.1015 | Grade 4-3-4
230911 | 50 | Soluble K2O, STPB Oxalate (25%) | 7 | 6 | 25.2917 | 0.26568 | 0.21078 | 0.22873 | 0.31104 | 0.8334% | 0.9044% | 1.23% | 1.3599 | 0-0-25-17S Liquid
230911 | 50.5 | Soluble K2O, ICP (Oxalate) (25%) | 9 | 8 | 25.8226 | 1.2265 | 1.2096 | 0.28725 | 1.2432 | 4.684% | 1.112% | 4.815% | 4.328 | 0-0-25-17S Liquid
230911 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (25%) | 10 | 9 | 24.9839 | 0.41693 | 0.38456 | 0.22777 | 0.44695 | 1.539% | 0.9117% | 1.789% | 1.9623 | 0-0-25-17S Liquid
230911 | 50.99 | Soluble K2O, Other (25%) | 30 | 28 | 25.1821 | 0.83968 | 0.81749 | 0.27118 | 0.8613 | 3.246% | 1.077% | 3.42% | 3.1761 | 0-0-25-17S Liquid
230911 | 148.01 | Total S, Gravimetric - sulfate and elemental (17%) | 6 | 6 | 17.0442 | 0.49381 | 0.46659 | 0.22864 | 0.5196 | 2.738% | 1.341% | 3.049% | 2.2726 | 0-0-25-17S Liquid
230911 | 148.07 | Total S, ICP, test portion as in 2017.02 (17%) | 18 | 16 | 17.4417 | 0.97536 | 0.9571 | 0.26565 | 0.99328 | 5.487% | 1.523% | 5.695% | 3.739 | 0-0-25-17S Liquid
230911 | 148.99 | Total S, Other (17%) | 13 | 12 | 17.029 | 0.58279 | 0.56217 | 0.21728 | 0.6027 | 3.301% | 1.276% | 3.539% | 2.7738 | 0-0-25-17S Liquid
231011 | 10.6 | Total N, Combustion (%) | 7 | 6 | 0.61633 | 0.020183 | 0.018946 | 0.0098404 | 0.021349 | 3.074% | 1.597% | 3.464% | 2.1695 | Gypsum
231011 | 101 | Acid Soluble Ca, AA, inorganic 965.09 (21%) | 6 | 6 | 20.7735 | 0.44016 | 0.29558 | 0.46124 | 0.54783 | 1.423% | 2.22% | 2.637% | 1.1877 | Gypsum
231011 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (21%) | 16 | 14 | 21.0582 | 1.3759 | 1.3692 | 0.19164 | 1.3825 | 6.502% | 0.91% | 6.565% | 7.2144 | Gypsum
231011 | 101.32 | Acid Soluble Ca, ICP, test portion 2006.03A-C (21%) | 5 | 5 | 20.8931 | 0.41839 | 0.38586 | 0.22874 | 0.44856 | 1.847% | 1.095% | 2.147% | 1.961 | Gypsum
231011 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (21%) | 18 | 16 | 20.9388 | 1.6836 | 1.6038 | 0.72427 | 1.7598 | 7.66% | 3.459% | 8.404% | 2.4297 | Gypsum
231011 | 101.99 | Acid Soluble Ca, Other (21%) | 15 | 14 | 20.9186 | 0.63946 | 0.59707 | 0.32378 | 0.67921 | 2.854% | 1.548% | 3.247% | 2.0978 | Gypsum
231011 | 143.99 | Elemental S, Other (%) | 5 | 5 | 17.3408 | 1.5597 | 1.558 | 0.10352 | 1.5614 | 8.985% | 0.597% | 9.004% | 15.0838 | Gypsum
231011 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 8 | 8 | 16.6494 | 0.51327 | 0.48809 | 0.22457 | 0.53727 | 2.932% | 1.349% | 3.227% | 2.3925 | Gypsum
231011 | 148.01 | Total S, Gravimetric - sulfate and elemental (17%) | 11 | 11 | 16.8997 | 0.4128 | 0.39209 | 0.18262 | 0.43253 | 2.32% | 1.081% | 2.559% | 2.3685 | Gypsum
231011 | 148.07 | Total S, ICP, test portion as in 2017.02 (17%) | 17 | 14 | 16.9104 | 0.92164 | 0.90152 | 0.27088 | 0.94134 | 5.331% | 1.602% | 5.567% | 3.4751 | Gypsum
231011 | 148.99 | Total S, Other (17%) | 13 | 11 | 17.0146 | 1.1164 | 1.1117 | 0.14559 | 1.1212 | 6.534% | 0.8557% | 6.59% | 7.7008 | Gypsum
231011 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 6 | 6 | 11.2261 | 3.3512 | 3.3078 | 0.75992 | 3.394 | 29.47% | 6.769% | 30.23% | 4.4663 | Gypsum
231011 | 202.3 | Acid Soluble Co, ICP (ppm) | 6 | 5 | 1.6395 | 0.62529 | 0.61816 | 0.13311 | 0.63233 | 37.7% | 8.119% | 38.57% | 4.7504 | Gypsum
231011 | 291.3 | Acid Soluble Ni, ICP (ppm) | 5 | 5 | 2.7915 | 0.47952 | 0.44597 | 0.2492 | 0.51087 | 15.98% | 8.927% | 18.3% | 2.0501 | Gypsum
231011 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 7 | 5 | 0.00138 | 0.00072163 | 0.00070975 | 0.00018439 | 0.00073331 | 51.43% | 13.36% | 53.14% | 3.977 | Gypsum
231011 | 321.99 | Acid Soluble Zn, Other (%) | 7 | 5 | 0.00131 | 0.00019812 | 0.00016047 | 0.00016432 | 0.00022967 | 12.25% | 12.54% | 17.53% | 1.3977 | Gypsum
231031 | 1.99 | Ammoniacal N, Other (%) | 6 | 6 | 20.9733 | 0.094375 | 0.090314 | 0.03873 | 0.098268 | 0.4306% | 0.1847% | 0.4685% | 2.5373 | Grade 21-0-0
231031 | 10.6 | Total N, Combustion (21%) | 9 | 7 | 21.0683 | 0.084462 | 0.0757 | 0.05298 | 0.092398 | 0.3593% | 0.2515% | 0.4386% | 1.744 | Grade 21-0-0
231111 | 165 | Acid Soluble B, Spectrophotometric (2.5%) | 8 | 7 | 2.5093 | 0.133 | 0.13193 | 0.023836 | 0.13406 | 5.257% | 0.9499% | 5.343% | 5.6243 | High Micros
231111 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (2.5%) | 21 | 21 | 2.491 | 0.15682 | 0.14032 | 0.099017 | 0.17174 | 5.633% | 3.975% | 6.895% | 1.7345 | High Micros
231111 | 165.99 | Acid Soluble B, Other (2.5%) | 25 | 22 | 2.5131 | 0.14372 | 0.13849 | 0.05437 | 0.14878 | 5.511% | 2.163% | 5.92% | 2.7364 | High Micros
231111 | 181.3 | Acid Soluble Cd, ICP (ppm) | 7 | 6 | 26.4661 | 1.0955 | 0.90736 | 0.86813 | 1.2558 | 3.428% | 3.28% | 4.745% | 1.4465 | High Micros
231111 | 221 | Acid Soluble Cu, AA, inorganic 965.09 (10%) | 8 | 7 | 9.7819 | 0.58003 | 0.57901 | 0.048497 | 0.58104 | 5.919% | 0.4958% | 5.94% | 11.9809 | High Micros
231111 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (10%) | 15 | 13 | 10.0808 | 0.29103 | 0.27074 | 0.15098 | 0.30999 | 2.686% | 1.498% | 3.075% | 2.0531 | High Micros
231111 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (10%) | 9 | 8 | 10.0619 | 0.17627 | 0.13636 | 0.15796 | 0.20868 | 1.355% | 1.57% | 2.074% | 1.3211 | High Micros
231111 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (10%) | 17 | 17 | 10.3444 | 0.42668 | 0.41688 | 0.12858 | 0.43626 | 4.03% | 1.243% | 4.217% | 3.3929 | High Micros
231111 | 221.99 | Acid Soluble Cu, Other (10%) | 13 | 12 | 10.2456 | 0.33012 | 0.3137 | 0.14542 | 0.34577 | 3.062% | 1.419% | 3.375% | 2.3777 | High Micros
231111 | 241 | Acid Soluble Fe, AA, inorganic 965.09 (9%) | 10 | 10 | 8.3208 | 1.4635 | 1.4611 | 0.11947 | 1.466 | 17.56% | 1.436% | 17.62% | 12.2703 | High Micros
231111 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (9%) | 15 | 13 | 8.563 | 0.81743 | 0.81324 | 0.11685 | 0.8216 | 9.497% | 1.365% | 9.595% | 7.0309 | High Micros
231111 | 241.32 | Acid Soluble Fe, ICP, test portion 2006.03A-C (9%) | 8 | 8 | 8.5046 | 0.81217 | 0.80769 | 0.12051 | 0.81663 | 9.497% | 1.417% | 9.602% | 6.7765 | High Micros
231111 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (9%) | 18 | 17 | 8.4116 | 0.72782 | 0.71239 | 0.21085 | 0.74294 | 8.469% | 2.507% | 8.832% | 3.5235 | High Micros
231111 | 241.99 | Acid Soluble Fe, Other (9%) | 13 | 12 | 8.2425 | 0.77801 | 0.77391 | 0.11268 | 0.78207 | 9.389% | 1.367% | 9.488% | 6.9405 | High Micros
231111 | 251.3 | Acid Soluble Pb, ICP (ppm) | 8 | 8 | 320.957 | 55.5229 | 52.5498 | 25.3498 | 58.3446 | 16.37% | 7.898% | 18.18% | 2.3016 | High Micros
231111 | 261.12 | Acid Soluble Mn, AA, inorganic 965.09 (8%) | 5 | 5 | 8.0255 | 0.47489 | 0.46878 | 0.10732 | 0.48091 | 5.841% | 1.337% | 5.992% | 4.4812 | High Micros
231111 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (8%) | 7 | 6 | 8.3202 | 0.47926 | 0.47743 | 0.059094 | 0.48108 | 5.738% | 0.7102% | 5.782% | 8.1409 | High Micros
231111 | 261.32 | Acid Soluble Mn, ICP, test portion inorganic 965.09 (8%) | 6 | 6 | 8.2833 | 0.37125 | 0.36478 | 0.097617 | 0.37761 | 4.404% | 1.178% | 4.559% | 3.8683 | High Micros
231111 | 261.34 | Acid Soluble Mn, ICP, test portion 2006.03A-C (8%) | 8 | 6 | 7.8668 | 0.16808 | 0.1631 | 0.057385 | 0.1729 | 2.073% | 0.7295% | 2.198% | 3.013 | High Micros
231111 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (8%) | 16 | 13 | 8.2079 | 0.32645 | 0.31926 | 0.09641 | 0.3335 | 3.89% | 1.175% | 4.063% | 3.4591 | High Micros
231111 | 261.99 | Acid Soluble Mn, Other (8%) | 14 | 13 | 8.2011 | 0.34374 | 0.33836 | 0.085616 | 0.34903 | 4.126% | 1.044% | 4.256% | 4.0767 | High Micros
231111 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 6 | 6 | 4.1277 | 0.46605 | 0.46235 | 0.082921 | 0.46972 | 11.2% | 2.009% | 11.38% | 5.6647 | High Micros
231111 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 5 | 5 | 3.8747 | 0.49692 | 0.49576 | 0.04803 | 0.49808 | 12.79% | 1.24% | 12.85% | 10.3702 | High Micros
231111 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 13 | 11 | 4.018 | 0.19522 | 0.16874 | 0.13883 | 0.21851 | 4.199% | 3.455% | 5.438% | 1.5739 | High Micros
231111 | 321.99 | Acid Soluble Zn, Other (%) | 10 | 9 | 4.102 | 0.41491 | 0.41187 | 0.070892 | 0.41793 | 10.04% | 1.728% | 10.19% | 5.8953 | High Micros
231141 | 1.99 | Ammoniacal N, Other (%) | 11 | 9 | 11.6694 | 0.18109 | 0.1795 | 0.033789 | 0.18265 | 1.538% | 0.2895% | 1.565% | 5.4058 | 12-40-0 MAP + Zn
231141 | 10.6 | Total N, Combustion (12%) | 11 | 10 | 11.6849 | 0.22846 | 0.21829 | 0.095338 | 0.2382 | 1.868% | 0.8159% | 2.039% | 2.4985 | 12-40-0 MAP + Zn
231141 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 7 | 6 | 40.0412 | 0.43247 | 0.41694 | 0.16241 | 0.44746 | 1.041% | 0.4056% | 1.117% | 2.7551 | 12-40-0 MAP + Zn
231141 | 148.07 | Total S, ICP, test portion as in 2017.02 (10%) | 5 | 5 | 9.4068 | 0.89065 | 0.87761 | 0.21475 | 0.9035 | 9.33% | 2.283% | 9.605% | 4.2072 | 12-40-0 MAP + Zn
231141 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (1%) | 8 | 8 | 0.99062 | 0.06043 | 0.057807 | 0.024906 | 0.062944 | 5.835% | 2.514% | 6.354% | 2.5273 | 12-40-0 MAP + Zn
231215 | 50 | Soluble K2O, STPB Oxalate (50%) | 10 | 9 | 51.0067 | 0.35084 | 0.30256 | 0.25118 | 0.39323 | 0.5932% | 0.4924% | 0.7709% | 1.5656 | K2SO4/polihalide
231215 | 50.5 | Soluble K2O, ICP (Oxalate) (50%) | 5 | 5 | 51.949 | 1.3457 | 1.3051 | 0.46443 | 1.3852 | 2.512% | 0.894% | 2.667% | 2.9826 | K2SO4/polihalide
231215 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (50%) | 11 | 10 | 50.2882 | 1.0777 | 1.0488 | 0.35039 | 1.1058 | 2.086% | 0.6968% | 2.199% | 3.1559 | K2SO4/polihalide
231215 | 50.99 | Soluble K2O, Other (50%) | 30 | 26 | 50.7796 | 1.3729 | 1.3527 | 0.33186 | 1.3928 | 2.664% | 0.6535% | 2.743% | 4.1969 | K2SO4/polihalide
231215 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 6 | 5 | 17.823 | 0.32524 | 0.32349 | 0.047645 | 0.32698 | 1.815% | 0.2673% | 1.835% | 6.863 | K2SO4/polihalide
231215 | 148 | Total S, Combustion (17.5%) | 8 | 7 | 17.4614 | 0.61288 | 0.59626 | 0.20046 | 0.62906 | 3.415% | 1.148% | 3.603% | 3.138 | K2SO4/polihalide
231215 | 148.01 | Total S, Gravimetric - sulfate and elemental (17.5%) | 8 | 7 | 17.7346 | 0.35083 | 0.33399 | 0.1519 | 0.36691 | 1.883% | 0.8565% | 2.069% | 2.4155 | K2SO4/polihalide
231215 | 148.07 | Total S, ICP, test portion as in 2017.02 (17.5%) | 13 | 11 | 17.9223 | 0.50396 | 0.49531 | 0.13154 | 0.51248 | 2.764% | 0.734% | 2.859% | 3.8959 | K2SO4/polihalide
231215 | 148.99 | Total S, Other (17.5%) | 13 | 12 | 18.2271 | 0.86773 | 0.86534 | 0.091054 | 0.87011 | 4.748% | 0.4996% | 4.774% | 9.556 | K2SO4/polihalide
231215 | 190 | Water Soluble Cl, Titrimetric (0.8%) | 12 | 11 | 0.39964 | 0.30881 | 0.30769 | 0.037238 | 0.30993 | 76.99% | 9.318% | 77.55% | 8.3232 | K2SO4/polihalide

## Method
[17 empty] | Lower | Upper
[16 empty] | Input Method Code | 1 | 353.99
224
All Method Performance Report, 2017 | [6 empty] | Method Precision Report
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs sL | Within Labs sr | Reproducibility sR | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name | Sample Number | Method Code | Analyte & Method

## Sheet1
[14 empty] | Lower | Upper
[13 empty] | Input Method Code | 1 | 353.99
224
All Method Performance Report, 2017 | [6 empty] | Method Precision Report
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name | Sample Number | Method Code | Analyte & Method