## Data
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Entries
418
Method Proficiency
Statistical Summary
Unique Samples
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs in Robust Calculations | Raw Mean | Raw SD | Assigned Value Robust Mean | IA at Analyte Value | Robust sd | Robust Uncertainty (U) | Robust % RSD | Method IA Ratio | Average Range (R-bar) | Horwitz %RSD | Sample Name | Sample Number | Sample Name
240111 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 6 | 6 | 11.75 | 0.2858 | 11.7492 |  | 0.32406 | 0.16537 | 2.758% |  | 0.165 | 2.761% | MAP/Zn | 240111 | MAP/Zn
240111 | 1.99 | Ammoniacal N, Other (%) | 14 | 13 | 11.87 | 0.504 | 11.8575 |  | 0.41787 | 0.14487 | 3.524% |  | 0.11395 | 2.757% | MAP/Zn | 240213 | Urea 46-0-0
240111 | 5.99 | Urea N, Other (%) | 1 |  | 0.31025 | [9 empty] | MAP/Zn | 240311 | Grade 8-30-4
240111 | 10.12 | Total N, Salicylic (12%) | 2 | 2 | 12.18 | 0.4596 | [8 empty] | MAP/Zn | 240341 | 12-40-0 MAP + Zn
240111 | 10.6 | Total N, Combustion (12%) | 40 | 39 | 11.98 | 0.2367 | 11.9767 | 0.60965 | 0.17724 | 0.035476 | 1.48% | 0.67739 | 0.077524 | 2.753% | MAP/Zn
240111 | 10.99 | Total N, Other (12%) | 7 | 6 | 11.9 | 0.3342 | 11.946 | 0.60919 | 0.39123 | 0.19965 | 3.275% | 1.4964 | 0.05118 | 2.754% | MAP/Zn
240111 | 20.1 | Total P2O5, Gravimetric Quinolinium MolybdoP (%) | 3 | 3 | 40.64 | 0.1834 | 40.6433 |  | 0.18339 | 0.13235 | 0.4512% |  | 0.093333 | 1.569% | MAP/Zn
240111 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 7 | 6 | 40.74 | 0.3882 | 40.5546 |  | 0.1352 | 0.068996 | 0.3334% |  | 0.068 | 1.57% | MAP/Zn
240111 | 20.5 | Total P2O5, ICP (%) | 17 | 16 | 40.26 | 2.348 | 39.9883 |  | 1.9435 | 0.60735 | 4.86% |  | 0.38402 | 1.581% | MAP/Zn
240111 | 20.99 | Total P2O5, Other (%) | 6 | 5 | 41.39 | 1.654 | 40.86 |  | 1.1305 | 0.63198 | 2.767% |  | 0.048 | 1.564% | MAP/Zn
240111 | 40.5 | Indirect Available P2O5, ICP (40%) | 1 |  | 39.5 | [9 empty] | MAP/Zn
240111 | 41.1 | Direct Available P2O5, Gravimetric Quinolinium (40%) | 4 | 4 | 40.56 | 0.3663 | 40.562 | 0.90843 | 0.36631 | 0.22894 | 0.9031% | 0.93953 | 0.2828 | 1.57% | MAP/Zn
240111 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext.... (40%) | 7 | 7 | 40.33 | 0.5684 | 40.3317 | 0.90498 | 0.64461 | 0.30455 | 1.598% | 1.6597 | 0.11271 | 1.575% | MAP/Zn
240111 | 41.2 | Direct Available P2O5, Spectrophotometric (40%) | 2 | 2 | 40.35 | 0.07071 | [8 empty] | MAP/Zn
240111 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (40%) | 6 | 6 | 33.7 | 14.31 | 38.881 | 0.87762 | 2.143 | 1.0936 | 5.512% | 5.6895 | 0.38068 | 1.604% | MAP/Zn
240111 | 41.4 | Direct Available P2O5, Automated, Citrate-EDTA Ext. (40%) | 1 |  | 40.225 | [9 empty] | MAP/Zn
240111 | 41.5 | Direct Available P2O5, ICP (40%) | 2 | 2 | 39.41 | 0.4844 | [8 empty] | MAP/Zn
240111 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (40%) | 4 | 4 | 41.03 | 1.26 | 41.0258 | 0.91539 | 1.2595 | 0.78722 | 3.07% | 3.206 | 0.287 | 1.561% | MAP/Zn
240111 | 41.99 | Direct Available P2O5, Other (40%) | 4 | 4 | 40.15 | 0.3281 | 40.1463 | 0.90219 | 0.32806 | 0.20504 | 0.8172% | 0.84724 | 0.1425 | 1.578% | MAP/Zn
240111 | 48.1 | Water Soluble P2O5, Gravimetric Quinolinium (%) | 2 | 2 | 36.08 | 0.594 | [8 empty] | MAP/Zn
240111 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 1 |  | 34.2 | [9 empty] | MAP/Zn
240111 | 48.5 | Water Soluble P2O5, ICP (%) | 1 |  | 36.86 | [9 empty] | MAP/Zn
240111 | 48.99 | Water Soluble P2O5, Other (%) | 1 |  | 36.5 | [9 empty] | MAP/Zn
240111 | 50.5 | Soluble K2O, ICP (Oxalate) (%) | 1 |  | 0.03335 | [9 empty] | MAP/Zn
240111 | 50.51 | Soluble K2O, ICP (Citrate) (%) | 1 |  | 0.16 | [9 empty] | MAP/Zn
240111 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (%) | 2 | 1 | 0.165 | 0.0495 | [8 empty] | MAP/Zn
240111 | 50.99 | Soluble K2O, Other (%) | 3 | 3 | 0.1488 | 0.01376 | 0.14877 | 0.41 | 0.01376 | 0.0099301 | 9.249% | 0.078195 | 0.0102 | 5.328% | MAP/Zn
240111 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 2 | 2 | 0.2305 | 0.07 | [8 empty] | MAP/Zn
240111 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 2 | 1 | 0.1425 | 0.1874 | [8 empty] | MAP/Zn
240111 | 101.99 | Acid Soluble Ca, Other (%) | 1 |  | 0.245 | [9 empty] | MAP/Zn
240111 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 2 | 2 | 0.687 | 0.02546 | [8 empty] | MAP/Zn
240111 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 3 | 3 | 0.7318 | 0.1205 | 0.73177 | 0.23659 | 0.12046 | 0.086931 | 16.46% | 1.1863 | 0.014933 | 4.192% | MAP/Zn
240111 | 121.99 | Acid Soluble Mg, Other (%) | 2 | 2 | 0.6981 | 0.07835 | [8 empty] | MAP/Zn
240111 | 143 | Elemental S, Gravimetric Sulfur - carbon disulfide soluble sulfur (%) | 1 |  | 4.34 | [9 empty] | MAP/Zn
240111 | 143.99 | Elemental S, Other (%) | 4 | 4 | 8.279 | 1.726 | 8.279 |  | 1.7264 | 1.079 | 20.85% |  | 0.10955 | 2.91% | MAP/Zn
240111 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 6 | 6 | 7.156 | 2.263 | 7.1558 |  | 2.5665 | 1.3097 | 35.87% |  | 0.1187 | 2.974% | MAP/Zn
240111 | 145.99 | Sulfate S, HCl soluble, Other (%) | 3 | 3 | 6.703 | 2.643 | 6.7033 |  | 2.643 | 1.9074 | 39.43% |  | 0.06 | 3.004% | MAP/Zn
240111 | 148 | Total S, Combustion (10%) | 9 | 9 | 10.35 | 0.3371 | 10.3653 | 0.71827 | 0.3483 | 0.14513 | 3.36% | 1.1299 | 0.23286 | 2.813% | MAP/Zn
240111 | 148.01 | Total S, Gravimetric - sulfate and elemental (10%) | 5 | 5 | 8.658 | 1.86 | 8.6575 | 0.63288 | 1.8597 | 1.0396 | 21.48% | 6.8468 | 0.21625 | 2.89% | MAP/Zn
240111 | 148.07 | Total S, ICP, test portion as in 2017.02 (10%) | 11 | 11 | 9.88 | 1.259 | 9.8746 | 0.69373 | 0.74878 | 0.28221 | 7.583% | 2.5149 | 0.24035 | 2.834% | MAP/Zn
240111 | 148.99 | Total S, Other (10%) | 8 | 7 | 9.553 | 1.862 | 9.8564 | 0.69282 | 0.64251 | 0.30356 | 6.519% | 2.1608 | 0.069053 | 2.834% | MAP/Zn
240111 | 149.04 | S - HNO3 soluble, ICP (%) | 1 |  | 5.7833 | [9 empty] | MAP/Zn
240111 | 151 | Acid Soluble As, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 10.45 | [9 empty] | MAP/Zn
240111 | 151.3 | Acid Soluble As, ICP (ppm) | 2 | 1 | 6.404 | 9.057 | [8 empty] | MAP/Zn
240111 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 2 | 2 | 13.53 | 2.793 | [8 empty] | MAP/Zn
240111 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 3 | 2 | 7.886 | 6.656 | 11.7043 |  | 1.0687 | 0.94459 | 9.131% |  | 0.28815 | 11.05% | MAP/Zn
240111 | 151.34 | Acid Soluble As, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 4.968 | 6.763 | [8 empty] | MAP/Zn
240111 | 151.99 | Acid Soluble As, Other (ppm) | 1 |  | 11.45 | [9 empty] | MAP/Zn
240111 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (%) | 1 |  | 0.01 | [9 empty] | MAP/Zn
240111 | 165.99 | Acid Soluble B, Other (%) | 3 | 2 | 0.008217 | 0.003089 | 0.007325 | 0.0040987 | 0.003783 | 0.0033438 | 51.65% | 2.1505 | 0.0001 | 8.383% | MAP/Zn
240111 | 181.3 | Acid Soluble Cd, ICP (ppm) | 2 | 2 | 4.909 | 0.07181 | [8 empty] | MAP/Zn
240111 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 2 | 2 | 5.8 | 0.2828 | [8 empty] | MAP/Zn
240111 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 3 | 2 | 3.542 | 2.904 | 5.2186 |  | 0.058619 | 0.051812 | 1.123% |  | 0.1381 | 12.47% | MAP/Zn
240111 | 181.34 | Acid Soluble Cd, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 2.317 | 3.088 | [8 empty] | MAP/Zn
240111 | 181.99 | Acid Soluble Cd, Other (ppm) | 1 |  | 5.5 | [9 empty] | MAP/Zn
240111 | 191 | Acid Soluble Cr, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 90.55 | [9 empty] | MAP/Zn
240111 | 191.3 | Acid Soluble Cr, ICP (ppm) | 1 |  | 115.5063 | [9 empty] | MAP/Zn
240111 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 2 | 2 | 131.2 | 3.323 | [8 empty] | MAP/Zn
240111 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 3 | 3 | 121.4 | 6.395 | 121.3705 |  | 6.3946 | 4.6149 | 5.269% |  | 2.5897 | 7.769% | MAP/Zn
240111 | 191.34 | Acid Soluble Cr, ICP, EPA 3050B/6010C (ppm) | 2 | 2 | 105.8 | 1.8 | [8 empty] | MAP/Zn
240111 | 191.99 | Acid Soluble Cr, Other (ppm) | 1 |  | 127.6 | [9 empty] | MAP/Zn
240111 | 202.3 | Acid Soluble Co, ICP (ppm) | 1 |  | 4.0897 | [9 empty] | MAP/Zn
240111 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 2 | 2 | 2.65 | 0.495 | [8 empty] | MAP/Zn
240111 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 3 | 1 | 0.8035 | 1.174 | 2.65 | 1.795 | 0.49497 | 0.61872 | 18.68% | 0.6425 | 0 | 13.81% | MAP/Zn
240111 | 202.34 | Acid Soluble Co, ICP, EPA 3050B/6010C (ppm) | 3 | 2 | 1.575 | 1.304 | 2.2925 | 1.6877 | 0.55508 | 0.49062 | 24.21% | 0.76631 | 0.215 | 14.12% | MAP/Zn
240111 | 202.99 | Acid Soluble Co, Other (ppm) | 2 | 1 | 4.235 | 2.878 | [8 empty] | MAP/Zn
240111 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 2 | 0 | 0.005 | 0.007071 | [8 empty] | MAP/Zn
240111 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (%) | 2 | 1 | 0.0002 | 0 | [8 empty] | MAP/Zn
240111 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 2 | 2 | 0.0003 | 0 | [8 empty] | MAP/Zn
240111 | 221.99 | Acid Soluble Cu, Other (%) | 3 | 3 | 0.0007 | 0.0006245 | 0.0007 | 0.00507 | 0.0006245 | 0.00045069 | 89.21% | 0.287 | 0.0009 | 11.94% | MAP/Zn
240111 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.805 | [9 empty] | MAP/Zn
240111 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 3 | 3 | 1.4 | 0.9887 | 1.3998 | 0.14498 | 0.98867 | 0.71351 | 70.63% | 15.8895 | 1.0274 | 3.802% | MAP/Zn
240111 | 241.99 | Acid Soluble Fe, Other (%) | 2 | 2 | 0.6805 | 0.1843 | [8 empty] | MAP/Zn
240111 | 251 | Acid Soluble Pb, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 1.25 | [9 empty] | MAP/Zn
240111 | 251.3 | Acid Soluble Pb, ICP (ppm) | 2 | 1 | 4.077 | 5.766 | [8 empty] | MAP/Zn
240111 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 2 | 2 | 15.15 | 4.031 | [8 empty] | MAP/Zn
240111 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 2 | 1 | 5.11 | 6.93 | [8 empty] | MAP/Zn
240111 | 251.34 | Acid Soluble Pb, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 6.458 | 8.828 | [8 empty] | MAP/Zn
240111 | 251.99 | Acid Soluble Pb, Other (ppm) | 1 |  | 14.05 | [9 empty] | MAP/Zn
240111 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 1 |  | 0.02 | [9 empty] | MAP/Zn
240111 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 3 | 2 | 0.01568 | 0.0124 | 0.022675 | 0.0072675 | 0.003783 | 0.0033437 | 16.68% | 1.2129 | 0.0001 | 7.072% | MAP/Zn
240111 | 261.99 | Acid Soluble Mn, Other (%) | 2 | 1 | 0.0127 | 0.0164 | [8 empty] | MAP/Zn
240111 | 281.3 | Acid Soluble Hg, ICP (ppm) | 3 | 0 | 0.7003 | 1.127 | 0.022675 |  | 0.003783 |  | 16.68% |  | 5e-05 | 22% | MAP/Zn
240111 | 281.99 | Acid Soluble Hg, Other (ppm) | 2 | 1 | 0.0074 | 0.003677 | [8 empty] | MAP/Zn
240111 | 289.3 | Acid Soluble Mo, ICP (ppm) | 3 | 3 | 8.713 | 1.381 | 8.7127 | 3.6138 | 1.381 | 0.99665 | 15.85% | 0.8904 | 0.2136 | 11.55% | MAP/Zn
240111 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 2 | 2 | 9.95 | 0.7778 | [8 empty] | MAP/Zn
240111 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 3 | 2 | 6.646 | 5.584 | 9.8546 | 3.9564 | 0.78439 | 0.69331 | 7.96% | 0.46195 | 0.4965 | 11.34% | MAP/Zn
240111 | 289.34 | Acid Soluble Mo, ICP, EPA 3050B/6010C (ppm) | 3 | 2 | 6.473 | 5.464 | 9.62 | 3.886 | 0.52326 | 0.4625 | 5.439% | 0.31374 | 1.06 | 11.38% | MAP/Zn
240111 | 289.99 | Acid Soluble Mo, Other (ppm) | 1 |  | 9.25 | [9 empty] | MAP/Zn
240111 | 291 | Acid Soluble Ni, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 16.45 | [9 empty] | MAP/Zn
240111 | 291.3 | Acid Soluble Ni, ICP (ppm) | 1 |  | 17.4115 | [9 empty] | MAP/Zn
240111 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 2 | 2 | 17.25 | 2.475 | [8 empty] | MAP/Zn
240111 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 3 | 2 | 11.51 | 9.743 | 17.1296 |  | 0.38244 | 0.33803 | 2.233% |  | 2.1919 | 10.43% | MAP/Zn
240111 | 291.34 | Acid Soluble Ni, ICP, EPA 3050B/6010C (ppm) | 3 | 2 | 11.39 | 9.711 | 17 |  | 0.070711 | 0.0625 | 0.4159% |  | 0.2 | 10.44% | MAP/Zn
240111 | 291.99 | Acid Soluble Ni, Other (ppm) | 2 | 2 | 28.55 | 17.89 | [8 empty] | MAP/Zn
240111 | 301.3 | Acid Soluble Se, ICP (ppm) | 1 |  | 0.23085 | [9 empty] | MAP/Zn
240111 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 2 | 0 | 5.15 | 6.859 | [8 empty] | MAP/Zn
240111 | 301.33 | Acid Soluble Se, ICP, 2017.02 (ppm) | 2 | 0 | 0.14 | 0.1838 | [8 empty] | MAP/Zn
240111 | 301.34 | Acid Soluble Se, ICP, EPA 3050B/6010C (ppm) | 2 | 0 | 0.813 | 0.8301 | [8 empty] | MAP/Zn
240111 | 301.99 | Acid Soluble Se, Other (ppm) | 2 | 0 | 0.15 | 0.2121 | [8 empty] | MAP/Zn
240111 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 1 |  | 0.16795 | [9 empty] | MAP/Zn
240111 | 311.99 | Sodium, Other (%) | 1 |  | 0.18 | [9 empty] | MAP/Zn
240111 | 321 | Acid Soluble Zn, AA, inorganic 965.09 (1%) | 4 | 4 | 0.9676 | 0.06009 | 0.96756 | 0.10176 | 0.060087 | 0.037554 | 6.21% | 1.3759 | 0.024175 | 4.02% | MAP/Zn
240111 | 321.03 | Acid Soluble Zn, AA, 965.09, test portion 2006.03A-C w/dual acid (1%) | 1 |  | 0.965 | [9 empty] | MAP/Zn
240111 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (1%) | 13 | 12 | 0.977 | 0.07926 | 0.97031 | 0.10203 | 0.087899 | 0.031718 | 9.059% | 2.0073 | 0.0289 | 4.018% | MAP/Zn
240111 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (1%) | 4 | 4 | 1.005 | 0.0639 | 1.005 | 0.1055 | 0.063901 | 0.039938 | 6.358% | 1.4113 | 0.04 | 3.997% | MAP/Zn
240111 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (1%) | 14 | 13 | 0.9617 | 0.08544 | 0.972 | 0.1022 | 0.078866 | 0.027342 | 8.114% | 1.798 | 0.018711 | 4.017% | MAP/Zn
240111 | 321.99 | Acid Soluble Zn, Other (1%) | 13 | 13 | 0.9946 | 0.08833 | 0.99104 | 0.1041 | 0.081431 | 0.028231 | 8.217% | 1.8225 | 0.046962 | 4.005% | MAP/Zn
240111 | 325.3 | Water Soluble Zn, ICP (%) | 1 |  | 0.7305 | [9 empty] | MAP/Zn
240111 | 325.99 | Water Soluble Zn, Other (%) | 2 | 2 | 0.8528 | 0.1729 | [8 empty] | MAP/Zn
240213 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 1 |  | 0.575 | [9 empty] | Urea 46-0-0
240213 | 1.99 | Ammoniacal N, Other (%) | 2 | 2 | 23.46 | 32.19 | [8 empty] | Urea 46-0-0
240213 | 2.99 | Nitrate N, Other (%) | 1 |  | 0.1 | [9 empty] | Urea 46-0-0
240213 | 3.1 | Water Insoluble N, Method I (%) | 1 |  | 0.885 | [9 empty] | Urea 46-0-0
240213 | 5 | Urea N, Urease (as N) (%) | 1 |  | 17.845 | [9 empty] | Urea 46-0-0
240213 | 5.1 | Urea N, HPLC(asN),H2Omobilephase (%) | 1 |  | 46.64 | [9 empty] | Urea 46-0-0
240213 | 5.99 | Urea N, Other (%) | 7 | 7 | 45.6 | 1.21 | 45.9454 |  | 0.415 | 0.19607 | 0.9032% |  | 0.12667 | 1.475% | Urea 46-0-0
240213 | 7.99 | Urea, Other (%) | 3 | 3 | 46.02 | 0.6028 | 46.0167 |  | 0.60277 | 0.43501 | 1.31% |  | 0.29333 | 1.474% | Urea 46-0-0
240213 | 8 | Biuret, AA (as Biuret) (%) | 2 | 2 | 1.023 | 0.3642 | [8 empty] | Urea 46-0-0
240213 | 8.1 | Biuret, Spectrophotometric (as Biuret) (%) | 6 | 6 | 1.004 | 0.06352 | 1.0042 |  | 0.072026 | 0.036756 | 7.173% |  | 0.014 | 3.997% | Urea 46-0-0
240213 | 8.99 | Biuret, Other (%) | 2 | 2 | 1 | 0.198 | [8 empty] | Urea 46-0-0
240213 | 10.12 | Total N, Salicylic (46%) | 4 | 4 | 45.68 | 0.4635 | 45.6772 | 0.88 | 0.46351 | 0.28969 | 1.015% | 1.2272 | 0.3161 | 1.48% | Urea 46-0-0
240213 | 10.6 | Total N, Combustion (46%) | 48 | 47 | 46.29 | 0.58 | 46.3276 | 0.88 | 0.46084 | 0.084026 | 0.9947% | 1.2202 | 0.1786 | 1.469% | Urea 46-0-0
240213 | 10.99 | Total N, Other (46%) | 12 | 12 | 45.93 | 0.2999 | 45.9567 | 0.88 | 0.27689 | 0.099914 | 0.6025% | 0.73313 | 0.14227 | 1.475% | Urea 46-0-0
240213 | 20.5 | Total P2O5, ICP (%) | 3 | 3 | 0.04812 | 0.02595 | 0.048117 |  | 0.025948 | 0.018726 | 53.93% |  | 0.0463 | 6.315% | Urea 46-0-0
240213 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (%) | 1 |  | 0.04 | [9 empty] | Urea 46-0-0
240213 | 50.5 | Soluble K2O, ICP (Oxalate) (%) | 1 |  | 0.029 | [9 empty] | Urea 46-0-0
240213 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (%) | 1 |  | 0.015 | [9 empty] | Urea 46-0-0
240213 | 50.99 | Soluble K2O, Other (%) | 2 | 2 | 0.03025 | 0.02157 | [8 empty] | Urea 46-0-0
240213 | 60 | Water (Free), Vacuum Oven (%) | 4 | 4 | 0.06088 | 0.01189 | 0.060875 |  | 0.011891 | 0.0074319 | 19.53% |  | 0.013667 | 6.095% | Urea 46-0-0
240213 | 60.2 | Water (Free), Karl Fischer (%) | 4 | 4 | 0.2063 | 0.1006 | 0.20625 |  | 0.10056 | 0.062847 | 48.75% |  | 0.010667 | 5.072% | Urea 46-0-0
240213 | 60.3 | Water (Free), AFPC No. 2B (105°C oven for 2 hours, 5g sample) (%) | 1 |  | 0.23 | [9 empty] | Urea 46-0-0
240213 | 60.99 | Water (Free), Other (%) | 3 | 3 | 0.09333 | 0.05033 | 0.093333 |  | 0.050332 | 0.036324 | 53.93% |  | 0.033333 | 5.715% | Urea 46-0-0
240213 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.07 | [9 empty] | Urea 46-0-0
240213 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.015 | [9 empty] | Urea 46-0-0
240213 | 121.99 | Acid Soluble Mg, Other (%) | 1 |  | 0.0007 | [9 empty] | Urea 46-0-0
240213 | 148.99 | Total S, Other (%) | 2 | 1 | 0.01025 | 0.0003536 | [8 empty] | Urea 46-0-0
240213 | 149.04 | S - HNO3 soluble, ICP (%) | 1 |  | 0.00665 | [9 empty] | Urea 46-0-0
240213 | 151.3 | Acid Soluble As, ICP (ppm) | 3 | 2 | 2.073 | 3.574 | 0.0094 |  | 0.003677 | 0.00325 | 39.12% |  | 0.0038 | 22% | Urea 46-0-0
240213 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 1 |  | 0.5 | [9 empty] | Urea 46-0-0
240213 | 151.99 | Acid Soluble As, Other (ppm) | 1 |  | 0.5 | [9 empty] | Urea 46-0-0
240213 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (%) | 1 |  | 0.01 | [9 empty] | Urea 46-0-0
240213 | 181.3 | Acid Soluble Cd, ICP (ppm) | 3 | 1 | 0.619 | 1.066 | 0.0094 |  | 0.003677 | 0.0045962 | 39.12% |  | 0.0036 | 22% | Urea 46-0-0
240213 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 1 |  | 0.1 | [9 empty] | Urea 46-0-0
240213 | 181.99 | Acid Soluble Cd, Other (ppm) | 1 |  | 0.1 | [9 empty] | Urea 46-0-0
240213 | 191.3 | Acid Soluble Cr, ICP (ppm) | 2 | 1 | 0.7998 | 0.566 | [8 empty] | Urea 46-0-0
240213 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 1 |  | 0.1 | [9 empty] | Urea 46-0-0
240213 | 191.99 | Acid Soluble Cr, Other (ppm) | 1 |  | 0.1 | [9 empty] | Urea 46-0-0
240213 | 202.3 | Acid Soluble Co, ICP (ppm) | 1 |  | 0.0208 | [9 empty] | Urea 46-0-0
240213 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 1 |  | 0.1 | [9 empty] | Urea 46-0-0
240213 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.01 | [9 empty] | Urea 46-0-0
240213 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.015 | [9 empty] | Urea 46-0-0
240213 | 241.99 | Acid Soluble Fe, Other (%) | 1 |  | 0.00065 | [9 empty] | Urea 46-0-0
240213 | 251.3 | Acid Soluble Pb, ICP (ppm) | 3 | 1 | 1.723 | 2.839 | 0.0094 |  | 0.003677 | 0.0045962 | 39.12% |  | 0.0036 | 22% | Urea 46-0-0
240213 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 1 |  | 0.1 | [9 empty] | Urea 46-0-0
240213 | 251.99 | Acid Soluble Pb, Other (ppm) | 1 |  | 0.15 | [9 empty] | Urea 46-0-0
240213 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 1 |  | 0.01 | [9 empty] | Urea 46-0-0
240213 | 261.99 | Acid Soluble Mn, Other (%) | 1 |  | 0.0001 | [9 empty] | Urea 46-0-0
240213 | 281.3 | Acid Soluble Hg, ICP (ppm) | 2 | 1 | 0.6255 | 0.8832 | [8 empty] | Urea 46-0-0
240213 | 281.99 | Acid Soluble Hg, Other (ppm) | 2 | 1 | 0.005475 | 0.006399 | [8 empty] | Urea 46-0-0
240213 | 289.3 | Acid Soluble Mo, ICP (ppm) | 1 |  | 0.0867 | [9 empty] | Urea 46-0-0
240213 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 1 |  | 0.1 | [9 empty] | Urea 46-0-0
240213 | 289.99 | Acid Soluble Mo, Other (ppm) | 1 |  | 0.15 | [9 empty] | Urea 46-0-0
240213 | 291.3 | Acid Soluble Ni, ICP (ppm) | 2 | 1 | 1.258 | 1.615 | [8 empty] | Urea 46-0-0
240213 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 1 |  | 0.1 | [9 empty] | Urea 46-0-0
240213 | 291.99 | Acid Soluble Ni, Other (ppm) | 1 |  | 0.15 | [9 empty] | Urea 46-0-0
240213 | 301.3 | Acid Soluble Se, ICP (ppm) | 1 |  | 1.65 | [9 empty] | Urea 46-0-0
240213 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 1 |  | 0.2 | [9 empty] | Urea 46-0-0
240213 | 301.99 | Acid Soluble Se, Other (ppm) | 1 |  | 0.25 | [9 empty] | Urea 46-0-0
240213 | 311.99 | Sodium, Other (%) | 1 |  | 0.03 | [9 empty] | Urea 46-0-0
240213 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.01 | [9 empty] | Urea 46-0-0
240213 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 1 |  | 0.00025 | [9 empty] | Urea 46-0-0
240213 | 321.99 | Acid Soluble Zn, Other (%) | 1 |  | 0.00055 | [9 empty] | Urea 46-0-0
240311 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 1 |  | 7.99 | [9 empty] | Grade 8-30-4
240311 | 1.99 | Ammoniacal N, Other (%) | 4 | 4 | 7.297 | 0.6114 | 7.2974 |  | 0.61141 | 0.38213 | 8.378% |  | 0.06375 | 2.966% | Grade 8-30-4
240311 | 5.99 | Urea N, Other (%) | 1 |  | 0.2117 | [9 empty] | Grade 8-30-4
240311 | 10.12 | Total N, Salicylic (8%) | 3 | 3 | 8.248 | 0.05003 | 8.2477 | 0.55495 | 0.050032 | 0.036107 | 0.6066% | 0.21006 | 0.17445 | 2.912% | Grade 8-30-4
240311 | 10.17 | Total N, Comprehensive (8%) | 1 |  | 8.075 | [9 empty] | Grade 8-30-4
240311 | 10.6 | Total N, Combustion (8%) | 42 | 41 | 8.274 | 0.1295 | 8.2865 | 0.55573 | 0.1135 | 0.022158 | 1.37% | 0.47588 | 0.062554 | 2.909% | Grade 8-30-4
240311 | 10.99 | Total N, Other (8%) | 10 | 9 | 8.117 | 0.1891 | 8.1359 | 0.55272 | 0.21615 | 0.090063 | 2.657% | 0.91119 | 0.04421 | 2.918% | Grade 8-30-4
240311 | 20.1 | Total P2O5, Gravimetric Quinolinium MolybdoP (%) | 2 | 2 | 31.36 | 0.3422 | [8 empty] | Grade 8-30-4
240311 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 5 | 5 | 30.78 | 0.7805 | 30.781 |  | 0.78055 | 0.43634 | 2.536% |  | 0.262 | 1.802% | Grade 8-30-4
240311 | 20.4 | Total P2O5, Automated (%) | 1 |  | 32 | [9 empty] | Grade 8-30-4
240311 | 20.5 | Total P2O5, ICP (%) | 22 | 22 | 30.79 | 1.26 | 30.7773 |  | 1.3661 | 0.36407 | 4.439% |  | 0.27332 | 1.803% | Grade 8-30-4
240311 | 20.99 | Total P2O5, Other (%) | 5 | 5 | 34.53 | 8.077 | 34.5292 |  | 8.0775 | 4.5154 | 23.39% |  | 6.3346 | 1.702% | Grade 8-30-4
240311 | 40.5 | Indirect Available P2O5, ICP (30%) | 1 |  | 31 | [9 empty] | Grade 8-30-4
240311 | 40.99 | Indirect Available P2O5, Other (30%) | 1 |  | 13.145 | [9 empty] | Grade 8-30-4
240311 | 41.1 | Direct Available P2O5, Gravimetric Quinolinium (30%) | 5 | 5 | 30.84 | 0.4733 | 30.8365 | 0.75418 | 0.47326 | 0.26456 | 1.535% | 1.4621 | 0.23736 | 1.801% | Grade 8-30-4
240311 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext.... (30%) | 9 | 9 | 30.6 | 0.4945 | 30.5675 | 0.75284 | 0.48649 | 0.20271 | 1.592% | 1.5057 | 0.36 | 1.809% | Grade 8-30-4
240311 | 41.2 | Direct Available P2O5, Spectrophotometric (30%) | 2 | 2 | 30.85 | 0.5551 | [8 empty] | Grade 8-30-4
240311 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (30%) | 6 | 6 | 30.02 | 1.726 | 29.8423 | 0.74921 | 1.5243 | 0.77788 | 5.108% | 4.7405 | 0.302 | 1.831% | Grade 8-30-4
240311 | 41.4 | Direct Available P2O5, Automated, Citrate-EDTA Ext. (30%) | 3 | 3 | 31.46 | 0.5353 | 31.46 | 0.7573 | 0.53528 | 0.38631 | 1.701% | 1.6469 | 0.34 | 1.783% | Grade 8-30-4
240311 | 41.5 | Direct Available P2O5, ICP (30%) | 2 | 2 | 36.78 | 8.673 | [8 empty] | Grade 8-30-4
240311 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (30%) | 5 | 5 | 30.48 | 0.7771 | 30.4755 | 0.75238 | 0.77712 | 0.43442 | 2.55% | 2.4066 | 0.4154 | 1.811% | Grade 8-30-4
240311 | 41.99 | Direct Available P2O5, Other (30%) | 6 | 5 | 25.01 | 7.787 | 26.6353 | 0.73318 | 7.4889 | 4.1864 | 28.12% | 23.7994 | 0.1038 | 1.938% | Grade 8-30-4
240311 | 48.1 | Water Soluble P2O5, Gravimetric Quinolinium (%) | 1 |  | 27.35 | [9 empty] | Grade 8-30-4
240311 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 1 |  | 23.025 | [9 empty] | Grade 8-30-4
240311 | 48.5 | Water Soluble P2O5, ICP (%) | 1 |  | 27.54 | [9 empty] | Grade 8-30-4
240311 | 48.99 | Water Soluble P2O5, Other (%) | 4 | 4 | 26.44 | 0.6087 | 26.4399 |  | 0.60871 | 0.38044 | 2.302% |  | 0.28423 | 1.945% | Grade 8-30-4
240311 | 50 | Soluble K2O, STPB Oxalate (4%) | 9 | 9 | 4.551 | 0.1843 | 4.5615 | 0.42123 | 0.18418 | 0.076741 | 4.038% | 1.0188 | 0.094837 | 3.183% | Grade 8-30-4
240311 | 50.3 | Soluble K2O, AA (Oxalate) (4%) | 2 | 2 | 4.275 | 0.4596 | [8 empty] | Grade 8-30-4
240311 | 50.32 | Soluble K2O, AA (Citrate-EDTA) (4%) | 2 | 2 | 5.678 | 1.58 | [8 empty] | Grade 8-30-4
240311 | 50.5 | Soluble K2O, ICP (Oxalate) (4%) | 6 | 5 | 4.395 | 0.3009 | 4.3154 | 0.41631 | 0.2555 | 0.14283 | 5.921% | 1.43 | 0.02975 | 3.21% | Grade 8-30-4
240311 | 50.51 | Soluble K2O, ICP (Citrate) (4%) | 4 | 4 | 5.438 | 0.9189 | 5.438 | 0.44752 | 0.91887 | 0.57429 | 16.9% | 4.7841 | 0.58965 | 3.1% | Grade 8-30-4
240311 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (4%) | 10 | 10 | 4.448 | 0.2845 | 4.4476 | 0.41895 | 0.3226 | 0.12752 | 7.253% | 1.7941 | 0.0856 | 3.195% | Grade 8-30-4
240311 | 50.61 | Soluble K2O, Flame Photometric (Citrate) (4%) | 1 |  | 4.5 | [9 empty] | Grade 8-30-4
240311 | 50.62 | Soluble K2O, Flame Photometric (Citrate-EDTA) (4%) | 4 | 4 | 4.641 | 0.1152 | 4.6413 | 0.42283 | 0.11521 | 0.072005 | 2.482% | 0.63486 | 0.05 | 3.175% | Grade 8-30-4
240311 | 50.99 | Soluble K2O, Other (4%) | 33 | 32 | 4.359 | 0.307 | 4.359 | 0.41718 | 0.34076 | 0.075299 | 7.817% | 1.9032 | 0.084566 | 3.205% | Grade 8-30-4
240311 | 60 | Water (Free), Vacuum Oven (%) | 1 |  | 0.9 | [9 empty] | Grade 8-30-4
240311 | 101 | Acid Soluble Ca, AA, inorganic 965.09 (%) | 1 |  | 1.865 | [9 empty] | Grade 8-30-4
240311 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 3 | 3 | 1.48 | 0.2979 | 1.48 | 0.274 | 0.29787 | 0.21497 | 20.13% | 2.533 | 0.02 | 3.771% | Grade 8-30-4
240311 | 101.32 | Acid Soluble Ca, ICP, test portion 2006.03A-C (%) | 2 | 2 | 1.58 | 0.01344 | [8 empty] | Grade 8-30-4
240311 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 5 | 5 | 1.477 | 0.07366 | 1.4766 | 0.27383 | 0.073659 | 0.041177 | 4.988% | 0.62676 | 0.04092 | 3.772% | Grade 8-30-4
240311 | 101.99 | Acid Soluble Ca, Other (%) | 3 | 3 | 1.626 | 0.4213 | 1.6264 | 0.28132 | 0.42127 | 0.30402 | 25.9% | 3.4891 | 0.027133 | 3.717% | Grade 8-30-4
240311 | 121 | Acid Soluble Mg, AA, inorganic 965.09 (%) | 1 |  | 1.415 | [9 empty] | Grade 8-30-4
240311 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 3 | 3 | 1.333 | 0.1025 | 1.3333 | 0.26667 | 0.10251 | 0.07398 | 7.688% | 0.89568 | 0.02 | 3.83% | Grade 8-30-4
240311 | 121.32 | Acid Soluble Mg, ICP, test portion 2006.03A-C (%) | 3 | 3 | 1.333 | 0.09785 | 1.3328 | 0.26664 | 0.097847 | 0.070615 | 7.341% | 0.85502 | 0.029 | 3.83% | Grade 8-30-4
240311 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 6 | 6 | 1.296 | 0.1235 | 1.2963 | 0.26481 | 0.1401 | 0.071493 | 10.81% | 1.2327 | 0.031236 | 3.847% | Grade 8-30-4
240311 | 121.99 | Acid Soluble Mg, Other (%) | 4 | 4 | 1.242 | 0.2325 | 1.2422 | 0.26211 | 0.23246 | 0.14529 | 18.71% | 2.0665 | 0.022467 | 3.871% | Grade 8-30-4
240311 | 131.99 | Water Soluble Mg, Other (%) | 1 |  | 0.62615 | [9 empty] | Grade 8-30-4
240311 | 143 | Elemental S, Gravimetric Sulfur - carbon disulfide soluble sulfur (%) | 1 |  | 4.77 | [9 empty] | Grade 8-30-4
240311 | 143.99 | Elemental S, Other (%) | 4 | 4 | 6.516 | 0.5433 | 6.5162 |  | 0.54328 | 0.33955 | 8.337% |  | 0.09255 | 3.017% | Grade 8-30-4
240311 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 6 | 6 | 4.022 | 1.328 | 4.0217 |  | 1.5065 | 0.76879 | 37.46% |  | 0.11 | 3.244% | Grade 8-30-4
240311 | 145.99 | Sulfate S, HCl soluble, Other (%) | 3 | 3 | 3.687 | 0.8031 | 3.6867 |  | 0.80314 | 0.57962 | 21.78% |  | 0.12667 | 3.287% | Grade 8-30-4
240311 | 148 | Total S, Combustion (3%) | 5 | 5 | 6.284 | 0.6649 | 6.2844 | 0.51422 | 0.66488 | 0.37168 | 10.58% | 3.0127 | 0.0904 | 3.033% | Grade 8-30-4
240311 | 148.01 | Total S, Gravimetric - sulfate and elemental (3%) | 6 | 6 | 5.109 | 1.309 | 5.1087 | 0.45544 | 1.4844 | 0.7575 | 29.06% | 7.5941 | 0.18417 | 3.129% | Grade 8-30-4
240311 | 148.07 | Total S, ICP, test portion as in 2017.02 (3%) | 12 | 12 | 6.374 | 1.163 | 6.2097 | 0.51049 | 0.85387 | 0.30811 | 13.75% | 3.8973 | 0.12268 | 3.039% | Grade 8-30-4
240311 | 148.99 | Total S, Other (3%) | 11 | 10 | 5.818 | 1.152 | 6.0271 | 0.50135 | 0.96231 | 0.38039 | 15.97% | 4.4723 | 0.037382 | 3.052% | Grade 8-30-4
240311 | 149.04 | S - HNO3 soluble, ICP (%) | 2 | 2 | 5.89 | 0.5876 | [8 empty] | Grade 8-30-4
240311 | 151.3 | Acid Soluble As, ICP (ppm) | 3 | 2 | 6.524 | 5.653 | 9.7863 |  | 0.23511 | 0.20781 | 2.402% |  | 0.2363 | 11.35% | Grade 8-30-4
240311 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 2 | 2 | 10.35 | 1.626 | [8 empty] | Grade 8-30-4
240311 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 4 | 4 | 11.59 | 1.656 | 11.5864 |  | 1.6562 | 1.0351 | 14.29% |  | 0.99433 | 11.06% | Grade 8-30-4
240311 | 151.34 | Acid Soluble As, ICP, EPA 3050B/6010C (ppm) | 2 | 2 | 8.573 | 2.791 | [8 empty] | Grade 8-30-4
240311 | 151.99 | Acid Soluble As, Other (ppm) | 3 | 3 | 8.878 | 0.9905 | 8.8781 |  | 0.99052 | 0.71485 | 11.16% |  | 0.37203 | 11.52% | Grade 8-30-4
240311 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (%) | 2 | 2 | 0.1075 | 0.01061 | [8 empty] | Grade 8-30-4
240311 | 165.99 | Acid Soluble B, Other (%) | 9 | 8 | 0.0913 | 0.03524 | 0.1039 | 0.018585 | 0.0070998 | 0.0031377 | 6.833% | 0.8901 | 0.0019714 | 5.624% | Grade 8-30-4
240311 | 171.99 | Water Soluble B, Other (%) | 1 |  | 0.08795 | [9 empty] | Grade 8-30-4
240311 | 181.3 | Acid Soluble Cd, ICP (ppm) | 4 | 4 | 4.087 | 1.673 | 4.0871 |  | 1.6732 | 1.0457 | 40.94% |  | 1.3215 | 12.94% | Grade 8-30-4
240311 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 2 | 2 | 3.15 | 0.2121 | [8 empty] | Grade 8-30-4
240311 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 5 | 3 | 3.162 | 1.798 | 3.5395 |  | 0.38074 | 0.27478 | 10.76% |  | 0.29985 | 13.23% | Grade 8-30-4
240311 | 181.34 | Acid Soluble Cd, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 1.442 | 1.85 | [8 empty] | Grade 8-30-4
240311 | 181.99 | Acid Soluble Cd, Other (ppm) | 3 | 3 | 3.194 | 0.3117 | 3.1939 |  | 0.31168 | 0.22493 | 9.759% |  | 0.1765 | 13.43% | Grade 8-30-4
240311 | 191.3 | Acid Soluble Cr, ICP (ppm) | 4 | 4 | 61.76 | 11.84 | 61.7597 |  | 11.8355 | 7.3972 | 19.16% |  | 1.8211 | 8.601% | Grade 8-30-4
240311 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 2 | 2 | 69.88 | 0.5303 | [8 empty] | Grade 8-30-4
240311 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 5 | 5 | 69.07 | 4.121 | 69.0712 |  | 4.1209 | 2.3036 | 5.966% |  | 2.4939 | 8.457% | Grade 8-30-4
240311 | 191.34 | Acid Soluble Cr, ICP, EPA 3050B/6010C (ppm) | 2 | 2 | 64.11 | 4.681 | [8 empty] | Grade 8-30-4
240311 | 191.99 | Acid Soluble Cr, Other (ppm) | 3 | 3 | 67.76 | 14.58 | 67.7595 |  | 14.5844 | 10.5254 | 21.52% |  | 1.5804 | 8.481% | Grade 8-30-4
240311 | 202.3 | Acid Soluble Co, ICP (ppm) | 3 | 3 | 4.605 | 0.3341 | 4.6046 | 2.3814 | 0.33409 | 0.24111 | 7.255% | 0.32688 | 0.30577 | 12.71% | Grade 8-30-4
240311 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 2 | 2 | 4.35 | 0.9192 | [8 empty] | Grade 8-30-4
240311 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 5 | 4 | 3.516 | 1.909 | 4.3299 | 2.299 | 0.66659 | 0.41662 | 15.4% | 0.67559 | 0.19182 | 12.83% | Grade 8-30-4
240311 | 202.34 | Acid Soluble Co, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 1.595 | 2.058 | [8 empty] | Grade 8-30-4
240311 | 202.99 | Acid Soluble Co, Other (ppm) | 3 | 2 | 5.81 | 4.03 | 3.5047 | 2.0514 | 0.77117 | 0.68163 | 22% | 0.8759 | 0.0823 | 13.25% | Grade 8-30-4
240311 | 221 | Acid Soluble Cu, AA, inorganic 965.09 (0.6%) | 5 | 5 | 0.1307 | 0.1154 | 0.13067 | 0.018067 | 0.11544 | 0.06453 | 88.34% | 14.8871 | 0.00434 | 5.433% | Grade 8-30-4
240311 | 221.03 | Acid Soluble Cu, AA, 965.09, test portion 2006.03A-C w/dual acid ... (0.6%) | 1 |  | 0.09 | [9 empty] | Grade 8-30-4
240311 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (0.6%) | 13 | 12 | 0.2079 | 0.2631 | 0.090278 | 0.014028 | 0.023295 | 0.0084058 | 25.8% | 3.8692 | 0.0044 | 5.744% | Grade 8-30-4
240311 | 221.31 | Acid Soluble Cu, ICP, test portion organic 965.09 (0.6%) | 1 |  | 0.083 | [9 empty] | Grade 8-30-4
240311 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (0.6%) | 4 | 4 | 0.0795 | 0.002887 | 0.0795 | 0.01295 | 0.0028868 | 0.0018042 | 3.631% | 0.51939 | 0 | 5.855% | Grade 8-30-4
240311 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (0.6%) | 11 | 11 | 0.07878 | 0.008302 | 0.079529 | 0.012953 | 0.0075381 | 0.002841 | 9.478% | 1.356 | 0.0045556 | 5.855% | Grade 8-30-4
240311 | 221.99 | Acid Soluble Cu, Other (0.6%) | 16 | 15 | 0.1919 | 0.2442 | 0.090517 | 0.014052 | 0.027256 | 0.008797 | 30.11% | 4.5196 | 0.0029267 | 5.742% | Grade 8-30-4
240311 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 4 | 4 | 0.8613 | 0.19 | 0.86125 | 0.091125 | 0.18997 | 0.11873 | 22.06% | 4.8574 | 0.032667 | 4.091% | Grade 8-30-4
240311 | 241.32 | Acid Soluble Fe, ICP, test portion 2006.03A-C (%) | 3 | 3 | 0.7502 | 0.01775 | 0.75017 | 0.080017 | 0.017751 | 0.01281 | 2.366% | 0.51688 | 0.0063333 | 4.177% | Grade 8-30-4
240311 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 5 | 5 | 0.7521 | 0.04337 | 0.75212 | 0.080212 | 0.04337 | 0.024245 | 5.766% | 1.2598 | 0.02455 | 4.175% | Grade 8-30-4
240311 | 241.99 | Acid Soluble Fe, Other (%) | 3 | 3 | 0.7178 | 0.02637 | 0.7178 | 0.07678 | 0.026366 | 0.019028 | 3.673% | 0.80013 | 0.0562 | 4.204% | Grade 8-30-4
240311 | 251.3 | Acid Soluble Pb, ICP (ppm) | 4 | 2 | 1.995 | 2.138 | 1.4908 |  | 0.44431 | 0.39272 | 29.8% |  | 0.01965 | 15.06% | Grade 8-30-4
240311 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 2 | 1 | 4.025 | 0.03536 | [8 empty] | Grade 8-30-4
240311 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 5 | 2 | 3.206 | 2.299 | 3.9102 |  | 2.814 | 2.4873 | 71.97% |  | 1.0056 | 13.03% | Grade 8-30-4
240311 | 251.34 | Acid Soluble Pb, ICP, EPA 3050B/6010C (ppm) | 2 | 2 | 3.212 | 0.6191 | [8 empty] | Grade 8-30-4
240311 | 251.99 | Acid Soluble Pb, Other (ppm) | 3 | 3 | 2.642 | 1.315 | 2.6417 |  | 1.3151 | 0.94912 | 49.78% |  | 0.075033 | 13.82% | Grade 8-30-4
240311 | 261.11 | Acid Soluble Mn, AA, total Mn (0.5%) | 1 |  | 0.139 | [9 empty] | Grade 8-30-4
240311 | 261.12 | Acid Soluble Mn, AA, inorganic 965.09 (0.5%) | 4 | 4 | 0.2251 | 0.2042 | 0.22506 | 0.027506 | 0.20422 | 0.12764 | 90.74% | 17.2994 | 0.005125 | 5.006% | Grade 8-30-4
240311 | 261.15 | Acid Soluble Mn, AA, 965.09, test portion 2006.03A-C w/dual acid ... (0.5%) | 1 |  | 0.1 | [9 empty] | Grade 8-30-4
240311 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (0.5%) | 5 | 5 | 0.1371 | 0.005273 | 0.1371 | 0.01871 | 0.0052726 | 0.0029475 | 3.846% | 0.65661 | 0.0056667 | 5.394% | Grade 8-30-4
240311 | 261.31 | Acid Soluble Mn, ICP, test portion 972.02b (0.5%) | 1 |  | 0.1395 | [9 empty] | Grade 8-30-4
240311 | 261.32 | Acid Soluble Mn, ICP, test portion inorganic 965.09 (0.5%) | 7 | 6 | 0.342 | 0.4379 | 0.13762 | 0.018762 | 0.01276 | 0.0065118 | 9.272% | 1.5847 | 0.017425 | 5.391% | Grade 8-30-4
240311 | 261.33 | Acid Soluble Mn, ICP, test portion organic 965.09 (0.5%) | 1 |  | 0.1445 | [9 empty] | Grade 8-30-4
240311 | 261.34 | Acid Soluble Mn, ICP, test portion 2006.03A-C (0.5%) | 3 | 3 | 0.1323 | 0.002411 | 0.13227 | 0.018227 | 0.0024111 | 0.0017401 | 1.823% | 0.30822 | 0.004 | 5.423% | Grade 8-30-4
240311 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (0.5%) | 11 | 10 | 0.1304 | 0.01256 | 0.1316 | 0.01816 | 0.014137 | 0.0055881 | 10.74% | 1.8138 | 0.0040304 | 5.427% | Grade 8-30-4
240311 | 261.5 | Acid Soluble Mn, Spectrometric (0.5%) | 1 |  | 0.5005 | [9 empty] | Grade 8-30-4
240311 | 261.99 | Acid Soluble Mn, Other (0.5%) | 13 | 12 | 0.1208 | 0.0206 | 0.12232 | 0.017232 | 0.016257 | 0.0058662 | 13.29% | 2.1981 | 0.0034259 | 5.487% | Grade 8-30-4
240311 | 271.3 | Water Soluble Mn, ICP, Ext. 972.03 (%) | 1 |  | 0.067 | [9 empty] | Grade 8-30-4
240311 | 271.99 | Water Soluble Mn, Other (%) | 3 | 3 | 0.2243 | 0.2437 | 0.22433 |  | 0.24366 | 0.17585 | 108.6% |  | 0.003 | 5.009% | Grade 8-30-4
240311 | 281 | Acid Soluble Hg, AA (ppm) | 1 |  | 0.5 | [9 empty] | Grade 8-30-4
240311 | 281.3 | Acid Soluble Hg, ICP (ppm) | 3 | 0 | 0.7003 | 1.127 | 0.22433 |  | 0.24366 |  | 108.6% |  | 0.001 | 20.03% | Grade 8-30-4
240311 | 281.99 | Acid Soluble Hg, Other (ppm) | 3 | 3 | 0.008883 | 0.001373 | 0.0088833 |  | 0.0013733 | 0.00099106 | 15.46% |  | 0.00035 | 22% | Grade 8-30-4
240311 | 289.3 | Acid Soluble Mo, ICP (ppm) | 6 | 5 | 8.569 | 4.693 | 10.2803 | 4.0841 | 2.3585 | 1.3185 | 22.94% | 1.3456 | 0.64493 | 11.26% | Grade 8-30-4
240311 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 2 | 2 | 12.58 | 0.601 | [8 empty] | Grade 8-30-4
240311 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 7 | 7 | 13.21 | 2.305 | 12.9715 | 4.8915 | 2.0305 | 0.95931 | 15.65% | 0.96719 | 1.6051 | 10.88% | Grade 8-30-4
240311 | 289.34 | Acid Soluble Mo, ICP, EPA 3050B/6010C (ppm) | 2 | 2 | 12.28 | 0.7361 | [8 empty] | Grade 8-30-4
240311 | 289.99 | Acid Soluble Mo, Other (ppm) | 2 | 2 | 12.41 | 0.3617 | [8 empty] | Grade 8-30-4
240311 | 291.3 | Acid Soluble Ni, ICP (ppm) | 4 | 4 | 13.76 | 1.322 | 13.7599 |  | 1.3217 | 0.82608 | 9.606% |  | 0.53968 | 10.78% | Grade 8-30-4
240311 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 2 | 2 | 14.08 | 0.601 | [8 empty] | Grade 8-30-4
240311 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 5 | 5 | 14.02 | 2.242 | 14.0212 |  | 2.2416 | 1.2531 | 15.99% |  | 2.0171 | 10.75% | Grade 8-30-4
240311 | 291.34 | Acid Soluble Ni, ICP, EPA 3050B/6010C (ppm) | 2 | 2 | 12.37 | 0.2546 | [8 empty] | Grade 8-30-4
240311 | 291.99 | Acid Soluble Ni, Other (ppm) | 3 | 3 | 23.74 | 20.41 | 23.74 |  | 20.4092 | 14.7291 | 85.97% |  | 9.6911 | 9.932% | Grade 8-30-4
240311 | 301.3 | Acid Soluble Se, ICP (ppm) | 3 | 3 | 1.533 | 0.8473 | 1.533 |  | 0.84732 | 0.6115 | 55.27% |  | 0.0735 | 15% | Grade 8-30-4
240311 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 2 | 0 | 5.15 | 6.859 | [8 empty] | Grade 8-30-4
240311 | 301.33 | Acid Soluble Se, ICP, 2017.02 (ppm) | 3 | 0 | 1.757 | 2.812 | 1.533 |  | 0.84732 |  | 55.27% |  | 0.03 | 15% | Grade 8-30-4
240311 | 301.34 | Acid Soluble Se, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 1.174 | 0.2461 | [8 empty] | Grade 8-30-4
240311 | 301.99 | Acid Soluble Se, Other (ppm) | 4 | 2 | 3.652 | 5.563 | 6.9039 |  | 7.1073 | 6.282 | 102.9% |  | 5.6106 | 11.96% | Grade 8-30-4
240311 | 311 | Sodium, AA (%) | 1 |  | 0.2735 | [9 empty] | Grade 8-30-4
240311 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 4 | 4 | 0.3582 | 0.02527 | 0.35824 | 0.040824 | 0.025272 | 0.015795 | 7.055% | 1.4424 | 0.007175 | 4.668% | Grade 8-30-4
240311 | 311.99 | Sodium, Other (%) | 2 | 2 | 0.3664 | 0.1041 | [8 empty] | Grade 8-30-4
240311 | 321 | Acid Soluble Zn, AA, inorganic 965.09 (0.1%) | 4 | 4 | 0.1601 | 0.06539 | 0.16009 | 0.021009 | 0.065391 | 0.040869 | 40.85% | 7.2522 | 0.006175 | 5.27% | Grade 8-30-4
240311 | 321.03 | Acid Soluble Zn, AA, 965.09, test portion 2006.03A-C w/dual acid ... (0.1%) | 1 |  | 0.245 | [9 empty] | Grade 8-30-4
240311 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (0.1%) | 13 | 12 | 0.4077 | 0.5396 | 0.23722 | 0.028722 | 0.022607 | 0.0081575 | 9.53% | 1.8339 | 0.00517 | 4.967% | Grade 8-30-4
240311 | 321.31 | Acid Soluble Zn, ICP, test portion organic 965.09 (0.1%) | 1 |  | 0.267 | [9 empty] | Grade 8-30-4
240311 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (0.1%) | 4 | 4 | 0.2311 | 0.00792 | 0.23112 | 0.028113 | 0.0079202 | 0.0049501 | 3.427% | 0.65643 | 0.005 | 4.986% | Grade 8-30-4
240311 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (0.1%) | 13 | 12 | 0.2239 | 0.01547 | 0.22345 | 0.027345 | 0.013396 | 0.004834 | 5.995% | 1.1415 | 0.0058544 | 5.012% | Grade 8-30-4
240311 | 321.99 | Acid Soluble Zn, Other (0.1%) | 16 | 15 | 0.2177 | 0.05686 | 0.21855 | 0.026855 | 0.038238 | 0.012341 | 17.5% | 3.3177 | 0.007411 | 5.028% | Grade 8-30-4
240311 | 325.3 | Water Soluble Zn, ICP (%) | 1 |  | 0.048 | [9 empty] | Grade 8-30-4
240311 | 325.99 | Water Soluble Zn, Other (%) | 4 | 4 | 0.0907 | 0.07114 | 0.0907 |  | 0.071142 | 0.044463 | 78.44% |  | 0.010533 | 5.74% | Grade 8-30-4
240311 | 431.99 | Soluble Si in nonliquids, Other (%) | 1 |  | 0.007 | [9 empty] | Grade 8-30-4
240311 | 441 | Humic Acids, Gravimetry,Ash-free, alkali dissolved, acid precipit... (%) | 1 |  | 0.1 | [9 empty] | Grade 8-30-4
240311 | 441.1 | Humic Acids, Gravimetry, alkali dissolved, acid precipitated (%) | 1 |  | 4.9982 | [9 empty] | Grade 8-30-4
240341 | 1.99 | Ammoniacal N, Other (%) | 10 | 9 | 11.7 | 0.6786 | 11.9177 |  | 0.12753 | 0.053138 | 1.07% |  | 0.023602 | 2.755% | 12-40-0 MAP + Zn
240341 | 10.12 | Total N, Salicylic (12%) | 1 |  | 11.9 | [9 empty] | 12-40-0 MAP + Zn
240341 | 10.6 | Total N, Combustion (12%) | 12 | 11 | 11.95 | 0.147 | 11.9705 | 0.60956 | 0.10287 | 0.03877 | 0.8593% | 0.39321 | 0.0592 | 2.753% | 12-40-0 MAP + Zn
240341 | 10.99 | Total N, Other (12%) | 2 | 2 | 11.86 | 0.05657 | [8 empty] | 12-40-0 MAP + Zn
240341 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 8 | 8 | 40.36 | 1.072 | 40.6632 |  | 0.31157 | 0.1377 | 0.7662% |  | 0.21429 | 1.568% | 12-40-0 MAP + Zn
240341 | 20.4 | Total P2O5, Automated (%) | 2 | 2 | 40.6 | 0.2404 | [8 empty] | 12-40-0 MAP + Zn
240341 | 20.5 | Total P2O5, ICP (%) | 3 | 3 | 40.22 | 0.1293 | 40.2206 |  | 0.1293 | 0.093314 | 0.3215% |  | 0.56383 | 1.577% | 12-40-0 MAP + Zn
240341 | 20.99 | Total P2O5, Other (%) | 2 | 2 | 40.18 | 0.1803 | [8 empty] | 12-40-0 MAP + Zn
240341 | 30.2 | Citrate Insoluble P2O5, Spectrophotometric MolybdovanadoP (%) | 3 | 3 | 0.1183 | 0.06526 | 0.11833 |  | 0.065256 | 0.047094 | 55.15% |  | 0.05 | 5.515% | 12-40-0 MAP + Zn
240341 | 30.4 | Citrate Insoluble P2O5, Automated, test portion 963.03 A-B (%) | 2 | 2 | 0.0875 | 0.01768 | [8 empty] | 12-40-0 MAP + Zn
240341 | 30.5 | Citrate Insoluble P2O5, ICP, test portion 963.03 A-B (%) | 1 |  | 0.25 | [9 empty] | 12-40-0 MAP + Zn
240341 | 30.99 | Citrate Insoluble P2O5, Other (%) | 1 |  | 0.225 | [9 empty] | 12-40-0 MAP + Zn
240341 | 40.2 | Indirect Available P2O5, Spectrophotometric (40%) | 2 | 2 | 40.61 | 0.3889 | [8 empty] | 12-40-0 MAP + Zn
240341 | 40.4 | Indirect Available P2O5, Automated (40%) | 1 |  | 40.695 | [9 empty] | 12-40-0 MAP + Zn
240341 | 40.99 | Indirect Available P2O5, Other (40%) | 3 | 3 | 40.39 | 0.03786 | 40.3917 | 0.90588 | 0.037859 | 0.027323 | 0.09373% | 0.097378 | 0.076667 | 1.573% | 12-40-0 MAP + Zn
240341 | 41.1 | Direct Available P2O5, Gravimetric Quinolinium (40%) | 2 | 2 | 40.78 | 0.3182 | [8 empty] | 12-40-0 MAP + Zn
240341 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext.... (40%) | 5 | 5 | 36.49 | 8.122 | 36.4905 | 0.83736 | 8.1218 | 4.5402 | 22.26% | 22.5994 | 7.295 | 1.655% | 12-40-0 MAP + Zn
240341 | 41.2 | Direct Available P2O5, Spectrophotometric (40%) | 1 |  | 40.805 | [9 empty] | 12-40-0 MAP + Zn
240341 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (40%) | 1 |  | 38.73 | [9 empty] | 12-40-0 MAP + Zn
240341 | 41.5 | Direct Available P2O5, ICP (40%) | 2 | 2 | 41.41 | 4.745 | [8 empty] | 12-40-0 MAP + Zn
240341 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (40%) | 1 |  | 40.13 | [9 empty] | 12-40-0 MAP + Zn
240341 | 41.99 | Direct Available P2O5, Other (40%) | 1 |  | 40.805 | [9 empty] | 12-40-0 MAP + Zn
240341 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 2 | 2 | 35.71 | 1.114 | [8 empty] | 12-40-0 MAP + Zn
240341 | 48.4 | Water Soluble P2O5, Automated (%) | 1 |  | 36.12 | [9 empty] | 12-40-0 MAP + Zn
240341 | 48.99 | Water Soluble P2O5, Other (%) | 3 | 3 | 35.88 | 0.5341 | 35.8833 |  | 0.53414 | 0.38548 | 1.489% |  | 0.14 | 1.669% | 12-40-0 MAP + Zn
240341 | 50.99 | Soluble K2O, Other (%) | 2 | 2 | 0.1259 | 0.001308 | [8 empty] | 12-40-0 MAP + Zn
240341 | 60 | Water (Free), Vacuum Oven (%) | 3 | 3 | 0.4983 | 0.3912 | 0.49833 |  | 0.39116 | 0.2823 | 78.49% |  | 0.023333 | 4.442% | 12-40-0 MAP + Zn
240341 | 60.3 | Water (Free), AFPC No. 2B (105°C oven for 2 hours, 5g sample) (%) | 1 |  | 0.995 | [9 empty] | 12-40-0 MAP + Zn
240341 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.24 | [9 empty] | 12-40-0 MAP + Zn
240341 | 101.32 | Acid Soluble Ca, ICP, test portion 2006.03A-C (%) | 1 |  | 0.39 | [9 empty] | 12-40-0 MAP + Zn
240341 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 2 | 1 | 0.1195 | 0.1549 | [8 empty] | 12-40-0 MAP + Zn
240341 | 101.99 | Acid Soluble Ca, Other (%) | 2 | 2 | 0.2523 | 0.0746 | [8 empty] | 12-40-0 MAP + Zn
240341 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.69 | [9 empty] | 12-40-0 MAP + Zn
240341 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 2 | 2 | 0.6749 | 0.01824 | [8 empty] | 12-40-0 MAP + Zn
240341 | 121.99 | Acid Soluble Mg, Other (%) | 2 | 2 | 0.6743 | 0.02227 | [8 empty] | 12-40-0 MAP + Zn
240341 | 143 | Elemental S, Gravimetric Sulfur - carbon disulfide soluble sulfur (%) | 3 | 3 | 3.834 | 0.7191 | 3.8337 |  | 0.71911 | 0.51897 | 18.76% |  | 0.098667 | 3.267% | 12-40-0 MAP + Zn
240341 | 143.99 | Elemental S, Other (%) | 1 |  | 7.2631 | [9 empty] | 12-40-0 MAP + Zn
240341 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 4 | 4 | 5.646 | 0.1409 | 5.6458 |  | 0.1409 | 0.088061 | 2.496% |  | 0.026667 | 3.082% | 12-40-0 MAP + Zn
240341 | 145.99 | Sulfate S, HCl soluble, Other (%) | 1 |  | 5.375 | [9 empty] | 12-40-0 MAP + Zn
240341 | 148 | Total S, Combustion (10%) | 4 | 4 | 10.28 | 0.1191 | 10.2812 | 0.71406 | 0.11905 | 0.074406 | 1.158% | 0.38846 | 0.0775 | 2.817% | 12-40-0 MAP + Zn
240341 | 148.01 | Total S, Gravimetric - sulfate and elemental (10%) | 2 | 2 | 9.538 | 0.008132 | [8 empty] | 12-40-0 MAP + Zn
240341 | 148.07 | Total S, ICP, test portion as in 2017.02 (10%) | 4 | 4 | 10.09 | 0.129 | 10.0879 | 0.7044 | 0.12895 | 0.080597 | 1.278% | 0.42656 | 0.31732 | 2.825% | 12-40-0 MAP + Zn
240341 | 148.99 | Total S, Other (10%) | 4 | 4 | 8.792 | 2.238 | 8.7915 | 0.63958 | 2.2379 | 1.3987 | 25.46% | 8.1527 | 0.0555 | 2.884% | 12-40-0 MAP + Zn
240341 | 151.3 | Acid Soluble As, ICP (ppm) | 3 | 3 | 10.85 | 1.447 | 10.85 |  | 1.4465 | 1.044 | 13.33% |  | 0.85 | 11.17% | 12-40-0 MAP + Zn
240341 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 2 | 2 | 13.45 | 2.192 | [8 empty] | 12-40-0 MAP + Zn
240341 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 2 | 2 | 14.95 | 4.177 | [8 empty] | 12-40-0 MAP + Zn
240341 | 151.34 | Acid Soluble As, ICP, EPA 3050B/6010C (ppm) | 1 |  | 10.55 | [9 empty] | 12-40-0 MAP + Zn
240341 | 151.99 | Acid Soluble As, Other (ppm) | 1 |  | 11.9 | [9 empty] | 12-40-0 MAP + Zn
240341 | 165.99 | Acid Soluble B, Other (%) | 2 | 2 | 0.0076 | 0.004243 | [8 empty] | 12-40-0 MAP + Zn
240341 | 171.99 | Water Soluble B, Other (%) | 1 |  | 0.038 | [9 empty] | 12-40-0 MAP + Zn
240341 | 181.3 | Acid Soluble Cd, ICP (ppm) | 2 | 2 | 5.75 | 0.3536 | [8 empty] | 12-40-0 MAP + Zn
240341 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 2 | 2 | 5.675 | 0.4596 | [8 empty] | 12-40-0 MAP + Zn
240341 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 2 | 2 | 5.573 | 0.4918 | [8 empty] | 12-40-0 MAP + Zn
240341 | 181.34 | Acid Soluble Cd, ICP, EPA 3050B/6010C (ppm) | 1 |  | 5.35 | [9 empty] | 12-40-0 MAP + Zn
240341 | 181.99 | Acid Soluble Cd, Other (ppm) | 1 |  | 5.3 | [9 empty] | 12-40-0 MAP + Zn
240341 | 191.3 | Acid Soluble Cr, ICP (ppm) | 3 | 3 | 125.2 | 6.449 | 125.1667 |  | 6.4485 | 4.6538 | 5.152% |  | 3.5 | 7.733% | 12-40-0 MAP + Zn
240341 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 2 | 2 | 124 | 0.03536 | [8 empty] | 12-40-0 MAP + Zn
240341 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 2 | 2 | 124.8 | 1.827 | [8 empty] | 12-40-0 MAP + Zn
240341 | 191.34 | Acid Soluble Cr, ICP, EPA 3050B/6010C (ppm) | 1 |  | 128.5 | [9 empty] | 12-40-0 MAP + Zn
240341 | 191.99 | Acid Soluble Cr, Other (ppm) | 1 |  | 123.15 | [9 empty] | 12-40-0 MAP + Zn
240341 | 202.3 | Acid Soluble Co, ICP (ppm) | 2 | 2 | 2.25 | 0.3536 | [8 empty] | 12-40-0 MAP + Zn
240341 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 2 | 2 | 2.325 | 0.2475 | [8 empty] | 12-40-0 MAP + Zn
240341 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 2 | 2 | 2.175 | 0.2261 | [8 empty] | 12-40-0 MAP + Zn
240341 | 202.34 | Acid Soluble Co, ICP, EPA 3050B/6010C (ppm) | 1 |  | 1.95 | [9 empty] | 12-40-0 MAP + Zn
240341 | 202.99 | Acid Soluble Co, Other (ppm) | 1 |  | 2 | [9 empty] | 12-40-0 MAP + Zn
240341 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (%) | 1 |  | 0.0003 | [9 empty] | 12-40-0 MAP + Zn
240341 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 2 | 2 | 0.0003 | 0 | [8 empty] | 12-40-0 MAP + Zn
240341 | 221.99 | Acid Soluble Cu, Other (%) | 3 | 2 | 0.003667 | 0.005488 | 0.0005 | 0.00505 | 0.00028284 | 0.00025 | 56.57% | 0.1305 | 0.0004 | 12.56% | 12-40-0 MAP + Zn
240341 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 2 | 2 | 0.7615 | 0.03536 | [8 empty] | 12-40-0 MAP + Zn
240341 | 241.32 | Acid Soluble Fe, ICP, test portion 2006.03A-C (%) | 1 |  | 1.145 | [9 empty] | 12-40-0 MAP + Zn
240341 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 2 | 2 | 0.8116 | 0.01142 | [8 empty] | 12-40-0 MAP + Zn
240341 | 241.99 | Acid Soluble Fe, Other (%) | 2 | 2 | 0.7843 | 0.04349 | [8 empty] | 12-40-0 MAP + Zn
240341 | 251.3 | Acid Soluble Pb, ICP (ppm) | 3 | 3 | 7.433 | 0.5008 | 7.4333 |  | 0.50083 | 0.36144 | 6.738% |  | 2.8 | 11.83% | 12-40-0 MAP + Zn
240341 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 2 | 2 | 10.4 | 0.5657 | [8 empty] | 12-40-0 MAP + Zn
240341 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 2 | 2 | 10.51 | 4.375 | [8 empty] | 12-40-0 MAP + Zn
240341 | 251.34 | Acid Soluble Pb, ICP, EPA 3050B/6010C (ppm) | 1 |  | 13.1 | [9 empty] | 12-40-0 MAP + Zn
240341 | 251.99 | Acid Soluble Pb, Other (ppm) | 1 |  | 10.65 | [9 empty] | 12-40-0 MAP + Zn
240341 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 1 |  | 0.02415 | [9 empty] | 12-40-0 MAP + Zn
240341 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 2 | 2 | 0.02413 | 0.0007425 | [8 empty] | 12-40-0 MAP + Zn
240341 | 261.99 | Acid Soluble Mn, Other (%) | 1 |  | 0.024 | [9 empty] | 12-40-0 MAP + Zn
240341 | 281.3 | Acid Soluble Hg, ICP (ppm) | 2 | 0 | 1.001 | 1.414 | [8 empty] | 12-40-0 MAP + Zn
240341 | 281.99 | Acid Soluble Hg, Other (ppm) | 1 |  | 0.01 | [9 empty] | 12-40-0 MAP + Zn
240341 | 289.3 | Acid Soluble Mo, ICP (ppm) | 3 | 2 | 7.2 | 5.632 | 10.3 | 4.09 | 2.4042 | 2.125 | 23.34% | 1.3696 | 2.8 | 11.26% | 12-40-0 MAP + Zn
240341 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 2 | 2 | 9.6 | 0.5657 | [8 empty] | 12-40-0 MAP + Zn
240341 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 2 | 2 | 9.757 | 0.2367 | [8 empty] | 12-40-0 MAP + Zn
240341 | 289.34 | Acid Soluble Mo, ICP, EPA 3050B/6010C (ppm) | 1 |  | 11.6 | [9 empty] | 12-40-0 MAP + Zn
240341 | 289.99 | Acid Soluble Mo, Other (ppm) | 1 |  | 9.1 | [9 empty] | 12-40-0 MAP + Zn
240341 | 291.3 | Acid Soluble Ni, ICP (ppm) | 3 | 3 | 18.47 | 4.484 | 18.4667 |  | 4.4837 | 3.2358 | 24.28% |  | 1 | 10.31% | 12-40-0 MAP + Zn
240341 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 2 | 2 | 16.28 | 1.025 | [8 empty] | 12-40-0 MAP + Zn
240341 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 2 | 2 | 18.52 | 1.662 | [8 empty] | 12-40-0 MAP + Zn
240341 | 291.34 | Acid Soluble Ni, ICP, EPA 3050B/6010C (ppm) | 1 |  | 16.75 | [9 empty] | 12-40-0 MAP + Zn
240341 | 291.99 | Acid Soluble Ni, Other (ppm) | 1 |  | 16.9 | [9 empty] | 12-40-0 MAP + Zn
240341 | 301.3 | Acid Soluble Se, ICP (ppm) | 1 |  | 0.5 | [9 empty] | 12-40-0 MAP + Zn
240341 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 2 | 0 | 5.15 | 6.859 | [8 empty] | 12-40-0 MAP + Zn
240341 | 301.33 | Acid Soluble Se, ICP, 2017.02 (ppm) | 1 |  | 0.001 | [9 empty] | 12-40-0 MAP + Zn
240341 | 301.34 | Acid Soluble Se, ICP, EPA 3050B/6010C (ppm) | 1 |  | 1.3 | [9 empty] | 12-40-0 MAP + Zn
240341 | 301.99 | Acid Soluble Se, Other (ppm) | 1 |  | 0.3 | [9 empty] | 12-40-0 MAP + Zn
240341 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 2 | 2 | 0.143 | 0.007212 | [8 empty] | 12-40-0 MAP + Zn
240341 | 311.99 | Sodium, Other (%) | 1 |  | 0.17 | [9 empty] | 12-40-0 MAP + Zn
240341 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (1%) | 2 | 2 | 0.9681 | 0.01471 | [8 empty] | 12-40-0 MAP + Zn
240341 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (1%) | 3 | 3 | 0.9988 | 0.01678 | 0.99883 | 0.10488 | 0.01678 | 0.01211 | 1.68% | 0.37278 | 0.025667 | 4% | 12-40-0 MAP + Zn
240341 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (1%) | 7 | 7 | 0.9658 | 0.04384 | 0.96578 | 0.10158 | 0.049716 | 0.023488 | 5.148% | 1.1404 | 0.029183 | 4.021% | 12-40-0 MAP + Zn
240341 | 321.99 | Acid Soluble Zn, Other (1%) | 5 | 5 | 0.9043 | 0.03642 | 0.90431 | 0.095431 | 0.036424 | 0.020362 | 4.028% | 0.88931 | 0.04878 | 4.061% | 12-40-0 MAP + Zn
240341 | 325.3 | Water Soluble Zn, ICP (%) | 1 |  | 0.55 | [9 empty] | 12-40-0 MAP + Zn

## Method
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
[18 empty] | Input Method Code | 165 | 165.99
Entries
0
28 | Method Proficiency
Statistical Summary
Unique Samples
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs in Robust Calculations | Raw Mean | Raw SD | Assigned Value Robust Mean | IA at Method Value | Robust sd | Robust Uncertainty (U) | Robust % RSD | IA %RSD | Average Range (R-bar) | Horwitz %RSD | Sample Name | Number | Sample Number | Method Code | Analyte & Method