## Data
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Entries
53
7
[6 empty] | Method Precision Report | [9 empty] | Unique Samples
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs sL | Within Labs sr | Reproducibility sR | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name |  | Sample Number | Sample Name
250111 | 10.6 | Total N, Combustion (11%) | 36 | 34 | 11.4169 | 0.20538 | 0.19431 | 0.094077 | 0.21589 | 1.702% | 0.824% | 1.891% | 2.2948 | 11-55-0 MAP |  | 250111 | 11-55-0 MAP
250111 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 9 | 8 | 55.4506 | 0.70904 | 0.67566 | 0.30405 | 0.74092 | 1.218% | 0.5483% | 1.336% | 2.4369 | 11-55-0 MAP |  | 250213 | Granular Urea 46-0-0
250111 | 20.5 | Total P2O5, ICP (%) | 13 | 11 | 54.1738 | 2.9124 | 2.9043 | 0.30777 | 2.9205 | 5.361% | 0.5681% | 5.391% | 9.4892 | 11-55-0 MAP |  | 250311 | Gypsum
250111 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (55%) | 6 | 6 | 53.3343 | 1.2465 | 1.2292 | 0.29255 | 1.2636 | 2.305% | 0.5485% | 2.369% | 4.319 | 11-55-0 MAP |  | 250341 | MAP & DAP 11-48-0
250111 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 5 | 5 | 0.04889 | 0.0037275 | 0.0034552 | 0.0019776 | 0.0039812 | 7.067% | 4.045% | 8.143% | 2.0131 | 11-55-0 MAP |  | 250411 | DAP
250213 | 10.6 | Total N, Combustion (46%) | 41 | 40 | 46.366 | 0.40544 | 0.39628 | 0.12119 | 0.41439 | 0.8547% | 0.2614% | 0.8937% | 3.4195 | Granular Urea 46-0-0 |  | 250451 | Soluable Potash
250213 | 10.99 | Total N, Other (46%) | 10 | 8 | 46.1609 | 0.1292 | 0.083884 | 0.13896 | 0.16232 | 0.1817% | 0.301% | 0.3516% | 1.1681 | Granular Urea 46-0-0 |  | 250511 | Grade 5-0-20
250311 | 10.6 | Total N, Combustion (%) | 5 | 5 | 0.5075 | 0.022891 | 0.02231 | 0.0072457 | 0.023457 | 4.396% | 1.428% | 4.622% | 3.2374 | Gypsum
250311 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (21%) | 14 | 13 | 21.63 | 1.0807 | 1.0592 | 0.30332 | 1.1018 | 4.897% | 1.402% | 5.094% | 3.6325 | Gypsum
250311 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (21%) | 16 | 14 | 21.2758 | 1.0673 | 1.0498 | 0.27201 | 1.0845 | 4.934% | 1.279% | 5.097% | 3.987 | Gypsum
250311 | 101.99 | Acid Soluble Ca, Other (21%) | 14 | 13 | 21.9276 | 1.1322 | 1.1 | 0.37916 | 1.1635 | 5.016% | 1.729% | 5.306% | 3.0686 | Gypsum
250311 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 7 | 6 | 16.595 | 0.27289 | 0.2661 | 0.085568 | 0.27952 | 1.603% | 0.5156% | 1.684% | 3.2667 | Gypsum
250311 | 148 | Total S, Combustion (17%) | 5 | 5 | 15.9228 | 1.3027 | 1.2853 | 0.29977 | 1.3198 | 8.072% | 1.883% | 8.289% | 4.4028 | Gypsum
250311 | 148.01 | Total S, Gravimetric - sulfate and elemental (17%) | 9 | 7 | 16.6784 | 0.3534 | 0.33361 | 0.16491 | 0.37214 | 2% | 0.9887% | 2.231% | 2.2567 | Gypsum
250311 | 148.07 | Total S, ICP, test portion as in 2017.02 (17%) | 16 | 13 | 16.8697 | 0.51723 | 0.49886 | 0.19323 | 0.53498 | 2.957% | 1.145% | 3.171% | 2.7685 | Gypsum
250311 | 148.99 | Total S, Other (17%) | 12 | 12 | 17.0486 | 0.56936 | 0.55557 | 0.17611 | 0.58281 | 3.259% | 1.033% | 3.419% | 3.3094 | Gypsum
250311 | 191.3 | Acid Soluble Cr, ICP (ppm) | 6 | 5 | 11.5687 | 4.43 | 4.4179 | 0.46193 | 4.442 | 38.19% | 3.993% | 38.4% | 9.6162 | Gypsum
250341 | 1.99 | Ammoniacal N, Other (%) | 5 | 5 | 10.747 | 0.055295 | 0.053735 | 0.018439 | 0.056811 | 0.5% | 0.1716% | 0.5286% | 3.081 | MAP & DAP 11-48-0
250341 | 10.6 | Total N, Combustion (11%) | 11 | 10 | 10.8021 | 0.15748 | 0.13428 | 0.11636 | 0.17768 | 1.243% | 1.077% | 1.645% | 1.527 | MAP & DAP 11-48-0
250341 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 6 | 6 | 44.8475 | 0.15798 | 0.14647 | 0.083716 | 0.16871 | 0.3266% | 0.1867% | 0.3762% | 2.0152 | MAP & DAP 11-48-0
250411 | 1.99 | Ammoniacal N, Other (%) | 20 | 19 | 17.6553 | 0.5103 | 0.50684 | 0.08384 | 0.51373 | 2.871% | 0.4749% | 2.91% | 6.1275 | DAP
250411 | 10.6 | Total N, Combustion (18%) | 48 | 44 | 17.7486 | 0.31585 | 0.31106 | 0.077443 | 0.32056 | 1.753% | 0.4363% | 1.806% | 4.1393 | DAP
250411 | 10.99 | Total N, Other (18%) | 8 | 8 | 17.9028 | 0.36094 | 0.35777 | 0.067542 | 0.36409 | 1.998% | 0.3773% | 2.034% | 5.3906 | DAP
250411 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 14 | 13 | 46.5865 | 0.55846 | 0.53889 | 0.20725 | 0.57737 | 1.157% | 0.4449% | 1.239% | 2.7858 | DAP
250411 | 20.5 | Total P2O5, ICP (%) | 16 | 13 | 45.4803 | 2.5309 | 2.5216 | 0.30732 | 2.5402 | 5.544% | 0.6757% | 5.585% | 8.2656 | DAP
250411 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext. (46%) | 5 | 5 | 46.3965 | 0.27045 | 0.26668 | 0.063659 | 0.27417 | 0.5748% | 0.1372% | 0.5909% | 4.3068 | DAP
250411 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (46%) | 9 | 9 | 46.0799 | 0.78382 | 0.66304 | 0.59118 | 0.88832 | 1.439% | 1.283% | 1.928% | 1.5026 | DAP
250411 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (46%) | 9 | 9 | 46.3156 | 1.2761 | 1.2572 | 0.30944 | 1.2947 | 2.714% | 0.6681% | 2.795% | 4.184 | DAP
250411 | 41.99 | Direct Available P2O5, Other (46%) | 5 | 5 | 46.227 | 0.17079 | 0.1211 | 0.17032 | 0.20899 | 0.262% | 0.3684% | 0.4521% | 1.227 | DAP
250411 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 7 | 6 | 41.625 | 0.42708 | 0.4237 | 0.075881 | 0.43044 | 1.018% | 0.1823% | 1.034% | 5.6725 | DAP
250411 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 6 | 5 | 15.0542 | 2.056 | 2.0263 | 0.49187 | 2.0852 | 13.46% | 3.267% | 13.85% | 4.2393 | DAP
250411 | 181.3 | Acid Soluble Cd, ICP (ppm) | 6 | 6 | 8.7269 | 1.0929 | 1.0791 | 0.24501 | 1.1065 | 12.36% | 2.808% | 12.68% | 4.5162 | DAP
250411 | 191.3 | Acid Soluble Cr, ICP (ppm) | 6 | 5 | 137.5835 | 3.9806 | 1.6317 | 5.1348 | 5.3878 | 1.186% | 3.732% | 3.916% | 1.0493 | DAP
250411 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 6 | 6 | 130.2869 | 6.8205 | 6.6738 | 1.9895 | 6.964 | 5.122% | 1.527% | 5.345% | 3.5004 | DAP
250411 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 6 | 5 | 3.2 | 0.41485 | 0.41071 | 0.082746 | 0.41896 | 12.83% | 2.586% | 13.09% | 5.0632 | DAP
250411 | 289.3 | Acid Soluble Mo, ICP (ppm) | 5 | 5 | 12.3457 | 0.94651 | 0.91385 | 0.34857 | 0.97807 | 7.402% | 2.823% | 7.922% | 2.806 | DAP
250411 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 8 | 7 | 13.6186 | 2.9454 | 2.9276 | 0.45734 | 2.9631 | 21.5% | 3.358% | 21.76% | 6.4791 | DAP
250411 | 291.3 | Acid Soluble Ni, ICP (ppm) | 6 | 6 | 14.7291 | 1.6189 | 1.582 | 0.48565 | 1.6549 | 10.74% | 3.297% | 11.24% | 3.4076 | DAP
250411 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 6 | 5 | 15.3026 | 1.8773 | 1.8178 | 0.6634 | 1.935 | 11.88% | 4.335% | 12.65% | 2.9168 | DAP
250411 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 7 | 6 | 0.011233 | 0.0010638 | 0.0010275 | 0.00038944 | 0.0010989 | 9.147% | 3.467% | 9.782% | 2.8216 | DAP
250451 | Method Code | Analyte & Method | # Tests Submitted | # Tests Used in Precision Calcs | Mean | SD | Between Labs sL | Within Labs sr | Reproducibility sR | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Soluable Potash
250451 | Notes: Precision data calculated when 5 or more Tests included. | [12 empty] | Soluable Potash
250511 | 5.99 | Urea N, Other (%) | 9 | 8 | 3.3381 | 0.23727 | 0.23607 | 0.033727 | 0.23847 | 7.072% | 1.01% | 7.144% | 7.0706 | Grade 5-0-20
250511 | 10.6 | Total N, Combustion (5%) | 46 | 43 | 5.4739 | 0.1681 | 0.16197 | 0.063576 | 0.174 | 2.959% | 1.161% | 3.179% | 2.7369 | Grade 5-0-20
250511 | 10.99 | Total N, Other (5%) | 10 | 9 | 5.3461 | 0.1804 | 0.17645 | 0.053072 | 0.18426 | 3.3% | 0.9927% | 3.447% | 3.4718 | Grade 5-0-20
250511 | 50 | Soluble K2O, STPB Oxalate (20%) | 10 | 10 | 20.0383 | 0.24308 | 0.20787 | 0.17819 | 0.27379 | 1.037% | 0.8892% | 1.366% | 1.5365 | Grade 5-0-20
250511 | 50.5 | Soluble K2O, ICP (Oxalate) (20%) | 6 | 6 | 19.6016 | 0.45796 | 0.44605 | 0.14674 | 0.46957 | 2.276% | 0.7486% | 2.396% | 3.2001 | Grade 5-0-20
250511 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (20%) | 11 | 11 | 19.5882 | 0.82154 | 0.81004 | 0.19372 | 0.83288 | 4.135% | 0.9889% | 4.252% | 4.2995 | Grade 5-0-20
250511 | 50.99 | Soluble K2O, Other (20%) | 28 | 25 | 20.0796 | 0.67215 | 0.65656 | 0.2035 | 0.68738 | 3.27% | 1.013% | 3.423% | 3.3778 | Grade 5-0-20
250511 | 146 | Total S in Liquid, Gravimetric - sulfate, sulfite, thiosulfate, and elemental (13%) | 5 | 5 | 13.5745 | 0.2754 | 0.23319 | 0.20722 | 0.31195 | 1.718% | 1.527% | 2.298% | 1.5054 | Grade 5-0-20
250511 | 148.01 | Total S, Gravimetric - sulfate and elemental (13%) | 6 | 6 | 13.3079 | 0.24757 | 0.20801 | 0.18985 | 0.28163 | 1.563% | 1.427% | 2.116% | 1.4834 | Grade 5-0-20
250511 | 148.07 | Total S, ICP, test portion as in 2017.02 (13%) | 14 | 12 | 13.2227 | 0.3117 | 0.29239 | 0.15273 | 0.32988 | 2.211% | 1.155% | 2.495% | 2.1599 | Grade 5-0-20
250511 | 148.99 | Total S, Other (13%) | 10 | 9 | 13.2257 | 0.33159 | 0.32766 | 0.071929 | 0.33546 | 2.477% | 0.5439% | 2.536% | 4.6638 | Grade 5-0-20

## Method
[17 empty] | Lower | Upper
[16 empty] | Input Method Code | 1 | 353.99
224
All Method Performance Report, 2017 | [6 empty] | Method Precision Report
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs sL | Within Labs sr | Reproducibility sR | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name | Sample Number | Method Code | Analyte & Method
Get Data

## Sheet1
[14 empty] | Lower | Upper
[13 empty] | Input Method Code | 1 | 353.99
224
All Method Performance Report, 2017 | [6 empty] | Method Precision Report
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs Retained in Calculations | Mean | SD | Between Labs %RSD | Within Labs %rsd | Reproducibility %RSD | sR/sr | Sample Name | Sample Number | Method Code | Analyte & Method
Get Data