## Data
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
Entries
594
Method Proficiency
Statistical Summary
Unique Samples
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs in Robust Calculations | Raw Mean | Raw SD | Assigned Value Robust Mean | IA at Analyte Value | Robust sd | Robust Uncertainty (U) | Robust % RSD | Method IA Ratio | Average Range (R-bar) | Horwitz %RSD | Sample Name | Sample Number | Sample Name
250111 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 2 | 2 | 11.4 | 0.07425 | [8 empty] | 11-55-0 MAP | 250111 | 11-55-0 MAP
250111 | 1.99 | Ammoniacal N, Other (%) | 4 | 4 | 11.29 | 0.3034 | 11.2937 |  | 0.30336 | 0.1896 | 2.686% |  | 0.2809 | 2.777% | 11-55-0 MAP | 250213 | Granular Urea 46-0-0
250111 | 10.12 | Total N, Salicylic (11%) | 2 | 2 | 11.65 | 0.04243 | [8 empty] | 11-55-0 MAP | 250311 | Gypsum
250111 | 10.6 | Total N, Combustion (11%) | 36 | 35 | 11.44 | 0.2448 | 11.4333 | 0.6015 | 0.22249 | 0.04701 | 1.946% | 0.86186 | 0.09527 | 2.772% | 11-55-0 MAP | 250341 | MAP & DAP 11-48-0
250111 | 10.99 | Total N, Other (11%) | 2 | 2 | 11.18 | 0.007071 | [8 empty] | 11-55-0 MAP | 250411 | DAP
250111 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 9 | 9 | 55.13 | 1.172 | 55.2436 |  | 0.79881 | 0.33284 | 1.446% |  | 0.38777 | 1.345% | 11-55-0 MAP | 250451 | Soluable Potash
250111 | 20.4 | Total P2O5, Automated (%) | 2 | 2 | 53.89 | 1.927 | [8 empty] | 11-55-0 MAP | 250511 | Grade 5-0-20
250111 | 20.5 | Total P2O5, ICP (%) | 13 | 13 | 52.55 | 9.417 | 54.3845 |  | 3.4111 | 1.1826 | 6.272% |  | 0.464 | 1.356% | 11-55-0 MAP
250111 | 20.99 | Total P2O5, Other (%) | 4 | 4 | 53.82 | 1.968 | 53.8188 |  | 1.9677 | 1.2298 | 3.656% |  | 0.5575 | 1.363% | 11-55-0 MAP
250111 | 30.2 | Citrate Insoluble P2O5, Spectrophotometric MolybdovanadoP (%) | 1 |  | 0.095 | [9 empty] | 11-55-0 MAP
250111 | 40.5 | Indirect Available P2O5, ICP (55%) | 1 |  | 55.1 | [9 empty] | 11-55-0 MAP
250111 | 40.99 | Indirect Available P2O5, Other (55%) | 2 | 2 | 52.99 | 2.712 | [8 empty] | 11-55-0 MAP
250111 | 41.1 | Direct Available P2O5, Gravimetric Quinolinium (55%) | 3 | 3 | 55.26 | 0.09821 | 55.2632 | 1.1553 | 0.098211 | 0.070878 | 0.1777% | 0.19808 | 0.1521 | 1.345% | 11-55-0 MAP
250111 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext.... (55%) | 4 | 4 | 54.82 | 0.793 | 54.8162 | 1.1463 | 0.79297 | 0.49561 | 1.447% | 1.6118 | 0.3525 | 1.351% | 11-55-0 MAP
250111 | 41.2 | Direct Available P2O5, Spectrophotometric (55%) | 3 | 3 | 54.58 | 0.965 | 54.5833 | 1.1417 | 0.96497 | 0.6964 | 1.768% | 1.9694 | 0.54667 | 1.354% | 11-55-0 MAP
250111 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (55%) | 6 | 6 | 53.33 | 1.247 | 53.3343 | 1.12 | 1.4135 | 0.72134 | 2.65% | 2.9406 | 0.31952 | 1.369% | 11-55-0 MAP
250111 | 41.4 | Direct Available P2O5, Automated, Citrate-EDTA Ext. (55%) | 2 | 2 | 55.88 | 0.08156 | [8 empty] | 11-55-0 MAP
250111 | 41.5 | Direct Available P2O5, ICP (55%) | 1 |  | 53.679 | [9 empty] | 11-55-0 MAP
250111 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (55%) | 3 | 3 | 47.63 | 13.39 | 47.6317 | 1.0245 | 13.3866 | 9.6609 | 28.1% | 30.4456 | 1.0833 | 1.449% | 11-55-0 MAP
250111 | 41.99 | Direct Available P2O5, Other (55%) | 2 | 2 | 54.81 | 0.01768 | [8 empty] | 11-55-0 MAP
250111 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 2 | 2 | 50.88 | 0.2121 | [8 empty] | 11-55-0 MAP
250111 | 48.99 | Water Soluble P2O5, Other (%) | 1 |  | 47.46 | [9 empty] | 11-55-0 MAP
250111 | 50.32 | Soluble K2O, AA (Citrate-EDTA) (%) | 1 |  | 0.28 | [9 empty] | 11-55-0 MAP
250111 | 50.5 | Soluble K2O, ICP (Oxalate) (%) | 1 |  | 0.27565 | [9 empty] | 11-55-0 MAP
250111 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (%) | 1 |  | 0.2645 | [9 empty] | 11-55-0 MAP
250111 | 50.62 | Soluble K2O, Flame Photometric (Citrate-EDTA) (%) | 1 |  | 1 | [9 empty] | 11-55-0 MAP
250111 | 50.99 | Soluble K2O, Other (%) | 5 | 4 | 0.6578 | 0.9072 | 0.82184 | 0.41 | 0.95802 | 0.59876 | 116.6% | 5.4443 | 0.19173 | 4.12% | 11-55-0 MAP
250111 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 3 | 3 | 0.1588 | 0.1112 | 0.15883 | 0.20794 | 0.11119 | 0.080242 | 70% | 1.2459 | 0.0048667 | 5.276% | 11-55-0 MAP
250111 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 2 | 1 | 0.0275 | 0.02475 | [8 empty] | 11-55-0 MAP
250111 | 101.99 | Acid Soluble Ca, Other (%) | 3 | 3 | 0.4682 | 0.7593 | 0.4682 | 0.22341 | 0.75933 | 0.548 | 162.2% | 7.9193 | 0.070267 | 4.484% | 11-55-0 MAP
250111 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 3 | 3 | 0.7783 | 0.05314 | 0.77828 | 0.23891 | 0.053139 | 0.03835 | 6.828% | 0.51823 | 0.017433 | 4.153% | 11-55-0 MAP
250111 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 4 | 4 | 0.8019 | 0.03624 | 0.80192 | 0.2401 | 0.036237 | 0.022648 | 4.519% | 0.35166 | 0.032267 | 4.135% | 11-55-0 MAP
250111 | 121.99 | Acid Soluble Mg, Other (%) | 4 | 4 | 0.7723 | 0.2889 | 0.77233 | 0.23862 | 0.28891 | 0.18057 | 37.41% | 2.8211 | 0.03265 | 4.158% | 11-55-0 MAP
250111 | 148.07 | Total S, ICP, test portion as in 2017.02 (%) | 3 | 2 | 1.186 | 0.9528 | 1.7288 | 0.28644 | 0.21744 | 0.19219 | 12.58% | 1.7687 | 0.0825 | 3.683% | 11-55-0 MAP
250111 | 148.99 | Total S, Other (%) | 4 | 4 | 1.337 | 0.2745 | 1.3367 | 0.26683 | 0.27446 | 0.17154 | 20.53% | 2.3966 | 0.016167 | 3.829% | 11-55-0 MAP
250111 | 151 | Acid Soluble As, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 1.1 | [9 empty] | 11-55-0 MAP
250111 | 151.3 | Acid Soluble As, ICP (ppm) | 1 |  | 0 | [9 empty] | 11-55-0 MAP
250111 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 2 | 1 | 1.825 | 1.662 | [8 empty] | 11-55-0 MAP
250111 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 3 | 2 | 2.996 | 4.313 | 4.4945 |  | 4.8713 | 4.3056 | 108.4% |  | 0.2 | 12.76% | 11-55-0 MAP
250111 | 151.34 | Acid Soluble As, ICP, EPA 3050B/6010C (ppm) | 1 |  | 2.0295 | [9 empty] | 11-55-0 MAP
250111 | 151.99 | Acid Soluble As, Other (ppm) | 3 | 3 | 0.9233 | 0.238 | 0.92333 |  | 0.23803 | 0.17178 | 25.78% |  | 0.073333 | 16.19% | 11-55-0 MAP
250111 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (%) | 2 | 2 | 0.0097 | 0.0004243 | [8 empty] | 11-55-0 MAP
250111 | 165.99 | Acid Soluble B, Other (%) | 5 | 4 | 0.00682 | 0.004148 | 0.008525 | 0.0042787 | 0.0018861 | 0.0011788 | 22.12% | 1.0271 | 0.00053333 | 8.193% | 11-55-0 MAP
250111 | 181.3 | Acid Soluble Cd, ICP (ppm) | 2 | 2 | 10.5 | 1.969 | [8 empty] | 11-55-0 MAP
250111 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 2 | 2 | 9.325 | 0.9546 | [8 empty] | 11-55-0 MAP
250111 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 5 | 5 | 10.1 | 1.493 | 10.0957 |  | 1.4927 | 0.83442 | 14.79% |  | 0.6349 | 11.3% | 11-55-0 MAP
250111 | 181.34 | Acid Soluble Cd, ICP, EPA 3050B/6010C (ppm) | 1 |  | 2.602 | [9 empty] | 11-55-0 MAP
250111 | 181.99 | Acid Soluble Cd, Other (ppm) | 3 | 3 | 8.557 | 0.6964 | 8.5567 |  | 0.69637 | 0.50256 | 8.138% |  | 0.30667 | 11.58% | 11-55-0 MAP
250111 | 191 | Acid Soluble Cr, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 57.75 | [9 empty] | 11-55-0 MAP
250111 | 191.3 | Acid Soluble Cr, ICP (ppm) | 2 | 2 | 215.8 | 5.951 | [8 empty] | 11-55-0 MAP
250111 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 2 | 2 | 210.3 | 56.21 | [8 empty] | 11-55-0 MAP
250111 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 4 | 4 | 244.8 | 8.757 | 244.839 |  | 8.7574 | 5.4733 | 3.577% |  | 11.0687 | 6.99% | 11-55-0 MAP
250111 | 191.34 | Acid Soluble Cr, ICP, EPA 3050B/6010C (ppm) | 1 |  | 241.2 | [9 empty] | 11-55-0 MAP
250111 | 191.99 | Acid Soluble Cr, Other (ppm) | 3 | 3 | 200.9 | 43.9 | 200.88 |  | 43.9011 | 31.6829 | 21.85% |  | 3.56 | 7.202% | 11-55-0 MAP
250111 | 202.3 | Acid Soluble Co, ICP (ppm) | 2 | 2 | 0.993 | 0.04384 | [8 empty] | 11-55-0 MAP
250111 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 2 | 1 | 0.8 | 0.9899 | [8 empty] | 11-55-0 MAP
250111 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 3 | 1 | 1.983 | 1.781 | 0.993 | 1.2979 | 0.043841 | 0.054801 | 4.415% | 0.078703 | 0.02 | 16.01% | 11-55-0 MAP
250111 | 202.99 | Acid Soluble Co, Other (ppm) | 3 | 1 | 23.59 | 40.18 | 0.993 | 1.2979 | 0.043841 | 0.054801 | 4.415% | 0.078703 | 0.02 | 16.01% | 11-55-0 MAP
250111 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 4 | 1 | 0.0675 | 0.1284 | 0.993 | 0.1043 | 0.043841 | 0.054801 | 4.415% | 0.97937 | 0.02 | 4.004% | 11-55-0 MAP
250111 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (%) | 2 | 1 | 2.35 | 3.323 | [8 empty] | 11-55-0 MAP
250111 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 3 | 1 | 0.0003333 | 0.0003215 | 0.993 | 0.1043 | 0.043841 | 0.054801 | 4.415% | 0.97937 | 0.02 | 4.004% | 11-55-0 MAP
250111 | 221.99 | Acid Soluble Cu, Other (%) | 4 | 1 | 0.006588 | 0.007131 | 0.993 | 0.1043 | 0.043841 | 0.054801 | 4.415% | 0.97937 | 0.02 | 4.004% | 11-55-0 MAP
250111 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 4 | 4 | 0.6016 | 0.1642 | 0.60159 | 0.065159 | 0.16419 | 0.10262 | 27.29% | 5.8714 | 0.020967 | 4.318% | 11-55-0 MAP
250111 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 4 | 4 | 0.52 | 0.0308 | 0.51996 | 0.056996 | 0.030801 | 0.019251 | 5.924% | 1.2592 | 0.038433 | 4.413% | 11-55-0 MAP
250111 | 241.99 | Acid Soluble Fe, Other (%) | 3 | 3 | 0.4445 | 0.08043 | 0.44453 | 0.049453 | 0.080425 | 0.058042 | 18.09% | 3.7892 | 0.022733 | 4.519% | 11-55-0 MAP
250111 | 251.3 | Acid Soluble Pb, ICP (ppm) | 1 |  | 0 | [9 empty] | 11-55-0 MAP
250111 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 2 | 0 | 2.35 | 2.333 | [8 empty] | 11-55-0 MAP
250111 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 3 | 0 | 1.07 | 1.675 | 0.44453 |  | 0.080425 |  | 18.09% |  | 0.004 | 18.07% | 11-55-0 MAP
250111 | 251.34 | Acid Soluble Pb, ICP, EPA 3050B/6010C (ppm) | 1 |  | 0.216 | [9 empty] | 11-55-0 MAP
250111 | 251.99 | Acid Soluble Pb, Other (ppm) | 3 | 1 | 0.43 | 0.311 | 0.44453 |  | 0.080425 | 0.10053 | 18.09% |  | 0.004 | 18.07% | 11-55-0 MAP
250111 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 3 | 3 | 0.01053 | 0.0005033 | 0.010533 | 0.0060533 | 0.00050332 | 0.00036324 | 4.778% | 0.19373 | 0 | 7.937% | 11-55-0 MAP
250111 | 261.32 | Acid Soluble Mn, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.225 | [9 empty] | 11-55-0 MAP
250111 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 4 | 4 | 0.01424 | 0.008776 | 0.014238 | 0.0064237 | 0.0087764 | 0.0054853 | 61.64% | 3.1834 | 0.0055 | 7.585% | 11-55-0 MAP
250111 | 261.99 | Acid Soluble Mn, Other (%) | 1 |  | 0.00835 | [9 empty] | 11-55-0 MAP
250111 | 281 | Acid Soluble Hg, AA (ppm) | 1 |  | 0.5 | [9 empty] | 11-55-0 MAP
250111 | 281.3 | Acid Soluble Hg, ICP (ppm) | 3 | 0 | 0.7003 | 1.127 | 0.014238 |  | 0.0087764 |  | 61.64% |  | 5e-05 | 22% | 11-55-0 MAP
250111 | 281.99 | Acid Soluble Hg, Other (ppm) | 2 | 0 | 0.0095 | 0.0007071 | [8 empty] | 11-55-0 MAP
250111 | 289.3 | Acid Soluble Mo, ICP (ppm) | 3 | 3 | 3.324 | 1.446 | 3.3242 | 1.9972 | 1.4464 | 1.0438 | 43.51% | 1.6873 | 0.80767 | 13.35% | 11-55-0 MAP
250111 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 2 | 2 | 3.25 | 1.061 | [8 empty] | 11-55-0 MAP
250111 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 3 | 3 | 5.472 | 3.059 | 5.4722 | 2.6417 | 3.0585 | 2.2073 | 55.89% | 2.6977 | 0.4937 | 12.39% | 11-55-0 MAP
250111 | 289.34 | Acid Soluble Mo, ICP, EPA 3050B/6010C (ppm) | 1 |  | 1.2105 | [9 empty] | 11-55-0 MAP
250111 | 289.99 | Acid Soluble Mo, Other (ppm) | 1 |  | 2.55 | [9 empty] | 11-55-0 MAP
250111 | 291.3 | Acid Soluble Ni, ICP (ppm) | 2 | 2 | 6.994 | 1.712 | [8 empty] | 11-55-0 MAP
250111 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 2 | 2 | 7.8 | 3.111 | [8 empty] | 11-55-0 MAP
250111 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 4 | 4 | 8.472 | 0.8706 | 8.4718 |  | 0.87062 | 0.54414 | 10.28% |  | 0.44782 | 11.6% | 11-55-0 MAP
250111 | 291.34 | Acid Soluble Ni, ICP, EPA 3050B/6010C (ppm) | 1 |  | 2.584 | [9 empty] | 11-55-0 MAP
250111 | 291.99 | Acid Soluble Ni, Other (ppm) | 3 | 3 | 51.27 | 78.26 | 51.2667 |  | 78.2622 | 56.4809 | 152.7% |  | 58.9 | 8.845% | 11-55-0 MAP
250111 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 2 | 0 | 5.15 | 6.859 | [8 empty] | 11-55-0 MAP
250111 | 301.33 | Acid Soluble Se, ICP, 2017.02 (ppm) | 2 | 1 | 5.136 | 7.249 | [8 empty] | 11-55-0 MAP
250111 | 301.34 | Acid Soluble Se, ICP, EPA 3050B/6010C (ppm) | 1 |  | 1.471 | [9 empty] | 11-55-0 MAP
250111 | 301.99 | Acid Soluble Se, Other (ppm) | 4 | 0 | 0.375 | 0.2986 | 51.2667 |  | 78.2622 |  | 152.7% |  | 0.035 | 8.845% | 11-55-0 MAP
250111 | 311.32 | Sodium, ICP, 2006.03 test portion (%) | 1 |  | 0.2961 | [9 empty] | 11-55-0 MAP
250111 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 2 | 2 | 0.3457 | 0.02503 | [8 empty] | 11-55-0 MAP
250111 | 311.99 | Sodium, Other (%) | 2 | 2 | 0.2992 | 0.1072 | [8 empty] | 11-55-0 MAP
250111 | 321.03 | Acid Soluble Zn, AA, 965.09, test portion 2006.03A-C w/dual acid (%) | 1 |  | 0.05 | [9 empty] | 11-55-0 MAP
250111 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 5 | 5 | 0.3666 | 0.7146 | 0.36663 | 0.041663 | 0.71464 | 0.39949 | 194.9% | 39.9661 | 0.044767 | 4.652% | 11-55-0 MAP
250111 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 4 | 4 | 150.4 | 300.7 | 150.4168 | 1 | 300.7222 | 187.9514 | 199.9% | 700.6826 | 2.3475 | 0.8154% | 11-55-0 MAP
250111 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 5 | 5 | 0.04889 | 0.003727 | 0.04889 | 0.009889 | 0.0037275 | 0.0020837 | 7.624% | 0.87826 | 0.002475 | 6.299% | 11-55-0 MAP
250111 | 321.99 | Acid Soluble Zn, Other (%) | 5 | 5 | 0.04148 | 0.007109 | 0.04148 | 0.009148 | 0.0071089 | 0.003974 | 17.14% | 1.8106 | 0.00165 | 6.457% | 11-55-0 MAP
250213 | 1.99 | Ammoniacal N, Other (%) | 2 | 2 | 0.5519 | 0.02747 | [8 empty] | Granular Urea 46-0-0
250213 | 5 | Urea N, Urease (as N) (%) | 1 |  | 41.25 | [9 empty] | Granular Urea 46-0-0
250213 | 5.1 | Urea N, HPLC(asN),H2Omobilephase (%) | 1 |  | 45.6065 | [9 empty] | Granular Urea 46-0-0
250213 | 5.99 | Urea N, Other (%) | 5 | 5 | 45.61 | 0.9983 | 45.6114 |  | 0.99831 | 0.55808 | 2.189% |  | 0.09378 | 1.481% | Granular Urea 46-0-0
250213 | 6.99 | Biuret N, Other (%) | 3 | 3 | 0.935 | 0.5852 | 0.935 |  | 0.58521 | 0.42234 | 62.59% |  | 0.13 | 4.04% | Granular Urea 46-0-0
250213 | 8 | Biuret, AA (as Biuret) (%) | 1 |  | 1.25 | [9 empty] | Granular Urea 46-0-0
250213 | 8.1 | Biuret, Spectrophotometric (as Biuret) (%) | 4 | 4 | 1.114 | 0.1716 | 1.1139 |  | 0.17156 | 0.10723 | 15.4% |  | 0.0418 | 3.935% | Granular Urea 46-0-0
250213 | 8.99 | Biuret, Other (%) | 1 |  | 1.0925 | [9 empty] | Granular Urea 46-0-0
250213 | 10.11 | Total N, Modified Comprehensive (46%) | 1 |  | 46.03 | [9 empty] | Granular Urea 46-0-0
250213 | 10.12 | Total N, Salicylic (46%) | 2 | 2 | 45.8 | 0.3536 | [8 empty] | Granular Urea 46-0-0
250213 | 10.16 | Total N, Raney (46%) | 1 |  | 46.6 | [9 empty] | Granular Urea 46-0-0
250213 | 10.6 | Total N, Combustion (46%) | 41 | 41 | 46.34 | 0.4414 | 46.3456 | 0.88 | 0.34517 | 0.067384 | 0.7448% | 0.91393 | 0.14404 | 1.469% | Granular Urea 46-0-0
250213 | 10.99 | Total N, Other (46%) | 10 | 9 | 46.18 | 0.1835 | 46.1942 | 0.88 | 0.17795 | 0.074145 | 0.3852% | 0.47116 | 0.17823 | 1.471% | Granular Urea 46-0-0
250213 | 20.5 | Total P2O5, ICP (%) | 1 |  | 0.00205 | [9 empty] | Granular Urea 46-0-0
250213 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (%) | 1 |  | 0.0305 | [9 empty] | Granular Urea 46-0-0
250213 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (%) | 1 |  | 0.0065 | [9 empty] | Granular Urea 46-0-0
250213 | 50.99 | Soluble K2O, Other (%) | 1 |  | 0.00545 | [9 empty] | Granular Urea 46-0-0
250213 | 60 | Water (Free), Vacuum Oven (%) | 1 |  | 0.14 | [9 empty] | Granular Urea 46-0-0
250213 | 60.2 | Water (Free), Karl Fischer (%) | 3 | 3 | 0.2942 | 0.1059 | 0.29417 |  | 0.1059 | 0.076426 | 36% |  | 0.055667 | 4.808% | Granular Urea 46-0-0
250213 | 60.3 | Water (Free), AFPC No. 2B (105°C oven for 2 hours, 5g sample) (%) | 2 | 2 | 0.097 | 0.06081 | [8 empty] | Granular Urea 46-0-0
250213 | 60.99 | Water (Free), Other (%) | 2 | 2 | 0.07275 | 0.02864 | [8 empty] | Granular Urea 46-0-0
250213 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.055 | [9 empty] | Granular Urea 46-0-0
250213 | 101.32 | Acid Soluble Ca, ICP, test portion 2006.03A-C (%) | 1 |  | 0.005 | [9 empty] | Granular Urea 46-0-0
250213 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.015 | [9 empty] | Granular Urea 46-0-0
250213 | 121.32 | Acid Soluble Mg, ICP, test portion 2006.03A-C (%) | 1 |  | 0.005 | [9 empty] | Granular Urea 46-0-0
250213 | 121.99 | Acid Soluble Mg, Other (%) | 1 |  | 0.00025 | [9 empty] | Granular Urea 46-0-0
250213 | 148.99 | Total S, Other (%) | 1 |  | 0 | [9 empty] | Granular Urea 46-0-0
250213 | 149.04 | S - HNO3 soluble, ICP (%) | 1 |  | 0.00145 | [9 empty] | Granular Urea 46-0-0
250213 | 151.3 | Acid Soluble As, ICP (ppm) | 2 | 1 | 3.175 | 4.349 | [8 empty] | Granular Urea 46-0-0
250213 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 1 |  | 0.5 | [9 empty] | Granular Urea 46-0-0
250213 | 151.99 | Acid Soluble As, Other (ppm) | 1 |  | 0.5 | [9 empty] | Granular Urea 46-0-0
250213 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (%) | 1 |  | 0.01 | [9 empty] | Granular Urea 46-0-0
250213 | 165.99 | Acid Soluble B, Other (%) | 2 | 2 | 0.1288 | 0.182 | [8 empty] | Granular Urea 46-0-0
250213 | 181.3 | Acid Soluble Cd, ICP (ppm) | 4 | 2 | 0.1377 | 0.1105 | 0.050425 |  | 0.07011 | 0.061969 | 139% |  | 0.0015 | 22% | Granular Urea 46-0-0
250213 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 1 |  | 0.1 | [9 empty] | Granular Urea 46-0-0
250213 | 181.99 | Acid Soluble Cd, Other (ppm) | 1 |  | 0.1 | [9 empty] | Granular Urea 46-0-0
250213 | 191.3 | Acid Soluble Cr, ICP (ppm) | 3 | 2 | 0.5895 | 0.5735 | 0.2592 |  | 0.0577 | 0.051 | 22.26% |  | 0.0054 | 19.6% | Granular Urea 46-0-0
250213 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 1 |  | 0.35 | [9 empty] | Granular Urea 46-0-0
250213 | 191.99 | Acid Soluble Cr, Other (ppm) | 1 |  | 0.4 | [9 empty] | Granular Urea 46-0-0
250213 | 202.3 | Acid Soluble Co, ICP (ppm) | 3 | 2 | 0.5137 | 0.6393 | 0.14555 | 1.0437 | 0.064417 | 0.056938 | 44.26% | 0.14381 | 0.0284 | 21.38% | Granular Urea 46-0-0
250213 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 1 |  | 0.1 | [9 empty] | Granular Urea 46-0-0
250213 | 202.99 | Acid Soluble Co, Other (ppm) | 1 |  | 0.1 | [9 empty] | Granular Urea 46-0-0
250213 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.01 | [9 empty] | Granular Urea 46-0-0
250213 | 221.99 | Acid Soluble Cu, Other (%) | 2 | 1 | 5e-05 | 7.071e-05 | [8 empty] | Granular Urea 46-0-0
250213 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.01 | [9 empty] | Granular Urea 46-0-0
250213 | 241.99 | Acid Soluble Fe, Other (%) | 1 |  | 0.00025 | [9 empty] | Granular Urea 46-0-0
250213 | 251.3 | Acid Soluble Pb, ICP (ppm) | 4 | 2 | 1.879 | 2.942 | 0.13353 |  | 0.047412 | 0.041906 | 35.51% |  | 0.0313 | 21.66% | Granular Urea 46-0-0
250213 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 1 |  | 0.7 | [9 empty] | Granular Urea 46-0-0
250213 | 251.99 | Acid Soluble Pb, Other (ppm) | 1 |  | 0.7 | [9 empty] | Granular Urea 46-0-0
250213 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 1 |  | 0.01 | [9 empty] | Granular Urea 46-0-0
250213 | 261.99 | Acid Soluble Mn, Other (%) | 2 | 1 | 5e-05 | 7.071e-05 | [8 empty] | Granular Urea 46-0-0
250213 | 281.3 | Acid Soluble Hg, ICP (ppm) | 2 | 0 | 0.65 | 0.8485 | [8 empty] | Granular Urea 46-0-0
250213 | 281.99 | Acid Soluble Hg, Other (ppm) | 2 | 1 | 0.005275 | 0.006682 | [8 empty] | Granular Urea 46-0-0
250213 | 289.3 | Acid Soluble Mo, ICP (ppm) | 2 | 2 | 0.06398 | 0.01976 | [8 empty] | Granular Urea 46-0-0
250213 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 1 |  | 0.3 | [9 empty] | Granular Urea 46-0-0
250213 | 289.99 | Acid Soluble Mo, Other (ppm) | 1 |  | 0.45 | [9 empty] | Granular Urea 46-0-0
250213 | 291.3 | Acid Soluble Ni, ICP (ppm) | 3 | 2 | 0.4912 | 0.6578 | 0.11173 |  | 0.039987 | 0.035344 | 35.79% |  | 0.0543 | 22% | Granular Urea 46-0-0
250213 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 1 |  | 0.2 | [9 empty] | Granular Urea 46-0-0
250213 | 291.99 | Acid Soluble Ni, Other (ppm) | 1 |  | 0.3 | [9 empty] | Granular Urea 46-0-0
250213 | 301.3 | Acid Soluble Se, ICP (ppm) | 3 | 2 | 2.119 | 3.578 | 0.053275 |  | 0.066079 | 0.058406 | 124% |  | 0.0067 | 22% | Granular Urea 46-0-0
250213 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 1 |  | 0.3 | [9 empty] | Granular Urea 46-0-0
250213 | 301.99 | Acid Soluble Se, Other (ppm) | 1 |  | 0.3 | [9 empty] | Granular Urea 46-0-0
250213 | 311.99 | Sodium, Other (%) | 1 |  | 0.025 | [9 empty] | Granular Urea 46-0-0
250213 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.01 | [9 empty] | Granular Urea 46-0-0
250213 | 321.99 | Acid Soluble Zn, Other (%) | 2 | 1 | 5e-05 | 7.071e-05 | [8 empty] | Granular Urea 46-0-0
250311 | 1.99 | Ammoniacal N, Other (%) | 1 |  | 0.2718 | [9 empty] | Gypsum
250311 | 5.99 | Urea N, Other (%) | 1 |  | 0.07585 | [9 empty] | Gypsum
250311 | 10.12 | Total N, Salicylic (%) | 1 |  | 0.488 | [9 empty] | Gypsum
250311 | 10.6 | Total N, Combustion (%) | 5 | 5 | 0.5075 | 0.02289 | 0.5075 | 0.49 | 0.022891 | 0.012796 | 4.511% | 0.10885 | 0.011667 | 4.43% | Gypsum
250311 | 10.99 | Total N, Other (%) | 1 |  | 0.5056 | [9 empty] | Gypsum
250311 | 20.5 | Total P2O5, ICP (%) | 4 | 3 | 0.02986 | 0.02713 | 0.039483 |  | 0.023426 | 0.016906 | 59.33% |  | 0.0068333 | 6.505% | Gypsum
250311 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (%) | 2 | 2 | 0.09125 | 0.06894 | [8 empty] | Gypsum
250311 | 50.5 | Soluble K2O, ICP (Oxalate) (%) | 1 |  | 0.1012 | [9 empty] | Gypsum
250311 | 50.51 | Soluble K2O, ICP (Citrate) (%) | 1 |  | 0.12 | [9 empty] | Gypsum
250311 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (%) | 1 |  | 0.069 | [9 empty] | Gypsum
250311 | 50.99 | Soluble K2O, Other (%) | 2 | 2 | 0.0613 | 0.02779 | [8 empty] | Gypsum
250311 | 101 | Acid Soluble Ca, AA, inorganic 965.09 (21%) | 2 | 2 | 20.6 | 0.4278 | [8 empty] | Gypsum
250311 | 101.03 | Acid Soluble Ca, AA, 965.09, test portion 2006.03A-C w/dual acid (21%) | 1 |  | 21.4 | [9 empty] | Gypsum
250311 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (21%) | 14 | 13 | 21.77 | 1.168 | 21.5925 | 1 | 1.1401 | 0.39525 | 5.28% | 2.6564 | 0.334 | 2.152% | Gypsum
250311 | 101.32 | Acid Soluble Ca, ICP, test portion 2006.03A-C (21%) | 4 | 4 | 21.87 | 2.098 | 21.87 | 1 | 2.0979 | 1.3112 | 9.593% | 4.8882 | 1.23 | 2.138% | Gypsum
250311 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (21%) | 16 | 15 | 21.32 | 1.065 | 21.1777 | 1 | 1.043 | 0.33664 | 4.925% | 2.4303 | 0.34662 | 2.173% | Gypsum
250311 | 101.7 | Acid Soluble Ca, Titrimetric (21%) | 2 | 2 | 21.5 | 0.7778 | [8 empty] | Gypsum
250311 | 101.99 | Acid Soluble Ca, Other (21%) | 14 | 14 | 21.76 | 1.26 | 21.7607 | 1 | 1.4025 | 0.46855 | 6.445% | 3.2679 | 0.50966 | 2.144% | Gypsum
250311 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 4 | 4 | 0.1388 | 0.02108 | 0.13879 | 0.20694 | 0.021085 | 0.013178 | 15.19% | 0.2374 | 0.0097 | 5.384% | Gypsum
250311 | 121.32 | Acid Soluble Mg, ICP, test portion 2006.03A-C (%) | 1 |  | 0.151 | [9 empty] | Gypsum
250311 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 3 | 3 | 0.1325 | 0.04474 | 0.1325 | 0.20663 | 0.044743 | 0.032291 | 33.77% | 0.50454 | 0.0079333 | 5.422% | Gypsum
250311 | 121.99 | Acid Soluble Mg, Other (%) | 2 | 2 | 0.1411 | 0.008627 | [8 empty] | Gypsum
250311 | 143.99 | Elemental S, Other (%) | 3 | 3 | 16.9 | 1.206 | 16.895 |  | 1.2057 | 0.87013 | 7.136% |  | 0.036667 | 2.433% | Gypsum
250311 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 7 | 7 | 16.41 | 0.5475 | 16.4883 |  | 0.42715 | 0.20181 | 2.591% |  | 0.10185 | 2.463% | Gypsum
250311 | 145.99 | Sulfate S, HCl soluble, Other (%) | 1 |  | 16.215 | [9 empty] | Gypsum
250311 | 148 | Total S, Combustion (17%) | 5 | 5 | 15.92 | 1.303 | 15.9228 | 0.99614 | 1.3027 | 0.72822 | 8.181% | 3.047 | 0.435 | 2.506% | Gypsum
250311 | 148.01 | Total S, Gravimetric - sulfate and elemental (17%) | 9 | 9 | 16.47 | 0.6633 | 16.5838 | 1 | 0.45227 | 0.18845 | 2.727% | 1.0538 | 0.27731 | 2.456% | Gypsum
250311 | 148.02 | Total S, Turbidimetric, w/Br digestion, modification of JAOAC 63.... (17%) | 1 |  | 16.8 | [9 empty] | Gypsum
250311 | 148.03 | Total S, Spectrometric, w/Br digestion (17%) | 1 |  | 16.8 | [9 empty] | Gypsum
250311 | 148.07 | Total S, ICP, test portion as in 2017.02 (17%) | 16 | 15 | 16.84 | 0.9684 | 16.8391 | 1 | 0.60542 | 0.1954 | 3.595% | 1.4106 | 0.30615 | 2.437% | Gypsum
250311 | 148.99 | Total S, Other (17%) | 12 | 12 | 17.05 | 0.5694 | 17.0525 | 1 | 0.63738 | 0.23 | 3.738% | 1.4851 | 0.21942 | 2.422% | Gypsum
250311 | 149.04 | S - HNO3 soluble, ICP (%) | 3 | 3 | 15.9 | 1.865 | 15.9027 |  | 1.8648 | 1.3458 | 11.73% |  | 0.85315 | 2.508% | Gypsum
250311 | 151 | Acid Soluble As, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 0.27 | [9 empty] | Gypsum
250311 | 151.3 | Acid Soluble As, ICP (ppm) | 4 | 2 | 1.776 | 2.99 | 0.42638 |  | 0.10766 | 0.095156 | 25.25% |  | 0.00275 | 18.19% | Gypsum
250311 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 2 | 1 | 1.65 | 1.909 | [8 empty] | Gypsum
250311 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 3 | 1 | 8.753 | 14.3 | 0.42638 |  | 0.10766 | 0.13457 | 25.25% |  | 0.001 | 18.19% | Gypsum
250311 | 151.34 | Acid Soluble As, ICP, EPA 3050B/6010C (ppm) | 1 |  | 0.731 | [9 empty] | Gypsum
250311 | 151.99 | Acid Soluble As, Other (ppm) | 3 | 2 | 0.4033 | 0.09504 | 0.355 |  | 0.06364 | 0.05625 | 17.93% |  | 0 | 18.69% | Gypsum
250311 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (%) | 2 | 1 | 0.00525 | 0.006718 | [8 empty] | Gypsum
250311 | 165.99 | Acid Soluble B, Other (%) | 3 | 2 | 0.003617 | 0.005528 | 0.000425 | 0.0030638 | 3.5355e-05 | 3.125e-05 | 8.319% | 0.026888 | 0.0007 | 12.87% | Gypsum
250311 | 181 | Acid Soluble Cd, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 0.13 | [9 empty] | Gypsum
250311 | 181.3 | Acid Soluble Cd, ICP (ppm) | 5 | 2 | 0.1367 | 0.06679 | 0.12777 |  | 0.0073893 | 0.0065313 | 5.783% |  | 0.00955 | 21.8% | Gypsum
250311 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 2 | 1 | 0.55 | 0.6364 | [8 empty] | Gypsum
250311 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 3 | 1 | 0.9897 | 0.9845 | 0.12777 |  | 0.0073893 | 0.0092366 | 5.783% |  | 0.004 | 21.8% | Gypsum
250311 | 181.99 | Acid Soluble Cd, Other (ppm) | 3 | 2 | 0.23 | 0.2339 | 0.095 |  | 0.0070711 | 0.00625 | 7.443% |  | 0.04 | 22% | Gypsum
250311 | 191 | Acid Soluble Cr, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 17.7 | [9 empty] | Gypsum
250311 | 191.3 | Acid Soluble Cr, ICP (ppm) | 6 | 6 | 11.5 | 3.966 | 11.4963 |  | 4.4977 | 2.2952 | 39.12% |  | 0.74655 | 11.08% | Gypsum
250311 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 2 | 2 | 12.58 | 2.722 | [8 empty] | Gypsum
250311 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 3 | 3 | 11.08 | 6.902 | 11.079 |  | 6.9017 | 4.9809 | 62.3% |  | 1.4016 | 11.14% | Gypsum
250311 | 191.34 | Acid Soluble Cr, ICP, EPA 3050B/6010C (ppm) | 1 |  | 9.437 | [9 empty] | Gypsum
250311 | 191.99 | Acid Soluble Cr, Other (ppm) | 3 | 2 | 11.92 | 7.374 | 7.8775 |  | 3.2845 | 2.9031 | 41.69% |  | 0.545 | 11.73% | Gypsum
250311 | 202.3 | Acid Soluble Co, ICP (ppm) | 3 | 3 | 3.782 | 0.7196 | 3.7815 | 2.1345 | 0.71958 | 0.51931 | 19.03% | 0.7855 | 0.54233 | 13.09% | Gypsum
250311 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 2 | 2 | 2.75 | 1.768 | [8 empty] | Gypsum
250311 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 3 | 2 | 3.159 | 1.551 | 3.4882 | 2.0465 | 2.0389 | 1.8022 | 58.45% | 2.3214 | 0.2897 | 13.25% | Gypsum
250311 | 202.99 | Acid Soluble Co, Other (ppm) | 3 | 3 | 12.47 | 18.69 | 12.4667 | 4.74 | 18.6931 | 13.4906 | 149.9% | 9.1888 | 5.71 | 10.94% | Gypsum
250311 | 221.03 | Acid Soluble Cu, AA, 965.09, test portion 2006.03A-C w/dual acid (%) | 1 |  | 0.001 | [9 empty] | Gypsum
250311 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 3 | 0 | 0.003333 | 0.005774 | 12.4667 | 1 | 18.6931 |  | 149.9% | 43.5549 | 0.04 | 2.736% | Gypsum
250311 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (%) | 1 |  | 0.0002 | [9 empty] | Gypsum
250311 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 4 | 3 | 0.0002625 | 0.0001493 | 0.00028333 | 0.0050283 | 0.00017559 | 0.00012672 | 61.97% | 0.081366 | 0.0001 | 13.68% | Gypsum
250311 | 221.99 | Acid Soluble Cu, Other (%) | 5 | 4 | 0.0024 | 0.00426 | 0.0005 | 0.00505 | 0.0003559 | 0.00022244 | 71.18% | 0.16421 | 0 | 12.56% | Gypsum
250311 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 3 | 3 | 0.06697 | 0.003406 | 0.066967 | 0.011697 | 0.0034064 | 0.0024583 | 5.087% | 0.67856 | 0.0047333 | 6.008% | Gypsum
250311 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 3 | 3 | 0.0896 | 0.001588 | 0.0896 | 0.01396 | 0.0015882 | 0.0011462 | 1.773% | 0.26509 | 0.0097 | 5.751% | Gypsum
250311 | 241.99 | Acid Soluble Fe, Other (%) | 2 | 2 | 0.05545 | 0.001768 | [8 empty] | Gypsum
250311 | 251 | Acid Soluble Pb, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 0.5 | [9 empty] | Gypsum
250311 | 251.3 | Acid Soluble Pb, ICP (ppm) | 5 | 2 | 1.529 | 2.647 | 0.49683 |  | 0.040553 | 0.035844 | 8.162% |  | 0.01375 | 17.77% | Gypsum
250311 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 2 | 1 | 2.275 | 2.44 | [8 empty] | Gypsum
250311 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 3 | 1 | 1.874 | 1.634 | 0.49683 |  | 0.040553 | 0.050691 | 8.162% |  | 0.003 | 17.77% | Gypsum
250311 | 251.99 | Acid Soluble Pb, Other (ppm) | 3 | 2 | 0.6667 | 0.297 | 0.5 |  | 0.098995 | 0.0875 | 19.8% |  | 0.06 | 17.76% | Gypsum
250311 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 3 | 2 | 0.004983 | 0.004353 | 0.002475 | 0.0052475 | 0.00038891 | 0.00034375 | 15.71% | 0.17268 | 0.0001 | 9.87% | Gypsum
250311 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 2 | 2 | 0.00695 | 0.005374 | [8 empty] | Gypsum
250311 | 261.99 | Acid Soluble Mn, Other (%) | 1 |  | 0.0025 | [9 empty] | Gypsum
250311 | 281 | Acid Soluble Hg, AA (ppm) | 2 | 0 | 0.5 | 0 | [8 empty] | Gypsum
250311 | 281.3 | Acid Soluble Hg, ICP (ppm) | 4 | 0 | 0.8378 | 0.9601 | 0.00695 |  | 0.005374 |  | 77.32% |  | 0.0001 | 22% | Gypsum
250311 | 281.99 | Acid Soluble Hg, Other (ppm) | 4 | 4 | 0.1828 | 0.06261 | 0.18275 |  | 0.062605 | 0.039128 | 34.26% |  | 0.0043333 | 20.66% | Gypsum
250311 | 289.3 | Acid Soluble Mo, ICP (ppm) | 3 | 3 | 0.8797 | 0.382 | 0.87968 | 1.2639 | 0.38196 | 0.27566 | 43.42% | 0.70414 | 0.08575 | 16.31% | Gypsum
250311 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 2 | 1 | 0.975 | 0.03536 | [8 empty] | Gypsum
250311 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 3 | 1 | 1.998 | 1.8 | 0.87968 | 1.2639 | 0.38196 | 0.47745 | 43.42% | 0.70414 | 0.037 | 16.31% | Gypsum
250311 | 289.99 | Acid Soluble Mo, Other (ppm) | 2 | 1 | 1.74 | 1.16 | [8 empty] | Gypsum
250311 | 291 | Acid Soluble Ni, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 10 | [9 empty] | Gypsum
250311 | 291.3 | Acid Soluble Ni, ICP (ppm) | 5 | 5 | 3.532 | 1.198 | 3.5324 |  | 1.1976 | 0.66947 | 33.9% |  | 0.35418 | 13.23% | Gypsum
250311 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 2 | 2 | 5.225 | 1.096 | [8 empty] | Gypsum
250311 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 3 | 2 | 6.033 | 5.278 | 7.7997 |  | 6.0815 | 5.3754 | 77.97% |  | 0.5669 | 11.74% | Gypsum
250311 | 291.34 | Acid Soluble Ni, ICP, EPA 3050B/6010C (ppm) | 1 |  | 1.694 | [9 empty] | Gypsum
250311 | 291.99 | Acid Soluble Ni, Other (ppm) | 3 | 3 | 16.02 | 22.34 | 16.0217 |  | 22.342 | 16.124 | 139.4% |  | 4.5967 | 10.54% | Gypsum
250311 | 301 | Acid Soluble Se, AA, test portion 2006.03 modified w/dual acid (ppm) | 1 |  | 0.5 | [9 empty] | Gypsum
250311 | 301.3 | Acid Soluble Se, ICP (ppm) | 3 | 2 | 3.436 | 2.44 | 2.0285 |  | 0.16479 | 0.14566 | 8.124% |  | 0.01095 | 14.38% | Gypsum
250311 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 2 | 1 | 5.85 | 5.869 | [8 empty] | Gypsum
250311 | 301.33 | Acid Soluble Se, ICP, 2017.02 (ppm) | 2 | 1 | 3.41 | 4.808 | [8 empty] | Gypsum
250311 | 301.34 | Acid Soluble Se, ICP, EPA 3050B/6010C (ppm) | 1 |  | 2.6635 | [9 empty] | Gypsum
250311 | 301.99 | Acid Soluble Se, Other (ppm) | 3 | 2 | 1.16 | 1.006 | 1.74 |  | 0.084853 | 0.075 | 4.877% |  | 0.25 | 14.72% | Gypsum
250311 | 311.32 | Sodium, ICP, 2006.03 test portion (%) | 1 |  | 0.0046 | [9 empty] | Gypsum
250311 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 1 |  | 0.0064 | [9 empty] | Gypsum
250311 | 311.99 | Sodium, Other (%) | 1 |  | 0.03 | [9 empty] | Gypsum
250311 | 321.03 | Acid Soluble Zn, AA, 965.09, test portion 2006.03A-C w/dual acid (%) | 1 |  | 0.01 | [9 empty] | Gypsum
250311 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 3 | 2 | 0.0043 | 0.004937 | 0.00145 | 0.005145 | 7.0711e-05 | 6.25e-05 | 4.877% | 0.032023 | 0.001 | 10.7% | Gypsum
250311 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 2 | 2 | 0.0009 | 7.071e-05 | [8 empty] | Gypsum
250311 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 4 | 3 | 0.001075 | 0.0001936 | 0.0011 | 0.00511 | 0.00022913 | 0.00016536 | 20.83% | 0.10448 | 0.0002 | 11.15% | Gypsum
250311 | 321.99 | Acid Soluble Zn, Other (%) | 5 | 4 | 0.00396 | 0.004278 | 0.00245 | 0.005245 | 0.003034 | 0.0018962 | 123.8% | 1.3478 | 0.0002 | 9.885% | Gypsum
250341 | 1.99 | Ammoniacal N, Other (%) | 5 | 5 | 10.75 | 0.05529 | 10.747 |  | 0.055295 | 0.030911 | 0.5145% |  | 0.024 | 2.798% | MAP & DAP 11-48-0
250341 | 10.11 | Total N, Modified Comprehensive (11%) | 1 |  | 10.93 | [9 empty] | MAP & DAP 11-48-0
250341 | 10.6 | Total N, Combustion (11%) | 11 | 10 | 10.72 | 0.3156 | 10.775 | 0.59163 | 0.10257 | 0.040544 | 0.9519% | 0.40395 | 0.10644 | 2.797% | MAP & DAP 11-48-0
250341 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 6 | 6 | 44.85 | 0.158 | 44.8535 |  | 0.16508 | 0.084243 | 0.368% |  | 0.085078 | 1.493% | MAP & DAP 11-48-0
250341 | 20.4 | Total P2O5, Automated (%) | 3 | 3 | 43.82 | 2.228 | 43.8217 |  | 2.228 | 1.6079 | 5.084% |  | 0.49 | 1.511% | MAP & DAP 11-48-0
250341 | 20.5 | Total P2O5, ICP (%) | 1 |  | 44.0229 | [9 empty] | MAP & DAP 11-48-0
250341 | 30.2 | Citrate Insoluble P2O5, Spectrophotometric MolybdovanadoP (%) | 1 |  | 0.98 | [9 empty] | MAP & DAP 11-48-0
250341 | 30.4 | Citrate Insoluble P2O5, Automated, test portion 963.03 A-B (%) | 2 | 2 | 0.8525 | 0.0601 | [8 empty] | MAP & DAP 11-48-0
250341 | 30.5 | Citrate Insoluble P2O5, ICP, test portion 963.03 A-B (%) | 2 | 2 | 0.78 | 0.05657 | [8 empty] | MAP & DAP 11-48-0
250341 | 30.99 | Citrate Insoluble P2O5, Other (%) | 1 |  | 0.8575 | [9 empty] | MAP & DAP 11-48-0
250341 | 40.4 | Indirect Available P2O5, Automated (48%) | 2 | 2 | 44.25 | 0.1344 | [8 empty] | MAP & DAP 11-48-0
250341 | 40.99 | Indirect Available P2O5, Other (48%) | 3 | 3 | 43.96 | 0.09029 | 43.9608 | 0.95941 | 0.090289 | 0.06516 | 0.2054% | 0.21927 | 0.041667 | 1.508% | MAP & DAP 11-48-0
250341 | 41.1 | Direct Available P2O5, Gravimetric Quinolinium (48%) | 2 | 2 | 44.95 | 0.4278 | [8 empty] | MAP & DAP 11-48-0
250341 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext.... (48%) | 3 | 3 | 42.16 | 2.456 | 42.1567 | 0.93235 | 2.4559 | 1.7724 | 5.826% | 6.1374 | 0.15333 | 1.54% | MAP & DAP 11-48-0
250341 | 41.5 | Direct Available P2O5, ICP (48%) | 2 | 2 | 48.9 | 9.267 | [8 empty] | MAP & DAP 11-48-0
250341 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (48%) | 1 |  | 45.5 | [9 empty] | MAP & DAP 11-48-0
250341 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 3 | 3 | 37.64 | 0.03761 | 37.6442 |  | 0.037611 | 0.027143 | 0.09991% |  | 0.165 | 1.63% | MAP & DAP 11-48-0
250341 | 48.4 | Water Soluble P2O5, Automated (%) | 1 |  | 37.76 | [9 empty] | MAP & DAP 11-48-0
250341 | 50.5 | Soluble K2O, ICP (Oxalate) (%) | 1 |  | 0.21 | [9 empty] | MAP & DAP 11-48-0
250341 | 50.99 | Soluble K2O, Other (%) | 2 | 2 | 0.2228 | 0.01807 | [8 empty] | MAP & DAP 11-48-0
250341 | 60 | Water (Free), Vacuum Oven (%) | 2 | 2 | 0.795 | 0.02828 | [8 empty] | MAP & DAP 11-48-0
250341 | 60.3 | Water (Free), AFPC No. 2B (105°C oven for 2 hours, 5g sample) (%) | 1 |  | 1.1325 | [9 empty] | MAP & DAP 11-48-0
250341 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.708 | [9 empty] | MAP & DAP 11-48-0
250341 | 101.32 | Acid Soluble Ca, ICP, test portion 2006.03A-C (%) | 1 |  | 1.07 | [9 empty] | MAP & DAP 11-48-0
250341 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 1 |  | 1.035 | [9 empty] | MAP & DAP 11-48-0
250341 | 101.99 | Acid Soluble Ca, Other (%) | 1 |  | 0.7 | [9 empty] | MAP & DAP 11-48-0
250341 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 2 | 2 | 1.144 | 0.4327 | [8 empty] | MAP & DAP 11-48-0
250341 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 2 | 2 | 1.163 | 0.349 | [8 empty] | MAP & DAP 11-48-0
250341 | 121.99 | Acid Soluble Mg, Other (%) | 1 |  | 0.881 | [9 empty] | MAP & DAP 11-48-0
250341 | 145.99 | Sulfate S, HCl soluble, Other (%) | 1 |  | 2.8675 | [9 empty] | MAP & DAP 11-48-0
250341 | 148 | Total S, Combustion (%) | 3 | 3 | 7.373 | 0.254 | 7.3725 | 0.56863 | 0.25401 | 0.18331 | 3.445% | 1.0408 | 0.058333 | 2.961% | MAP & DAP 11-48-0
250341 | 148.07 | Total S, ICP, test portion as in 2017.02 (%) | 1 |  | 7.0595 | [9 empty] | MAP & DAP 11-48-0
250341 | 148.99 | Total S, Other (%) | 1 |  | 2.825 | [9 empty] | MAP & DAP 11-48-0
250341 | 151.3 | Acid Soluble As, ICP (ppm) | 3 | 3 | 21.47 | 14.76 | 21.4667 |  | 14.7615 | 10.6532 | 68.76% |  | 0.8 | 10.08% | MAP & DAP 11-48-0
250341 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 2 | 2 | 14.25 | 3.889 | [8 empty] | MAP & DAP 11-48-0
250341 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 1 |  | 21.035 | [9 empty] | MAP & DAP 11-48-0
250341 | 151.99 | Acid Soluble As, Other (ppm) | 1 |  | 11.1 | [9 empty] | MAP & DAP 11-48-0
250341 | 165.99 | Acid Soluble B, Other (%) | 2 | 1 | 0.0091 | 0.001273 | [8 empty] | MAP & DAP 11-48-0
250341 | 181.3 | Acid Soluble Cd, ICP (ppm) | 2 | 2 | 6.9 | 1.98 | [8 empty] | MAP & DAP 11-48-0
250341 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 2 | 2 | 3.6 | 0.5657 | [8 empty] | MAP & DAP 11-48-0
250341 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 1 |  | 3.5806 | [9 empty] | MAP & DAP 11-48-0
250341 | 181.99 | Acid Soluble Cd, Other (ppm) | 1 |  | 3.2 | [9 empty] | MAP & DAP 11-48-0
250341 | 191.3 | Acid Soluble Cr, ICP (ppm) | 3 | 3 | 112.8 | 11.02 | 112.8333 |  | 11.0151 | 7.9495 | 9.762% |  | 4.3333 | 7.855% | MAP & DAP 11-48-0
250341 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 2 | 2 | 97.75 | 15.2 | [8 empty] | MAP & DAP 11-48-0
250341 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 1 |  | 100.728 | [9 empty] | MAP & DAP 11-48-0
250341 | 191.99 | Acid Soluble Cr, Other (ppm) | 1 |  | 87.3 | [9 empty] | MAP & DAP 11-48-0
250341 | 202.3 | Acid Soluble Co, ICP (ppm) | 3 | 3 | 5.213 | 1.781 | 5.2133 | 2.564 | 1.7806 | 1.285 | 34.15% | 1.6181 | 1.7533 | 12.48% | MAP & DAP 11-48-0
250341 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 2 | 2 | 5.7 | 1.838 | [8 empty] | MAP & DAP 11-48-0
250341 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 1 |  | 3.9777 | [9 empty] | MAP & DAP 11-48-0
250341 | 202.99 | Acid Soluble Co, Other (ppm) | 1 |  | 5 | [9 empty] | MAP & DAP 11-48-0
250341 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (%) | 1 |  | 0.0009 | [9 empty] | MAP & DAP 11-48-0
250341 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 1 |  | 0.0009 | [9 empty] | MAP & DAP 11-48-0
250341 | 221.99 | Acid Soluble Cu, Other (%) | 2 | 1 | 0.000575 | 0.0008132 | [8 empty] | MAP & DAP 11-48-0
250341 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 1 |  | 1.165 | [9 empty] | MAP & DAP 11-48-0
250341 | 241.32 | Acid Soluble Fe, ICP, test portion 2006.03A-C (%) | 1 |  | 1.79 | [9 empty] | MAP & DAP 11-48-0
250341 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 2 | 2 | 1.445 | 0.4095 | [8 empty] | MAP & DAP 11-48-0
250341 | 241.99 | Acid Soluble Fe, Other (%) | 1 |  | 1.21 | [9 empty] | MAP & DAP 11-48-0
250341 | 251.3 | Acid Soluble Pb, ICP (ppm) | 3 | 3 | 3.383 | 1.512 | 3.3833 |  | 1.5119 | 1.0911 | 44.69% |  | 1.6333 | 13.32% | MAP & DAP 11-48-0
250341 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 2 | 2 | 5.125 | 1.237 | [8 empty] | MAP & DAP 11-48-0
250341 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 1 |  | 3.0598 | [9 empty] | MAP & DAP 11-48-0
250341 | 251.99 | Acid Soluble Pb, Other (ppm) | 1 |  | 2.65 | [9 empty] | MAP & DAP 11-48-0
250341 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 1 |  | 0.0328 | [9 empty] | MAP & DAP 11-48-0
250341 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 1 |  | 0.03275 | [9 empty] | MAP & DAP 11-48-0
250341 | 261.99 | Acid Soluble Mn, Other (%) | 1 |  | 0.035 | [9 empty] | MAP & DAP 11-48-0
250341 | 281.3 | Acid Soluble Hg, ICP (ppm) | 2 | 0 | 1.001 | 1.414 | [8 empty] | MAP & DAP 11-48-0
250341 | 281.99 | Acid Soluble Hg, Other (ppm) | 1 |  | 0.01 | [9 empty] | MAP & DAP 11-48-0
250341 | 289.3 | Acid Soluble Mo, ICP (ppm) | 3 | 3 | 24.25 | 12.74 | 24.25 | 8.275 | 12.7447 | 9.1977 | 52.56% | 3.5885 | 2.7 | 9.9% | MAP & DAP 11-48-0
250341 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 2 | 2 | 15.15 | 1.909 | [8 empty] | MAP & DAP 11-48-0
250341 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 1 |  | 16.3685 | [9 empty] | MAP & DAP 11-48-0
250341 | 289.99 | Acid Soluble Mo, Other (ppm) | 1 |  | 13.05 | [9 empty] | MAP & DAP 11-48-0
250341 | 291.3 | Acid Soluble Ni, ICP (ppm) | 3 | 3 | 14.73 | 3.308 | 14.7333 |  | 3.3081 | 2.3874 | 22.45% |  | 1.1333 | 10.67% | MAP & DAP 11-48-0
250341 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 2 | 2 | 14 | 3.536 | [8 empty] | MAP & DAP 11-48-0
250341 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 1 |  | 12.563 | [9 empty] | MAP & DAP 11-48-0
250341 | 291.99 | Acid Soluble Ni, Other (ppm) | 1 |  | 11.65 | [9 empty] | MAP & DAP 11-48-0
250341 | 301.3 | Acid Soluble Se, ICP (ppm) | 1 |  | 1 | [9 empty] | MAP & DAP 11-48-0
250341 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 2 | 0 | 5.15 | 6.859 | [8 empty] | MAP & DAP 11-48-0
250341 | 301.33 | Acid Soluble Se, ICP, 2017.02 (ppm) | 1 |  | 0.01 | [9 empty] | MAP & DAP 11-48-0
250341 | 301.99 | Acid Soluble Se, Other (ppm) | 1 |  | 0.3 | [9 empty] | MAP & DAP 11-48-0
250341 | 311.32 | Sodium, ICP, 2006.03 test portion (%) | 1 |  | 0.23 | [9 empty] | MAP & DAP 11-48-0
250341 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 1 |  | 0.16105 | [9 empty] | MAP & DAP 11-48-0
250341 | 311.99 | Sodium, Other (%) | 1 |  | 0.175 | [9 empty] | MAP & DAP 11-48-0
250341 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.32275 | [9 empty] | MAP & DAP 11-48-0
250341 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 1 |  | 0.29 | [9 empty] | MAP & DAP 11-48-0
250341 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 3 | 3 | 0.2977 | 0.03353 | 0.2977 | 0.03477 | 0.033532 | 0.024199 | 11.26% | 2.247 | 0.026933 | 4.8% | MAP & DAP 11-48-0
250341 | 321.99 | Acid Soluble Zn, Other (%) | 1 |  | 0.295 | [9 empty] | MAP & DAP 11-48-0
250341 | 325.3 | Water Soluble Zn, ICP (%) | 2 | 2 | 0.1883 | 0.1863 | [8 empty] | MAP & DAP 11-48-0
250411 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 4 | 4 | 17.05 | 0.3474 | 17.05 |  | 0.3474 | 0.21712 | 2.038% |  | 0.12667 | 2.422% | DAP
250411 | 1.99 | Ammoniacal N, Other (%) | 20 | 19 | 17.67 | 0.5025 | 17.666 |  | 0.54684 | 0.15682 | 3.095% |  | 0.090257 | 2.379% | DAP
250411 | 3.1 | Water Insoluble N, Method I (%) | 1 |  | 1.615 | [9 empty] | DAP
250411 | 5.99 | Urea N, Other (%) | 1 |  | 0.08535 | [9 empty] | DAP
250411 | 9.1 | Ammoniacal Plus Nitrate N, Devarda (%) | 1 |  | 17.855 | [9 empty] | DAP
250411 | 10.11 | Total N, Modified Comprehensive (18%) | 1 |  | 17.88 | [9 empty] | DAP
250411 | 10.12 | Total N, Salicylic (18%) | 2 | 2 | 17.62 | 0.02121 | [8 empty] | DAP
250411 | 10.6 | Total N, Combustion (18%) | 48 | 46 | 18.33 | 4.089 | 17.7434 | 0.69615 | 0.24162 | 0.044531 | 1.362% | 0.80869 | 0.094619 | 2.374% | DAP
250411 | 10.99 | Total N, Other (18%) | 8 | 8 | 17.9 | 0.3609 | 17.9028 | 0.69854 | 0.40931 | 0.18089 | 2.286% | 1.3653 | 0.078425 | 2.363% | DAP
250411 | 20.2 | Total P2O5, Spectrophotometric MolybdovanadoP (%) | 14 | 14 | 47.17 | 2.234 | 46.7062 |  | 0.51825 | 0.17313 | 1.11% |  | 0.19501 | 1.463% | DAP
250411 | 20.4 | Total P2O5, Automated (%) | 1 |  | 47.1 | [9 empty] | DAP
250411 | 20.5 | Total P2O5, ICP (%) | 16 | 15 | 44.04 | 7.496 | 44.9566 |  | 3.1347 | 1.0117 | 6.973% |  | 0.23602 | 1.491% | DAP
250411 | 20.99 | Total P2O5, Other (%) | 5 | 5 | 44.95 | 3.198 | 44.946 |  | 3.1982 | 1.7879 | 7.116% |  | 0.6 | 1.492% | DAP
250411 | 30.2 | Citrate Insoluble P2O5, Spectrophotometric MolybdovanadoP (%) | 1 |  | 0.13 | [9 empty] | DAP
250411 | 40.5 | Indirect Available P2O5, ICP (46%) | 1 |  | 45.55 | [9 empty] | DAP
250411 | 40.99 | Indirect Available P2O5, Other (46%) | 2 | 2 | 46.37 | 0.03889 | [8 empty] | DAP
250411 | 41.1 | Direct Available P2O5, Gravimetric Quinolinium (46%) | 4 | 4 | 46.85 | 0.2129 | 46.8484 | 1.0127 | 0.21294 | 0.13309 | 0.4545% | 0.48991 | 0.1565 | 1.461% | DAP
250411 | 41.11 | Direct Available P2O5, Gravimetric Quinolinium, Citrate-EDTA Ext.... (46%) | 5 | 5 | 46.4 | 0.2704 | 46.3965 | 1.0059 | 0.27045 | 0.15119 | 0.5829% | 0.62642 | 0.075 | 1.468% | DAP
250411 | 41.2 | Direct Available P2O5, Spectrophotometric (46%) | 4 | 4 | 46.2 | 0.4145 | 46.2013 | 1.003 | 0.41445 | 0.25903 | 0.8971% | 0.96277 | 0.5525 | 1.471% | DAP
250411 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (46%) | 9 | 9 | 46.08 | 0.7838 | 46.0799 | 1.0012 | 0.88885 | 0.37035 | 1.929% | 2.0685 | 0.5143 | 1.473% | DAP
250411 | 41.4 | Direct Available P2O5, Automated, Citrate-EDTA Ext. (46%) | 2 | 2 | 46.83 | 0.9228 | [8 empty] | DAP
250411 | 41.5 | Direct Available P2O5, ICP (46%) | 4 | 4 | 39.06 | 12.51 | 39.0618 | 0.88123 | 12.5103 | 7.8189 | 32.03% | 33.0774 | 0.53 | 1.6% | DAP
250411 | 41.51 | Direct Available P2O5, ICP, Citrate-EDTA Ext. (46%) | 9 | 9 | 46.32 | 1.276 | 46.2305 | 1.0035 | 1.2029 | 0.5012 | 2.602% | 2.793 | 0.33016 | 1.471% | DAP
250411 | 41.99 | Direct Available P2O5, Other (46%) | 5 | 5 | 46.23 | 0.1708 | 46.227 | 1.0034 | 0.17079 | 0.095476 | 0.3695% | 0.3966 | 0.21 | 1.471% | DAP
250411 | 48.2 | Water Soluble P2O5, Spectrophotometric (%) | 7 | 7 | 41.35 | 0.8338 | 41.4579 |  | 0.66849 | 0.31583 | 1.612% |  | 0.097029 | 1.553% | DAP
250411 | 48.5 | Water Soluble P2O5, ICP (%) | 1 |  | 18.5185 | [9 empty] | DAP
250411 | 48.99 | Water Soluble P2O5, Other (%) | 2 | 2 | 42.13 | 0.3783 | [8 empty] | DAP
250411 | 50.32 | Soluble K2O, AA (Citrate-EDTA) (%) | 1 |  | 0.085 | [9 empty] | DAP
250411 | 50.5 | Soluble K2O, ICP (Oxalate) (%) | 1 |  | 0.16775 | [9 empty] | DAP
250411 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (%) | 1 |  | 0.155 | [9 empty] | DAP
250411 | 50.99 | Soluble K2O, Other (%) | 3 | 3 | 0.1464 | 0.0211 | 0.14638 | 0.41 | 0.021103 | 0.01523 | 14.42% | 0.11993 | 0.0061667 | 5.341% | DAP
250411 | 60 | Water (Free), Vacuum Oven (%) | 2 | 2 | 0.995 | 0.3748 | [8 empty] | DAP
250411 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 2 | 2 | 0.274 | 0.0297 | [8 empty] | DAP
250411 | 101.32 | Acid Soluble Ca, ICP, test portion 2006.03A-C (%) | 1 |  | 0.5 | [9 empty] | DAP
250411 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 3 | 3 | 0.205 | 0.03287 | 0.20495 | 0.21025 | 0.032874 | 0.023725 | 16.04% | 0.36431 | 0.0082333 | 5.077% | DAP
250411 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 3 | 3 | 0.8 | 0.03969 | 0.8 | 0.24 | 0.039686 | 0.028641 | 4.961% | 0.38529 | 0.011 | 4.136% | DAP
250411 | 121.32 | Acid Soluble Mg, ICP, test portion 2006.03A-C (%) | 1 |  | 0.906 | [9 empty] | DAP
250411 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 3 | 3 | 0.796 | 0.01473 | 0.79595 | 0.2398 | 0.014733 | 0.010633 | 1.851% | 0.14316 | 0.00735 | 4.139% | DAP
250411 | 121.99 | Acid Soluble Mg, Other (%) | 1 |  | 0.8937 | [9 empty] | DAP
250411 | 148.07 | Total S, ICP, test portion as in 2017.02 (%) | 2 | 2 | 1.368 | 0.05363 | [8 empty] | DAP
250411 | 148.99 | Total S, Other (%) | 3 | 3 | 1.379 | 0.2428 | 1.3785 | 0.26893 | 0.24278 | 0.17521 | 17.61% | 2.1035 | 0.0135 | 3.811% | DAP
250411 | 149.04 | S - HNO3 soluble, ICP (%) | 1 |  | 1.3885 | [9 empty] | DAP
250411 | 151.3 | Acid Soluble As, ICP (ppm) | 5 | 4 | 11.73 | 6.621 | 14.6578 |  | 1.0753 | 0.67206 | 7.336% |  | 0.6447 | 10.68% | DAP
250411 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 2 | 2 | 14.63 | 4.773 | [8 empty] | DAP
250411 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 6 | 6 | 14.78 | 1.959 | 14.7785 |  | 2.2215 | 1.1337 | 15.03% |  | 1.2184 | 10.67% | DAP
250411 | 151.34 | Acid Soluble As, ICP, EPA 3050B/6010C (ppm) | 1 |  | 17.29 | [9 empty] | DAP
250411 | 151.99 | Acid Soluble As, Other (ppm) | 2 | 2 | 13.2 | 2.263 | [8 empty] | DAP
250411 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (%) | 2 | 2 | 0.0175 | 0.003536 | [8 empty] | DAP
250411 | 165.99 | Acid Soluble B, Other (%) | 4 | 4 | 0.009913 | 0.005322 | 0.0099125 | 0.0044869 | 0.0053217 | 0.0033261 | 53.69% | 2.7635 | 0.0034333 | 8.009% | DAP
250411 | 181.3 | Acid Soluble Cd, ICP (ppm) | 6 | 6 | 8.727 | 1.093 | 8.7269 |  | 1.2393 | 0.63244 | 14.2% |  | 0.2716 | 11.55% | DAP
250411 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 2 | 2 | 9.15 | 1.202 | [8 empty] | DAP
250411 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 5 | 5 | 8.707 | 1.919 | 8.707 |  | 1.9188 | 1.0726 | 22.04% |  | 1.0572 | 11.55% | DAP
250411 | 181.34 | Acid Soluble Cd, ICP, EPA 3050B/6010C (ppm) | 1 |  | 5.01 | [9 empty] | DAP
250411 | 181.99 | Acid Soluble Cd, Other (ppm) | 2 | 2 | 8.623 | 0.3854 | [8 empty] | DAP
250411 | 191.3 | Acid Soluble Cr, ICP (ppm) | 6 | 6 | 133.7 | 10.27 | 135.3924 |  | 7.3037 | 3.7272 | 5.394% |  | 6.5222 | 7.642% | DAP
250411 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 2 | 2 | 125.5 | 16.26 | [8 empty] | DAP
250411 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 6 | 6 | 130.3 | 6.82 | 130.2869 |  | 7.7344 | 3.9469 | 5.936% |  | 1.7414 | 7.687% | DAP
250411 | 191.34 | Acid Soluble Cr, ICP, EPA 3050B/6010C (ppm) | 1 |  | 136.5 | [9 empty] | DAP
250411 | 191.99 | Acid Soluble Cr, Other (ppm) | 2 | 2 | 116.4 | 4.426 | [8 empty] | DAP
250411 | 202.3 | Acid Soluble Co, ICP (ppm) | 4 | 4 | 3.014 | 1.603 | 3.0143 | 1.9043 | 1.6032 | 1.002 | 53.19% | 1.9616 | 0.12105 | 13.55% | DAP
250411 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 3 | 3 | 6.167 | 5.237 | 6.1667 | 2.85 | 5.2367 | 3.7793 | 84.92% | 4.2813 | 0.6 | 12.17% | DAP
250411 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 6 | 5 | 2.71 | 1.256 | 3.2 | 1.96 | 0.41485 | 0.23191 | 12.96% | 0.49317 | 0.1073 | 13.43% | DAP
250411 | 202.34 | Acid Soluble Co, ICP, EPA 3050B/6010C (ppm) | 1 |  | 0.139 | [9 empty] | DAP
250411 | 202.99 | Acid Soluble Co, Other (ppm) | 3 | 3 | 9.127 | 11.21 | 9.1268 | 3.738 | 11.2061 | 8.0873 | 122.8% | 6.985 | 15.3595 | 11.47% | DAP
250411 | 221 | Acid Soluble Cu, AA, inorganic 965.09 (%) | 2 | 2 | 0.002375 | 0.003217 | [8 empty] | DAP
250411 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 4 | 1 | 0.002913 | 0.004789 | 0.002375 | 0.0052375 | 0.0032173 | 0.0040217 | 135.5% | 1.4313 | 0.00015 | 9.931% | DAP
250411 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (%) | 1 |  | 0.0002 | [9 empty] | DAP
250411 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 7 | 2 | 0.03731 | 0.0982 | 0.000325 | 0.0050325 | 0.0003182 | 0.00028125 | 97.91% | 0.14732 | 0.0001 | 13.4% | DAP
250411 | 221.99 | Acid Soluble Cu, Other (%) | 1 |  | 0.195 | [9 empty] | DAP
250411 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 3 | 3 | 1.038 | 0.04041 | 1.0383 | 0.10883 | 0.040415 | 0.029167 | 3.892% | 0.86523 | 0.036667 | 3.977% | DAP
250411 | 241.32 | Acid Soluble Fe, ICP, test portion 2006.03A-C (%) | 1 |  | 1.1285 | [9 empty] | DAP
250411 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 3 | 3 | 1.011 | 0.02602 | 1.0106 | 0.10606 | 0.026019 | 0.018777 | 2.575% | 0.57159 | 0.01675 | 3.993% | DAP
250411 | 241.99 | Acid Soluble Fe, Other (%) | 1 |  | 1.0277 | [9 empty] | DAP
250411 | 251.3 | Acid Soluble Pb, ICP (ppm) | 5 | 3 | 2.674 | 2.858 | 2.3733 |  | 2.4955 | 1.801 | 105.1% |  | 0.11087 | 14.05% | DAP
250411 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 2 | 2 | 3.5 | 4.243 | [8 empty] | DAP
250411 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 5 | 4 | 1.679 | 0.9103 | 1.3485 |  | 0.61439 | 0.38399 | 45.56% |  | 0.0615 | 15.29% | DAP
250411 | 251.34 | Acid Soluble Pb, ICP, EPA 3050B/6010C (ppm) | 1 |  | 9.66 | [9 empty] | DAP
250411 | 251.99 | Acid Soluble Pb, Other (ppm) | 2 | 2 | 0.8675 | 0.3076 | [8 empty] | DAP
250411 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 2 | 2 | 0.024 | 0.005657 | [8 empty] | DAP
250411 | 261.32 | Acid Soluble Mn, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.03 | [9 empty] | DAP
250411 | 261.34 | Acid Soluble Mn, ICP, test portion 2006.03A-C (%) | 1 |  | 0.0365 | [9 empty] | DAP
250411 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 2 | 2 | 0.02835 | 0.002333 | [8 empty] | DAP
250411 | 261.99 | Acid Soluble Mn, Other (%) | 1 |  | 0.0283 | [9 empty] | DAP
250411 | 281.3 | Acid Soluble Hg, ICP (ppm) | 6 | 0 | 0.5668 | 0.8541 | 0.02835 |  | 0.0023335 |  | 8.231% |  | 0.0001 | 22% | DAP
250411 | 281.99 | Acid Soluble Hg, Other (ppm) | 3 | 1 | 0.00615 | 0.005037 | 0.02835 |  | 0.0023335 | 0.0029168 | 8.231% |  | 0.0001 | 22% | DAP
250411 | 289.3 | Acid Soluble Mo, ICP (ppm) | 5 | 5 | 12.35 | 0.9465 | 12.3457 | 4.7037 | 0.94651 | 0.52911 | 7.667% | 0.46885 | 0.509 | 10.96% | DAP
250411 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 2 | 2 | 12 | 1.414 | [8 empty] | DAP
250411 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 8 | 7 | 23.8 | 28.92 | 13.5114 | 5.0534 | 3.092 | 1.4608 | 22.88% | 1.4256 | 0.55663 | 10.81% | DAP
250411 | 289.34 | Acid Soluble Mo, ICP, EPA 3050B/6010C (ppm) | 1 |  | 140.7 | [9 empty] | DAP
250411 | 289.99 | Acid Soluble Mo, Other (ppm) | 2 | 2 | 11.99 | 1.114 | [8 empty] | DAP
250411 | 291.3 | Acid Soluble Ni, ICP (ppm) | 6 | 6 | 14.73 | 1.619 | 14.7492 |  | 1.789 | 0.91294 | 12.13% |  | 0.53817 | 10.67% | DAP
250411 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 2 | 2 | 16.33 | 3.783 | [8 empty] | DAP
250411 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 6 | 5 | 33.58 | 44.79 | 15.3026 |  | 1.8773 | 1.0494 | 12.27% |  | 0.89895 | 10.61% | DAP
250411 | 291.34 | Acid Soluble Ni, ICP, EPA 3050B/6010C (ppm) | 1 |  | 111.5 | [9 empty] | DAP
250411 | 291.99 | Acid Soluble Ni, Other (ppm) | 3 | 3 | 29.67 | 27.36 | 29.6667 |  | 27.364 | 19.7483 | 92.24% |  | 13.06 | 9.604% | DAP
250411 | 301.3 | Acid Soluble Se, ICP (ppm) | 2 | 1 | 3.273 | 4.21 | [8 empty] | DAP
250411 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 2 | 0 | 5.15 | 6.859 | [8 empty] | DAP
250411 | 301.33 | Acid Soluble Se, ICP, 2017.02 (ppm) | 4 | 3 | 1.489 | 1.672 | 1.9817 |  | 1.654 | 1.1937 | 83.47% |  | 1.1233 | 14.43% | DAP
250411 | 301.34 | Acid Soluble Se, ICP, EPA 3050B/6010C (ppm) | 1 |  | 8.85 | [9 empty] | DAP
250411 | 301.99 | Acid Soluble Se, Other (ppm) | 3 | 1 | 0.4583 | 0.5547 | 1.9817 |  | 1.654 | 2.0675 | 83.47% |  | 0.08 | 14.43% | DAP
250411 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 4 | 4 | 0.1533 | 0.04978 | 0.15331 | 0.020331 | 0.049785 | 0.031115 | 32.47% | 5.7054 | 0.005375 | 5.304% | DAP
250411 | 311.99 | Sodium, Other (%) | 2 | 2 | 0.1625 | 0.03889 | [8 empty] | DAP
250411 | 321 | Acid Soluble Zn, AA, inorganic 965.09 (%) | 1 |  | 0.01225 | [9 empty] | DAP
250411 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 5 | 4 | 0.01331 | 0.002402 | 0.014138 | 0.0064138 | 0.0017679 | 0.001105 | 12.51% | 0.64226 | 0.003325 | 7.593% | DAP
250411 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 3 | 3 | 0.01077 | 0.001242 | 0.010767 | 0.0060767 | 0.0012423 | 0.00089656 | 11.54% | 0.47634 | 0.0008 | 7.91% | DAP
250411 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 7 | 7 | 0.02534 | 0.03734 | 0.011649 | 0.0061649 | 0.0016648 | 0.00078655 | 14.29% | 0.6292 | 0.00052 | 7.817% | DAP
250411 | 321.99 | Acid Soluble Zn, Other (%) | 5 | 5 | 0.01096 | 0.00148 | 0.01096 | 0.006096 | 0.0014796 | 0.00082713 | 13.5% | 0.56553 | 0.00095 | 7.889% | DAP
250411 | 325 | Water Soluble Zn, AA (%) | 1 |  | 0.0011 | [9 empty] | DAP
250451 | 50 | Soluble K2O, STPB Oxalate (60%) | 3 | 3 | 60.6 | 0.3087 | 60.595 | 1.7859 | 0.30867 | 0.22276 | 0.5094% | 0.40269 | 0.21667 | 1.285% | Soluable Potash
250451 | 50.3 | Soluble K2O, AA (Oxalate) (60%) | 2 | 2 | 60.82 | 0.8273 | [8 empty] | Soluable Potash
250451 | 50.32 | Soluble K2O, AA (Citrate-EDTA) (60%) | 1 |  | 60.395 | [9 empty] | Soluable Potash
250451 | 50.51 | Soluble K2O, ICP (Citrate) (60%) | 1 |  | 60.25 | [9 empty] | Soluable Potash
250451 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (60%) | 3 | 3 | 58.9 | 2.284 | 58.9008 | 1.7635 | 2.2843 | 1.6486 | 3.878% | 3.0181 | 0.50433 | 1.303% | Soluable Potash
250451 | 50.99 | Soluble K2O, Other (60%) | 2 | 2 | 60.49 | 0.6152 | [8 empty] | Soluable Potash
250451 | 60.3 | Water (Free), AFPC No. 2B (105°C oven for 2 hours, 5g sample) (%) | 1 |  | 1.135 | [9 empty] | Soluable Potash
250451 | 60.99 | Water (Free), Other (%) | 2 | 2 | 0.1365 | 0.05445 | [8 empty] | Soluable Potash
250451 | 121.99 | Acid Soluble Mg, Other (%) | 1 |  | 0.095 | [9 empty] | Soluable Potash
250451 | 148.99 | Total S, Other (%) | 1 |  | 0.03 | [9 empty] | Soluable Potash
250451 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 2 | 0 | 1.75 | 1.768 | [8 empty] | Soluable Potash
250451 | 151.99 | Acid Soluble As, Other (ppm) | 1 |  | 0.5 | [9 empty] | Soluable Potash
250451 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 2 | 1 | 0.675 | 0.4596 | [8 empty] | Soluable Potash
250451 | 181.99 | Acid Soluble Cd, Other (ppm) | 1 |  | 0.35 | [9 empty] | Soluable Potash
250451 | 190 | Water Soluble Cl, Titrimetric (%) | 3 | 3 | 47.25 | 1.089 | 47.2533 | 1 | 1.0889 | 0.78583 | 2.304% | 2.5371 | 0.06 | 1.455% | Soluable Potash
250451 | 190.99 | Water Soluble Cl, Other (%) | 1 |  | 48.25 | [9 empty] | Soluable Potash
250451 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 2 | 1 | 0.715 | 0.4031 | [8 empty] | Soluable Potash
250451 | 191.99 | Acid Soluble Cr, Other (ppm) | 1 |  | 0.395 | [9 empty] | Soluable Potash
250451 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 2 | 0 | 0.55 | 0.6364 | [8 empty] | Soluable Potash
250451 | 202.99 | Acid Soluble Co, Other (ppm) | 1 |  | 0.1 | [9 empty] | Soluable Potash
250451 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (%) | 1 |  | 0.0002 | [9 empty] | Soluable Potash
250451 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 2 | 1 | 2.085 | 2.708 | [8 empty] | Soluable Potash
250451 | 251.99 | Acid Soluble Pb, Other (ppm) | 1 |  | 0.27 | [9 empty] | Soluable Potash
250451 | 281.3 | Acid Soluble Hg, ICP (ppm) | 1 |  | 2 | [9 empty] | Soluable Potash
250451 | 281.99 | Acid Soluble Hg, Other (ppm) | 1 |  | 0.01 | [9 empty] | Soluable Potash
250451 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 2 | 0 | 0.65 | 0.495 | [8 empty] | Soluable Potash
250451 | 289.99 | Acid Soluble Mo, Other (ppm) | 1 |  | 0.3 | [9 empty] | Soluable Potash
250451 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 2 | 2 | 0.6225 | 0.5339 | [8 empty] | Soluable Potash
250451 | 291.99 | Acid Soluble Ni, Other (ppm) | 1 |  | 0.265 | [9 empty] | Soluable Potash
250451 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 2 | 0 | 5.15 | 6.859 | [8 empty] | Soluable Potash
250451 | 301.99 | Acid Soluble Se, Other (ppm) | 1 |  | 0.3 | [9 empty] | Soluable Potash
250451 | 311 | Sodium, AA (%) | 1 |  | 1.077 | [9 empty] | Soluable Potash
250451 | 311.99 | Sodium, Other (%) | 2 | 2 | 1.295 | 0.02828 | [8 empty] | Soluable Potash
250451 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 1 |  | 0.0003 | [9 empty] | Soluable Potash
250511 | 1.1 | Ammoniacal N, Magnesium Oxide Method (%) | 2 | 2 | 0.0655 | 0.02758 | [8 empty] | Grade 5-0-20
250511 | 1.99 | Ammoniacal N, Other (%) | 1 |  | 0.0566 | [9 empty] | Grade 5-0-20
250511 | 2.99 | Nitrate N, Other (%) | 1 |  | 0.11 | [9 empty] | Grade 5-0-20
250511 | 5 | Urea N, Urease (as N) (%) | 3 | 3 | 3.629 | 0.5432 | 3.6287 |  | 0.54322 | 0.39204 | 14.97% |  | 0.1344 | 3.294% | Grade 5-0-20
250511 | 5.1 | Urea N, HPLC(asN),H2Omobilephase (%) | 1 |  | 3.6052 | [9 empty] | Grade 5-0-20
250511 | 5.99 | Urea N, Other (%) | 9 | 9 | 3.509 | 0.559 | 3.3994 |  | 0.32681 | 0.13617 | 9.614% |  | 0.036591 | 3.327% | Grade 5-0-20
250511 | 7.2 | Urea, HPLC,85%acetonitrilemobilephase (%) | 1 |  | 3.25 | [9 empty] | Grade 5-0-20
250511 | 10.11 | Total N, Modified Comprehensive (5%) | 2 | 2 | 5.19 | 0.5798 | [8 empty] | Grade 5-0-20
250511 | 10.12 | Total N, Salicylic (5%) | 5 | 5 | 5.428 | 0.2813 | 5.428 | 0.51428 | 0.2813 | 0.15725 | 5.182% | 1.2745 | 0.08 | 3.101% | Grade 5-0-20
250511 | 10.6 | Total N, Combustion (5%) | 46 | 44 | 5.667 | 1.262 | 5.4729 | 0.51473 | 0.10486 | 0.01976 | 1.916% | 0.47465 | 0.072984 | 3.097% | Grade 5-0-20
250511 | 10.99 | Total N, Other (5%) | 10 | 10 | 5.361 | 0.1761 | 5.3708 | 0.51371 | 0.1756 | 0.069413 | 3.27% | 0.79647 | 0.049205 | 3.106% | Grade 5-0-20
250511 | 20.5 | Total P2O5, ICP (%) | 4 | 2 | 0.005188 | 0.00551 | 0.005375 |  | 0.0063993 | 0.0056562 | 119.1% |  | 0.0001 | 8.782% | Grade 5-0-20
250511 | 41.21 | Direct Available P2O5, Spectrophotometric, Citrate-EDTA Ext. (%) | 1 |  | 0.01 | [9 empty] | Grade 5-0-20
250511 | 50 | Soluble K2O, STPB Oxalate (20%) | 10 | 10 | 20.04 | 0.2431 | 20.0333 | 1.0812 | 0.26459 | 0.10459 | 1.321% | 0.57022 | 0.20611 | 2.234% | Grade 5-0-20
250511 | 50.3 | Soluble K2O, AA (Oxalate) (20%) | 1 |  | 20.18 | [9 empty] | Grade 5-0-20
250511 | 50.32 | Soluble K2O, AA (Citrate-EDTA) (20%) | 1 |  | 19.025 | [9 empty] | Grade 5-0-20
250511 | 50.5 | Soluble K2O, ICP (Oxalate) (20%) | 6 | 6 | 19.6 | 0.458 | 19.5986 | 1.066 | 0.51253 | 0.26155 | 2.615% | 1.1203 | 0.1839 | 2.259% | Grade 5-0-20
250511 | 50.51 | Soluble K2O, ICP (Citrate) (20%) | 3 | 3 | 19.95 | 0.1659 | 19.9531 | 1.0784 | 0.16586 | 0.1197 | 0.8313% | 0.35837 | 0.2396 | 2.239% | Grade 5-0-20
250511 | 50.52 | Soluble K2O, ICP (Citrate-EDTA) (20%) | 11 | 11 | 19.59 | 0.8215 | 19.6802 | 1.0688 | 0.72302 | 0.2725 | 3.674% | 1.5762 | 0.19617 | 2.254% | Grade 5-0-20
250511 | 50.6 | Soluble K2O, Flame Photometric (Oxalate) (20%) | 4 | 4 | 19.82 | 0.2122 | 19.8248 | 1.0739 | 0.2122 | 0.13262 | 1.07% | 0.46041 | 0.15505 | 2.246% | Grade 5-0-20
250511 | 50.61 | Soluble K2O, Flame Photometric (Citrate) (20%) | 1 |  | 20.4 | [9 empty] | Grade 5-0-20
250511 | 50.62 | Soluble K2O, Flame Photometric (Citrate-EDTA) (20%) | 3 | 3 | 20.11 | 0.1411 | 20.1114 | 1.0839 | 0.1411 | 0.10183 | 0.7016% | 0.30331 | 0.44383 | 2.23% | Grade 5-0-20
250511 | 50.99 | Soluble K2O, Other (20%) | 28 | 27 | 20.31 | 1.046 | 20.1363 | 1.0848 | 0.72197 | 0.17368 | 3.585% | 1.5507 | 0.23363 | 2.228% | Grade 5-0-20
250511 | 101.3 | Acid Soluble Ca, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.18 | [9 empty] | Grade 5-0-20
250511 | 101.32 | Acid Soluble Ca, ICP, test portion 2006.03A-C (%) | 1 |  | 0.005 | [9 empty] | Grade 5-0-20
250511 | 101.33 | Acid Soluble Ca, ICP, 2017.02 (%) | 1 |  | 0.01 | [9 empty] | Grade 5-0-20
250511 | 121.3 | Acid Soluble Mg, ICP, test portion inorganic 965.09 (%) | 2 | 2 | 0.019 | 0.001414 | [8 empty] | Grade 5-0-20
250511 | 121.32 | Acid Soluble Mg, ICP, test portion 2006.03A-C (%) | 1 |  | 0.005 | [9 empty] | Grade 5-0-20
250511 | 121.33 | Acid Soluble Mg, ICP, 2017.02 (%) | 1 |  | 0.01 | [9 empty] | Grade 5-0-20
250511 | 121.99 | Acid Soluble Mg, Other (%) | 1 |  | 0.0001 | [9 empty] | Grade 5-0-20
250511 | 143.99 | Elemental S, Other (%) | 3 | 3 | 13.65 | 0.2552 | 13.6529 |  | 0.25524 | 0.18421 | 1.87% |  | 0.72747 | 2.699% | Grade 5-0-20
250511 | 145 | Sulfate S, HCl soluble, Gravimetric Sulfur - sulfate form (%) | 1 |  | 13.475 | [9 empty] | Grade 5-0-20
250511 | 146 | Total S in Liquid, Gravimetric - sulfate, sulfite, thiosulfate, a... (13%) | 5 | 5 | 13.57 | 0.2754 | 13.5745 | 0.87873 | 0.2754 | 0.15395 | 2.029% | 0.73024 | 0.295 | 2.701% | Grade 5-0-20
250511 | 146.99 | Total S in Liquid, Other (13%) | 2 | 2 | 12.76 | 0 | [8 empty] | Grade 5-0-20
250511 | 148 | Total S, Combustion (13%) | 3 | 3 | 13 | 0.225 | 13.0017 | 0.85008 | 0.22502 | 0.16239 | 1.731% | 0.61676 | 0.37133 | 2.719% | Grade 5-0-20
250511 | 148.01 | Total S, Gravimetric - sulfate and elemental (13%) | 6 | 6 | 13.31 | 0.2476 | 13.3079 | 0.8654 | 0.28074 | 0.14327 | 2.11% | 0.75588 | 0.2075 | 2.709% | Grade 5-0-20
250511 | 148.02 | Total S, Turbidimetric, w/Br digestion, modification of JAOAC 63.... (13%) | 1 |  | 13.05 | [9 empty] | Grade 5-0-20
250511 | 148.03 | Total S, Spectrometric, w/Br digestion (13%) | 1 |  | 13.05 | [9 empty] | Grade 5-0-20
250511 | 148.07 | Total S, ICP, test portion as in 2017.02 (13%) | 14 | 13 | 13.73 | 1.802 | 13.2784 | 0.86392 | 0.3001 | 0.10404 | 2.26% | 0.80936 | 0.1935 | 2.71% | Grade 5-0-20
250511 | 148.99 | Total S, Other (13%) | 10 | 9 | 13.2 | 0.3241 | 13.2257 | 0.86129 | 0.37602 | 0.15667 | 2.843% | 1.0172 | 0.09809 | 2.712% | Grade 5-0-20
250511 | 149.04 | S - HNO3 soluble, ICP (%) | 4 | 4 | 12.41 | 1.016 | 12.4091 |  | 1.0156 | 0.63477 | 8.185% |  | 0.089133 | 2.738% | Grade 5-0-20
250511 | 151.3 | Acid Soluble As, ICP (ppm) | 4 | 1 | 4.063 | 4.934 | 12.4091 |  | 1.0156 | 1.2695 | 8.185% |  | 0.029 | 10.95% | Grade 5-0-20
250511 | 151.32 | Acid Soluble As, ICP, 2006.03 (ppm) | 2 | 0 | 1.75 | 1.768 | [8 empty] | Grade 5-0-20
250511 | 151.33 | Acid Soluble As, ICP, 2017.02 (ppm) | 4 | 2 | 0.6018 | 0.6849 | 0.7035 |  | 0.93055 | 0.8225 | 132.3% |  | 0.483 | 16.87% | Grade 5-0-20
250511 | 151.34 | Acid Soluble As, ICP, EPA 3050B/6010C (ppm) | 2 | 2 | 1.381 | 0.5226 | [8 empty] | Grade 5-0-20
250511 | 151.99 | Acid Soluble As, Other (ppm) | 3 | 0 | 0.35 | 0.2598 | 1.3805 |  | 0.52255 |  | 37.85% |  | 0.9 | 15.24% | Grade 5-0-20
250511 | 165.3 | Acid Soluble B, ICP, test portion in 982.01 (%) | 1 |  | 0.01 | [9 empty] | Grade 5-0-20
250511 | 165.99 | Acid Soluble B, Other (%) | 2 | 1 | 0.001 | 0 | [8 empty] | Grade 5-0-20
250511 | 181.3 | Acid Soluble Cd, ICP (ppm) | 5 | 2 | 2.104 | 4.415 | 0.084675 |  | 0.10723 | 0.094781 | 126.6% |  | 0.02845 | 22% | Grade 5-0-20
250511 | 181.32 | Acid Soluble Cd, ICP, 2006.03 (ppm) | 2 | 1 | 0.6775 | 0.4561 | [8 empty] | Grade 5-0-20
250511 | 181.33 | Acid Soluble Cd, ICP, 2017.02 (ppm) | 4 | 0 | 0.31 | 0.467 | 0.084675 |  | 0.10723 |  | 126.6% |  | 0.0039 | 22% | Grade 5-0-20
250511 | 181.34 | Acid Soluble Cd, ICP, EPA 3050B/6010C (ppm) | 2 | 0 | 0.115 | 0.02121 | [8 empty] | Grade 5-0-20
250511 | 181.99 | Acid Soluble Cd, Other (ppm) | 3 | 1 | 0.2933 | 0.2401 | 0.084675 |  | 0.10723 | 0.13404 | 126.6% |  | 0.0039 | 22% | Grade 5-0-20
250511 | 191.3 | Acid Soluble Cr, ICP (ppm) | 5 | 2 | 2.664 | 4.186 | 0.0347 |  | 0.035638 | 0.0315 | 102.7% |  | 0.001 | 22% | Grade 5-0-20
250511 | 191.32 | Acid Soluble Cr, ICP, 2006.03 (ppm) | 2 | 1 | 0.665 | 0.4738 | [8 empty] | Grade 5-0-20
250511 | 191.33 | Acid Soluble Cr, ICP, 2017.02 (ppm) | 4 | 2 | 0.7928 | 1.169 | 0.3355 |  | 0.3684 | 0.32562 | 109.8% |  | 0.299 | 18.85% | Grade 5-0-20
250511 | 191.34 | Acid Soluble Cr, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 0.2295 | 0.1831 | [8 empty] | Grade 5-0-20
250511 | 191.99 | Acid Soluble Cr, Other (ppm) | 3 | 1 | 6.838 | 11.4 | 0.3355 |  | 0.3684 | 0.4605 | 109.8% |  | 0.01 | 18.85% | Grade 5-0-20
250511 | 202.3 | Acid Soluble Co, ICP (ppm) | 3 | 1 | 3.788 | 5.41 | 0.3355 | 1.1006 | 0.3684 | 0.4605 | 109.8% | 0.77988 | 0.01 | 18.85% | Grade 5-0-20
250511 | 202.32 | Acid Soluble Co, ICP, 2006.03 (ppm) | 3 | 1 | 0.83 | 0.6616 | 0.3355 | 1.1006 | 0.3684 | 0.4605 | 109.8% | 0.77988 | 0.01 | 18.85% | Grade 5-0-20
250511 | 202.33 | Acid Soluble Co, ICP, 2017.02 (ppm) | 4 | 1 | 0.6903 | 1.21 | 0.3355 | 1.1006 | 0.3684 | 0.4605 | 109.8% | 0.77988 | 0.01 | 18.85% | Grade 5-0-20
250511 | 202.34 | Acid Soluble Co, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 0.2445 | 0.1492 | [8 empty] | Grade 5-0-20
250511 | 202.99 | Acid Soluble Co, Other (ppm) | 3 | 1 | 2.743 | 4.347 | 0.3355 | 1.1006 | 0.3684 | 0.4605 | 109.8% | 0.77988 | 0.01 | 18.85% | Grade 5-0-20
250511 | 221.3 | Acid Soluble Cu, ICP, test portion inorganic 965.09 (%) | 3 | 2 | 0.003833 | 0.005346 | 0.00075 | 0.005075 | 0.00035355 | 0.0003125 | 47.14% | 0.16232 | 0 | 11.81% | Grade 5-0-20
250511 | 221.32 | Acid Soluble Cu, ICP, test portion 2006.03A-C (%) | 1 |  | 0.0002 | [9 empty] | Grade 5-0-20
250511 | 221.33 | Acid Soluble Cu, ICP, 2017.02 (%) | 6 | 0 | 0.0435 | 0.1061 | 0.00075 | 0.005075 | 0.00035355 |  | 47.14% | 0.16232 | 0 | 11.81% | Grade 5-0-20
250511 | 221.99 | Acid Soluble Cu, Other (%) | 4 | 1 | 0.052 | 0.09542 | 0.00075 | 0.005075 | 0.00035355 | 0.00044194 | 47.14% | 0.16232 | 0 | 11.81% | Grade 5-0-20
250511 | 241.3 | Acid Soluble Fe, ICP, test portion inorganic 965.09 (%) | 1 |  | 0.01 | [9 empty] | Grade 5-0-20
250511 | 241.32 | Acid Soluble Fe, ICP, test portion 2006.03A-C (%) | 1 |  | 0.001 | [9 empty] | Grade 5-0-20
250511 | 241.33 | Acid Soluble Fe, ICP, 2017.02 (%) | 1 |  | 0.001 | [9 empty] | Grade 5-0-20
250511 | 241.99 | Acid Soluble Fe, Other (%) | 1 |  | 0.0001 | [9 empty] | Grade 5-0-20
250511 | 251.3 | Acid Soluble Pb, ICP (ppm) | 5 | 1 | 3.478 | 4.461 | 0.00075 |  | 0.00035355 | 0.00044194 | 47.14% |  | 0 | 22% | Grade 5-0-20
250511 | 251.32 | Acid Soluble Pb, ICP, 2006.03 (ppm) | 2 | 0 | 2.15 | 2.616 | [8 empty] | Grade 5-0-20
250511 | 251.33 | Acid Soluble Pb, ICP, 2017.02 (ppm) | 4 | 1 | 1.096 | 1.412 | 0.00075 |  | 0.00035355 | 0.00044194 | 47.14% |  | 0 | 22% | Grade 5-0-20
250511 | 251.34 | Acid Soluble Pb, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 1.28 | 0.9617 | [8 empty] | Grade 5-0-20
250511 | 251.99 | Acid Soluble Pb, Other (ppm) | 3 | 1 | 0.2883 | 0.245 | 0.00075 |  | 0.00035355 | 0.00044194 | 47.14% |  | 0 | 22% | Grade 5-0-20
250511 | 261.3 | Acid Soluble Mn, ICP, test portion 972.02a (%) | 1 |  | 0.01 | [9 empty] | Grade 5-0-20
250511 | 261.34 | Acid Soluble Mn, ICP, test portion 2006.03A-C (%) | 1 |  | 0.0205 | [9 empty] | Grade 5-0-20
250511 | 261.35 | Acid Soluble Mn, ICP, 2017.02 (%) | 1 |  | 0.0001 | [9 empty] | Grade 5-0-20
250511 | 281 | Acid Soluble Hg, AA (ppm) | 1 |  | 0.5 | [9 empty] | Grade 5-0-20
250511 | 281.3 | Acid Soluble Hg, ICP (ppm) | 4 | 0 | 0.8378 | 0.9601 | 0.00075 |  | 0.00035355 |  | 47.14% |  | 0 | 22% | Grade 5-0-20
250511 | 281.99 | Acid Soluble Hg, Other (ppm) | 3 | 1 | 0.005217 | 0.004679 | 0.00075 |  | 0.00035355 | 0.00044194 | 47.14% |  | 0 | 22% | Grade 5-0-20
250511 | 289.3 | Acid Soluble Mo, ICP (ppm) | 3 | 2 | 0.3492 | 0.5641 | 0.5238 | 1.1571 | 0.67345 | 0.59525 | 128.6% | 1.356 | 0.0082 | 17.63% | Grade 5-0-20
250511 | 289.32 | Acid Soluble Mo, ICP, 2006.03 (ppm) | 2 | 0 | 0.65 | 0.495 | [8 empty] | Grade 5-0-20
250511 | 289.33 | Acid Soluble Mo, ICP, 2017.02 (ppm) | 6 | 0 | 1.463 | 1.546 | 0.5238 | 1.1571 | 0.67345 |  | 128.6% | 1.356 | 0.0041 | 17.63% | Grade 5-0-20
250511 | 289.34 | Acid Soluble Mo, ICP, EPA 3050B/6010C (ppm) | 2 | 0 | 0.389 | 0.2984 | [8 empty] | Grade 5-0-20
250511 | 289.99 | Acid Soluble Mo, Other (ppm) | 1 |  | 0.3 | [9 empty] | Grade 5-0-20
250511 | 291.3 | Acid Soluble Ni, ICP (ppm) | 4 | 1 | 3.335 | 4.513 | 0.5238 |  | 0.67345 | 0.84181 | 128.6% |  | 0.0041 | 17.63% | Grade 5-0-20
250511 | 291.32 | Acid Soluble Ni, ICP, 2006.03 (ppm) | 2 | 1 | 0.565 | 0.6152 | [8 empty] | Grade 5-0-20
250511 | 291.33 | Acid Soluble Ni, ICP, 2017.02 (ppm) | 4 | 1 | 0.8403 | 1.167 | 0.5238 |  | 0.67345 | 0.84181 | 128.6% |  | 0.0041 | 17.63% | Grade 5-0-20
250511 | 291.34 | Acid Soluble Ni, ICP, EPA 3050B/6010C (ppm) | 2 | 2 | 1.35 | 1.273 | [8 empty] | Grade 5-0-20
250511 | 291.99 | Acid Soluble Ni, Other (ppm) | 3 | 2 | 4.762 | 7.223 | 6.6528 |  | 9.1044 | 8.0472 | 136.9% |  | 3.3745 | 12.03% | Grade 5-0-20
250511 | 301.3 | Acid Soluble Se, ICP (ppm) | 4 | 2 | 4.072 | 4.924 | 0.01945 |  | 0.018314 | 0.016188 | 94.16% |  | 0.0025 | 22% | Grade 5-0-20
250511 | 301.32 | Acid Soluble Se, ICP, 2006.03 (ppm) | 2 | 0 | 5.15 | 6.859 | [8 empty] | Grade 5-0-20
250511 | 301.33 | Acid Soluble Se, ICP, 2017.02 (ppm) | 3 | 1 | 0.7237 | 1.21 | 0.01945 |  | 0.018314 | 0.022893 | 94.16% |  | 0.001 | 22% | Grade 5-0-20
250511 | 301.34 | Acid Soluble Se, ICP, EPA 3050B/6010C (ppm) | 2 | 1 | 1.368 | 0.3783 | [8 empty] | Grade 5-0-20
250511 | 301.99 | Acid Soluble Se, Other (ppm) | 4 | 0 | 0.3 | 0.216 | 0.01945 |  | 0.018314 |  | 94.16% |  | 0.001 | 22% | Grade 5-0-20
250511 | 311.33 | Sodium, ICP, test portion as in 2017.02 (%) | 3 | 2 | 0.03167 | 0.0231 | 0.045 | 0.0095 | 0.00070711 | 0.000625 | 1.571% | 0.17343 | 0.0048 | 6.379% | Grade 5-0-20
250511 | 311.99 | Sodium, Other (%) | 1 |  | 0.06 | [9 empty] | Grade 5-0-20
250511 | 321.3 | Acid Soluble Zn, ICP, test portion inorganic 965.09 (%) | 2 | 0 | 0.005 | 0.007071 | [8 empty] | Grade 5-0-20
250511 | 321.32 | Acid Soluble Zn, ICP, test portion 2006.03A-C (%) | 2 | 0 | 2.5 | 3.535 | [8 empty] | Grade 5-0-20
250511 | 321.33 | Acid Soluble Zn, ICP, 2017.02 (%) | 6 | 1 | 0.03178 | 0.07751 | 0.045 | 0.0095 | 0.00070711 | 0.00088388 | 1.571% | 0.17343 | 0.0006 | 6.379% | Grade 5-0-20
250511 | 321.99 | Acid Soluble Zn, Other (%) | 5 | 1 | 0.0315 | 0.0619 | 0.045 | 0.0095 | 0.00070711 | 0.00088388 | 1.571% | 0.17343 | 0.0006 | 6.379% | Grade 5-0-20
250511 | 325.3 | Water Soluble Zn, ICP (%) | 1 |  | 0 | [9 empty] | Grade 5-0-20

## Method
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
[18 empty] | Input Method Code | 165 | 165.99
Entries
0
28 | Method Proficiency
Statistical Summary
Unique Samples
Sample Number | Method Code | Analyte & Method | Total # Labs Submitting | # Labs in Robust Calculations | Raw Mean | Raw SD | Assigned Value Robust Mean | IA at Method Value | Robust sd | Robust Uncertainty (U) | Robust % RSD | IA %RSD | Average Range (R-bar) | Horwitz %RSD | Sample Name | Number | Sample Number | Method Code | Analyte & Method
Get Data